## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___29-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-29 | Mangolpuri | 11:33 | 12:53 | 0.055556 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Sultanpuri | 359 | Interruption due to fault
2 | 2018-07-29 | Shalimar Bagh | 12:08 | 15:09 | 0.12569 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Bhalswa | 416 | Force majeure due to fire
3 | 2018-07-29 | Shalimar Bagh | 15:50 | 17:45 | 0.079861 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Busbar Box Burnt | Restored/Repaired | Parts of : Janta Vihar | 728 | Interruption due to fault
4 | 2018-07-29 | Shalimar Bagh | 01:34 | 03:07 | 0.064583 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Burari | 2393 | Interruption due to fault
5 | 2018-07-29 | Keshav Puram | 10:26 | 12:55 | 0.10347 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Ashok Vihar | 578 | Force majeure due to fire
6 | 2018-07-29 | Bawana | 13:39 | 16:21 | 0.1125 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Shaheed Bhagat Singh Nagar | 363 | Force majeure due to sabotage
7 | 2018-07-29 | Narela | 14:50 | 16:00 | 0.048611 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Alipur | 2382 | Interruption due to fault
8 | 2018-07-29 | Bawana | 15:00 | 16:10 | 0.048611 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Ghevra Sawda | 1701 | Interruption due to fault
9 | 2018-07-29 | Mangolpuri | 18:43 | 19:50 | 0.046528 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Y-Block Mangolpuri | 679 | Interruption due to fault
10 | 2018-07-29 | Mangolpuri | 18:51 | 20:28 | 0.067361 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Budh Vihar | 927 | Force majeure due to sabotage
11 | 2018-07-29 | Badli | 20:49 | 21:56 | 0.046528 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Samaypur | 315 | Interruption due to fault
12 | 2018-07-29 | Pitam Pura | 21:40 | 23:20 | 0.069444 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : RU-Block Pitampura | 546 | Interruption due to fault
13 | 2018-07-29 | Shalimar Bagh | 13:57 | 15:49 | 0.077778 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Swaroop Nagar | 728 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51