## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___30-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-30 | Keshav Puram | 10:59 | 13:47 | 0.11667 | PLANNED SHUTDOWN | New DT Installation | Restored/Repaired | Parts of : Ashok Vihar | 341 | Planned outage
2 | 2018-07-30 | Shalimar Bagh | 12:27 | 13:48 | 0.05625 | HT SYSTEM FAULT | HT Conductor Snapped | Restored/Repaired | Parts of : Sangam Vihar | 2751 | Interruption due to fault
3 | 2018-07-30 | Civil Lines | 12:48 | 0.61458 | 0.08125 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : Timarpur | 573 | Scheduled system maintenance
4 | 2018-07-30 | Mangolpuri | 04:06 | 07:45 | 0.15208 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : B-Blk Sultanpuri | 6355 | Force majeure due to fire
5 | 2018-07-30 | Shalimar Bagh | 15:25 | 17:32 | 0.088194 | PLANNED SHUTDOWN | Distribution Box Installation | Restored/Repaired | Parts of : Bhalswa | 358 | Scheduled system maintenance
6 | 2018-07-30 | Rohini | 16:14 | 0.73611 | 0.059722 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Busbar Box Burnt | Restored/Repaired | Parts of : Sec-5 Rohini | 356 | Interruption due to fault
7 | 2018-07-30 | Mangolpuri | 16:36 | 18:19 | 0.071528 | DISTRIBUTION TR. | Transformer Bushing Faulty | Restored/Repaired | Parts of : Nithari | 452 | Interruption due to fault
8 | 2018-07-30 | Shalimar Bagh | 16:23 | 0.75 | 0.067361 | HVDS TRANSFORMER | DD Unit Faulty | Restored/Repaired | Parts of : Baba Colony | 424 | Interruption due to fault
9 | 2018-07-30 | Shalimar Bagh | 21:52 | 0.99931 | 0.088194 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire on Pole | Restored/Repaired | Parts of : Haiderpur | 757 | Force majeure due to fire
10 | 2018-07-30 | Bawana | 15:23 | 16:53 | 0.0625 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Agar Nagar | 7628 | Interruption due to fault
11 | 2018-07-30 | Bawana | 11:15 | 16:54 | 0.23542 | PLANNED SHUTDOWN | HVDS Feeder Maintenance | Restored/Repaired | Parts of : Kanjhawala | 648 | Planned outage
12 | 2018-07-30 | Narela | 11:59 | 15:51 | 0.16111 | PLANNED SHUTDOWN | DT Augmentation | Restored/Repaired | Parts of : Alipur | 1543 | Planned outage
13 | 2018-07-30 | Pitam Pura | 10:50 | 0.75 | 0.29861 | PLANNED SHUTDOWN | HT Network Extension | Restored/Repaired | Parts of : Sainik Vihar | 1445 | Planned outage
14 | 2018-07-30 | Mangolpuri | 00:03 | 01:48 | 0.072917 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Mithila Vihar | 8053 | Interruption due to fault
15 | 2018-07-30 | Bawana | 00:19 | 03:40 | 0.13958 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Qutubgarh | 409 | Force majeure due to sabotage
16 | 2018-07-30 | Mangolpuri | 09:29 | 14:31 | 0.20972 | PLANNED SHUTDOWN | New RMU Installation | Restored/Repaired | Parts of : T-Blk Sultanpuri | 779 | Planned outage
17 | 2018-07-30 | Shalimar Bagh | 08:17 | 09:42 | 0.059028 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Wazirabad Village | 6903 | Interruption due to fault
18 | 2018-07-30 | Bawana | 08:51 | 13:44 | 0.20347 | DAMAGE BY OTHER AGENCIES | HT ABC Damaged by Unknown Vehicle | Restored/Repaired | Parts of : Pooth Khurd | 2560 | Force majeure due to sabotage
19 | 2018-07-30 | Shalimar Bagh | 07:29 | 09:15 | 0.073611 | HT SYSTEM FAULT | Guard Wire Broken | Restored/Repaired | Parts of : Kamal Vihar | 605 | Interruption due to fault
20 | 2018-07-30 | Shalimar Bagh | 10:41 | 15:13 | 0.18889 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Parts of : Sant Nagar | 521 | Planned outage
21 | 2018-07-30 | Shalimar Bagh | 10:54 | 14:30 | 0.15 | PLANNED SHUTDOWN | To Attend Oil Leakage in Transformer | Restored/Repaired | Parts of : Jahangirpuri | 331 | Planned outage
22 | 2018-07-30 | Bawana | 10:48 | 12:25 | 0.067361 | PLANNED SHUTDOWN | HT Pole Shifting | Restored/Repaired | Parts of : Karala | 976 | Planned outage
23 | 2018-07-30 | Mangolpuri | 10:43 | 12:15 | 0.063889 | HT SYSTEM FAULT | Pin Insulator Faulty | Restored/Repaired | Parts of : Mithila Vihar | 8053 | Interruption due to fault
24 | 2018-07-30 | Narela | 22:45 | 0.99931 | 0.051389 | HT SYSTEM FAULT | CT/PT Unit Faulty | Restored/Repaired | Parts of : Ghogha Village | 316 | Interruption due to fault
25 | 2018-07-30 | Mangolpuri | 11:20 | 0.55208 | 0.079861 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Kirari | 415 | Interruption due to fault
26 | 2018-07-30 | Bawana | 12:20 | 13:47 | 0.060417 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Punjab Khor | 4563 | Interruption due to fault
27 | 2018-07-30 | Narela | 12:38 | 14:00 | 0.056944 | HT SYSTEM FAULT | HT Conductor Snapped | Restored/Repaired | Parts of : Singhola | 1648 | Interruption due to fault
28 | 2018-07-30 | Mangolpuri | 12:33 | 13:48 | 0.052083 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Rajiv Nagar | 813 | Interruption due to fault
29 | 2018-07-30 | Mangolpuri | 13:03 | 14:20 | 0.053472 | PLANNED SHUTDOWN | To Attend Oil Leakage in Transformer | Restored/Repaired | Parts of : Ramesh Enclave | 1240 | Planned outage
30 | 2018-07-30 | Bawana | 13:34 | 15:15 | 0.070139 | HT SYSTEM FAULT | HT Jumper burnt | Restored/Repaired | Parts of : Auchandi Village | 3608 | Interruption due to fault
31 | 2018-07-30 | Narela | 13:47 | 16:18 | 0.10486 | PLANNED SHUTDOWN | HT ABC Laying | Restored/Repaired | Parts of : Holambi Kalan | 2419 | Planned outage
32 | 2018-07-30 | Mangolpuri | 13:44 | 0.625 | 0.052778 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Krishan Vihar | 358 | Interruption due to fault
33 | 2018-07-30 | Badli | 13:55 | 0.68056 | 0.10069 | PLANNED SHUTDOWN | LT ACB Installation | Restored/Repaired | Parts of : Raza Vihar | 418 | Scheduled system maintenance
34 | 2018-07-30 | Narela | 14:26 | 15:40 | 0.051389 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Khampur | 2230 | Interruption due to fault
35 | 2018-07-30 | Shalimar Bagh | 14:40 | 0.79861 | 0.1875 | DAMAGE BY OTHER AGENCIES | LT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Burari | 392 | Force majeure due to sabotage
36 | 2018-07-30 | Bawana | 14:44 | 16:25 | 0.070139 | PLANNED SHUTDOWN | Guard Wire Repair | Restored/Repaired | Parts of : Ghevra Sawda | 3232 | Planned outage
37 | 2018-07-30 | Narela | 15:37 | 17:32 | 0.079861 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Tikri Village | 1332 | Interruption due to fault
38 | 2018-07-30 | Bawana | 15:24 | 16:35 | 0.049306 | HT SYSTEM FAULT | Squirrel Electrocuted | Restored/Repaired | Parts of : Sukhbir Nagar | 1961 | Interruption due to fault
39 | 2018-07-30 | Shalimar Bagh | 17:49 | 19:02 | 0.050694 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Jahangirabad Village | 5598 | Interruption due to fault
40 | 2018-07-30 | Narela | 18:22 | 19:35 | 0.050694 | HT SYSTEM FAULT | Messenger Wire Broken | Restored/Repaired | Parts of : Swaroop Vihar | 3468 | Interruption due to fault
41 | 2018-07-30 | Bawana | 18:17 | 19:40 | 0.057639 | HT SYSTEM FAULT | Rat Electrocuted | Restored/Repaired | Parts of : Jain Nagar | 943 | Interruption due to fault
42 | 2018-07-30 | Narela | 16:52 | 18:25 | 0.064583 | HT SYSTEM FAULT | Pin Insulator Faulty | Restored/Repaired | Parts of : Bakhtawarpur | 1399 | Interruption due to fault
43 | 2018-07-30 | Mangolpuri | 20:17 | 21:59 | 0.070833 | HT SYSTEM FAULT | Cat Electrocuted | Restored/Repaired | Parts of : Y-Blk Mangolpuri | 9167 | Interruption due to fault
44 | 2018-07-30 | Mangolpuri | 04:06 | 06:19 | 0.092361 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Feeder Switched off due to Fire Information | Restored/Repaired | Parts of : Budh Vihar | 4520 | Force majeure due to fire
45 | 2018-07-30 | Badli | 22:44 | 0.99931 | 0.052083 | HT SYSTEM FAULT | CT/PT Unit Faulty | Restored/Repaired | Parts of : Badli Village | 459 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51