## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___31-07-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-07-31 | Shalimar Bagh | 03:23 | 05:00 | 0.067361 | HT SYSTEM FAULT | Pin Insulator Faulty | Restored/Repaired | Parts of : Haider Pur | 450 | Interruption due to fault
2 | 2018-07-31 | Bawana | 06:45 | 08:35 | 0.076389 | HT SYSTEM FAULT | CT/PT Unit Faulty | Restored/Repaired | Parts of : Karala | 2747 | Interruption due to fault
3 | 2018-07-31 | Bawana | 07:18 | 11:05 | 0.15764 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Vijay Colony | 2965 | Force majeure due to sabotage
4 | 2018-07-31 | Rohini | 08:28 | 10:39 | 0.090972 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : Sector 6 Rohini | 342 | Scheduled system maintenance
5 | 2018-07-31 | Keshav Puram | 08:58 | 13:00 | 0.16806 | PLANNED SHUTDOWN | New LT ABC Laying | Restored/Repaired | Parts of : Rampura | 558 | Scheduled system maintenance
6 | 2018-07-31 | Keshav Puram | 10:47 | 14:31 | 0.15556 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : L Block JJ Colony | 477 | Scheduled system maintenance
7 | 2018-07-31 | Mangolpuri | 11:07 | 12:36 | 0.061806 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Kishan Vihar | 909 | Interruption due to fault
8 | 2018-07-31 | Narela | 11:36 | 15:36 | 0.16667 | DAMAGE BY OTHER AGENCIES | HT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Bakhtawar Pur | 645 | Force majeure due to sabotage
9 | 2018-07-31 | Moti Nagar | 11:44 | 15:06 | 0.14028 | DAMAGE BY OTHER AGENCIES | LT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Pandav Nagar | 504 | Force majeure due to sabotage
10 | 2018-07-31 | Shalimar Bagh | 11:58 | 14:00 | 0.084722 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Burari | 494 | Force majeure due to sabotage
11 | 2018-07-31 | Bawana | 12:44 | 14:00 | 0.052778 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Nangal | 774 | Interruption due to fault
12 | 2018-07-31 | Rohini | 13:27 | 14:49 | 0.056944 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Sector 3 Rohini | 749 | Interruption due to fault
13 | 2018-07-31 | Shalimar Bagh | 14:27 | 16:25 | 0.081944 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Shalamar Village | 659 | Interruption due to fault
14 | 2018-07-31 | Keshav Puram | 16:01 | 18:30 | 0.10347 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT ABC Burnt | Restored/Repaired | Parts of : JJ Colony Wazirpur | 341 | Force majeure due to fire
15 | 2018-07-31 | Moti Nagar | 11:11 | 13:20 | 0.089583 | PLANNED SHUTDOWN | DT Oil Top-up | Restored/Repaired | Parts of : Naraina Vihar | 485 | Planned outage
16 | 2018-07-31 | Shalimar Bagh | 10:36 | 13:15 | 0.11042 | PLANNED SHUTDOWN | HVDS Feeder Maintenance | Restored/Repaired | Parts of : Jahangir Puri | 683 | Planned outage
17 | 2018-07-31 | Shalimar Bagh | 01:05 | 0.09375 | 0.048611 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | IPC Burnt | Restored/Repaired | Parts of : Sant Nagar | 303 | Interruption due to fault
18 | 2018-07-31 | Civil Lines | 01:18 | 02:55 | 0.067361 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Cable Faulty | Restored/Repaired | Parts of : Vijay Nagar | 304 | Interruption due to fault
19 | 2018-07-31 | Badli | 04:00 | 05:45 | 0.072917 | HT SYSTEM FAULT | Guard Wire Broken | Restored/Repaired | Parts of : Samay Pur | 700 | Interruption due to fault
20 | 2018-07-31 | Narela | 06:42 | 07:55 | 0.050694 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Narela Town | 538 | Interruption due to fault
21 | 2018-07-31 | Rohini | 07:31 | 10:26 | 0.12153 | DAMAGE BY OTHER AGENCIES | LT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Sector 11 Rohini | 342 | Force majeure due to sabotage
22 | 2018-07-31 | Mangolpuri | 09:33 | 11:35 | 0.084722 | DAMAGE BY OTHER AGENCIES | Cable Damaged by External Agency | Restored/Repaired | Parts of : Kirari | 699 | Force majeure due to sabotage
23 | 2018-07-31 | Shalimar Bagh | 09:30 | 12:00 | 0.10417 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Pradhan Enclave | 545 | Force majeure due to fire
24 | 2018-07-31 | Mangolpuri | 10:31 | 12:08 | 0.067361 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Sultanpuri | 577 | Interruption due to fault
25 | 2018-07-31 | Narela | 11:38 | 12:55 | 0.053472 | HVDS CABLE & OTHER SYSTEM | HT Cable Faulty | Restored/Repaired | Parts of : Holambi Kalan | 2589 | Interruption due to fault
26 | 2018-07-31 | Bawana | 13:15 | 15:56 | 0.11181 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Sultanpur Dabas | 1000 | Force majeure due to fire
27 | 2018-07-31 | Pitam Pura | 13:42 | 15:13 | 0.063194 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : KU Block Pitampura | 688 | Interruption due to fault
28 | 2018-07-31 | Bawana | 14:17 | 16:20 | 0.085417 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Object Fell on Line | Restored/Repaired | Parts of : Kanjhawala | 2370 | Force majeure due to sabotage
29 | 2018-07-31 | Bawana | 15:32 | 17:00 | 0.061111 | HVDS CABLE & OTHER SYSTEM | HT Cable Faulty | Restored/Repaired | Parts of : Harewali | 774 | Interruption due to fault
30 | 2018-07-31 | Mangolpuri | 19:41 | 21:18 | 0.067361 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Budh Vihar | 411 | Interruption due to fault
31 | 2018-07-31 | Rohini | 22:04 | 0.96875 | 0.049306 | LT FEEDER | Tyco Box Burnt | Restored/Repaired | Parts of : Sector 25 Rohini | 401 | Interruption due to fault
32 | 2018-07-31 | Moti Nagar | 00:21 | 01:26 | 0.045139 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : Saraswati Garden | 507 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51