## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 16.06.2018 TO 06:00 HRS OF 17.06.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 16.06.2018 | PHG | 43267.5785 | 43267.6486 | 1:41 | DISTRIBUTION TR. | REPLACEMENT OF TRANSFORMER | ONE 990KVA TRANSFORMER REPLACED DUE TO OIL LEAKAGE | AARAKASHA ROAD,PAHADGANJ. | 130
2 | 16.06.2018 | PNR | 43267.6817 | 43267.7431 | 1:28 | DISTRIBUTION TR. | REPLACEMENT OF TRANSFORMER DUE TO OIL LEAKAGE | DUE TO OIL LEAKAGE ONE 400KVA TRANSFORMER REPLACED | RAJASTHAN COLONY,BABA FARIDPURI. | 646
3 | 16.06.2018 | YVR | 43267.5235 | 43267.589 | 1:34 | DISTRIBUTION TR. | REPLACEMENT OF 990KVA TRANSFORMER | DUE TO OIL LEAKAGE ONE 990KVA TRANSFORMER REPLACED | B1 BLOCK YAMUNA VIHAR. | 259