## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 17.06.2018 TO 06:00 HRS OF 18.06.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 17.06.2018 | JLM | 43268.9303 | 43268.9736 | 1:02 | HT SYSTEM FAULT | TRIPPING | HT CABLE FAULTY, AREA BACKFEEDED | YAMUNA SPORTS COMPLEX. | 1018
2 | 18.06.2018 | KRN | 43269.2343 | 43269.3399 | 2:32 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRES BURNT DUE TO FIRE IN DISTRIBUTION BOX | DAMAGED WIRE'S REPAIRED & DISTRIBUTION BOX BYPASSED | JHEEL-JHEEL KHURENJA,BLOCK 10-GANDHI NAGAR. | 69 | FIRE IN DISTRIBUTION BOX,DAMAGED WIRE'S REPAIRED & DISTRIBUTION BOX BYPASSED
3 | 17.06.2018 | KWN | 43268.5458 | 43268.6292 | 2:00 | DISTRIBUTION TR. | REPLACEMENT OF TRANSFORMER | ONE 630KVA TRANSFORMER DECLARED FAULTY DUE TO INTERNAL FAULT,SAME REPLACED | BLOCK D-OLD MUSTAFABAD. | 86 | ONE 630KVA TRANSFORMER DECLARED FAULTY DUE TO INTERNAL FAULT,SAME REPLACED
4 | 17.06.2018 | KWN | 43268.638 | 43268.7083 | 1:41 | HT SYSTEM FAULT | TRIPPING | HT CABLE FAULTY, AREA BACKFEEDED | SHERPUR CHOWK,KARAWAL NAGAR. | 112