## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 18.06.2018 TO 06:00 HRS OF 19.06.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 18.06.2018 | CCK | 43269.3806 | 43269.4762 | 2:18 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | NAI SARAK-JOGIWARA,CHANDNI CHOWK. | 259 | NETWORK UPGRADATION WORK
2 | 18.06.2018 | DGN | 43269.5665 | 43269.6363 | 1:41 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE DAMAGED DUE TO FLASH, SAME REPAIRED | DELHI JAL BOARD-POCKET C. | 164
3 | 18.06.2018 | DGN | 43269.5972 | 43269.6546 | 1:23 | DISTRIBUTION TR. | REPLACEMENT OF TRANSFORMER | ONE 990KVA TRANSFORMER REPLACED DUE TO LOW IR VALUE | ROHITASH NAGAR EAST-SEELAMPUR. | 199
4 | 18.06.2018 | JLM | 43269.4764 | 43269.5512 | 1:48 | PLANNED SHUTDOWN | PROJECT WORK | EARTHING CONNECTED TO LTAB | ANAND VIHAR BLOCK C. | 43
5 | 19.06.2018 | JLM | 43270.0409 | 43270.1042 | 1:31 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | TO ATTEND FAULT IN THE LINE | SERVICE CABLE BURNT, SAME REPLACED | BLOCK D-VIVEK VIHAR,JHILMIL COLONY. | 44
6 | 18.06.2018 | KRN | 43269.6771 | 43269.7419 | 1:33 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB BURNT, SAME REPAIRED | BLOCK 9-KAILASH NAGAR,GANDHI NAGAR. | 17
7 | 19.06.2018 | KRN | 43270.066 | 43270.3285 | 6:18 | HT SYSTEM FAULT | TO REPAIR HT CABLE | HT CABLE BOTH SOURCE GOT FAULTY, SAME REPAIRED & AREA NORMALISED | A BLOCK KRISHNA NAGAR. | 259 | HT CABLE BOTH SOURCE GOT FAULTY, SAME REPAIRED & AREA NORMALISED
8 | 18.06.2018 | KWN | 43269.441 | 43269.4993 | 1:24 | PLANNED SHUTDOWN | MAINTENANCE WORK OF HVDS TRANSFORMER | MAINTENANCE OF HVDS TRANSFORMER CARRIED OUT | BLOCK C-PATEL VIHAR,KARAWAL NAGAR. | 130
9 | 18.06.2018 | LNR | 43269.45 | 43269.5173 | 1:37 | PLANNED SHUTDOWN | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | SHANKAR VIHAR-SWASTHYA VIHAR. | 86
10 | 18.06.2018 | LNR | 43269.7872 | 43269.8493 | 1:30 | HT SYSTEM FAULT | TRIPPING | HT CABLE FAULTY, AREA BACKFEEDED | SHAKARPUR. | 1269
11 | 18.06.2018 | PHG | 43269.3958 | 43269.4972 | 2:26 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | NAWAB GANJ-SADAR BAZAR,PAHADGANJ. | 259 | NETWORK UPGRADATION WORK
12 | 18.06.2018 | PHG | 43269.4069 | 43269.4976 | 2:11 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LTAB REPLACED BY ARMOURED CABLE | MANTOLA MOHALLA-PAHAR GANJ. | 65 | LTAB REPLACED BY ARMOURED CABLE TO IMPROVE THE NETWORK
13 | 18.06.2018 | PHG | 43269.4924 | 43269.5417 | 1:11 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | SADAR BAZAR B G ROAD. | 259
14 | 18.06.2018 | SRD | 43269.4167 | 43269.4972 | 1:56 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK_24N-BEADON PURA. | 259
15 | 18.06.2018 | VSE | 43269.4826 | 43269.5393 | 1:22 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | SEC C-MAYUR VIHAR PHASE III. | 173
16 | 18.06.2018 | YVR | 43269.4356 | 43269.484 | 1:10 | LT FEEDER | FIRE IN LTAB | LTAB BURNT, SAME REPAIRED | SHASTRI PARK,YAMUNA VIHAR. | 86
17 | 18.06.2018 | YVR | 43269.4644 | 43269.8488 | 9:14 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | INSTALLATION OF NEW POLE & LTAB CIRCUIT | TWO OLD DAMAGED POLE REPLACED BY NEW ONE & ALSO NEW LTAB LAID | MOHANPURI,NORTH GHONDA. | 173 | TWO OLD DAMAGED POLE REPLACED BY NEW ONE & ALSO NEW LTAB LAID TO IMPROVE THE NETWORK
18 | 18.06.2018 | YVR | 43269.5 | 43269.5909 | 2:11 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | BLOCK T-GAUTAM PURI,YAMUNA VIHAR. | 86 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
19 | 18.06.2018 | YVR | 43269.5264 | 43269.7423 | 5:11 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | SUBHASH PARK-GORAKH PARK. | 86 | NETWORK UPGRADATION WORK
20 | 18.06.2018 | YVR | 43269.5271 | 43269.5937 | 1:36 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LT STRAIGHT THROUGH JOINT MADE | BLOCK B-GARI MANDU,WEST GHONDA. | 86
21 | 18.06.2018 | YVR | 43269.5271 | 43269.6474 | 2:53 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK C-GHONDA PATTI,ARVIND NAGAR. | 86 | NETWORK UPGRADATION WORK
22 | 18.06.2018 | YVR | 43269.6097 | 43269.6582 | 1:10 | PLANNED SHUTDOWN | PROJECT WORK | NEW DISTRIBUTION BOX INSTALLED | SUBHASH PARK-GORAKH PARK. | 86