## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 19.06.2018 TO 06:00 HRS OF 20.06.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 19.06.2018 | CCK | 43270.4153 | 43270.5 | 2:02 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | LALKUAN BAZAR-FRASH KHANA | 259 | NETWORK UPGRADATION WORK
2 | 19.06.2018 | JLM | 43270.4479 | 43270.4961 | 1:09 | PLANNED SHUTDOWN | FOR REMOVING TREE BRANCHES | TREE TRIMMING WORK CARRIED OUT | JAWALA NAGAR-SHAHDARA | 43
3 | 19.06.2018 | JLM | 43270.4764 | 43270.5289 | 1:16 | PLANNED SHUTDOWN | FOR REMOVING TREE BRANCHES | TREE TRIMMING WORK CARRIED OUT | EAST ROHTASH NAGAR-SHAHDARA | 86
4 | 19.06.2018 | KRN | 43270.5715 | 43270.6292 | 1:23 | LT FEEDER | SUPPLY PUT OFF DUE TO DEMOLITION WORK BY MCD | AREA NORMALISED AFTER GETTING CLEARANCE FROM MCD | BLOCK A-KRISHNA NAGAR | 619
5 | 19.06.2018 | KRN | 43270.6083 | 43270.6831 | 1:48 | LT FEEDER | SUPPLY PUT OFF DUE TO DEMOLITION WORK BY MCD | AREA NORMALISED AFTER GETTING CLEARANCE FROM MCD | BLOCK 2A-GEETA COLONY | 252
6 | 19.06.2018 | KRN | 43270.9625 | 43271.0098 | 1:08 | HT SYSTEM FAULT | TRIPPING | BIRDAGE FOUND ON LINE SAME REMOVED | BLOCK E-KRISHNA NAGAR | 612
7 | 19.06.2018 | KWN | 43270.3742 | 43270.4759 | 2:26 | HVDS TRANSFORMER | REPLACEMENT OF HVDS TRANSFORMER | 25KVA HVDS TRANSFORMER REPLACED | KARDAM FARM JOHRIPUR | 45 | 25KVA HVDS TRANSFORMER FAULTY SAME REPLACED
8 | 19.06.2018 | KWN | 43270.4792 | 43270.5417 | 1:30 | HT SYSTEM FAULT | TRIPPING | BIRDAGE FOUND ON LINE SAME REMOVED | C-BLOCK 3RD PUSTA SONIA VIHAR | 682
9 | 19.06.2018 | KWN | 43270.6243 | 43270.6902 | 1:35 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | NEHRU VIHAR KWR | 980
10 | 19.06.2018 | KWN | 43270.6396 | 43270.7213 | 1:58 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | BLOCK E&F WEST KARAWAL NAGAR | 85
11 | 20.06.2018 | KWN | 43271.1018 | 43271.161 | 1:25 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | D BLOCK JOHRIPUR | 716
12 | 19.06.2018 | NNG | 43270.4424 | 43270.4948 | 1:16 | PLANNED SHUTDOWN | FOR CONNECTING REPAIRED CABLE | REPAIRED CABLE CONNECTED | BLOCK D-KABIR NAGAR | 86
13 | 19.06.2018 | NNG | 43270.4458 | 43270.4945 | 1:10 | PLANNED SHUTDOWN | FOR ATTENDING HOT POINT | HOT POINT ATTENDED | BLOCK M-DURGA PURI | 86
14 | 19.06.2018 | NNG | 43270.4556 | 43270.5833 | 3:04 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | C-BLOCK MEET NAGAR | 1036 | FOR CONNECTING NEW FEEDER
15 | 19.06.2018 | PNR | 43270.3896 | 43270.6208 | 5:33 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK T-FAREEDPURI | 155 | NETWORK UPGRADATION WORK
16 | 19.06.2018 | SRD | 43270.4306 | 43270.4818 | 1:14 | PLANNED SHUTDOWN | FOR REPLACING LT SOCKET | LT SOCKET REPLACED | BLOCK 28-OLD RAJENDRA NAGAR | 647
17 | 19.06.2018 | SRD | 43270.5427 | 43270.5994 | 1:22 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | TRIPPING | CABLE FAULTY AREA BACKFEEDED | BLOCK 18 RAJENDRA NAGAR | 357
18 | 19.06.2018 | VSE | 43270.5125 | 43270.5562 | 1:03 | PLANNED SHUTDOWN | FOR REPLACING LT SOCKET | LT SOCKET REPLACED | BLOCK B-NEW ASHOK NAGAR | 173
19 | 19.06.2018 | YVR | 43270.459 | 43270.5774 | 2:51 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK C-GHONDA | 86 | NEW DISTRIBUTION BOX INSTALLED
20 | 19.06.2018 | YVR | 43270.4674 | 43270.7445 | 6:39 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK F-NEW SILAMPURI PHASE II | 86 | NEW DISTRIBUTION BOX INSTALLED
21 | 19.06.2018 | YVR | 43270.4788 | 43270.5537 | 1:48 | DISTRIBUTION TR. | OIL LEAKAGE FROM DT | OIL LEAKAGE PROBLEM ATTENDED | GALI NO-4 VIJAY MOHALLA | 84
22 | 19.06.2018 | YVR | 43270.4965 | 43270.6243 | 3:04 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | GHONDA PATTI CHAUHAN | 86 | NETWORK UPGRADATION WORK
23 | 19.06.2018 | YVR | 43270.5228 | 43270.5782 | 1:20 | LT FEEDER | FOR CONNECTING REPAIRED CABLE | REPAIRED CABLE CONNECTED | BLOCK P-BRAHM PURI | 89