## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 20.06.2018 TO 06:00 HRS OF 21.06.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 20.06.2018 | CCK | 43271.384 | 43271.4856 | 2:26 | PLANNED SHUTDOWN | FOR CONNECTING REPAIRED CABLE | REPAIRED CABLE CONNECTED | GALI GULIYAN CCK | 235 | FOR CONNECTING REPAIRED CABLE
2 | 20.06.2018 | CCK | 43271.7879 | 43271.8576 | 1:40 | HT SYSTEM FAULT | TRIPPING | PARTIAL | TOWN HALL-KUCHA NATWA | 1564
3 | 20.06.2018 | DGN | 43271.5236 | 43271.5799 | 1:21 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT UNDER LOW IR VALUE | TRANSFORMER REPLACED | BALBIR NAGAR EXTENSION | 685
4 | 20.06.2018 | DRG | 43271.5213 | 43271.5977 | 1:50 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | COMMUNITY CENTRE-JAMA MASZID | 693
5 | 20.06.2018 | JLM | 43271.4653 | 43271.5451 | 1:55 | PLANNED SHUTDOWN | FEEDER SHIFTING WORK | LT FEEDER SHIFTING WORK CARRIED OUT | SHALIMAR PARK-SHAHDARA | 43
6 | 21.06.2018 | JLM | 43272.1983 | 43272.2708 | 1:44 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME REPAIRED | JAWALA NAGAR-SHAHDARA | 162
7 | 20.06.2018 | KWN | 43271.3917 | 43271.509 | 2:49 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK A-BABU NAGAR | 86 | NEW RMU INSTALLED
8 | 20.06.2018 | KWN | 43271.4549 | 43271.5035 | 1:10 | PLANNED SHUTDOWN | FOR ATTENDING HOT POINT | HOT POINT ATTENDED | VILLAGE SABHEPUR KWR | 62
9 | 20.06.2018 | KWN | 43271.9792 | 43272.0486 | 1:40 | HT SYSTEM FAULT | TRIPPING | HVDS POLE DAMAGED SAME REPLACED | BLOCK D-SONIA VIHAR | 70
10 | 21.06.2018 | KWN | 43272.0486 | 43272.2882 | 5:45 | HT SYSTEM FAULT | HT POLE DAMAGED BY UNKNOWN VEHICLE | DAMAGED POLE REPLACED | BLOCK D-2 SONIA VIHAR | 1353 | HT POLE DAMAGED BY UNKNOWN VEHICLE SAME REPLACED
11 | 20.06.2018 | LNR | 43271.4306 | 43271.534 | 2:29 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK G-PREET VIHAR | 86 | FAULTY ACB REPLACED
12 | 21.06.2018 | MVR | 43272.0598 | 43272.1207 | 1:28 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK 12-KALYAN PURI | 298
13 | 20.06.2018 | PHG | 43271.3833 | 43271.5 | 2:48 | PLANNED SHUTDOWN | FOR ATTENDING HOT POINT | HOT POINT ATTENDED | SADAR BAZAR-RAM NAGAR | 259 | FOR ATTENDING HOT POINT ON LINE
14 | 20.06.2018 | PHG | 43271.4264 | 43271.4921 | 1:35 | PLANNED SHUTDOWN | FOR ATTENDING HOT POINT | HOT POINT ATTENDED | BLOCK J-AHATA KEDARA | 259
15 | 20.06.2018 | YVR | 43271.4535 | 43271.584 | 3:08 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | ARVIND NAGAR-GHONDA | 55 | CABLE END BOX REPLACED
16 | 20.06.2018 | YVR | 43271.4666 | 43271.5171 | 1:13 | LT FEEDER | TO ATTEND FAULT IN THE LINE | SOCKET BURNT SAME REPLACED | KACHI COLONY-JAGJEET NAGAR | 1867
17 | 20.06.2018 | YVR | 43271.4674 | 43271.5845 | 2:49 | PLANNED SHUTDOWN | FOR CONNECTING REPAIRED CABLE | REPAIRED CABLE CONNECTED | BLOCK B-SUBHASH MOHALLA | 79 | FOR CONNECTING REPAIRED CABLE
18 | 20.06.2018 | YVR | 43271.4854 | 43271.6284 | 3:26 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK C-JAI PRAKASH NAGAR | 173 | NETWORK UPGRADATION WORK
19 | 20.06.2018 | YVR | 43271.4861 | 43271.6288 | 3:25 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | NAYAGAON-NEW KATWARA | 173 | NETWORK UPGRADATION WORK
20 | 20.06.2018 | YVR | 43271.4868 | 43271.5616 | 1:48 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK T-GAUTAM PURI | 152
21 | 20.06.2018 | YVR | 43271.534 | 43271.6713 | 3:18 | PLANNED SHUTDOWN | PROJECT WORK | NETWORK UPGRADATION WORK | BLOCK Q-BRAHM PURI | 174 | NETWORK UPGRADATION WORK
22 | 20.06.2018 | YVR | 43271.5752 | 43271.658 | 1:59 | PLANNED SHUTDOWN | REPLACEMENT OF DAMAGED LTAB | DAMAGED LTAB REPLACED | BLOCK D-NEW SILAMPURI PHASE IV | 2554
23 | 20.06.2018 | YVR | 43271.7844 | 43271.9066 | 2:56 | DISTRIBUTION TR. | HEAVY OIL LEAKAGE FROM 400KVA DT | TRANSFORMER REPLACED | GALI NO-3 MAJAR WALA SEELAMPUR | 319 | HEAVY OIL LEAKAGE FROM 400KVA DT SAME REPLACED