## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 21.06.2018 TO 06:00 HRS OF 22.06.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 21.06.2018 | CCK | 43272.7503 | 43272.8346 | 2:01 | LT FEEDER | DB AND SERVICE LINE BURNT DUE TO FIRE IN BUILDING | SERVICE LINE REPAIRED | KHARI BAOLI | 129 | DB AND SERVICE LINE BURNT DUE TO FIRE IN BUILDING
2 | 21.06.2018 | DRG | 43272.5042 | 43272.5556 | 1:14 | LT FEEDER | FOR CONNECTING REPAIRED CABLE | REPAIRED CABLE CONNECTED | DAV PUBLIC SCHOOL-KALA MASZID | 254
3 | 21.06.2018 | KRN | 43272.6236 | 43272.8225 | 4:46 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE BURNT DUE TO FIRE ON POLE | DAMAGED WIRE REPAIRED | GOLDEN PARK, SHIVPURI | 264 | WIRE BURNT DUE TO FIRE ON POLE SAME REPAIRED
4 | 21.06.2018 | LNR | 43272.4694 | 43272.5289 | 1:26 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | BLOCK F-LALITA PARK | 173
5 | 22.06.2018 | MVR | 43273.1083 | 43273.1806 | 1:44 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE BURNT SAME REPAIRED | HIMMAT PURI-CHILLA VILLAGE | 220
6 | 22.06.2018 | NNG | 43273.0268 | 43273.2431 | 5:11 | HT SYSTEM FAULT | BOTH SOURCE CABLE FAULTY | CABLE REPAIRED | CHHAJUPUR AMBEDKAR PARK | 88 | BOTH SOURCE CABLE FAULTY SAME REPAIRED
7 | 22.06.2018 | NNG | 43273.0437 | 43273.1112 | 1:37 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | C BLK MEET NAGAR | 940
8 | 21.06.2018 | PNR | 43272.4694 | 43272.5181 | 1:10 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | DP FUSE BLOWN SAME REPLACED | BLOCK E-WEST PATEL NAGAR | 656
9 | 22.06.2018 | YVR | 43273.1501 | 43273.2123 | 1:30 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | LTAB BURNT SAME REPAIRED | GALI NO-14 BHAJANPURA | 1849