## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 25.06.2018 TO 06:00 HRS OF 26.06.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 25.06.2018 | DGN | 43276.6061 | 43276.6576 | 1:14 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | BLOCK J-DILSHAD COLONY | 170
2 | 25.06.2018 | JLM | 43276.9931 | 43277.159 | 3:59 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | DISTRIBUTION BOX DAMAGED DUE TO FIRE | BURNT DISTRIBUTION BOX REPLACED | TRIVENI APPARTMENT | 113 | DISTRIBUTION BOX DAMAGED DUE TO FIRE SAME REPLACED
3 | 26.06.2018 | JLM | 43277.0729 | 43277.1493 | 1:50 | LT FEEDER | LTAB BURNT | LTAB REPAIRED | BIHARI COLONY-SHAHDARA | 44
4 | 25.06.2018 | KWN | 43276.5022 | 43276.5454 | 1:02 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | PRC BURNT SAME REPLACED | JOHRI ENCLAVE-BHAGIRATHI VIHAR | 25
5 | 25.06.2018 | KWN | 43276.9472 | 43277.0183 | 1:42 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | BLOCK D-OLD MUSTAFABAD | 777
6 | 25.06.2018 | LNR | 43276.3088 | 43276.3611 | 1:15 | DISTRIBUTION TR. | FAULTY TRANSFORMER REPLACEMENT | MOBILE TRANSFORMER INSTALLED | BLOCK W & O-SHAKARPUR KHAS | 86
7 | 25.06.2018 | LNR | 43276.6654 | 43276.7125 | 1:08 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME ATTENDED | BLOCK G-PREET VIHAR | 88
8 | 25.06.2018 | VSE | 43276.4549 | 43276.5111 | 1:21 | HT SYSTEM FAULT | HT SOCKET BURNT | HT SOCKET REPLACED | BLOCK C1-NEW ASHOK NAGAR | 109
9 | 25.06.2018 | YVR | 43276.4617 | 43276.7519 | 6:58 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT POLE DAMAGED BY UNKNOWN VEHICLE AND PUBLIC RESISTANCE DURING WORK EXECUTION | DAMAGED POLE REPLACED | GALI NO-21 & 22 SOUTH GAMRI | 75 | LT POLE DAMAGED BY UNKNOWN VEHICLE AND PUBLIC RESISTANCE DURING WORK EXECUTION
10 | 25.06.2018 | YVR | 43276.4914 | 43276.5382 | 1:07 | LT FEEDER | REPLACEMENT OF PIERCING CONNECTOR | PIERCING CONNECTOR REPLACED | JAFFRABAD-MAUJ PUR | 785
11 | 25.06.2018 | YVR | 43276.5319 | 43276.7431 | 5:04 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | MAINTENANCE ACTIVITY | BLOCK V-GHONDA PATTI CHAUHAN | 88 | PLANNED SHUT DOWN TAKEN TO CARRY OUT PREVENTIVE MAINTENANCE