## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 26.06.2018 TO 06:00 HRS OF 27.06.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 26.06.2018 | DRG | 43277.6734 | 43277.7207 | 1:08 | DAMAGE BY OTHER AGENCIES | SUPPLY SWITCHED OFF DUE TO DEMOLITION WORK BY MCD | AREA NORMALISED AFTER GETTING CLEARANCE OF MCD | MAIN ROAD HIMMATGARH DRG | 1416
2 | 26.06.2018 | KWN | 43277.5312 | 43277.5972 | 1:35 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | GALI NO-7 C BLOCK WEST KARAWAL NAGAR | 430
3 | 26.06.2018 | KWN | 43277.5336 | 43277.6007 | 1:37 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | PRAKASH VIHAR | 1032
4 | 26.06.2018 | KWN | 43277.5556 | 43277.6215 | 1:35 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | SHIV VIHAR PHASE-3 | 604
5 | 27.06.2018 | KWN | 43278.2484 | 43278.3472 | 2:22 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TO ATTEND FAULT IN THE LINE | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOGGING SAME ATTENDED | SHIV VIHAR PHASE-6 | 518 | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOGGING SAME ATTENDED
6 | 26.06.2018 | LNR | 43277.586 | 43277.6424 | 1:21 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED UE TO FIRE ON POLE | DAMAGED SERVICE LINE REPAIRED | BLOCK F-PREET VIHAR | 93
7 | 26.06.2018 | NNG | 43277.7527 | 43277.8347 | 1:58 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB FAULTY SAME REPAIRED | SABOLI EXTENSION MANDOLI | 1139
8 | 27.06.2018 | NNG | 43278.2465 | 43278.3253 | 1:53 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TO ATTEND FAULT IN THE LINE | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOGGING SAME ATTENDED | BLOCK A-HARSH VIHAR | 860
9 | 26.06.2018 | YVR | 43277.6366 | 43277.7104 | 1:46 | LT FEEDER | FOR ATTENDING HOT SPOT | HOT SPOT ATTENDED | BLOCK C-NEW SILAMPURI PHASE IV | 996