## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 28.06.2018 TO 06:00 HRS OF 29.06.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 28.06.2018 | DGN | 43279.3747 | 43279.4514 | 1:50 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | F BLOCK NEW SEEMA PURI | 4132
2 | 28.06.2018 | DGN | 43279.4701 | 43279.5673 | 2:20 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT POLE DAMAGED | DAMAGED POLE REPAIRED | C BLOCK NEW SEEMA PURI | 18 | LT POLE DAMAGED BY UNKNOWN VEHICLE & PUBLIC RESISTANCE DURING WORK EXECUTION AT C BLOCK NEW SEEMA PURI.
3 | 28.06.2018 | DGN | 43279.5053 | 43279.5833 | 1:52 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | OIL LEAKAGE FROM DT SAME ATTENDED | BLOCK B-DILSHAD COLONY | 2717
4 | 28.06.2018 | DGN | 43279.7258 | 43279.7976 | 1:43 | LT FEEDER | FOR CONNECTING LT CABLE | NEW LT CABLE CONNECTED | BLOCK B-OLD SIMAPURI | 204
5 | 28.06.2018 | KWN | 43279.4285 | 43279.4874 | 1:25 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | PART-6 SONIA VIHAR | 19
6 | 28.06.2018 | KWN | 43279.5111 | 43279.6111 | 2:24 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HVDS LEAD BURNT | HVDS LEAD FAULTY SAME REPAIRED | GALI NO-5 PART-6 SONIA VIHAR | 19 | FORCE MAJEURE- HVDS LEAD FAULTY DUE TO HEAVY RAIN
7 | 28.06.2018 | KWN | 43279.7683 | 43279.816 | 1:09 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | GALI NO-12 PHASE-4 SHIV VIHAR | 1882
8 | 28.06.2018 | LNR | 43279.2768 | 43279.3549 | 1:52 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT | MOBILE TRANSFORMER REPLACED | BLOCK A-GANESH NAGAR | 1544
9 | 28.06.2018 | NNG | 43279.3045 | 43279.3825 | 1:52 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | TO ATTEND FAULT IN THE LINE | BREAKDOWN DUE TO HEAVY RAIN AND WATER LOGGING | LAL MANDIR ROAD HARSH VIHAR | 259
10 | 28.06.2018 | NNG | 43279.6308 | 43279.7025 | 1:43 | HVDS TRANSFORMER | REPLACEMENT OF HVDS TRANSFORMER | 25KVA HVDS TRANSFORMER REPLACED | BLOCK D-MEET NAGAR | 292
11 | 28.06.2018 | NNG | 43279.9464 | 43280.0069 | 1:27 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | POCKET A-CHITTRAKOOT | 246
12 | 28.06.2018 | PNR | 43279.5966 | 43279.6458 | 1:11 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT | MOBILE TRANSFORMER REPLACED | BLOCK 7B-DEV NAGAR | 2089
13 | 28.06.2018 | VSE | 43279.7147 | 43279.9289 | 5:08 | DAMAGE BY OTHER AGENCIES | LT CABLE DAMAGED BY JCV OF DJB | NEW CABLE LAID | BLOCK C1-NEW ASHOK NAGAR | 35 | FORCE MAJEURE-LT CABLE DAMAGED BY DJB
14 | 28.06.2018 | VSE | 43279.8311 | 43279.8739 | 1:02 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | A BLOCK HANUMAN MANDIR | 2145
15 | 28.06.2018 | YVR | 43279.3553 | 43279.426 | 1:42 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HTAB FAULTY SAME REPAIRED | BLOCK B-SUBHASH MOHALLA | 1294