## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 29.06.2018 TO 06:00 HRS OF 30.06.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 29.06.2018 | DGN | 43280.4625 | 43280.5365 | 1:47 | LT FEEDER | TO ATTEND THE FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | BLOCK A-DILSHAD COLONY | 170
2 | 29.06.2018 | DRG | 43280.5292 | 43280.5739 | 1:04 | LT FEEDER | TO ATTEND THE FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | DAV PUBLIC SCHOOL-KALA MASZID | 101
3 | 29.06.2018 | JLM | 43280.441 | 43280.509 | 1:38 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT DUE TO OIL LEAKAGE | 400KVA TRANSFORMER REPLACED | MAHAVEER BLOCK JHILMILL | 425
4 | 30.06.2018 | JLM | 43281.028 | 43281.0964 | 1:39 | LT FEEDER | TO ATTEND FAULT IN THE LINE | DISTRIBUTION BOX FAULTY SAME BYPASSED | VISHWAS NAGAR-SHAHDARA | 204
5 | 29.06.2018 | KWN | 43280.367 | 43280.4167 | 1:11 | LT FEEDER | TO ATTEND THE FAULT IN THE LINE | CABLE FAULTY AREA BACKFEEDED | GOVIND VIHAR KWR | 65
6 | 29.06.2018 | KWN | 43280.3712 | 43280.4167 | 1:05 | LT FEEDER | TO ATTEND THE FAULT IN THE LINE | LTAB FAULTY SAME REPAIRED | B-BLOCK DAYALPUR | 23
7 | 29.06.2018 | KWN | 43280.6865 | 43280.7292 | 1:01 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | GALI NO-2 D BLOCK WEST KARAWAL NAGAR | 125
8 | 29.06.2018 | KWN | 43280.7307 | 43280.807 | 1:50 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | GALI NO-2 A BLOCK PANCHAL VIHAR | 130
9 | 29.06.2018 | KWN | 43280.9903 | 43281.0721 | 1:58 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT SOCKET BURNT SAME REPLACED | MAIN ROAD CHAUHAN PATTI | 863
10 | 29.06.2018 | LNR | 43280.6746 | 43280.7399 | 1:34 | DISTRIBUTION TR. | TO ATTEND OIL LEAKAGE FROM TRANSFORMER | OIL LEAKAGE PROBLEM ATTENDED | BLOCK A-LALITA PARK | 86
11 | 29.06.2018 | NNG | 43280.4646 | 43280.525 | 1:27 | HVDS CABLE & OTHER SYSTEM | TO ATTEND THE FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | EAST GOKULPUR NNG | 302
12 | 29.06.2018 | YVR | 43280.5142 | 43280.5778 | 1:32 | LT FEEDER | FOR CONNECTING NEW LT CABLE | NEW LT CABLE CONNECTED | BLOCK C-GHONDA PATTI | 1257
13 | 29.06.2018 | YVR | 43280.8566 | 43280.9306 | 1:47 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FOR REPAIRING DAMAGED POLE | DAMAGED POLE REPAIRED | ARVIND NAGAR GHONDA | 180