## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 30.06.2018 TO 06:00 HRS OF 01.07.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 30.06.2018 | LNR | 43281.5367 | 43281.6153 | 1:53 | LT FEEDER | TO ATTEND THE FAULT IN THE LINE | SPARKING IN LT ACB, SAME REPAIRED | PARK END-GAGAN VIHAR,NEW RAJDHANI ENCLAVE. | 127
2 | 01.07.2018 | MVR | 43282.0778 | 43282.2396 | 3:53 | HT SYSTEM FAULT | TO BYPASS RMU | RMU FOUND FLASHED, SAME BYPASSED | BLOCK 13-TRILOKPURI MAYUR VIHAR PHASE II. | 70 | RMU FOUND FLASHED, SAME BYPASSED & AREA NORMALISED
3 | 30.06.2018 | PNR | 43281.9761 | 43282.0868 | 2:39 | HT SYSTEM FAULT | TRIPPING | HT CABLE FOUND FAULTY, AREA BACKFEEDED | BALJIT NAGAR,DEV NAGAR. | 64 | HT CABLE FOUND FAULTY, AREA BACKFEEDED
4 | 30.06.2018 | YVR | 43281.4596 | 43281.5065 | 1:08 | LT FEEDER | TO ATTEND THE FAULT IN THE LINE | LT CABLE BURNT, SAME REPAIRED | ZERO PUSTA-USMAN PUR. | 161
5 | 30.06.2018 | YVR | 43281.9937 | 43282.0749 | 1:57 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB BURNT DUE TO FIRE, SAME REPAIRED | JAFFRABAD-MAUJ PUR. | 86