## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 17/06/2018 06:00Hr. To 18/06/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 17/06/2018 | MNG | 06:09 | 07:19 | 01:09 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kv FDR SEWAK PARK VIKAS PURI , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : MANSA RAM PARK_3,SHANTI PARK, | 743
2 | 17/06/2018 | SVR | 10:05 | 11:28 | 01:22 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR SAHEEN BAGH , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : SHAHEEN BAGH, | 147
3 | 17/06/2018 | VKP | 10:46 | 11:51 | 01:04 | HVDS CABLE & OTHER SYSTEM | Grid:BODELLA-II GRID To Feeder:11KV SHIV VIHAR , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : SHEIKH SARAI PH I PKT B,JJ COLONY VIKASPURI_1,SHIV VIHAR,DEEP ENCLAVE, | 768
4 | 17/06/2018 | SKT | 10:53 | 12:14 | 01:20 | LT FEEDER | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR SHIVALIK A-BLOCK , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : SHIVALIK COLONY_1 | 48
5 | 17/06/2018 | NGL | 11:00 | 14:45 | 03:45 | PLANNED SHUTDOWN | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR F-BLOCK D.S.I.D.C , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : UDYOG NAGAR_2,,JJC UDYOG NAGAR | 269
6 | 17/06/2018 | UMN | 11:31 | 12:58 | 01:27 | EMERGENCY SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR IJKL BLOCK UTTAM NAGAR , LT CIRCUIT:TO ATTEND FAULT IN LT CIRCUIT | RESTORED/ REPAIRED | Part of : BLOCK J,SANTOSH PARK_2, | 69
7 | 17/06/2018 | MDK | 12:06 | 15:01 | 02:55 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR HIRAN KUDNA , TRANSFORMER:TO REPAIR/REPLACE THE POLE. | RESTORED/ REPAIRED | Part of : JAFARPUR URF HIRAN KUDNA VILLAGE_2,GHEWRA VILLAGE,TIKRI KALAN VILLAGE_2, | 693
8 | 17/06/2018 | UMN | 12:58 | 15:14 | 02:15 | EMERGENCY SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR IJKL BLOCK UTTAM NAGAR , LT CIRCUIT:TO ATTEND FAULT IN LT CIRCUIT | RESTORED/ REPAIRED | Part of : BLOCK J,SANTOSH PARK_2, | 72
9 | 17/06/2018 | SKT | 13:22 | 15:11 | 01:49 | EMERGENCY SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR CHATTARPUR NO-2 , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : CHHATARPUR VILLAGE, | 52
10 | 17/06/2018 | PLM | 13:37 | 15:28 | 01:50 | LT FEEDER | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV RMU NO.-2 , LT POLE,:FIRE AT SHAKLE POINTS, | RESTORED/ REPAIRED | Part of : PALAM VILLAGE_1 | 53
11 | 17/06/2018 | VKP | 13:44 | 15:15 | 01:31 | HT SYSTEM FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR PRESS ENCLAVE , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : SHIV VIHAR, | 584
12 | 17/06/2018 | DWK | 13:48 | 15:33 | 01:45 | HT SYSTEM FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR SEC-19 , HT CONSUMER,:METERING CUBICAL FLASH/DAMAGE, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 6,,DWARKA SECTOR 6 PKT 1 | 538
13 | 17/06/2018 | PJB | 15:04 | 16:27 | 01:23 | HT SYSTEM FAULT | Grid:S.B.MILL (33/11kV) GRID SSTN To Feeder:11kV FDR TULSI RAM DHARAMSALA , HT O/H,:CROSS ARM BROKEN, | RESTORED/ REPAIRED | Part of : NEW MOTI NAGAR BLOCK P,,NEW MOTI NAGAR,KARAMPURA INDUSTRIAL AREA | 258
14 | 17/06/2018 | SVR | 15:11 | 16:22 | 01:10 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR ABU BAKER MASJID , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : SHAHEEN BAGH, | 68
15 | 17/06/2018 | NGL | 15:50 | 16:53 | 01:03 | HVDS CABLE & OTHER SYSTEM | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR LAXMI PARK , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : NIHAL VIHAR_1,RAO VIHAR | 686
16 | 17/06/2018 | SKT | 16:16 | 18:02 | 01:45 | EMERGENCY SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR MCD PARK CHATTARPUR NO.-1 , LT CIRCUIT:TO ATTEND FAULT IN LT CIRCUIT | RESTORED/ REPAIRED | Part of : DR AMBEDKAR COLONY, | 47
17 | 17/06/2018 | SVR | 16:40 | 17:45 | 01:05 | HT SYSTEM FAULT | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR BADARPUR O/H , HT CONSUMER,:CT MOISTURE/DAMAGED, | RESTORED/ REPAIRED | Part of : A-30, NISSAN MCIE | 1
18 | 17/06/2018 | VKP | 17:10 | 18:31 | 01:21 | HT SYSTEM FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR PRESS ENCLAVE , DISTRIBUTION TRANSFORMER,:TRANSFORMER LT LEAD BURNT/DAMAGED, | RESTORED/ REPAIRED | Part of : SHIV VIHAR, | 584
19 | 17/06/2018 | NGL | 17:11 | 18:51 | 01:40 | HVDS CABLE & OTHER SYSTEM | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR LAXMI PARK , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : NIHAL VIHAR_1,RAO VIHAR | 686
20 | 17/06/2018 | PJB | 18:44 | 19:49 | 01:04 | HT SYSTEM FAULT | Grid:S.B.MILL (33/11kV) GRID SSTN To Feeder:11kV FDR CHARKHI GATE , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : NORTH INDUSTRIAL AREA, | 208
21 | 17/06/2018 | TGN | 21:48 | 22:52 | 01:03 | HT SYSTEM FAULT | Grid:GURU GOVIND SINGH HOSPITAL GRID SSTN - WTC123. To Feeder:11 kV FDR C-BLOCK BREAK DOWN OFFICE , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TAGORE GARDEN EXTN BLOCK C,,TAGORE GARDEN EXTENSION,TAGORE GARDEN EXTN BLOCK EA,VISHAL ENCLAVE,TAGORE GARDEN EXTN BLOCK D | 536
22 | 17/06/2018 | PLM | 21:50 | 23:38 | 01:47 | HT SYSTEM FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV KAILASH PURI FEEDER NO.-2 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : KAILASH PURI,,KAILASHPURI MAIN,INDRA PARK EXTN,KAILASHPURI EAST,SAGARPUR MAIN | 624
23 | 17/06/2018 | NGL | 22:37 | 00:12 | 01:34 | HT SYSTEM FAULT | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR LAXMI PARK , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : NIHAL VIHAR_1,RAO VIHAR | 686
24 | 17/06/2018 | NGL | 22:40 | 00:16 | 01:36 | HT SYSTEM FAULT | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR NILOTHI STP , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : ADHYAPAK NAGAR_1,,CHANDER VIHAR,NILOTHI_1,SHRI RAM COLONY,NILOTHI VILLAGE,TEK CHAND COLONY | 619
25 | 17/06/2018 | SVR | 23:10 | 00:40 | 01:29 | HT SYSTEM FAULT | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR COMMUNITY CENTER , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : ABDUL FAZAL ENCLAVE,ABUL FAZAL ENCLAVE PART I,BHAGWAN DAS COLONY BLOCK C, | 684
26 | 17/06/2018 | SVR | 23:16 | 00:31 | 01:14 | LT FEEDER | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR SPORTS COMPLEX JASOLA , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : JASOLA VILLAGE_1 | 62
27 | 18/06/2018 | SKT | 01:24 | 03:05 | 01:40 | HT SYSTEM FAULT | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:FATEH PUR BERI , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : BHATI KHURD VILLAGE, | 578
28 | 18/06/2018 | KPR | 03:09 | 04:12 | 01:03 | HT SYSTEM FAULT | Grid:66kV BATRA GRID To Feeder:11kV FDR A-BLOCK RAJU PARK , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : JAWAHAR PARK_1,,DEOLI | 662
29 | 18/06/2018 | SKT | 03:15 | 04:49 | 01:34 | HT SYSTEM FAULT | Grid:66kV C-DOT GRID To Feeder:11KV FDR NTRO-2 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : AYA NAGAR VILLAGE_1,,GHITORNI_2,GADAIPUR VILLAGE_2 | 512
30 | 18/06/2018 | SVR | 04:27 | 05:32 | 01:04 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-2 M.B EXTN. , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : MOLARBAND EXTENSION, | 54