## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 18/06/2018 06:00Hr. To 19/06/2018 06:00Hr.
11
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 19/06/2018 | ALN | 04:05 | 05:06 | 01:00 | HT SYSTEN FAULT | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR TODAY HOTEL FDR. NO.2 VIA J.K CEMENT , HT CONSUMER,:CONSUMER HT PANEL FLASH, | RESTORED/ REPAIRED | Part of : OKHLA INDUSTRIAL AREA PH I BLOCK A_1, | 316
2 | 18/06/2018 | VKP | 20:03 | 21:12 | 01:08 | HT SYSTEN FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR PRESS ENCLAVE , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : PHIRNI WALA | 484
3 | 18/06/2018 | NGL | 17:35 | 18:47 | 01:12 | HVDS TRANSFORMER | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR LAXMI PARK , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : NE-BLK VISHNU GDN,, DAIMA HOSPITAL NIHAL VIHAR,, LAXMI PARK NO-2 | 285
4 | 18/06/2018 | VKJ | 12:30 | 13:50 | 01:19 | HT SYSTEN FAULT | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR CENTAUR HOTEL , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : MTNL (HT CONSUMER) | 1
5 | 18/06/2018 | DWK | 10:54 | 12:18 | 01:23 | HVDS TRANSFORMER | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR RAJAPURI SSTN NO-1 , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : BHARAT VIHAR,, RAJAPURI ,, IDPM ELECTRICALS | 261
6 | 18/06/2018 | NGL | 10:40 | 12:02 | 01:21 | HT SYSTEN FAULT | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR UDYOG NGR.NO-4 (NEW) , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : UDYOG NAGAR,, WATER TANK JJ CLUSTR | 399
7 | 18/06/2018 | PLM | 09:49 | 10:55 | 01:05 | HT SYSTEN FAULT | Grid:G-7 SECTOR -9 DWARKA To Feeder:11KV FDR STORE SECTOR-8 (PLM) , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : Gali No-10&13 Raj Ngr,, Dharma Wala | 428
8 | 19/06/2018 | SKT | 04:37 | 06:11 | 01:34 | LT FEEDER | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:ANDHERIA BAGH-1 , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : RAJPUR COLONY_2, | 88
9 | 19/06/2018 | PLM | 00:13 | 01:18 | 01:04 | LT FEEDER | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR BHATTWALA , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : RAJ NAGAR-2 | 61
10 | 18/06/2018 | SKT | 15:13 | 16:36 | 01:23 | LT FEEDER | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR MALVIYA NAGAR HOSPITAL , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : J-4 KHIRKI EXTN | 102
11 | 18/06/2018 | ALN | 15:00 | 16:05 | 01:05 | LT FEEDER | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-8, OKHLA PHASE-1 , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : OKHLA PH- 1 | 32
12 | 18/06/2018 | ALN | 13:23 | 14:45 | 01:22 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-11 O/H , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : NEAR C-1OO,DDA SHEADS OKHLA PH- 1 | 61
13 | 18/06/2018 | SVR | 13:22 | 14:36 | 01:13 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR D.P NTPC , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : H. VHR, A, B, C BLOCKS H N EXT-3 | 92
14 | 18/06/2018 | ALN | 13:20 | 14:39 | 01:18 | LT FEEDER | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-8, OKHLA PHASE-1 , SERVICE LINE,:U/G SERVICE CABLE FAULT, | RESTORED/ REPAIRED | Part of : OKHLA PH- 1 | 32
15 | 18/06/2018 | ALN | 13:17 | 14:36 | 01:19 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR VILLAGE TEHKHAND , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : MULTANI MOHALLA TEKHAND | 83
16 | 18/06/2018 | SVR | 12:54 | 14:21 | 01:27 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR G-4, SHAHEEN BAGH , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : G-Blk 40 Shaheen Bagh | 68
17 | 18/06/2018 | SVR | 12:34 | 14:04 | 01:29 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-2 M.B EXTN. , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : MOLAR BADH EXT | 69
18 | 18/06/2018 | PLM | 12:08 | 13:37 | 01:28 | LT FEEDER | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR POCKET-10 NASEERPUR , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : J-2 Block Sagarpur | 81
19 | 18/06/2018 | ALN | 12:07 | 13:44 | 01:36 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S-A OKHLA PHASE-1 , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : OKHLA PH- 1 | 32
20 | 18/06/2018 | PLM | 11:48 | 13:34 | 01:45 | LT FEEDER | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR BENGALI COLONY , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : Bengali Colony FS | 98
21 | 18/06/2018 | SVR | 11:26 | 13:06 | 01:39 | LT FEEDER | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR SRINIWASHPURI , LT ACB,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : J.J COLONY S.N PURI | 80
22 | 18/06/2018 | SKT | 11:02 | 12:04 | 01:02 | LT FEEDER | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR SHIVALIK A-BLOCK , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : I BLOCK MALVIYA NAGAR | 91
23 | 18/06/2018 | KPR | 10:51 | 12:39 | 01:48 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR HOT MIX PLANT , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : PETROL PUMP LAL KUAN | 1
24 | 18/06/2018 | JKP | 12:06 | 16:48 | 04:42 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV GANDHI PARK , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : SFS FLATS SSTN, HARI NAGAR | 89
25 | 18/06/2018 | PLM | 12:06 | 15:52 | 03:46 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV SADH NAGAR GALI NO.-9 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SADH NAGAR DDA PARK | 76
26 | 18/06/2018 | KPR | 11:55 | 13:23 | 01:28 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR LSC NO.-2,MADANGIR(VIA S/S NO.-15) , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : HANUMAN MANDIR,M.GIR | 268
27 | 18/06/2018 | VKJ | 11:00 | 16:44 | 05:44 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR RANGPURI NO.-1 , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : VASANT KUNJ ENCLAVE | 72
28 | 18/06/2018 | HKS | 11:00 | 14:09 | 03:09 | PLANNED SHUTDOWN | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR C-7 PANCH SHEEL PARK (RMU) NEAR FLY OVER CHIRAG DELHI , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : C-17 PANSHEEL ENCLAVE | 63
29 | 18/06/2018 | SKT | 11:00 | 12:54 | 01:54 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-4, S/S NO.-03 PUSHP VIHAR VIA RMU OUT SIDE GRID , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SEC-3 PUSHAP VIHAR,, DEFENCE SERVICES ENC SAINIK FRM | 319
30 | 18/06/2018 | SKT | 11:00 | 12:47 | 01:47 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-1 S/S NO.-1 PUSHP VIHAR , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : SEC-3 PUSHAP VIHAR | 83
31 | 18/06/2018 | NZD | 11:00 | 17:29 | 06:29 | PLANNED SHUTDOWN | Grid:33kV NDSE-2 GRID To Feeder:11kV FDR G.P.O INA-2+ WAZIR NAGAR GALI NO.-5 , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : GALI NO.-5, WAZIR NAGAR, KOTLA | 313
32 | 18/06/2018 | SKT | 10:56 | 12:54 | 01:58 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR DMRC VIA ANDHRA SCHOOL S/S+BLIND SCHOOL+PUSHP VIHAR S/S NO.-12 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : PUSHAP VIHAR | 249
33 | 18/06/2018 | JFR | 10:47 | 15:23 | 04:36 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NEW MUNDHELA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MUNDELA KHURD | 317
34 | 18/06/2018 | VKJ | 10:06 | 15:40 | 05:34 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-2 (KAPASHERA) , LT CIRCUIT:TO CONNECT NEW CABLE | RESTORED/ REPAIRED | Part of : RAJOKARI-2 | 63
35 | 18/06/2018 | VKJ | 13:42 | 15:52 | 02:09 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR SECTOR A-2 VASANT KUNJ , LT ACB:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : DOODH WALI GALI MEHRAULI | 79
36 | 18/06/2018 | SKT | 13:32 | 15:55 | 02:22 | EMERGENCY SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR MCD PARK CHATTARPUR NO.-1 , 11KV FEEDER:PREDICTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : MCD PARK OPP CHHATAR PUR-1 | 81
37 | 18/06/2018 | RKP | 12:35 | 15:35 | 02:59 | EMERGENCY SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-1, VASANT ENCLAVE FDR-1 , 11KV FEEDER:REPLACEMENT OF SOCKETS | RESTORED/ REPAIRED | Part of : VASANT ENCLAVE NO.-1 | 65
38 | 18/06/2018 | VKJ | 12:33 | 17:34 | 05:01 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR WARD-2 MEHRAULI , LT CIRCUIT:LOAD BALANCING | RESTORED/ REPAIRED | Part of : BALMIKI MANDIR,, DESU ROADMEHRAULI,, KHATTE WALLA (HANUMAN MANDIR) | 214
39 | 18/06/2018 | UMN | 11:58 | 13:35 | 01:37 | EMERGENCY SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR SANJAY ENCLAVE , LT CIRCUIT:FEEDER PILLAR MAINTENANCE | RESTORED/ REPAIRED | Part of : SUBHASH PARK | 68
40 | 18/06/2018 | VKP | 11:57 | 13:34 | 01:37 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR PRESS ENCLAVE , LT ACB:TO ATTEND HOT SPOT | RESTORED/ REPAIRED | Part of : PHIRNI WALA | 342
41 | 18/06/2018 | NHP | 11:11 | 12:55 | 01:44 | EMERGENCY SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR SAI PLAZA , LT CIRCUIT:FEEDER PILLAR MAINTENANCE | RESTORED/ REPAIRED | Part of : SAI PLAZASANT NAGAR-2 | 53
42 | 18/06/2018 | VKJ | 09:51 | 11:27 | 01:35 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR HOLY CHOWK BIJWASAN , LT CIRCUIT:REPLACEMENT OF PIERCING CONNECTOR | RESTORED/ REPAIRED | Part of : HARIJAN BASTI BIJWASAN | 73
43 | 18/06/2018 | MNG | 09:16 | 10:27 | 01:11 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR JHANDA CHOWK OM VIHAR , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : OM VIHAR PHASE-5(JHANDA CHOWK) | 69
44 | 18/06/2018 |  | 8:10 | 9:52 | 1:42 | EHV TRIPPING | DUE TO BD FROM OKHLA GRID TO MASJID MOTH CKT | SUPPLY RESTORED | DDA FLAT GK 1 W BLK .A BLK ,PUMPING STATION B BLK | 3472
45 | 18/06/2018 |  | 8:38 | 10:52 | 2:14 | EHV TRIPPING | DUE TO BD FROM PANKHA ROAD TO PTR -3 | SUPPLY RESTORED | C 1 JKP,CHANKYA PLACE ,UTTAM NGR T,SITAPURI ,JEEVAN PARK | 6156

## Reasons (hidden)
DISTRIBUTION TR.
OUTAGE REPORT FOR : 04/06/2018 06:00Hr. To 05/06/2018 06:00Hr.
HT SYSTEN FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES