## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 20/06/2018 06:00Hr. To 21/06/2018 06:00Hr.
11
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 21/06/2018 | RKP | 02:48 | 03:49 | 01:01 | HT SYSTEN FAULT | Grid:RIDGE VALLEY (66/33/11kV) GRID SSTN To Feeder:11kV FDR COD , HT O/H,:HTAB DAMAGED, | RESTORED/ REPAIRED | Part of : MES,B.I.LINE (HT CONSUMER) | 1
2 | 21/06/2018 | NZD | 02:40 | 03:51 | 01:11 | HT SYSTEN FAULT | Grid:LAJPAT NAGAR-III (33/11kV) GRID SSTN To Feeder:6-FIROZ GANDHI ROAD , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : FEROZ GANDHI ROAD LAJPAT NAGAR-3 | 325
3 | 20/06/2018 | PLM | 23:48 | 01:34 | 01:46 | HT SYSTEN FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SEC.-9 (PLM. DIVISION) , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : BAGDOLA VILL ,, SASTRI MARG RAJ NAGAR,, Gali No-10 Raj Ngr | 432
4 | 20/06/2018 | PLM | 23:46 | 01:27 | 01:40 | HT SYSTEN FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-8 RMU + 11kV FDR PKT-2, SEC-9 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 8,,DWARKA SECTOR 9,BLOCK A DWARKA SECTOR 8 | 464
5 | 20/06/2018 | DWK | 23:40 | 00:56 | 01:16 | HT SYSTEN FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR NEW HILANSH SECTOR-10 11kV FDR HILANSH , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : HMM APPT.PLOT NO.-6 ,, MET QUARTERS,, SEC-10,DWK | 425
6 | 20/06/2018 | SVR | 22:57 | 00:14 | 01:16 | HT SYSTEN FAULT | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR SAHEEN BAGH , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : A-80 SHAHEEN BAGH,, ABDUL FAZAL ENCLAVE PART I&2 | 498
7 | 20/06/2018 | NGL | 21:38 | 22:55 | 01:17 | HT SYSTEN FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR BAPROLLA , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : N R NATHU RAM CONVENT SCHOOL NILOTHI,, GANGA RAM PARK,, AKASH VIHAR,, A BLOCK AMRITA PURI | 434
8 | 20/06/2018 | HKS | 21:09 | 22:43 | 01:34 | HT SYSTEN FAULT | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR N-98. PANCHSHEEL , 11KV GRID PANEL,:PROTECTION MALFUNCTION, | RESTORED/ REPAIRED | Part of : N-98 PANCHSHEEL,, VILL. SHAHAPUR JAT, SHIV MANDIR | 511
9 | 20/06/2018 | VKJ | 19:11 | 20:28 | 01:16 | HT SYSTEN FAULT | Grid:66kV I.A.A.I PALAM GRID To Feeder:11 kV FDR MEHRAM NAGAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : MAHIPAL PUR VILLAGE,, IGI AIRPORT-2 ,,MAHIPAL PUR EXTN. | 459
10 | 20/06/2018 | VKJ | 17:40 | 18:51 | 01:11 | HT SYSTEN FAULT | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR JAI SINGH , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : HINDUSTAN PETOLIUM (HT CONSUMER) | 1
11 | 20/06/2018 | NJF | 16:57 | 18:41 | 01:44 | HT SYSTEN FAULT | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR SHYAM VIHAR , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : VILLAGE-DEENPUR,, Z BLOCK ,SHYAM VIHAR | 430
12 | 20/06/2018 | SVR | 14:39 | 16:33 | 01:54 | HT SYSTEN FAULT | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR C.S.I.R STAFF QUARTER , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : C.S.I.R. STAFF QTRS.,, A BLOCK FRIENDS COLONY EAST | 429
13 | 20/06/2018 | NGL | 14:33 | 16:12 | 01:38 | HT SYSTEN FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RAJIV RATAN NO-3 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : BAPROLA VILLAGE-5,, NANGLI VIHAR | 416
14 | 20/06/2018 | NGL | 14:32 | 16:10 | 01:38 | HT SYSTEN FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RAJIV RATAN NO-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : BAPROLA VILLAGE-5,, TILANGPUR KOTLA VILLAGE,, PRADHAN ENCLAVE,, DASS GARDEN,, RAJIV RATAN AWAS FLATS | 512
15 | 20/06/2018 | NHP | 12:16 | 13:35 | 01:19 | DISTRIBUTION TR. | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR FLATTED FACTORY , DISTRIBUTION TRANSFORMER,:TRANSFORMER FAULTY, | RESTORED/ REPAIRED | Part of : SABJI MANDI OKHLA PH-3,, FLATED FACTORY,, | 210
16 | 20/06/2018 | DWK | 07:50 | 09:23 | 01:32 | DISTRIBUTION TR. | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR DDA GROUND RMU NO-2 , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : SEC-6 PKT-2 DDA FLAT DWARKA | 238
17 | 20/06/2018 | JKP | 06:50 | 08:11 | 01:20 | HT SYSTEN FAULT | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:11KV A-4 ASALATPUR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : JANAKPURI BLOCK A2, A3, A2A, A2B,, CHANDER NAGAR | 502
18 | 21/06/2018 | NHP | 05:01 | 06:25 | 01:23 | LT FEEDER | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK EAST OF KAILASH , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : PARKASH MOHALLA GARHI | 93
19 | 21/06/2018 | NHP | 00:19 | 01:37 | 01:17 | LT FEEDER | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK EAST OF KAILASH , LT O/H CABLE,:JOINT FAULT, | RESTORED/ REPAIRED | Part of : PARKASH MOHALLA GARHI:PL* | 93
20 | 20/06/2018 | SVR | 13:29 | 14:59 | 01:30 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR SAHEEN BAGH , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : KALINDI KUNJ | 84
21 | 20/06/2018 | PLM | 16:36 | 17:48 | 01:12 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SEC.-9 (PLM. DIVISION) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : Gali No-10 Raj Ngr ,, BAGDOLA VILL ,, HARIJAN BASTI,, CRPF SEC-8 | 336
22 | 20/06/2018 | VKJ | 14:06 | 15:23 | 01:17 | PLANNED SHUTDOWN | Grid:VASANT KUNJ (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR MAHIPAL PUR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MAHIPAL PUR EXTN., GHITORNI, HARIJAN BASTI BIJWASAN, SAMALKA VILL | 277
23 | 20/06/2018 | UMN | 14:06 | 15:55 | 01:49 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR PRAJAPATI I/D S/S NO.-1 , LT CIRCUIT:TO REPLACE THE DAMAGE POLE | RESTORED/ REPAIRED | Part of : PRAJAPATI COLONY | 77
24 | 20/06/2018 | SKT | 14:00 | 15:23 | 01:23 | PLANNED SHUTDOWN | Grid:66kV IGNOU GRID To Feeder:11kV FDR S/S NO.-09, IGNOU CAMPUS , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : IGNOU CAMPUS, DHANKAR ROAD ,, HARIZON BASTI NEB SARAI,, MADANGHARI BUS STAND,, D- BLOCK INDRA ENCLAVE, SAKET BLOCK-B, CHANDANHULA VILLAGE, VILLAGE DERA | 286
25 | 20/06/2018 | JFR | 13:50 | 16:39 | 02:49 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV KHERA DABAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MOHAL LAL VILLAGE JAFFARPUR,, JAFFERPUR,, VILL SURHERA,, VILLAGE KHAIRA DABAR,, VILL KHARKRI JATMAL,, PANDWALAKALAN | 488
26 | 20/06/2018 | MDK | 13:06 | 15:12 | 02:06 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR TIKRI FDR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : GALI NO 1& 2 IND AREA MUNDKA, SAWARN PARK CHANGI RAM , GHEWRA VILLAGE,TIKRI KALAN VILLAGE, BAKKAR WALA VILLAGE | 493
27 | 20/06/2018 | TGN | 12:06 | 15:58 | 03:52 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR NURSING GARDEN , LT CIRCUIT:REPLACEMENT OF DAMAGE LTAB | RESTORED/ REPAIRED | Part of : B- BLK. NAR SINGH GARDEN , 24-BLK MOTHER DIARY | 84
28 | 20/06/2018 | SVR | 12:00 | 15:01 | 03:01 | PLANNED SHUTDOWN | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR OM NAGAR GALINO-10 A,B&C BLOCK , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : OM NGR, ABC BLOCKS MPUR EXT., KALINDI KUNJ PARK , MADANPUR KHADAR VILLAGE, HARI NGR R.K.BHATI, MCIE A-BLOCK | 204
29 | 20/06/2018 | DWK | 11:25 | 12:53 | 01:28 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR KAKROLA VILLAGE , RMU:REPAIR/REPLACEMENT OF DEFECTIVE MECHANISM | RESTORED/ REPAIRED | Part of : KAKROLA-1,, BHARAT VIHAR,, DWARKA SECTOR 16 B-1 | 458
30 | 20/06/2018 | NJF | 11:20 | 14:48 | 03:28 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR HANUMAN CHOWK , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : TAJPUR KHURD, QUTUB VIHAR, SHIV ENCLAVE A B C D E BLOCK, GOPAL NAGAR, JHARODA KALAN, RAGHUBIR ENCLAVE, NAJAFGARH PARK | 456
31 | 20/06/2018 | KPR | 11:06 | 15:30 | 04:24 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR HOT MIX PLANT , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : VISHWAKARMA COLONY, | 316
32 | 20/06/2018 | VKP | 11:00 | 14:31 | 03:31 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR HASTAL SOCIETY , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : MAHARANI ENCLAVE | 69
33 | 20/06/2018 | ALN | 11:00 | 16:15 | 05:15 | PLANNED SHUTDOWN | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDR G - BLOCK, KALKAJI , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : G&E BLOCK KALKAJI | 98
34 | 20/06/2018 | HKS | 10:30 | 15:04 | 04:34 | PLANNED SHUTDOWN | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR A-1 S.J ENCLAVE , TRANSFORMER:LEAD REPLACEMENT | RESTORED/ REPAIRED | Part of : VILLAGE HIMAYUPUR | 421
35 | 20/06/2018 | PJB | 10:00 | 12:02 | 02:02 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV A-3 DISPENSARY , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : A-3 BLOCK DISPENSARY,PASCHIM VHR,,, BHARTI VIDHYA PEETH | 376
36 | 20/06/2018 | MNG | 12:36 | 14:10 | 01:34 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR MINI BUS STAND , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SHANI BAZAAR, JJ COLONY | 92
37 | 20/06/2018 | VKP | 12:21 | 14:08 | 01:47 | EMERGENCY SHUTDOWN | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV RMU NO-3 , LT ACB:REPAIRING OF ACB | RESTORED/ REPAIRED | Part of : M-BLOCK LSC,VIKAS PURI | 87
38 | 20/06/2018 | TGN | 10:56 | 12:41 | 01:44 | EMERGENCY SHUTDOWN | Grid:GURU GOVIND SINGH HOSPITAL GRID SSTN - WTC123. To Feeder:11KV FDR G-BLOCK SHIVAJEE ENCLAVE , TRANSFORMER:TO ATTEND OIL LEAKAGE | RESTORED/ REPAIRED | Part of : B-BLK JANTA CLY GURUDAWAR | 79
39 | 20/06/2018 | VKJ | 10:48 | 13:30 | 02:41 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR SECTOR A-2 VASANT KUNJ , HT INTERMEDIATE FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : BARI WALA MEHRAULI | 291

## Reasons (hidden)
DISTRIBUTION TR.
OUTAGE REPORT FOR : 20/06/2018 06:00Hr. To 21/06/2018 06:00Hr.
HT SYSTEN FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES