## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 21/06/2018 06:00Hr. To 22/06/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 21/06/2018 | NJF | 06:33 | 07:40 | 01:06 | HT SYSTEM FAULT | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR GOYALA DAIRY , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : ,TAJPUR KHURD_1,VILLAGEGOALA,DHARAM PURA_1, | 723
2 | 21/06/2018 | SVR | 06:51 | 08:39 | 01:48 | HT SYSTEM FAULT | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR MEETHAPUR WATER PMP. STN. , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : MOLARBAND EXTENSION,TAJPUR PAHARI,BADARPUR VILLAGE,MEETHAPUR,HARI NAGAR SVR,MOLARBAND_1, | 624
3 | 21/06/2018 | NGL | 06:55 | 08:04 | 01:08 | HT SYSTEM FAULT | Grid:BODELLA-II GRID To Feeder:11KV FDR GRAMSABHA NILOTHI , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : GRAM SABHA COLONY,,NILOTHI_1,GURUNANAK VIHAR | 669
4 | 21/06/2018 | DWK | 10:34 | 11:51 | 01:16 | HT SYSTEM FAULT | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR SEC-16C DELHI POLICE QUARTERS , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : ,DWARKA SECTOR 14,DWARKA SECTOR 19 PKT 2,DWARKA SECTOR 19,DWARKA SECTOR 19 PKT 3,BEES SUTRI COLONY | 619
5 | 21/06/2018 | NGL | 11:00 | 12:33 | 01:32 | HT SYSTEM FAULT | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR UDYOG NGR.NO-4 (NEW) , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : UDYOG NAGAR_2, | 612
6 | 21/06/2018 | PJB | 11:00 | 16:13 | 05:13 | PLANNED SHUTDOWN | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:11KV FDR ADARSH BHAWAN , LT CIRCUIT:REPLACEMENT OF DAMAGE LTAB | RESTORED/ REPAIRED | Part of : ,PUNJABI BAGH WEST | 62
7 | 21/06/2018 | RKP | 11:00 | 15:30 | 04:30 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR SUBROTO PARK (MES) , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : NR CANTT SCHOOL VILLAGE JHARERA | 432
8 | 21/06/2018 | SVR | 11:00 | 15:19 | 04:19 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11 kV FDR S/S NO.-2 M.C.I.E , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MCIE, MOLARBAND_1 | 9
9 | 21/06/2018 | NHP | 11:00 | 14:48 | 03:48 | PLANNED SHUTDOWN | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR BUILDING NO.-42 NEHRU PLACE , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : EAST OF KAILASH BLOCK E, | 28
10 | 21/06/2018 | ALN | 11:06 | 15:06 | 04:00 | PLANNED SHUTDOWN | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDR FDRMUNJAL, KALKAJI EXTN. , RMU:HT BUSHING REPLACEMENT | RESTORED/ REPAIRED | Part of : KALKAJI, | 184
11 | 21/06/2018 | NJF | 11:22 | 14:54 | 03:32 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR KAPOOR FARM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : NANGLI SAKRAOTI,KANGAM HERI_1,DINDARPUR_1, | 672
12 | 21/06/2018 | VKJ | 11:30 | 13:01 | 01:31 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR VASANT KUNJ SECTOR-D_VKJ , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : FARM HOUSE VASANT KUNJ_1,MEHRAULI,BRIJWASI COLONY, | 12
13 | 21/06/2018 | NZD | 12:03 | 13:56 | 01:53 | EMERGENCY SHUTDOWN | Grid:33kV NDSE-2 GRID To Feeder:11kV FDR G.P.O INA-2+ WAZIR NAGAR GALI NO.-5 , LT CIRCUIT:REPAIR OF DAMAGED WIRE ON POLES | RESTORED/ REPAIRED | Part of : ,KOTLA MUBARAKPUR_1,ARJUN NAGAR | 48
14 | 21/06/2018 | DWK | 12:06 | 15:09 | 03:03 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR P.P SECTOR-17 , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ,DWARKA SECTOR 17, SEC-13 PLOTTED AREA, SECTOR 16A_1,NAND VIHAR,HARI VIHAR_1,TRANSIT CAMP,SQUARTER SETTLEMENT | 91
15 | 21/06/2018 | MDK | 13:06 | 16:06 | 03:00 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR NEEL WALL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ,TIKRI KALAN VILLAGE_2 | 612
16 | 21/06/2018 | KPR | 13:24 | 15:28 | 02:04 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR TUGLAKABAD INST. AREA , TRANSFORMER:REPLACEMENT OF SOCKET | RESTORED/ REPAIRED | Part of : SHIV PARK KPR,,DUGGAL COLONY | 623
17 | 21/06/2018 | VKJ | 13:38 | 16:15 | 02:36 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY-2 , LT CIRCUIT:LOAD BALANCING | RESTORED/ REPAIRED | Part of : MILAKPUR KOHI RANGPURI, | 45
18 | 21/06/2018 | EHV | 13:45 | 15:27 | 1:42 | EHV TRIPPING | DUE TO B/D FROM 220KV PPK-2 TO HASTAL CKT-1 | RESTORED/ REPAIRED | Part of : VIDYA VIHAR, DAAL MILL, RAJHANS VIHAR, KALI BASTI, LIG HASTAL, OM VIHAR PH-2, PRESS ENCLAVE | 20620.8
19 | 21/06/2018 | JFR | 14:00 | 16:32 | 02:32 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NAVEEN PLACE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : HAIBATPUR_1,HAIBAT PUR_1,SHRI KRISHNA COLONY,HAIBAT PUR_2,CAMPS JHORDA KALAN,,DICHAON KALAN_1,BABA HARI DAS NAGAR | 699
20 | 21/06/2018 | UMN | 14:39 | 15:46 | 01:07 | EMERGENCY SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:11KV JEEVAN PARK , LT ACB:REPAIRING OF ACB | RESTORED/ REPAIRED | Part of : ,JEEVAN PARK | 63
21 | 21/06/2018 | RKP | 15:49 | 17:42 | 01:52 | LT FEEDER | Grid:J.N.U. (66/33/11kV) GRID SSTN To Feeder:11kV FDR SFS S/S NO.-2 V.VIHAR , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : SLUM AREA VASANT VIHAR, R K PURAM | 41
22 | 21/06/2018 | ALN | 17:09 | 18:11 | 01:01 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-7 OKHLA PHASE-1 , LT O/H CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : OKHLA INDUSTRIAL AREA PH I BLOCK A_1,B | 34
23 | 21/06/2018 | PLM | 18:14 | 19:33 | 01:18 | HT SYSTEM FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PALAM VILLAGE , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 1,,HARIJAN BASTI_3 | 562
24 | 21/06/2018 | PLM | 20:29 | 22:05 | 01:36 | HT SYSTEM FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV RMU NO.-2 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : ,PALAM VILLAGE_1 | 537
25 | 21/06/2018 | PLM | 21:05 | 22:19 | 01:14 | HT SYSTEM FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR DWARKA PURI , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : TAMIL ENCL, DWARKA PURI, COMMUNITY CENTRE, DABRI MORE | 636
26 | 21/06/2018 | TGN | 22:49 | 00:11 | 01:21 | HT SYSTEM FAULT | Grid:BODELLA-I GRID SSTN To Feeder:11kV FDR 224-SFS T.GDN , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : ,TILAK NAGAR BLOCK 13,VIKASPURI EXTENSION,TILAK VIHAR,TILAK NAGAR BLOCK 16,TILAK NAGAR BLOCK 19 | 628
27 | 21/06/2018 | PJB | 23:04 | 00:10 | 01:06 | HT SYSTEM FAULT | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:11KV PUNJABI BAGH COMPLENT CENTER FEEDER NO:1 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : ,PUNJABI BAGH WEST | 539
28 | 21/06/2018 | SKT | 23:27 | 00:38 | 01:11 | LT FEEDER | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-1 S/S NO.-1 PUSHP VIHAR , LT U/G CABLE,:FIRE IN S/STN, | RESTORED/ REPAIRED | Part of : PUSHP VIHAR SECTOR 1, | 43
29 | 21/06/2018 | PLM | 23:35 | 00:47 | 01:12 | LT FEEDER | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV FDR PALAM CHOWK , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : ,PALAM VILLAGE_1 | 51
30 | 22/06/2018 | VKJ | 00:12 | 01:36 | 01:23 | HT SYSTEM FAULT | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR SECTOR-A VASANT KUNJ , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : VASANT KUNJ SECTOR A,,PKT B & C | 324
31 | 22/06/2018 | TGN | 01:55 | 02:55 | 01:00 | HT SYSTEM FAULT | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR SHYAM NAGAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : GANGARAM VATIKA_2,,SHAM NAGAR,CHAUKHANDI NAGAR | 510
32 | 22/06/2018 | PLM | 05:17 | 06:32 | 01:15 | HT SYSTEM FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV KAILASH PURI NO.-1 , : TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : ,SADH NAGAR_1,PALAM COLONY,PALAM ENCLAVE,KAILASH PURI,KAILASHPURI MAIN,SAAD NAGAR PART I,INDRA PARK | 523