## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 23/06/2018 06:00Hr. To 24/06/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 23/06/2018 | DWK | 06:38 | 08:07 | 01:28 | HT SYSTEM FAULT | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SSTN NO-4 L AND T FLATS SEC-18 , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : ,DWARKA SECTOR 18 A,DWARKA SECTOR 18 B,,DWARKA SECTOR 14 | 624
2 | 23/06/2018 | PLM | 09:09 | 11:00 | 01:50 | DISTRIBUTION TR. | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR A.W.H, SECTOR-22 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : RAJ NAGAR EXTENSION_1,,SPG COMPLEX,DWARKA SECTOR 8,BLOCK A DWARKA SECTOR 8 | 657
3 | 23/06/2018 | ALN | 10:00 | 13:52 | 03:52 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-7 OKHLA PHASE-1 , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : OKHLA INDUSTRIAL AREA PH I BLOCK A_1,TUGHLAKABAD EXTEN | 18
4 | 23/06/2018 | VKP | 11:00 | 15:00 | 04:00 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR PRESS ENCLAVE , 11KV FEEDER:TO MEET EMERGENCY | RESTORED/ REPAIRED | Part of : SHIV VIHAR, | 588
5 | 23/06/2018 | RKP | 11:00 | 16:01 | 05:01 | PLANNED SHUTDOWN | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-1, SECTOR-1, R.K PURAM , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MOHAMMAD PUR_1, | 468
6 | 23/06/2018 | VKP | 11:00 | 15:00 | 04:00 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR UTTAM NGR TERMINAL , 11KV FEEDER:TO SHIFT THE CABLE | RESTORED/ REPAIRED | Part of : JJ COLONY VIKASPURI_1, | 75
7 | 23/06/2018 | SVR | 11:00 | 13:52 | 02:52 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR S/S NO.-22, SARITA VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ,SARITA VIHAR BLOCK E,,MADANPUR KHADAR | 421
8 | 23/06/2018 | SVR | 11:00 | 13:51 | 02:51 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11 kV FDR S/S NO.-1 M.C.I.E , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MOHAN COOPERATIVE INDUSTRIAL ESTATE_2, | 18
9 | 23/06/2018 | PJB | 11:00 | 15:33 | 04:33 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV A-3 DISPENSARY , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : PASCHIM VIHAR BLOCK A3, BLOCK B2 | 61
10 | 23/06/2018 | NHP | 11:00 | 15:37 | 04:37 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR O/G INDOOR GARI S/STN , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : SANT NAGAR (EAST OF KAILASH), | 29
11 | 23/06/2018 | PJB | 11:00 | 15:33 | 04:33 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR PEERA GARHI BOOSTER PUMP , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : ,PASCHIM VIHAR BLOCK BG8 | 63
12 | 23/06/2018 | SVR | 11:13 | 13:13 | 01:59 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR I.O.C.L , LT O/H CONDUCTOR,:EARTH WIRE SNAPPED, | RESTORED/ REPAIRED | Part of : MADANPUR KHADAR, | 72
13 | 23/06/2018 | PLM | 11:33 | 13:22 | 01:48 | LT FEEDER | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV MANDIR MARG , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : MAHAVIR ENCLAVE PART I,MAHAVIR ENCLAVE PART-1 BLOCK G,G-1A& A1, | 158
14 | 23/06/2018 | RKP | 11:40 | 13:31 | 01:50 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR MOHAMEDPUR , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : MOHAMMAD PUR_1, | 46
15 | 23/06/2018 | NGL | 11:48 | 13:45 | 01:57 | EMERGENCY SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR S/S NO-7 PEERAGARHI , 11KV FEEDER:PREDICTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : ,PIRA GARHI | 534
16 | 23/06/2018 | MDK | 12:40 | 13:40 | 01:00 | HT SYSTEM FAULT | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV BAKKARWALA VILLAGE , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : ,NANGLOI EXTN.,RAJDHANI PARK,VEENA ENCLAVE,AMAR COLONY_2 | 648
17 | 23/06/2018 | NGL | 12:50 | 15:56 | 03:06 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR JWALA PURI CAMP NO.-4 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ,JAWALAPURI BLOCK C,JWALA PURI_1,JAWALAPURI BLOCK A,JAWALAPURI BLOCK B | 738
18 | 23/06/2018 | HKS | 12:59 | 14:08 | 01:09 | LT FEEDER | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR CWC SSTN. , LT O/H CONDUCTOR,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : HAUZ KHAS BLOCK X, | 48
19 | 23/06/2018 | TGN | 13:00 | 16:46 | 03:46 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11kV FDR TILAK VIHAR , RMU:TO COUPLE A NEW RMU | RESTORED/ REPAIRED | Part of : RAGHUBIR NAGAR BLOCK D,RAGHUBIR NAGAR_1, TILAK VIHAR | 706
20 | 23/06/2018 | KPR | 13:06 | 17:39 | 04:33 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR S/S NO.-5 DAKSHIN PURI , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : ,DAKSHINPURI EXTENSION_2 | 536
21 | 23/06/2018 | VKP | 13:08 | 14:59 | 01:50 | EMERGENCY SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV 1616-JANTA FLATS HASTSAL , HVDS:MAINTENANCE | RESTORED/ REPAIRED | Part of : MAHARANI ENCLAVE,RAJAN ENCLAVE,VIJAY VIHAR, | 702
22 | 23/06/2018 | HKS | 14:00 | 15:47 | 01:47 | LT FEEDER | Grid:33kV HUDCO GRID To Feeder:11kV FDR HARDEV PURI (HKS) , LT ACB,:PROTECTION MALFUNCTION, | RESTORED/ REPAIRED | Part of : GAUTAM NAGAR, | 47
23 | 23/06/2018 | JFR | 14:06 | 15:23 | 01:17 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV DHANSA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : BAKARGARH_2,SAMASPUR KHALSA_2,BAKARGARH_1, | 578
24 | 23/06/2018 | HKS | 14:10 | 15:48 | 01:38 | LT FEEDER | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR CWC SSTN. , LT ACB,:PROTECTION MALFUNCTION, | RESTORED/ REPAIRED | Part of : ,HAUZ KHAS BLOCK Y | 53
25 | 23/06/2018 | VKJ | 14:17 | 16:06 | 01:48 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR SECTOR A-2 VASANT KUNJ , LT CIRCUIT:REPAIR/REPLACEMENT OF LTAB | RESTORED/ REPAIRED | Part of : MEHRAULI,ISLAM COLONY, | 43
26 | 23/06/2018 | MDK | 15:17 | 16:21 | 01:04 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR VARDHMAN VATIKA , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : ,AMAR COLONY_2,MUNDKA VILLAGE_2,LAXMI PARK COLONY,TIKRI KALAN VILLAGE_2,SAHIB PURA | 638
27 | 23/06/2018 | NZD | 19:04 | 20:29 | 01:24 | HT SYSTEM FAULT | Grid:33kV KILOKARI GRID SSTN To Feeder:11kV FDR SARAI KALE KHAN D.V.B COLONY+(SUN LIGHT COLONY) RMU KILOKARI GRID SSTN. NO.-1 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : ,SIDHARTHA EXTENSION,SIDHARTHA EXTN PKT A,VIDHYUT VIHAR,JIWAN NAGAR,KILOKRI VILLAGE,SIDHARTH ENCLAVE | 429
28 | 23/06/2018 | PJB | 23:27 | 01:43 | 02:15 | HT SYSTEM FAULT | Grid:ROHTAK ROAD (NDPL) GRID SSTN To Feeder:JAIDEV PARK , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : ,JAI DEV PARK,MADAN PARK | 524
29 | 23/06/2018 | KPR | 23:35 | 01:01 | 01:25 | HT SYSTEM FAULT | Grid:66kV BATRA GRID To Feeder:11kV FDR TIGRI KIOSK , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : DEOLI EXTENSION_1,,TIGRI,TIGRI EXTENSION | 604
30 | 24/06/2018 | TGN | 00:55 | 01:59 | 01:03 | HT SYSTEM FAULT | Grid:BODELLA-I GRID SSTN To Feeder:11kV FDR GALI NO 8 MAHAVIR NAGAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : MAHAVIR NAGAR OLD,,MAHAVIR NAGAR | 512
31 | 24/06/2018 | VKP | 02:52 | 04:30 | 01:37 | HT SYSTEM FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR MINI BUS STAND , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : ,NAWADA MAJRA,OM VIHAR,ISSA PUR,JJ COLONY VIKASPURI_1 | 410
32 | 24/06/2018 | KPR | 03:05 | 04:22 | 01:17 | HT SYSTEM FAULT | Grid:66kV BATRA GRID To Feeder:11kV FDR S/S NO.-7,DAKSHIN PURI , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : ,DAKSHINPURI EXTENSION_2 | 412
33 | 24/06/2018 | KPR | 05:58 | 07:31 | 01:32 | HT SYSTEM FAULT | Grid:66kV BATRA GRID To Feeder:11kV FDR S/S NO.-5 DAKSHIN PURI , : | RESTORED/ REPAIRED | Part of : ,DAKSHINPURI EXTENSION_2 | 536