## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 25/06/2018 06:00Hr. To 26/06/2018 06:00Hr.
11
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 26/06/2018 | VKP | 05:10 | 06:43 | 01:33 | HT SYSTEN FAULT | Grid:BODELLA-I GRID SSTN To Feeder:11kV FDR KRISHNA PARK , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : VIKAS PURI,, NEW KRISHNA PARK | 234
2 | 26/06/2018 | VKJ | 04:08 | 05:41 | 01:32 | HT SYSTEN FAULT | Grid:66kV VASANT KUNJ C-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY FEEDER (LIG MASUDPUR) ISID VASANT KUNJ , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : VASANT KUNJ SECTOR C, | 212
3 | 26/06/2018 | DWK | 00:32 | 01:57 | 01:25 | HT SYSTEN FAULT | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR RAJAPURI SSTN NO-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : RAJA PARK MADHU VIHAR,, MAHAVIR ENCLAVE PART II-3, MAHAVIR ENCLAVE II,BLOCK B | 461
4 | 25/06/2018 | TGN | 22:13 | 23:16 | 01:02 | HT SYSTEN FAULT | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR A-BLOCK S/N TAGORE GARDEN , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : TAGORE GARDEN EXTN BLOCK EA,, VISHAL ENCLAVE,, TAGORE GARDEN EXTN BLOCK A | 455
5 | 25/06/2018 | UMN | 22:09 | 23:19 | 01:10 | HVDS TRANSFORMER | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11KV FDR ADARSH NAGR , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : HARIJAN BASTI,, ADARSH NGR,, BINDAPUR,,CHANKYA PLACE PART I | 104
6 | 25/06/2018 | SVR | 18:34 | 20:01 | 01:26 | DISTRIBUTION TR. | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11 kV FDR OKH VIHAR MASZID , DISTRIBUTION TRANSFORMER,:TRANSFORMER BURNT, | RESTORED/ REPAIRED | Part of : NEAR SHIA MASJID OKHLA VIHAR | 228
7 | 25/06/2018 | PLM | 18:26 | 19:52 | 01:26 | HT SYSTEN FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-9, POKET-1 , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR- 9 PKT 2,, DWARKA SEC.9 PK-1 | 373
8 | 25/06/2018 | UMN | 17:16 | 18:18 | 01:01 | DISTRIBUTION TR. | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR SANJAY ENCLAVE , DISTRIBUTION TRANSFORMER,:TRANSFORMER FAULTY, | RESTORED/ REPAIRED | Part of : VISHWAS PARK-1,, SANTOSH PARK-2 | 219
9 | 25/06/2018 | NGL | 17:03 | 18:39 | 01:36 | HT SYSTEN FAULT | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR UDYOG NAGAR NO-2 + 11kV FDR RAIL NEER , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : UDYOG NAGAR ,, ARYA MOHALLA NANGLAOI | 437
10 | 25/06/2018 | NZD | 16:50 | 17:59 | 01:08 | HT SYSTEN FAULT | Grid:EXHIBITION GROUND-II (33/11kV) GRID SSTN To Feeder:11kV FDR BHAIRON ROAD , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : INDRAPRASTHA PARK-2,, KALI BASTI,, NANGLA MANCHI-2 | 411
11 | 25/06/2018 | NJF | 16:50 | 18:02 | 01:12 | HVDS TRANSFORMER | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR T. P. KOTLA , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : NAJAFGARH PARK,, DICHAON KALAN-6,, SHIV ENCLAVE A B C D E BLOCK,, NANGALI SAKRAWAT,, DEEPAK VIHAR-1,, UGRASEN PARK,, GURU NAGAR,, NATHU RAM PARK | 131
12 | 25/06/2018 | DWK | 14:29 | 15:50 | 01:20 | HVDS TRANSFORMER | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR SEC-16C DELHI POLICE QUARTERS , HVDS,:HVDS TRANSFORMER FAULTY, | RESTORED/ REPAIRED | Part of : DELHI POLICE QUATERS SEC-16C,, DWARKA SECTOR 14 | 135
13 | 25/06/2018 | SKT | 14:21 | 15:37 | 01:15 | HT SYSTEN FAULT | Grid:66kV C-DOT GRID To Feeder:11KV FDR MCD PARK CHATTARPUR NO.-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : CHHATARPUR ENCLAVE,, DR AMBEDKAR COLONY,, SULTAN PUR VILLAGE,, MAIDAN GARHI-2 | 448
14 | 25/06/2018 | NJF | 12:25 | 13:56 | 01:31 | HT SYSTEN FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV DAULATPUR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : DAULAT PURA,, HASANPUR-1&2,, KHARKHARI ROND-2,, ASALATPUR KHAWAD-1,, SHIKARPUR,, UJWA-1,, PANDWALA KALAN VILLAGE,, REWLA KHANPUR_1&2,, BSF CAMP CHHAWLA,, DINDARPUR_1,, KANGAM HERI-1,, PINDWALAN KHURD-1,, BADU SARAI-2,, JHATIKARA_1,PAPRAWAT_1,NEW ROSHAN PURA_1,DHARAM PURA_1 | 546
15 | 25/06/2018 | ALN | 11:14 | 12:20 | 01:05 | HT SYSTEN FAULT | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR B-26 OKHLA PHASE-1 (B-317) , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : OKHLA INDUSTRIAL AREA PH I BLOCK B | 121
16 | 26/06/2018 | SKT | 01:03 | 02:40 | 01:36 | LT FEEDER | Grid:66kV C-DOT GRID To Feeder:11kV FDR DLF GATE NO.-2 , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : MAIN ROAD CHATTERPUR | 94
17 | 25/06/2018 | ALN | 14:46 | 15:55 | 01:08 | LT FEEDER | Grid:OKHLA (220/66/33/11kV, TRANSCO) PHASE-2 GRID SSTN To Feeder:GOVIND PURI GALI NO.-5 , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : GOVIND PURI GALI NO-5 | 64
18 | 25/06/2018 | ALN | 13:40 | 14:55 | 01:14 | LT FEEDER | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDR H-BLOCK GOL CHAKKAR , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : H BLOCK KALKAJI | 67
19 | 25/06/2018 | JFR | 13:25 | 14:28 | 01:02 | LT FEEDER | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NEW CRPF , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : GOPAL N. SARASWATI ENCLAVE | 83
20 | 25/06/2018 | TGN | 12:41 | 14:10 | 01:29 | LT FEEDER | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11kV FDR 320-MIG FLATS , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : 320 MIG FLATS SSTN, VIKAS PURI EXTN | 101
21 | 25/06/2018 | SVR | 11:28 | 13:16 | 01:47 | LT FEEDER | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-4 SARITA VIHAR , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : SARITA VIHAR | 86
22 | 25/06/2018 | SVR | 09:14 | 10:33 | 01:19 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR 4-POLE POLICE STATION , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : MOHAN BABA NAGAR INDOOR | 104
23 | 25/06/2018 | PLM | 13:50 | 16:53 | 03:03 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SEC.-9 (PLM. DIVISION) , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : RAJ NAGAR EXTENSION_1,, SHIVPURI GALI NO.15 | 237
24 | 25/06/2018 | NGL | 12:40 | 15:55 | 03:15 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR JWALA PURI CAMP NO.-4 , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : CAMP NO-4 B-BLOCK ,,JAWALAPURI BLOCK A,,JWALA PURI_1 | 287
25 | 25/06/2018 | HKS | 11:00 | 12:49 | 01:49 | PLANNED SHUTDOWN | Grid:33kV NDSE-2 GRID To Feeder:11kV FDR MASJID MOTH KIOSK , RMU:REPAIR/REPLACEMENT OF DEFECTIVE MECHANISM | RESTORED/ REPAIRED | Part of : MASJID MOTH KIOSK | 322
26 | 25/06/2018 | SVR | 11:00 | 15:23 | 04:23 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11 kV FDR S/S NO.-7 M.C.I.E , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MOHAN COOPERATIVE INDUSTRIAL ESTATE_2, MCIE A-BLOCK | 93
27 | 25/06/2018 | SVR | 11:00 | 15:23 | 04:23 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR MADANPUR KHADAR TRANSIT CAMP NO.-2 , RMU:REPAIR/REPLACEMENT OF DEFECTIVE MECHANISM | RESTORED/ REPAIRED | Part of : MADANPUR KHADAR PUNARVAS COLONY | 253
28 | 25/06/2018 | VKJ | 11:00 | 16:27 | 05:27 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR VASANT KUNJ SECTOR-D_VKJ , 11KV FEEDER:REPLACEMENT OF RMU | RESTORED/ REPAIRED | Part of : BHANDARI,, FARM HOUSE VASANT KUNJ_1, | 232
29 | 25/06/2018 | TGN | 10:06 | 14:16 | 04:10 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11kV FDR RAM NAGAR EXTENTION + AB BLOCK KHYALA , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : TIKONA PARK,, RAM NAGAR EXTN | 203
30 | 25/06/2018 | NJF | 10:06 | 14:43 | 04:37 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR KANGAN HERI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : REWLA KHANPUR_1,,BSF CAMP CHHAWLA,,KANGAM HERI_1,DINDARPUR_1,PINDWALAN KHURD_1,BADU SARAI_2,,JHATIKARA_1,PAPRAWAT_1,NEW ROSHAN PURA_1,DHARAM PURA_1 | 351
31 | 26/06/2018 | SKT | 02:52 | 04:24 | 01:32 | EMERGENCY SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR DLF GATE NO.-2 , LT CIRCUIT:REPAIR/REPLACEMENT OF DB AND SERVICE LINE | RESTORED/ REPAIRED | Part of : MAIN ROAD CHATTERPUR | 97
32 | 25/06/2018 | MNG | 15:14 | 16:17 | 01:02 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR MINI BUS STAND , TRANSFORMER:LT CIRCUIT MAINTENANCE | RESTORED/ REPAIRED | Part of : SHANI BAZAAR, JJ COLONY | 83
33 | 25/06/2018 | VKJ | 13:44 | 15:11 | 01:27 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR HOLY CHOWK BIJWASAN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : HARIJAN BASTI BIJWASAN ,, Near Pump house Holi chowk, Bijwasa | 311
34 | 25/06/2018 | VKJ | 12:38 | 14:37 | 01:58 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR VILLAGE SAHIBABAD MOHD. PUR , LT CIRCUIT:REPAIR/REPLACEMENT OF LTAB | RESTORED/ REPAIRED | Part of : SHAHBAD MOHAMMADPUR-2 | 99
35 | 25/06/2018 | UMN | 11:42 | 13:03 | 01:20 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR B-BLOCK UTTAM NAGAR , LT ACB:REPAIRING OF ACB | RESTORED/ REPAIRED | Part of : B-BLK UTTAM NAGAR, MILAP NAGAR ZONE | 234
36 | 25/06/2018 | UMN | 11:39 | 13:02 | 01:23 | EMERGENCY SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR VISHWAS PARK , LT ACB:TO ATTEND HOT SPOT | RESTORED/ REPAIRED | Part of : OM VIHAR TIKONA PARK | 86
37 | 25/06/2018 | VKP | 11:03 | 12:21 | 01:17 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR HASTAL SOCIETY , RMU:PREVENTIVE MAINTENANCE OF RMU | RESTORED/ REPAIRED | Part of : MAHARANI ENCLAVE,HASTSAL | 219
38 | 25/06/2018 | TGN | 11:00 | 15:52 | 04:51 | EMERGENCY SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11kV FDR D.D.A CHAUKHANDI + CHAND NGR SCHOOL WALA , LT CIRCUIT:REPAIR/REPLACEMENT OF LTAB | RESTORED/ REPAIRED | Part of : SANT NAGAR EXTN | 79
39 | 25/06/2018 | VKJ | 10:54 | 12:42 | 01:48 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR AIRFORCE , LT ACB:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : RAJOKARI-1 ,, EXTENDED ABADI KAPASHERA | 221

## Reasons (hidden)
DISTRIBUTION TR.
OUTAGE REPORT FOR : 04/06/2018 06:00Hr. To 05/06/2018 06:00Hr.
HT SYSTEN FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES