## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 27/06/2018 06:00Hr. To 28/06/2018 06:00Hr.
11
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 28/06/2018 | ALN | 05:15 | 06:16 | 01:00 | HT SYSTEN FAULT | Grid:33 kV ALAKNANDA GRID To Feeder:11 kV FDR NILGIRI S/S NO.-1 , LT ACB,:WATER LOGGING IN THE ACB, | RESTORED/ REPAIRED | Part of : NILGIRI NO- 1,, TUGHLAKABAD EXTENSION | 346
2 | 28/06/2018 | VKJ | 03:00 | 05:03 | 02:02 | HT SYSTEN FAULT | Grid:VASANT KUNJ (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR I.A.A.I COLONY , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : BIJAWASAN,, MILAKPUR KOHI RANGPURI,, PRITHVI PARK | 427
3 | 28/06/2018 | NZD | 01:57 | 03:51 | 01:53 | HT SYSTEN FAULT | Grid:DEFENCE COLONY (33/11kV) GRID SSTN To Feeder:11kV FDR BAPU PARK TRAINING CENTER , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : KOTLA MUBARAKPUR VILLAGE,, KASTURBA NAGAR | 430
4 | 28/06/2018 | NZD | 01:40 | 02:45 | 01:04 | HT SYSTEN FAULT | Grid:EXHIBITION GROUND-II (33/11kV) GRID SSTN To Feeder:11kV FDR BHAIRON ROAD , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : INDRAPRASTHA PARK,, SARAI KALE KHAN,, INDRAPRASTHA PARK,, SUN LIGHT COLONY,, SARAI KALE KHAN | 411
5 | 28/06/2018 | VKJ | 01:25 | 03:09 | 01:43 | HT SYSTEN FAULT | Grid:66kV VASANT KUNJ C-BLK GRID To Feeder:11 kV FDR S/S NO.-5, C-2 VASANT KUNJ , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : VASANT KUNJ,, BIJAWASAN,, DALMIA VIHAR,, SALAPUR KHERA VILLAGE | 427
6 | 28/06/2018 | PLM | 01:24 | 03:22 | 01:57 | HT SYSTEN FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-23 EPFO , RMU,:RMU/HT PANEL FLASH, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 22&23 | 536
7 | 28/06/2018 | SVR | 01:15 | 02:34 | 01:18 | HVDS CABLE & OTHER SYSTEM | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR G-4, SHAHEEN BAGH , HVDS,:HVDS CABLE FAULTY, | RESTORED/ REPAIRED | Part of : SHAHEEN BAGH,, | 487
8 | 28/06/2018 | NHP | 01:11 | 02:18 | 01:07 | HT SYSTEN FAULT | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR KALA KUTIR , DISTRIBUTION TRANSFORMER,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : LAJPAT NAGAR PART IV,, DAYANAND COLONY,, AMRITPURI (GARHI),, EAST OF KAILASH,AMAR COLONY,LAJPAT NAGAR-IV,, GREATER KAILASH | 260
9 | 28/06/2018 | SKT | 01:02 | 02:04 | 01:01 | HT SYSTEN FAULT | Grid:66/11kV FATEHPUR BERI GRID To Feeder:11kV FDR O/G NO.-10 SHANTI KHANNA T OFF , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : SAHOARPUR VILLAGE,, CHANDANHULA VILLAGE | 514
10 | 28/06/2018 | KPR | 01:00 | 02:16 | 01:15 | HT SYSTEN FAULT | Grid:66kV BATRA GRID To Feeder:11kV FDR A-BLOCK RAJU PARK , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : SANGAM VIHAR BLOCK,, DEOLI,JAWAHAR PARK,, DAKSHINPURI,, JAWAHAR PARK,, DR AMBEDKAR NAGAR,, KHANPUR | 522
11 | 28/06/2018 | SVR | 00:47 | 02:14 | 01:26 | HT SYSTEN FAULT | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR ESCORTS HEART INST. NO.-2 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : N BLOCK BATLA HOUSE,, MASS COMMUNICATION RES.CENT.(HT CONSUMER),, ESCORT HEART INSTITUTE (HT CONSUMER) | 493
12 | 28/06/2018 | DWK | 00:20 | 02:03 | 01:43 | HT SYSTEN FAULT | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR KAKROLA VILLAGE , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : KAKROLA,, DWARKA SECTOR 16B,, BHARAT VIHAR, HUMDUM CGHS PL-7 SEC-18A,, ROYAL GRD APP,, DWARKA SECTOR 18 | 452
13 | 28/06/2018 | VKP | 00:16 | 01:19 | 01:02 | HT SYSTEN FAULT | Grid:BODELLA-II GRID To Feeder:11KV L.I.G-2 HASTSAL , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : HASTSAL,, MOHAN GARDEN,, VIJAY VIHAR,, OM VIHAR PHASE V | 464
14 | 27/06/2018 | NJF | 22:34 | 23:54 | 01:20 | HT SYSTEN FAULT | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR HANUMAN CHOWK , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : QUTUB VIHAR,, SAMTA ENCLAVE,, TAJPUR KHURD,, VILLAGEGOALA,: DHARAM PURA,, VIJAY PARK, ROSHAN PURA (DHICHAUN KHURD) | 356
15 | 27/06/2018 | HKS | 22:30 | 23:58 | 01:28 | HT SYSTEN FAULT | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-4, S.J ENCLAVE , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : SOUTH EXTENSION PART I BLOCK F,, ANSARI NAGAR WEST ,, AN JHA DEER PARK,BHIM NAGARI,, SAFDARJANG ENCLAVE,, ARJUN NAGAR,, HAUZ KHAS | 322
16 | 27/06/2018 | PLM | 22:30 | 00:05 | 01:34 | HVDS CABLE & OTHER SYSTEM | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR PINK APPARTMENT , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : SADH NAGAR,, PALAM COLONY,, DASRATHPURI,, MIG FLATS,, DABRI EXTENSION EAST,, MANGLAPURI PART II | 425
17 | 27/06/2018 | MDK | 21:56 | 23:15 | 01:19 | HT SYSTEN FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR DDA FLAT LOKNAYAK PURAM , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : DDA FLATS,, BAKARWALA:PM,, CHANCHEL PARK | 449
18 | 27/06/2018 | VKP | 21:40 | 22:41 | 01:01 | HT SYSTEN FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR RAJHANS VIHAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : DEEP ENCLAVE ,, RAJ HANS,, BHATIA SOM BAZAR,, MANSA RAM PARK | 443
19 | 27/06/2018 | VKJ | 21:32 | 02:20 | 04:48 | HT SYSTEN FAULT | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR MANAGALPURI , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : ANDHERIA MOR,, FARM HOUSE VASANT KUNJ,, GHITORNI,, AYA NAGAR VILLAGE | 455
20 | 27/06/2018 | DWK | 21:30 | 23:08 | 01:37 | HT SYSTEN FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR SEC-3 DWARKA , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : KARUNA KUNJ,, SEC-3 PKT-1 DWK,, DDA FLAT ,,RAJA PARK MADHU VIHAR,, MAHAVIR ENCLAVE | 464
21 | 27/06/2018 | UMN | 20:31 | 21:51 | 01:19 | HT SYSTEN FAULT | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR BINDAPUR SCHOOL WALA , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : BINDAPUR,, NAND RAM PARK,, NEW UTTAM NAGAR | 460
22 | 27/06/2018 | PLM | 20:20 | 21:36 | 01:15 | HVDS CABLE & OTHER SYSTEM | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV MAHAVEER ENCLEVE, D-3 , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : RAJ NAGAR EXTENSION,, PALAM,, MAHAVIR ENCLAVE | 359
23 | 27/06/2018 | MDK | 20:01 | 21:47 | 01:46 | HT SYSTEN FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR JAI VIHAR , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : BAPROLA VILLAGE,, SHAFIPUR RANHOLA VILLAGE,, AAKASH VIHAR,, BAKKAR WALA VILLAGE,, DICHAON KALAN,, LAXMI PARK COLONY | 519
24 | 27/06/2018 | NJF | 19:56 | 21:21 | 01:25 | HT SYSTEN FAULT | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR DELHI JAL BOARD NO.-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : HARI KUNJ,, PREM NAGAR,, SHANTI VIHAR,, ROSHANPURA BLOCK ,, NEW ROSHAN PURA,UGRASEN PARK,, DTC COLONY HARI NAGAR,, | 492
25 | 27/06/2018 | PLM | 19:06 | 20:59 | 01:52 | HT SYSTEN FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR DWARKA PURI , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : DWARKA PURI ,, TAMIL ENCL,, BARAAT GHAR (M.C.D Offices) | 479
26 | 27/06/2018 | NHP | 18:30 | 19:52 | 01:21 | HT SYSTEN FAULT | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDR OKHLA PH-III SSTN NO.-3 , HT O/H,:HTAB FAULTY, | RESTORED/ REPAIRED | Part of : OKHLA PH-3,, ESI DISPENSARY OKHLA PH-3,HARKESH NAGAR | 379
27 | 27/06/2018 | MNG | 18:30 | 19:45 | 01:15 | HT SYSTEN FAULT | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DELHI JUD. NO.-2, SECTOR-14 + 11kV FDRN SAINIK ENCLAVE , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : LAXMI VIHAR,, DWARKA SECTOR 16B,,VIKAS NAGAR | 483
28 | 27/06/2018 | SVR | 18:10 | 19:15 | 01:04 | HVDS TRANSFORMER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR G-4, SHAHEEN BAGH , HVDS,:HVDS TRANSFORMER FAULTY, | RESTORED/ REPAIRED | Part of : SHAHEEN BAGH | 387
29 | 27/06/2018 | MNG | 18:01 | 19:02 | 01:00 | HT SYSTEN FAULT | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR RAMA PARK , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : VIJAY BLK MOHAN GARDEN,, POLICE POST NJF DRAIN VIPIN GDN | 559
30 | 27/06/2018 | JKP | 16:58 | 18:54 | 01:56 | HT SYSTEN FAULT | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR SUBHASH NAGAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : SUBHASH NAGARBLOCK 3,4&5,, SUBHASH NAGARBLOCK I | 425
31 | 27/06/2018 | NGL | 14:51 | 16:17 | 01:26 | HT SYSTEN FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RAJIV RATAN NO-3 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : NILOTHI,, BAPROLA VILLAGE,, DASS GARDEN,, NANGLI VIHAR,, HARPHOOL VIHAR,, PRADHAN ENCLAVE,, GRAM SABHA COLONY,, GURU HARKISHAN NAGAR,, PASCHIM VIHAR,, GOVIND PURI,, LAKSHMI PARK | 447
32 | 27/06/2018 | MNG | 13:58 | 15:09 | 01:11 | HT SYSTEN FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR OM VIHAR PHASE-2 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : OM VIHAR,, NAWADA MAJRA,, NEW UTTAM NAGAR | 495
33 | 27/06/2018 | NGL | 11:47 | 12:56 | 01:08 | HT SYSTEN FAULT | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR UDYOG NGR S/STN NO-4 (OLD) , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : UDYOG NAGAR,, PATEL GARDEN | 375
34 | 27/06/2018 | TGN | 11:24 | 12:50 | 01:25 | HT SYSTEN FAULT | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR NURSING GARDEN , DISTRIBUTION TRANSFORMER,:TRANSFORMER FAULTY, | RESTORED/ REPAIRED | Part of : NAR SINGH GARDEN | 229
35 | 27/06/2018 | TGN | 09:20 | 10:24 | 01:03 | HT SYSTEN FAULT | Grid:BODELLA-I GRID SSTN To Feeder:11kV FDR 72-SFS NO-1 T.GDN , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : NEW MAHAVIR NGR,, SFS FLATS (OUTSIDE),, MAHAVIR NAGAR | 434
36 | 27/06/2018 | RKP | 08:54 | 10:13 | 01:19 | HT SYSTEN FAULT | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR PLOT NO.-25,BHIKAJI , HT CONSUMER,:CT MOISTURE/DAMAGED, | RESTORED/ REPAIRED | Part of : MOHAMMAD PUR VILLAGE | 454
37 | 27/06/2018 | NGL | 08:19 | 09:35 | 01:15 | HT SYSTEN FAULT | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR S/S NO-7 PEERAGARHI , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : MIYANWALI NAGAR,, PIRA GARHI,, NIHAL VIHAR | 314
38 | 27/06/2018 | MDK | 08:07 | 09:18 | 01:10 | HT SYSTEN FAULT | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR RAJENDERA PARK , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : KAMRUDDIN NAGAR,, NANGLOI EXTN.,, TYAGY COLONY,, RATAN BAGH,, RAJENDRA PARK EXTN. | 531
39 | 27/06/2018 | PJB | 08:02 | 09:36 | 01:33 | HT SYSTEN FAULT | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:A-2 COMMUNITY CENTER , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : PASCHIM VIHAR | 471
40 | 27/06/2018 | NZD | 07:36 | 08:52 | 01:15 | HT SYSTEN FAULT | Grid:EXHIBITION GROUND-I (33/11kV) GRID SSTN To Feeder:SUNDER NAGAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : SUNDAR NAGAR,, PURANA QILA | 390
41 | 27/06/2018 | SVR | 06:36 | 07:39 | 01:02 | HT SYSTEN FAULT | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-3 NEW FRIENDS COLONY , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : NEW FRIENDS COLONY,, ASHOKA PARK KHIZRABAD,, LIONS HOSPITAL,,KHIDRA BAD | 226
42 | 27/06/2018 | JKP | 06:03 | 07:57 | 01:54 | HT SYSTEN FAULT | Grid:REWARI LINE (220/66/11kV, TRANSCO) GRID (NDPL) To Feeder:11KV B-32 MAYAPURI , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : BLOCK B MAYAPURI,, MAYAPURI INDUSTRIAL AREA PHASE-1 | 440
43 | 27/06/2018 | RKP | 14:42 | 16:29 | 01:46 | LT FEEDER | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR CANERA BANK , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : BARATGHAR MUNIRKA VILLAGE | 72
44 | 27/06/2018 | KPR | 14:07 | 15:13 | 01:06 | LT FEEDER | Grid: To Feeder:11kV FDR LAL QUAN , : | RESTORED/ REPAIRED | Part of : NAI BASTI DEVLI (OLD) | 81
45 | 27/06/2018 | JFR | 11:36 | 13:09 | 01:32 | LT FEEDER | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NAJAFGARH THANA , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : KHAIRA MORE | 96
46 | 27/06/2018 | SVR | 11:04 | 12:36 | 01:31 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR 4-POLE POLICE STATION , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : BADARPUR BORDER | 88
47 | 27/06/2018 | UMN | 11:01 | 12:17 | 01:15 | LT FEEDER | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR CHANAKYA PLACE I/D SSTN NO-1 , DISTRIBUTION TRANSFORMER,:LOW OIL LEVEL, | RESTORED/ REPAIRED | Part of : PRATAP GARDEN(OLD) | 96
48 | 27/06/2018 | VKJ | 10:06 | 11:13 | 01:06 | LT FEEDER | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR KAPASHERA U/G , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : KAPASHERA CHOPAL | 91
49 | 27/06/2018 | SVR | 07:41 | 08:41 | 01:00 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-3 M.B EXTN. , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : MOLAR BADH EXTN. | 78
50 | 27/06/2018 | NJF | 16:00 | 17:35 | 01:35 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DICHAON KALAN , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : DICHAON KALAN-2&6,, NAJAFGARH PARK,, JAFARPUR URF HIRAN KUDNA VILLAGE-2 | 277
51 | 27/06/2018 | VKJ | 14:45 | 16:14 | 01:29 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR GHITORANI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : GHITORNI VILL-1,, FARM HOUSE VASANT KUNJ-1 | 265
52 | 27/06/2018 | SKT | 14:12 | 16:11 | 01:59 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:FATEH PUR BERI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : BHATI KHURD VILLAGE | 151
53 | 27/06/2018 | PLM | 13:06 | 14:47 | 01:41 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PALAM VILLAGE , TRANSFORMER:REMOVAL OF MOBILE TRANSFORMER & REPLACEMENT OF NEW TRANSFORMER | RESTORED/ REPAIRED | Part of : HARIZAN BASTI | 95
54 | 27/06/2018 | PJB | 13:06 | 16:13 | 03:07 | PLANNED SHUTDOWN | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:11KV FDR COTTAGE ENCLAVE , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : AVTAAR ENCL,, PASCHIM VHR | 295
55 | 27/06/2018 | VKJ | 13:06 | 02:29 | 13:23 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR WARD-2 MEHRAULI , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : BALMIKI MANDIR,, MEHRAULI,LAKHI NATH KUTI,ROOPAM WALA KUNWA, | 369
56 | 27/06/2018 | JKP | 12:46 | 17:10 | 04:24 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV L.I.G RAJORY GARDEN , 11KV FEEDER:REPLACEMENT OF RMU | RESTORED/ REPAIRED | Part of : RAJOURI GARDEN BLOCK-5 | 193
57 | 27/06/2018 | NJF | 11:58 | 15:44 | 03:46 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR GOYALA DAIRY , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TAJPUR KHURD-1,, VILLAGEGOALA | 288
58 | 27/06/2018 | NJF | 11:56 | 15:44 | 03:48 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR GOYALA SCHOOL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SHYAM VIHAR COLONY PHASE-II,, DINDARPUR-1&2 | 297
59 | 27/06/2018 | JFR | 11:30 | 16:59 | 05:29 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV MITRAON , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MITRAON,, SURBERA-1 VILL. | 257
60 | 27/06/2018 | NGL | 11:00 | 14:40 | 03:40 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR JWALA PURI CAMP NO.-4 , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : JAWALAPURI BLOCK A,B,C | 254
61 | 27/06/2018 | VKP | 11:00 | 15:41 | 04:41 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11kV FDR HIMGIRI APPARTMENT LIONS , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : J-BLOCK BLIND SCHOOL,, GUJRANWALA, | 270
62 | 27/06/2018 | TGN | 11:00 | 15:41 | 04:41 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11kV FDR RZ-BLOCK, VISHNU GDN , LT CIRCUIT:REPLACEMENT OF DAMAGE LTAB | RESTORED/ REPAIRED | Part of : RZ-BLK GURUDWARAWALA,, ,KHYALA_2 | 84
63 | 27/06/2018 | NJF | 10:15 | 12:56 | 02:41 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR KAKROLA FEEDER , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : NANGLI SAKRAOTI | 271
64 | 27/06/2018 | VKJ | 22:02 | 00:43 | 02:40 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR SECTOR A-2 VASANT KUNJ , HVDS:REPAIR/REPLACEMENT WORK OF HVDS CABLE | RESTORED/ REPAIRED | Part of : MEHRAULI,GANDHI COLONY, | 259
65 | 27/06/2018 | SKT | 13:46 | 15:36 | 01:50 | EMERGENCY SHUTDOWN | Grid:33kV PUSHP VIHAR GRID To Feeder:11kV FDR KHIRKI BANDH , TRANSFORMER:MOBILE TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : KHIRKI BANDH,, HAUZ RANI | 294
66 | 27/06/2018 | MNG | 11:26 | 13:03 | 01:36 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR RAKSHA ENCL(JAI SINGH) , HVDS:MAINTENANCE | RESTORED/ REPAIRED | Part of : VIKAS NAGAR,MOHAN GARDEN, | 287
67 | 27/06/2018 | VKP | 10:25 | 11:32 | 01:06 | EMERGENCY SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV DG-3, VIKASHPURI , LT ACB:TO ATTEND HOT SPOT | RESTORED/ REPAIRED | Part of : VIKASPURI BLOCK DG3 | 84
68 | 27/06/2018 | VKJ | 09:32 | 12:01 | 02:29 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-1 (KAPASHERA) , LT ACB:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : SAMALKA VILL. | 241
69 | 27/06/2018 |  | 22:40 | 0:00 | 1:20 | EHV TRIPPING | DUE TO B/D FROM VASANT KUNJ B-BLK TO ANDHERIA BAGH | SUPPLY RESTORED | LIVER INSTITUTE VKJ, GHITORNI, NBCC, DLF CHHATARPUR, APEX HOME PVT LTD | 4130

## Reasons (hidden)
DISTRIBUTION TR.
OUTAGE REPORT FOR : 04/06/2018 06:00Hr. To 05/06/2018 06:00Hr.
HT SYSTEN FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES