## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 29/06/2018 06:00Hr. To 30/06/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 30/06/2018 | UMN | 05:55 | 07:10 | 01:14 | HT SYSTEN FAULT | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-4 , 11KV GRID PANEL,:BUSBAR FLASH, | RESTORED/ REPAIRED | Part of : UTTAM VIHAR,, BINDAPUR DDA-2,, SANTOSH PARK | 516
2 | 30/06/2018 | RKP | 05:36 | 06:50 | 01:13 | HT SYSTEN FAULT | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR A-BLOCK VASANT VIHAR+B-BLOCK VASANT VIHAR FDR.-2 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : VASANT VIHAR | 381
3 | 30/06/2018 | SVR | 03:51 | 05:13 | 01:21 | HT SYSTEN FAULT | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11 kV FDR OKH VIHAR MASZID , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : NOOR NAGAR,, MUJEEB BAGH,, OKHLA VIHAR | 528
4 | 30/06/2018 | VKP | 00:37 | 01:45 | 01:07 | HT SYSTEN FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR VIKAS KUNJ SCHOOL WALA , 11KV GRID PANEL,:BUSBAR FLASH, | RESTORED/ REPAIRED | Part of : VIKAS NAGAR,, DEEPAK VIHAR,, VIJAY VIHAR | 505
5 | 29/06/2018 | NZD | 21:55 | 23:09 | 01:14 | HT SYSTEN FAULT | Grid:LODHI ROAD (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR CABINET SECRETRATE , HT CONSUMER,:METERING CUBICAL FLASH/DAMAGE, | RESTORED/ REPAIRED | Part of : CABINET SECRATERY (HT CONSUMER) | 1
6 | 29/06/2018 | DWK | 20:50 | 22:01 | 01:10 | HVDS CABLE & OTHER SYSTEM | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR RAJAPURI SSTN NO-1 , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : BHARAT VIHAR,, RAJAPURI | 455
7 | 29/06/2018 | NJF | 18:54 | 20:27 | 01:32 | HT SYSTEN FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV PANDWALA , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : UJWA VILL,, SHERPUR DAIRY,, HANS NAGAR,, KHAIRA VILL,, KHARKHARI NAHAL,, GOPAL NAGAR | 494
8 | 29/06/2018 | NGL | 15:51 | 17:18 | 01:26 | HT SYSTEN FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR TP KOTLA , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : SHEIKH SARAI PH II BLOCK L,, BAPROLA VILLAGE,, TILANGAPUR KOTLA VILLAGE,, SHAFIPUR RANHOLA VILLAGE,, NANGLI VIHAR,, BAPROLLA VILLAGE,, SATYAM VIHAR,, NILOTHI VILLAGE,, RANHOLLA,, LAKSHMI PARK | 474
9 | 29/06/2018 | NHP | 15:22 | 16:39 | 01:16 | HT SYSTEN FAULT | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR FLATTED FACTORY , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : OKHLA MANDI,, OKHLA SMALL INDUSTRIES CAMPUS | 282
10 | 29/06/2018 | NGL | 15:19 | 16:28 | 01:08 | HT SYSTEN FAULT | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR NILOTHI STP , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : CHANDER VIHAR,, ADHYAPAK NAGAR,, SHIV VIHAR A&B,, SHRI RAM COLONY,, TEK CHAND COLONY,, NILOTHI VILLAGE | 472
11 | 29/06/2018 | MDK | 14:21 | 15:26 | 01:04 | HT SYSTEN FAULT | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR I.O.C , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : KAVITA COLONY,, PUNJABI BASTI WEST DISTRICT,, MUNDKA VILLAGE,, NANGLOI EXTN. | 561
12 | 29/06/2018 | NJF | 14:05 | 15:19 | 01:14 | HT SYSTEN FAULT | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR HANUMAN CHOWK , HT O/H,:HTAB FAULTY, | RESTORED/ REPAIRED | Part of : QUTUB VIHAR,, SAMTA ENCLAVE,, TAJPUR KHURD,, VILLAGEGOALA | 556
13 | 29/06/2018 | SKT | 10:54 | 11:55 | 01:00 | HT SYSTEN FAULT | Grid:66kV C-DOT GRID To Feeder:11KV FDR JONAPUR , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : GADAIPUR VILLAGE,, JONAPUR VILLAGE,, DERA MANDI VILLAGE,, SULTANPUR | 520
14 | 29/06/2018 | SVR | 10:31 | 12:02 | 01:31 | HVDS CABLE & OTHER SYSTEM | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR ALI VILLAGE , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : GAYATRI KUNJ,, ALI VILLAGE,, ALI VIHAR,ALI EXTENSION,, JAGDAMBA COLONY | 513
15 | 29/06/2018 | MDK | 10:31 | 11:51 | 01:20 | HT SYSTEN FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RAJDHANI PARK , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : MUNDKA VILLAGE,, AMAR COLONY | 361
16 | 29/06/2018 | SVR | 10:28 | 11:33 | 01:04 | HT SYSTEN FAULT | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR SFS NO.-1 SUKHDEV VIHAR O/H , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : SUKHDAVE VIHAR,, ESCORTS STAFF QTRS.,, MASIH GARH | 483
17 | 29/06/2018 | SVR | 09:28 | 10:48 | 01:19 | HT SYSTEN FAULT | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR MADANPUR KHADAR TRANSIT CAMP NO.-1 , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : MADANPUR KHADAR PUNARVAS COLONY,, MADANPUR KHADAR EXTENSION | 519
18 | 29/06/2018 | KPR | 06:28 | 07:41 | 01:13 | HT SYSTEN FAULT | Grid:66kV BATRA GRID To Feeder:11kV FDR D.D.A TIGRI , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : JAWAHAR PARK,, SHIV PARK,, DUGGAL COLONY,, SAINIK FARM,, DEOLI EXTENSION | 539
19 | 29/06/2018 | RKP | 18:03 | 19:43 | 01:40 | LT FEEDER | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR SUBROTO PARK (MES) , LT ACB,:LT ACB FLASH, | RESTORED/ REPAIRED | Part of : CANTT SCHOOL VILLAGE JHARERA | 88
20 | 29/06/2018 | KPR | 14:41 | 16:13 | 01:32 | LT FEEDER | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR MADANGIRI S/S NO.-1 , LT POLE,:POLE TILTED, | RESTORED/ REPAIRED | Part of : CPO-1 MADAN GIR PH-1 | 96
21 | 29/06/2018 | VKJ | 12:40 | 14:21 | 01:40 | LT FEEDER | Grid:VASANT KUNJ (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR I.A.A.I COLONY , LT O/H CABLE,:CABLE BURNT, | RESTORED/ REPAIRED | Part of : L-BLK SCHOOL KUMHARWALA | 75
22 | 29/06/2018 | VKJ | 09:16 | 10:46 | 01:30 | LT FEEDER | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR HINDUSTAN PETROLIUM , LT ACB,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : KAPASHERA VILLAGE NEAR OBERIO | 71
23 | 29/06/2018 | SVR | 14:06 | 16:06 | 02:00 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR I.O.C.L , 11KV FEEDER:REPAIR OF RMU | RESTORED/ REPAIRED | Part of : Block A Kanchan Kunj | 316
24 | 29/06/2018 | KPR | 14:06 | 17:18 | 03:12 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR KHANPUR (KHATTA WALA) , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : SHUTTER WALI GALI,, JJ COLONY KHANPUR | 268
25 | 29/06/2018 | JKP | 12:39 | 15:43 | 03:04 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR FATEH NAGAR , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : MEENAKSHI GARDEN | 443
26 | 29/06/2018 | VKJ | 12:06 | 14:30 | 02:24 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR WARD-2 MEHRAULI , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : MEHRAULI,ROOPAM WALA KUNWA, | 96
27 | 29/06/2018 | JFR | 11:30 | 15:19 | 03:49 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV JAFFARPUR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SAMASPUR KHALSA,, UJWA | 316
28 | 29/06/2018 | RKP | 11:00 | 13:55 | 02:55 | PLANNED SHUTDOWN | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-2 R.K PURAM , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : R K PURAM SECTOR 2 | 297
29 | 29/06/2018 | TGN | 11:00 | 12:56 | 01:56 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11kV FDR K-BLOCK KRISHNA PARK , RMU:BUS BAR COUPLING CLEANED/REPLACED/REPAIRED | RESTORED/ REPAIRED | Part of : MAHAVIR NAGAR NEW& OLD | 390
30 | 29/06/2018 | SVR | 11:00 | 15:07 | 04:07 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR ALI VILLAGE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ALI VILLAGE | 295
31 | 29/06/2018 | RKP | 11:00 | 18:00 | 07:00 | PLANNED SHUTDOWN | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-1, SECTOR-1, R.K PURAM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : CPWD GOVT.COLONY MOHDPUR | 274
32 | 29/06/2018 | PJB | 10:00 | 12:44 | 02:44 | PLANNED SHUTDOWN | Grid:ROHTAK ROAD (NDPL) GRID SSTN To Feeder:BHAGWAN DAS NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : BHAGWAN DAS NGR,EAST PJB | 240
33 | 29/06/2018 | SKT | 10:00 | 15:44 | 05:44 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR SHIVALIK A-BLOCK , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : I BLOCK MALVIYA NAGAR | 289
34 | 29/06/2018 | NHP | 10:00 | 14:17 | 04:17 | PLANNED SHUTDOWN | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK EAST OF KAILASH , LT CIRCUIT:TO CONNECT NEW CABLE | RESTORED/ REPAIRED | Part of : PARKASH MOHALLA GARHI | 93
35 | 29/06/2018 | TGN | 15:39 | 16:50 | 01:10 | EMERGENCY SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR NURSING GARDEN , TRANSFORMER:MOBILE TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : NAR SINGH GARDEN | 295
36 | 29/06/2018 | VKJ | 15:28 | 17:47 | 02:19 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR MOTHER DAIRY S/S VIA WARD NO.2 (RMU) , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : BABA KI TANKI MEHRAULI | 319
37 | 29/06/2018 | VKJ | 13:18 | 16:14 | 02:56 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR BIJWASAN , LT CIRCUIT:TO ATTEND FAULT IN LT CIRCUIT | RESTORED/ REPAIRED | Part of : BIJWASAN NEAR DHARMSHALA | 83
38 | 29/06/2018 | SKT | 13:18 | 15:15 | 01:57 | EMERGENCY SHUTDOWN | Grid:66kV IGNOU GRID To Feeder:11kV FDR IGNOU KIOSK , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : NEB SARAI,, HARIJAN BASTI,, MAIDAN GARHI | 341
39 | 29/06/2018 | VKJ | 11:20 | 13:15 | 01:54 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR VILLAGE SAHIBABAD MOHD. PUR , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : SHAHBAD MOHAMMADPUR | 283
40 | 29/06/2018 | NGL | 11:20 | 12:36 | 01:15 | EMERGENCY SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR SHIV RAM PARK , LT CIRCUIT:LAYING OF NEW LTAB | RESTORED/ REPAIRED | Part of : M&H BLK NIHAL VIHAR | 79
41 | 29/06/2018 | MNG | 11:12 | 12:14 | 01:02 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR MINI BUS STAND , HVDS:POLE ERRECTION/STRAIGTHENING | RESTORED/ REPAIRED | Part of : SHANI BAZAR UTTAM NAGAR,, JJ COLONY | 328
42 | 29/06/2018 |  | 10:40 | 12:50 | 2:10 | EHV TRIPPING | DUE TO B/D FROM EXB-II TO 16MVA PTR + I/C | SUPPLY RESTORED | BHAIRON ROAD, CPWD SS-1, SHAPURJEE PALONJEE | 1239

## Reasons (hidden)
DISTRIBUTION TR.
OUTAGE REPORT FOR : 29/06/2018 06:00Hr. To 30/06/2018 06:00Hr.
HT SYSTEN FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES