## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 30/06/2018 06:00Hr. To 01/07/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 30/06/2018 | VKJ | 06:10 | 07:21 | 01:10 | HT SYSTEM FAULT | Grid:VASANT KUNJ (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR MAHIPAL PUR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : BLOCK A MAHIPAL PUR EXTN.,MAHIPAL PUR EXTN.,MAHIPAL PUR,NAR SINGH GARDEN BLOCK C, | 768
2 | 30/06/2018 | KPR | 06:30 | 08:21 | 01:51 | HT SYSTEM FAULT | Grid:66kV BATRA GRID To Feeder:11kV FDR A-BLOCK RAJU PARK , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : JAWAHAR PARK_1,,DEOLI | 685
3 | 30/06/2018 | TGN | 07:50 | 09:09 | 01:19 | HT SYSTEM FAULT | Grid:GURU GOVIND SINGH HOSPITAL GRID SSTN - WTC123. To Feeder:11 kV FDR NW-BLOCK, CHOWK RMU (TGN) , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : SARVODAYA ENCLAVE BLOCK A,VISHNU GARDEN, | 723
4 | 30/06/2018 | ALN | 08:45 | 10:00 | 01:14 | HT SYSTEM FAULT | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR VILLAGE TEHKHAND , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : TEKHAND, | 608
5 | 30/06/2018 | VKJ | 10:12 | 11:21 | 01:09 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-2 (KAPASHERA) , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : BIJAWASAN,PUSHPANJALI FARMS,HARIJAN BASTI_2,SAMALAKA EXT BLOCK B,SAMALKA,RAJOKRI,IGI AIRPORT_2, | 476
6 | 30/06/2018 | NJF | 10:16 | 11:35 | 01:19 | HT SYSTEM FAULT | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : BSF CAMP CHHAWLA,KANGAM HERI_1,BIJAWASAN_1,NANAK HERI_1,RAGHUPUR,NANAK HERI_2,DWARKA SECTOR 27,BADU SARAI_1,BIJAWASAN_2 | 714
7 | 30/06/2018 | SKT | 10:21 | 11:39 | 01:17 | LT FEEDER | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR R.P.S SEKH SARAI PHASE-1 , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : SAVITRI NAGAR_1, | 49
8 | 30/06/2018 | KPR | 10:25 | 11:26 | 01:00 | HT SYSTEM FAULT | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR F-15 (HAMDARD D.P PUL PRAHALADPUR) , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : VISHWAKARMA COLONY,PULPEHLADPUR_2, | 549
9 | 30/06/2018 | NHP | 10:28 | 11:57 | 01:29 | HT SYSTEM FAULT | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-16 NEHRU PLACE , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : NEHRU PLACE_2, | 299
10 | 30/06/2018 | MDK | 10:31 | 11:58 | 01:26 | HT SYSTEM FAULT | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR RAJENDERA PARK , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : TIKRI KALAN VILLAGE_2,,NANGLOI EXTN.,TYAGY COLONY,RATAN BAGH_1,RAJENDRA PARK EXTN. | 588
11 | 30/06/2018 | RKP | 10:32 | 12:05 | 01:32 | LT FEEDER | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR SUBROTO PARK (MES) , LT ACB,:LT ACB FLASH, | RESTORED/ REPAIRED | Part of : JHARERA | 52
12 | 30/06/2018 | SKT | 11:00 | 15:28 | 04:28 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR DDA KHIRIKI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : PANCHSHEEL VIHAR | 288
13 | 30/06/2018 | PJB | 11:00 | 12:55 | 01:55 | PLANNED SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:11KV PASCHIM VIHAR EXTENSION , TRANSFORMER:LOAD BALANCING | RESTORED/ REPAIRED | Part of : PASCHIM VIHAR EXTN._2, | 250
14 | 30/06/2018 | MDK | 11:04 | 12:45 | 01:41 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR VARDHMAN VATIKA , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : SAHIB PURA,,TIKRI KALAN VILLAGE_2,AMAR COLONY_2,LAXMI PARK COLONY,MUNDKA VILLAGE_2 | 613
15 | 30/06/2018 | JKP | 11:06 | 14:30 | 03:24 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV LIG FLATS-149 , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : FATEH NAGAR,ANAND VIHAR, HARI NAGAR, | 281
16 | 30/06/2018 | SVR | 11:06 | 13:53 | 02:47 | PLANNED SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11 kV FDR OKH VIHAR MASZID , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : MUJEEB BAGH, ABDUL FAZAL ENCLAVE PART I_1,,ABDUL FAZAL ENCLAVE | 342
17 | 30/06/2018 | SVR | 11:07 | 14:18 | 03:11 | EMERGENCY SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR SOURAV VIHAR-1 , 11KV FEEDER:REPAIR/REPLACEMENT OF INSULATORS | RESTORED/ REPAIRED | Part of : MOLARBAND_1,HARI NAGAR SVR, | 435
18 | 30/06/2018 | HKS | 11:23 | 13:18 | 01:54 | LT FEEDER | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR N-98. PANCHSHEEL , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : SHAHPUR JAT, | 39
19 | 30/06/2018 | RKP | 11:38 | 13:46 | 02:07 | LT FEEDER | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR BRIDE & BRIDE , SERVICE LINE,:SOCKET DAMAGED/BURNT FROM DB, | RESTORED/ REPAIRED | Part of : BASANT GAON | 43
20 | 30/06/2018 | VKJ | 11:45 | 13:29 | 01:43 | EMERGENCY SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR TEMPO STAND , LT CIRCUIT:LOAD BALANCING | RESTORED/ REPAIRED | Part of : MEHRAULI,MEHRAULI VILLAGE, | 388
21 | 30/06/2018 | SVR | 11:59 | 13:15 | 01:15 | HT SYSTEM FAULT | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR MEETHAPUR WATER PMP. STN. , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : MOLARBAND EXTENSION,TAJPUR PAHARI,BADARPUR VILLAGE,MEETHAPUR,HARI NAGAR SVR,MOLARBAND_1, | 745
22 | 30/06/2018 | SVR | 12:06 | 13:43 | 01:37 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR SAURAV VIHAR-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SAURAV VIHAR,HARI NAGAR SVR,MOLARBAND_1, | 268
23 | 30/06/2018 | MDK | 12:17 | 13:55 | 01:37 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR BANI CAMP , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : BAPROLA VILLAGE_3, | 415
24 | 30/06/2018 | VKJ | 12:56 | 14:44 | 01:47 | EMERGENCY SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR GHITORANI , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : GHITORNI_1,FARM HOUSE VASANT KUNJ_1, | 421
25 | 30/06/2018 | JKP | 12:58 | 14:29 | 01:30 | HT SYSTEM FAULT | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR SUBHASH NAGAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : SUBHASH NAGARBLOCK 3,,SUBHASH NAGARBLOCK I,SUBHASH NAGARBLOCK 5,SUBHASH NAGARBLOCK 4 | 581
26 | 30/06/2018 | NHP | 13:01 | 14:41 | 01:40 | EMERGENCY SHUTDOWN | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR TELEPHONE EXCHANGE NHP. , 11KV FEEDER:ATTENDING WEAK POINTS/HOT SPOT | RESTORED/ REPAIRED | Part of : NEHRU PLACE_2, | 98
27 | 30/06/2018 | NZD | 13:06 | 17:55 | 4:49 | PLANNED SHUTDOWN | Grid:33kV KILOKARI GRID SSTN To Feeder:11 kV FDR 400KV POWER GRID MAHARANI BAGH (SARAI KALE KHAN) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SARAI KALE KHAN | 547
28 | 30/06/2018 | DWK | 13:22 | 14:42 | 01:20 | HT SYSTEM FAULT | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SSTN NO-4 L AND T FLATS SEC-18 , DISTRIBUTION TRANSFORMER,:TREE BRANCH FALLEN ON TRANSFORMER, | RESTORED/ REPAIRED | Part of : BHARAT PETROLEUM STAFF PLOT-8, SEC-18B LandT SS-4 I/D,ST.LIGHT OPP MANOKAMNA, SEC-18A PL-14 IRCON EMPLOYEE CGHS, SEC-18B BLK-B PLATINUM HEIGHTS SS-3, KARUNA VIHAR CGHS, NO2 SEC-18B GROUP-1 MULTISTOREY, SEC-18A PLOT 10 HARI KRISHNA APPART | 574
29 | 30/06/2018 | VKJ | 14:06 | 16:52 | 02:46 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR VASANT KUNJ SECTOR-A_VKJ , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : VASANT KUNJ SECTOR A, | 502
30 | 30/06/2018 | NGL | 14:16 | 15:45 | 01:28 | HT SYSTEM FAULT | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR PVC MARKET JWALA PURI , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : BHAGWAN DAS COLONY BLOCK D,JAWALAPURI EXTN.,PASCHIM VIHAR BLOCK GH12,AMBIKA VIHAR,GURU HARKISHAN NAGAR_1,PASCHIM VIHAR,ADHYAPAK NAGAR_1,UDYOG NAGAR_1,MANGOLPURI,JAWALAPURI CAMP 5,JAWALAPURI BLOCK C,JJC UDYOG NAGAR,JWALA PURI_1,PASCHIM VIHAR, | 704
31 | 30/06/2018 | UMN | 14:26 | 16:11 | 01:45 | EMERGENCY SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR SANJAY ENCLAVE , 11KV FEEDER:REPAIR/REPLACEMENT OF DB AND SERVICE LINE | RESTORED/ REPAIRED | Part of : VISHWAS PARK_1,UTTAM NAGAR,SANTOSH PARK_2, | 536
32 | 30/06/2018 | PLM | 14:36 | 16:16 | 01:40 | LT FEEDER | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR A.W.H, SECTOR-22 , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : DWARKA SECTOR 8,,BLOCK A DWARKA SECTOR 8 | 209
33 | 30/06/2018 | NHP | 14:42 | 16:11 | 01:29 | EMERGENCY SHUTDOWN | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR TELEPHONE EXCHANGE NHP. , 11KV FEEDER:ATTENDING WEAK POINTS/HOT SPOT | RESTORED/ REPAIRED | Part of : NEHRU PLACE_2, | 98
34 | 30/06/2018 | NJF | 15:00 | 17:03 | 02:03 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DICHAON KALAN , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : DICHAON KALAN_6,DICHAON KALAN_2,NAJAFGARH PARK,JAFARPUR URF HIRAN KUDNA VILLAGE_2, | 742
35 | 30/06/2018 | SVR | 15:06 | 16:20 | 01:13 | LT FEEDER | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR JAMIA STADIUM + RMU NO.-2 , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : R BLOCK JOGA BAI | 172
36 | 30/06/2018 | MDK | 15:15 | 16:59 | 01:43 | HT SYSTEM FAULT | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR NEEL WALL , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : VIRENDRA NAGAR,NEELWAL VILLAGE,JAFARPUR URF HIRAN KUDNA VILLAGE_2, | 733
37 | 30/06/2018 | NGL | 15:24 | 16:45 | 01:20 | HVDS CABLE & OTHER SYSTEM | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR SHIV RAM PARK , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : AMAN PURI,,NIHAL VIHAR_1 | 69
38 | 30/06/2018 | NGL | 15:29 | 16:46 | 01:16 | HT SYSTEM FAULT | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR O/G S/STN NO-2 UDYOG NAGAR SSTN-2 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : UDYOG NAGAR_2, | 199
39 | 30/06/2018 | JKP | 15:31 | 17:15 | 01:44 | HT SYSTEM FAULT | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:11KV C-1 JANAK PURI (RMU) , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : JANAKPURI,JANAKPURI BLOCK C2B,JANAKPURI BLOCK C2A,JANAKPURI BLOCK C2C,JANAKPURI BLOCK C1, | 622
40 | 30/06/2018 | PLM | 15:52 | 17:24 | 01:31 | HT SYSTEM FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NASIRPUR , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : MANGLAPURI PART II,MANGLA PURI_2,,SECTOR 1,HARIJAN BASTI SECTOR 1,MAHAVIR ENCLAVE PART II_1,DWARKA SECTOR 1 | 621
41 | 30/06/2018 | VKP | 17:25 | 19:08 | 01:42 | HVDS CABLE & OTHER SYSTEM | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR PRESS ENCLAVE , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : PRESS ENCLAVE, C and D BLK VIKAS NGR EXT(RAM SWEETS), PHIRNI WALA SSTN | 708
42 | 30/06/2018 | PLM | 17:44 | 18:48 | 01:04 | HT SYSTEM FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PERIPHERAL-2 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : VIJAY ENCLAVE (MIRZAPUR),,MAHAVIR ENCLAVE PART I | 526
43 | 30/06/2018 | VKP | 17:50 | 19:11 | 01:20 | HT SYSTEM FAULT | Grid:BODELLA-II GRID To Feeder:11KV G-1-3 SUB STATION NO.-3 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : MAHAVIR ENCLAVE II-BLOCK B,MAHAVIR ENCLAVE PART II_3,MAHAVIR ENCLAVE,SARVODAYA ENCLAVE BLOCK D,VIKASPURI BLOCK G,VIKASPURI BLOCK DG2,VIKASPURI BLOCK C,VIKAS PURI, | 719
44 | 30/06/2018 | JKP | 17:53 | 19:08 | 01:15 | HT SYSTEM FAULT | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV DELHI HAAT , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : JANAKPURI,JANAKPURI BLOCK C2B, | 512
45 | 30/06/2018 | MDK | 19:56 | 21:35 | 01:39 | HT SYSTEM FAULT | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR RAJENDERA PARK , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : JANAK PARK BLOCK WZ,RATAN BAGH_1,PREM NAGAR, | 604
46 | 30/06/2018 | NZD | 20:03 | 21:33 | 01:29 | HT SYSTEM FAULT | Grid:33kV KILOKARI GRID SSTN To Feeder:11kV FDR GENERATION COLONY , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : HARI NAGAR ASHRAM,DTL STAFF COLONY,SIDHARTH ENCLAVE | 468
47 | 30/06/2018 | KPR | 21:28 | 22:52 | 01:24 | HVDS CABLE & OTHER SYSTEM | Grid:66kV BATRA GRID To Feeder:11kV FDR DR KARNI SINGH SHOOTING RANGE , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : DR.KARNI SINGH SHOOTING STA:HTC | 1
48 | 30/06/2018 | MNG | 21:51 | 23:43 | 01:52 | HT SYSTEM FAULT | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR RAMA PARK , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : VIJAY BLK MOHAN GARDEN, POLICE POST NJF DRAIN VIPIN GDN, VIPIN GDN NEAR SNATAN DHARM MANDIR | 559
49 | 30/06/2018 | RKP | 23:52 | 01:28 | 01:35 | LT FEEDER | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR CANERA BANK , SERVICE LINE,:FIRE IN SERVICE LINE, | RESTORED/ REPAIRED | Part of : MUNIRKA VILLAGE, | 48
50 | 01/07/2018 | VKP | 02:15 | 03:47 | 01:31 | HT SYSTEM FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR HASTAL VIHAR , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : HASTAL VIHAR | 672
51 | 01/07/2018 | NJF | 02:18 | 03:50 | 01:32 | HVDS CABLE & OTHER SYSTEM | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR DELHI JAL BOARD NO.-1 , HVDS,:HVDS CABLE FAULTY, | RESTORED/ REPAIRED | Part of : VARDHMAN VIHAR F & U BLOCK,NEW ROSHAN PURA_1,,DHARAM PURA_1,SHYAM VIHAR COLONY PHASE-I BLOCK--Z,NEW ROSHAN PURA EXTN BLOCK N-1 | 724
52 | 01/07/2018 | NJF | 02:21 | 03:47 | 01:26 | HVDS CABLE & OTHER SYSTEM | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:11KV FDR DELHI JAL BOARD NO.-1 , HVDS,:HVDS CABLE FAULTY, | RESTORED/ REPAIRED | Part of : HARI KUNJ,PREM NAGAR_2,SHANTI VIHAR,ROSHANPURA BLOCK M,NEW ROSHAN PURA_1, | 498
53 | 01/07/2018 | MNG | 02:49 | 03:50 | 01:00 | HT SYSTEM FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:11KV FDR VIKAS KUNJ SCHOOL WALA , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : VIKAS NAGAR,DEEPAK VIHAR_2,VIJAY VIHAR | 521