## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___19-06-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-06-19 | Narela | 13:16 | 16:59 | 0.15486 | PLANNED SHUTDOWN | DT Augmentation | Restored/Repaired | Parts of : Alipur | 575 | Planned outage
2 | 2018-06-19 | Rohini | 11:12 | 13:12 | 0.083333 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Gopal Vihar | 556 | Planned outage
3 | 2018-06-19 | Moti Nagar | 02:24 | 0.16667 | 0.066667 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Naraina Vihar | 596 | Interruption due to fault
4 | 2018-06-19 | Narela | 05:21 | 06:28 | 0.046528 | HVDS CABLE & OTHER SYSTEM | HT Jumper Burnt | Restored/Repaired | Parts : Metro Vihar Phase-1 | 6467 | Interruption due to fault
5 | 2018-06-19 | Moti Nagar | 11:45 | 13:20 | 0.065972 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : Kirti Nagar | 312 | Scheduled system outage
6 | 2018-06-19 | Mangolpuri | 12:52 | 0.61111 | 0.075 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : J-Blk Mangolpuri | 864 | Interruption due to fault
7 | 2018-06-19 | Badli | 19:39 | 20:48 | 0.047917 | HT SYSTEM FAULT | Cat Electrocuted | Restored/Repaired | Parts of : Libaspur | 975 | Interruption due to fault
8 | 2018-06-19 | Moti Nagar | 00:56 | 02:18 | 0.056944 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Naraina Village | 596 | Interruption due to fault
9 | 2018-06-19 | Badli | 06:11 | 07:30 | 0.054861 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Samaypur | 649 | Interruption due to fault
10 | 2018-06-19 | Narela | 11:10 | 12:30 | 0.055556 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Khera Kalan | 505 | Interruption due to fault
11 | 2018-06-19 | Badli | 11:03 | 12:16 | 0.050694 | HVDS CABLE & OTHER SYSTEM | HT ABC End Box Faulty | Restored/Repaired | Parts of : Jain Colony | 916 | Interruption due to fault
12 | 2018-06-19 | Badli | 11:12 | 12:50 | 0.068056 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Amarjyoti Colony | 1407 | Force Majeure due to sabotage
13 | 2018-06-19 | Rohini | 11:26 | 17:30 | 0.25278 | PLANNED SHUTDOWN | Tree Trimming and Guard Wire Repair | Restored/Repaired | Parts of : Rohini Sec-14 | 1516 | Planned outage
14 | 2018-06-19 | Badli | 12:09 | 13:55 | 0.073611 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Shahbad Dairy | 782 | Interruption due to fault
15 | 2018-06-19 | Narela | 12:56 | 14:55 | 0.082639 | HVDS CABLE & OTHER SYSTEM | HT ABC Sparking | Restored/Repaired | Parts of : Bhorgarh | 2402 | Interruption due to fault
16 | 2018-06-19 | Badli | 10:38 | 14:04 | 0.14306 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Badli Village | 313 | Scheduled system outage
17 | 2018-06-19 | Narela | 10:49 | 0.51389 | 0.063194 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : Bakhtawarpur | 476 | Scheduled system outage
18 | 2018-06-19 | Mangolpuri | 11:21 | 0.54167 | 0.06875 | PLANNED SHUTDOWN | LT ABC Replacement | Restored/Repaired | Parts of : S-Blk Sultanpuri | 411 | Scheduled system outage
19 | 2018-06-19 | Shalimar Bagh | 11:36 | 0.56597 | 0.082639 | PLANNED SHUTDOWN | LT Socket Replacement | Restored/Repaired | Parts of : Bhalswa | 422 | Scheduled system outage
20 | 2018-06-19 | Civil Lines | 12:10 | 13:36 | 0.059722 | PLANNED SHUTDOWN | Bus Bar Box Installation | Restored/Repaired | Parts of : Timarpur | 620 | Scheduled system outage
21 | 2018-06-19 | Mangolpuri | 12:44 | 0.57639 | 0.045833 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts : Dhruv Enclave | 529 | Scheduled system outage
22 | 2018-06-19 | Badli | 15:17 | 16:52 | 0.065972 | PLANNED SHUTDOWN | Load Balancing | Restored/Repaired | Parts of : Rohini Sec-18 | 627 | Scheduled system outage
23 | 2018-06-19 | Narela | 15:30 | 17:01 | 0.063194 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Lampur Village | 2287 | Planned outage
24 | 2018-06-19 | Civil Lines | 18:21 | 0.82292 | 0.058333 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Kamla Nagar | 571 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51