## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___20-06-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-06-20 11:10 | Rohini | 03:48 | 05:16 | 1:28 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Rohini Sec-9 | 1611 | Interruption due to fault
2 | 2018-06-20 11:10 | Bawana | 07:01 | 08:25 | 1:24 | HVDS CABLE & OTHER SYSTEM | HT Cable Faulty | Restored/Repaired | Parts of : Karala | 2471 | Interruption due to fault
3 | 2018-06-20 11:10 | Bawana | 08:38 | 09:55 | 1:17 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Qutubgarh | 416 | Interruption due to fault
4 | 2018-06-20 11:10 | Shalimar Bagh | 11:22 | 14:01 | 2:39 | PLANNED SHUTDOWN | Guard Wire Replacement | Restored/Repaired | Parts of : Wazirabad | 917 | Planned outage
5 | 2018-06-20 11:10 | Bawana | 09:57 | 16:45 | 6:48 | PLANNED SHUTDOWN | HT Jumper Replacement and Tree Trimming | Restored/Repaired | Parts of : Kanjhawala | 2136 | Planned outage
6 | 2018-06-20 | Badli | 12:49 | 17:51 | 5:02 | PLANNED SHUTDOWN | HT Line Shifting | Restored/Repaired | Parts of : Rohini Sec-29 | 1180 | Planned outage
7 | 2018-06-20 | Badli | 10:57 | 12:29 | 1:32 | PLANNED SHUTDOWN | HT Jumper Replacement | Restored/Repaired | Parts of : Samaypur | 1831 | Planned outage
8 | 2018-06-20 | Shalimar Bagh | 10:52 | 14:41 | 3:49 | PLANNED SHUTDOWN | New HT ABC Laying | Restored/Repaired | Parts of : Dheerpur | 5718 | Planned outage
9 | 2018-06-20 | Shalimar Bagh | 11:17 | 17:55 | 6:38 | PLANNED SHUTDOWN | New HT Pole and HT ABC Laying | Restored/Repaired | Parts of : Sangam Vihar | 3982 | Planned outage
10 | 2018-06-20 11:10 | Bawana | 11:05 | 12:25 | 1:20 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Rani Khera | 560 | Interruption due to fault
11 | 2018-06-20 11:10 | Bawana | 17:32 | 19:10 | 1:38 | DAMAGE BY OTHER AGENCIES | External Item Fell on Line | Restored/Repaired | Parts of : Pooth Village | 556 | Force majeure due to sabotage
12 | 2018-06-20 11:10 | Badli | 16:22 | 17:36 | 1:14 | HVDS CABLE & OTHER SYSTEM | HT Conductor Broken | Restored/Repaired | Parts of : Libaspur | 975 | Interruption due to fault
13 | 2018-06-20 11:10 | Keshav Puram | 16:40 | 18:58 | 2:18 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Lawrence Road | 1035 | Interruption due to fault
14 | 2018-06-20 11:10 | Rohini | 11:35 | 13:23 | 1:48 | DISTRIBUTION TR. | HT Socket Burnt | Restored/Repaired | Parts of : Rohini Sec-11 | 999 | Interruption due to fault
15 | 2018-06-20 11:10 | Mangolpuri | 11:43 | 14:40 | 2:57 | HVDS CABLE & OTHER SYSTEM | HT Conductor Broken | Restored/Repaired | Parts of : Mithila Vihar | 1115 | Interruption due to fault
16 | 2018-06-20 11:10 | Civil Lines | 12:19 | 13:45 | 1:26 | LT FEEDER | LT ACB Flashed | Restored/Repaired | Parts of : Kamla Nagar | 448 | Interruption due to fault
17 | 2018-06-20 | Pitam Pura | 19:38 | 20:50 | 1:12 | LT FEEDER | Tyco Box Burnt | Restored/Repaired | Parts of : Lok Vihar | 327 | Interruption due to fault
18 | 2018-06-20 11:10 | Pitam Pura | 1:09 | 2:20 | 1:11 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Multani Mohalla | 477 | Interruption due to fault
19 | 2018-06-20 11:10 | Badli | 00:37 | 2:10 | 1:33 | LT FEEDER | Neutral Wire Broken | Restored/Repaired | Parts of : Badli Village | 775 | Interruption due to fault
20 | 2018-06-20 11:10 | Shakti Nagar | 01:52 | 03:15 | 1:23 | LT FEEDER | LT ACB Faulty | Restored/Repaired | Parts of : Gulabi Bagh | 988 | Interruption due to fault
21 | 2018-06-20 11:10 | Civil Lines | 11:23 | 12:50 | 1:27 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Sangam Park | 308 | Scheduled system outage
22 | 2018-06-20 | Mangolpuri | 13:58 | 15:10 | 1:12 | PLANNED SHUTDOWN | LT ABC Shifting | Restored/Repaired | Parts of : Karan Vihar | 438 | Scheduled system outage
23 | 2018-06-20 11:10 | Moti Nagar | 12:29 | 13:55 | 1:26 | PLANNED SHUTDOWN | Load Balancing | Restored/Repaired | Parts of : Naraina Village | 312 | Scheduled system outage
24 | 2018-06-20 | Rohini | 14:51 | 17:40 | 2:49 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : Rithala | 333 | Scheduled system outage
25 | 2018-06-20 11:10 | Bawana | 21:50 | 23:30 | 1:40 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Agar Nagar | 885 | Interruption due to fault
26 | 2018-06-20 11:10 | Bawana | 22:18 | 23:45 | 1:27 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Vijay Colony | 341 | Interruption due to fault
27 | 2018-06-20 11:10 | Civil Lines | 20:37 | 22:31 | 1:54 | LT FEEDER | LT MCCB Burnt | Restored/Repaired | Parts of : Timarpur | 571 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51