## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___21-06-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-06-21 | Shalimar Bagh | 11:35 | 17:53 | 6:18 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Wazirabad Village | 4613 | Planned outage
2 | 2018-06-21 | Bawana | 10:57 | 16:38 | 5:41 | PLANNED SHUTDOWN | HT Pole Replacement | Restored/Repaired | Parts of : Ladpur | 1577 | Planned outage
3 | 2018-06-21 | Shalimar Bagh | 15:50 | 17:51 | 2:01 | PLANNED SHUTDOWN | DT Meter Replacement | Restored/Repaired | Parts of : Jagatpur Village | 2418 | Planned outage
4 | 2018-06-21 | Bawana | 03:43 | 04:58 | 1:15 | DISTRIBUTION TR. | LT ACB Faulty | Restored/Repaired | Parts of : Majra Dabas | 377 | Interruption due to fault
5 | 2018-06-21 | Shalimar Bagh | 04:21 | 07:05 | 2:44 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Sanjay Enclave | 584 | Force majeure due to fire
6 | 2018-06-21 | Shalimar Bagh | 06:13 | 08:15 | 2:02 | HVDS CABLE & OTHER SYSTEM | HT Jumper Burnt | Restored/Repaired | Parts of : A Block Shalimar Bagh | 380 | Interruption due to fault
7 | 2018-06-21 | Shalimar Bagh | 05:39 | 07:10 | 1:31 | HVDS CABLE & OTHER SYSTEM | HT Socket Burnt | Restored/Repaired | Parts of : Baba Colony | 5719 | Interruption due to fault
8 | 2018-06-21 | Civil Lines | 06:31 | 07:50 | 1:19 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Indra Market | 1435 | Interruption due to fault
9 | 2018-06-21 | Bawana | 09:44 | 11:13 | 1:29 | HT SYSTEM FAULT | HT ABC Burnt | Restored/Repaired | Parts of : Auchandi | 1141 | Interruption due to fault
10 | 2018-06-21 | Mangolpuri | 12:11 | 13:51 | 1:40 | PLANNED SHUTDOWN | LT Bushing Replacement | Restored/Repaired | Parts of : Budh Vihar | 989 | Scheduled system maintenance
11 | 2018-06-21 | Bawana | 12:38 | 13:45 | 1:07 | HVDS CABLE & OTHER SYSTEM | HT Jumper Sparking | Restored/Repaired | Parts of : Ghevra Village | 3208 | Interruption due to fault
12 | 2018-06-21 | Narela | 13:48 | 15:55 | 2:07 | PLANNED SHUTDOWN | DT Replacement | Restored/Repaired | Parts of : Ghogha Village | 1842 | Scheduled system maintenance
13 | 2018-06-21 | Mangolpuri | 14:16 | 15:40 | 1:24 | HVDS CABLE & OTHER SYSTEM | HT Jumper Burnt | Restored/Repaired | Parts of : Sultan Puri | 1253 | Interruption due to fault
14 | 2018-06-21 | Badli | 14:35 | 16:00 | 1:25 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Prahaladpur | 2308 | Force majeure due to fire
15 | 2018-06-21 | Mangolpuri | 18:52 | 20:35 | 1:43 | HT SYSTEM FAULT | HT ABC Burnt | Restored/Repaired | Parts of : F Block Mangolpuri | 768 | Interruption due to fault
16 | 2018-06-21 | Moti Nagar | 00:19 | 01:24 | 1:05 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Jumper Burnt | Restored/Repaired | Parts of : Bali Nagar | 312 | Interruption due to fault
17 | 2018-06-21 | Narela | 00:47 | 2:00 | 1:13 | LT FEEDER | LT ABC Sparking | Restored/Repaired | Parts of : Nai Basti | 563 | Interruption due to fault
18 | 2018-06-21 | Pitam Pura | 01:33 | 02:45 | 1:12 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Siri Nagar | 427 | Interruption due to fault
19 | 2018-06-21 | Badli | 05:44 | 7:30 | 1:46 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Raja Vihar | 615 | Interruption due to fault
20 | 2018-06-21 | Bawana | 14:09 | 15:45 | 1:36 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Jumper Burnt | Restored/Repaired | Parts of : Vijay Colony | 362 | Interruption due to fault
21 | 2018-06-21 | Mangolpuri | 15:53 | 19:10 | 3:17 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : B Block Mangolpuri | 763 | Force majeure due to fire
22 | 2018-06-21 | Rohini | 16:49 | 18:35 | 1:46 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Bus Bar Burnt | Restored/Repaired | Parts of : Sec 24 Rohini | 355 | Interruption due to fault
23 | 2018-06-21 | Badli | 19:02 | 20:28 | 1:26 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Socket Burnt | Restored/Repaired | Parts of : Sec 28 Rohini | 489 | Interruption due to fault
24 | 2018-06-21 | Mangolpuri | 19:05 | 20:25 | 1:20 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : G Block Mangolpuri | 400 | Interruption due to fault
25 | 2018-06-21 | Shalimar Bagh | 09:32 | 11:00 | 1:28 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Bhalswa Village | 579 | Interruption due to fault
26 | 2018-06-21 | Moti Nagar | 11:56 | 14:30 | 2:34 | PLANNED SHUTDOWN | Load Balancing | Restored/Repaired | Parts of : Inderpuri | 803 | Scheduled system maintenance
27 | 2018-06-21 | Civil Lines | 16:11 | 18:35 | 2:24 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : DTC Colony | 322 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51