## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___23-06-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-06-23 | Moti Nagar | 06:57 | 08:50 | 0.078472 | DISTRIBUTION TR. | For Mobile DT Removal | Restored/Repaired | Parts of : Kirbi Place | 392 | Interruption due to fault
2 | 2018-06-23 | Badli | 10:09 | 13:07 | 0.12361 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Feeder Switched Off Due To Fire Message | Restored/Repaired | Parts of : Sec-26 Rohini | 313 | Force majeure due to fire
3 | 2018-06-23 | Civil Lines | 00:21 | 08:00 | 0.31875 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | DT Faulty,Mobile Installation Delayed Due to Accessibility Issue | Restored/Repaired | Parts of : Hudson Line | 411 | Force majeure due to accessibility issue
4 | 2018-06-23 | Moti Nagar | 00:24 | 0.0625 | 0.045833 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : Bali Nagar | 355 | Force majeure due to fire
5 | 2018-06-23 | Shakti Nagar | 01:12 | 0.16667 | 0.11667 | DAMAGE BY OTHER AGENCIES | LT ABC Damaged by Unknown Vehicle | Restored/Repaired | Parts of : Shastri Nagar | 326 | Force majeure due to sabotage
6 | 2018-06-23 | Badli | 02:28 | 0.18403 | 0.08125 | HT SYSTEM FAULT | Cable End Termination Faulty | Restored/Repaired | Parts of : Sec-29 Rohini | 1831 | Interruption due to fault
7 | 2018-06-23 | Badli | 03:46 | 05:08 | 0.056944 | DISTRIBUTION TR. | Cat Electrocution on DT | Restored/Repaired | Parts of : Sec-26 Rohini | 3582 | Interruption due to fault
8 | 2018-06-23 | Shalimar Bagh | 05:21 | 06:27 | 0.045833 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of Jahangir Puri | 1847 | Interruption due to fault
9 | 2018-06-23 | Badli | 06:43 | 08:20 | 0.067361 | DAMAGE BY OTHER AGENCIES | Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Badli | 916 | Force majeure due to sabotage
10 | 2018-06-23 | Narela | 07:31 | 0.39583 | 0.082639 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Gautam Colony | 410 | Interruption due to fault
11 | 2018-06-23 | Shakti Nagar | 09:02 | 16:50 | 0.325 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | DT Faulty,Mobile Installation Delayed Due to Accessibility Issue | Restored/Repaired | Parts of : Shastri Nagar | 898 | Force majeure due to accessibility issue
12 | 2018-06-23 | Bawana | 10:12 | 13:32 | 0.13889 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Sec-2 DSIIDC Bawana | 323 | Planned outage
13 | 2018-06-23 | Narela | 10:12 | 11:18 | 0.045833 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Alipur | 2747 | Interruption due to fault
14 | 2018-06-23 | Mangol Puri | 11:14 | 0.54861 | 0.080556 | DISTRIBUTION TR. | To Attend DT Oil Leakage | Restored/Repaired | Parts of : Partap Vihar | 1306 | Interruption due to fault
15 | 2018-06-23 | Shalimar Bagh | 12:09 | 14:00 | 0.077083 | DISTRIBUTION TR. | DT Replacement Due to Fire on DT | Restored/Repaired | Parts of : Mahindra Park | 683 | Interruption due to fault
16 | 2018-06-23 | Shalimar Bagh | 12:53 | 16:19 | 0.14306 | PLANNED SHUTDOWN | DT Augmentation | Restored/Repaired | Parts of : Jharoda | 920 | Planned outage
17 | 2018-06-23 | Pitam Pura | 14:17 | 16:11 | 0.079167 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Rani Bagh | 491 | Interruption due to fault
18 | 2018-06-23 | Civil Lines | 15:09 | 0.70833 | 0.077083 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Kamla Nagar | 484 | Interruption due to fault
19 | 2018-06-23 | Rohini | 15:48 | 17:01 | 0.050694 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Sec-3 Rohini | 690 | Interruption due to fault
20 | 2018-06-23 | Mangol Puri | 16:37 | 18:12 | 0.065972 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Sec-20 Rohini | 673 | Interruption due to fault
21 | 2018-06-23 | Badli | 17:22 | 19:14 | 0.077778 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Samay Pur | 495 | Interruption due to fault
22 | 2018-06-23 | Badli | 17:21 | 19:00 | 0.06875 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Sanjay Gandhi Transport Nagar | 1710 | Force majeure due to sabotage
23 | 2018-06-23 | Moti Nagar | 19:41 | 21:30 | 0.075694 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Mansarover Garden | 373 | Interruption due to fault
24 | 2018-06-23 | Pitam Pura | 10:56 | 15:22 | 0.18472 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Pitam Pura | 355 | Planned outage
25 | 2018-06-23 | Bawana | 12:50 | 16:45 | 0.16319 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Sec-4 DSIIDC Bawana | 477 | Planned outage
26 | 2018-06-23 | Shalimar Bagh | 11:17 | 13:13 | 0.080556 | PLANNED SHUTDOWN | New Cable Charging | Restored/Repaired | Parts of : Rajeev Nagar | 1743 | Planned outage
27 | 2018-06-23 | Moti Nagar | 01:42 | 0.11806 | 0.047222 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Pusa | 338 | Interruption due to fault
28 | 2018-06-23 | Mangol Puri | 12:18 | 14:45 | 0.10208 | PLANNED SHUTDOWN | For Load Balancing | Restored/Repaired | Parts of : Station Block | 321 | Scheduled system maintenance
29 | 2018-06-23 | Rohini | 16:10 | 18:14 | 0.086111 | PLANNED SHUTDOWN | For Load Balancing | Restored/Repaired | Parts of : Sec-11 Rohini | 330 | Scheduled system maintenance
30 | 2018-06-23 | Moti Nagar | 11:19 | 13:33 | 0.093056 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Inder Puri | 1194 | Force majeure due to sabotage
31 | 2018-06-23 | Civil Lines | 16:23 | 17:52 | 0.061806 | DISTRIBUTION TR. | For Mobile DT Removal | Restored/Repaired | Parts of : Hudson Line | 309 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51