## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___24-06-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-06-24 | Moti Nagar | 07:26 | 08:31 | 0.045139 | LT FEEDER | LT ACB Faulty | Restored/Repaired | Parts of : Krishi Kunj | 1596 | Interruption due to fault
2 | 2018-06-24 | Rohini | 00:42 | 01:55 | 0.050694 | HT SYSTEM FAULT | HT Cable Faulty | Restored/Repaired | Parts of : Sec-2 Rohini | 4284 | Interruption due to fault
3 | 2018-06-24 | Shalimar Bagh | 01:31 | 03:30 | 0.082639 | DISTRIBUTION TR. | LT Cable Burnt of DT | Restored/Repaired | Parts of : Burari | 1422 | Interruption due to fault
4 | 2018-06-24 | Narela | 02:49 | 08:12 | 0.22431 | DAMAGE BY OTHER AGENCIES | Cable Damaged by External Agency | Restored/Repaired | Parts of : Narela | 769 | Force majeure due to sabotage
5 | 2018-06-24 | Mangol Puri | 04:10 | 0.25347 | 0.079861 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Krishan Vihar | 389 | Interruption due to fault
6 | 2018-06-24 | Mangol Puri | 04:46 | 0.27431 | 0.075694 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Nithari | 410 | Interruption due to fault
7 | 2018-06-24 | Shalimar Bagh | 04:53 | 06:20 | 0.060417 | LT FEEDER | LT ACB Faulty | Restored/Repaired | Parts of : Burari | 1128 | Interruption due to fault
8 | 2018-06-24 | Model Town | 05:15 | 07:00 | 0.072917 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Mukherjee Nagar | 405 | Interruption due to fault
9 | 2018-06-24 | Shalimar Bagh | 06:16 | 07:34 | 0.054167 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Jahangirabad Village | 6437 | Interruption due to fault
10 | 2018-06-24 | Mangol Puri | 08:42 | 10:34 | 0.077778 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Mangol Puri | 4656 | Force majeure due to sabotage
11 | 2018-06-24 | Narela | 08:56 | 0.44444 | 0.072222 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Bhorgarh | 399 | Interruption due to fault
12 | 2018-06-24 | Mangol Puri | 09:09 | 11:00 | 0.077083 | PLANNED SHUTDOWN | For Load Balancing | Restored/Repaired | Parts of : Begampur | 409 | Scheduled system outage
13 | 2018-06-24 | Narela | 08:27 | 10:22 | 0.079861 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Swaroop Vihar | 3000 | Interruption due to fault
14 | 2018-06-24 | Civil Lines | 09:50 | 0.47222 | 0.0625 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Malka Ganj | 426 | Interruption due to fault
15 | 2018-06-24 | Shalimar Bagh | 10:48 | 12:29 | 0.070139 | LT FEEDER | LT Jumper Sparking | Restored/Repaired | Parts of : Burari | 1422 | Interruption due to fault
16 | 2018-06-24 | Mangol Puri | 11:27 | 12:40 | 0.050694 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : C Blk Sultan Puri | 382 | Interruption due to fault
17 | 2018-06-24 | Pitam Pura | 12:59 | 15:11 | 0.091667 | PLANNED SHUTDOWN | For Load Balancing | Restored/Repaired | Parts of : Rani Bagh | 434 | Scheduled system outage
18 | 2018-06-24 | Mangol Puri | 16:18 | 19:50 | 0.14722 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : P Blk Sultan Puri | 1369 | Force majeure due to fire
19 | 2018-06-24 | Mangol Puri | 17:29 | 0.80556 | 0.077083 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Krishan Vihar | 394 | Interruption due to fault
20 | 2018-06-24 | Shalimar Bagh | 18:25 | 19:35 | 0.048611 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Bhalswa | 513 | Interruption due to fault
21 | 2018-06-24 | Bawana | 19:53 | 0.88194 | 0.053472 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Agar Nagar | 874 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51