## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___25-06-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-06-25 | Narela | 0.38056 | 0.52778 | 0.14722 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Bakhtawarpur Village | 3087 | Planned outage
2 | 2018-06-25 | Bawana | 11:24 | 16:15 | 0.20208 | PLANNED SHUTDOWN | DT Augmentation | Restored/Repaired | Parts of : Kanjhawala Village | 517 | Planned outage
3 | 2018-06-25 | Moti Nagar | 11:50 | 15:11 | 0.13958 | PLANNED SHUTDOWN | Tree Trimming and Guard Wire Repair | Restored/Repaired | Parts of : A Block Sudarshan Park | 430 | Planned outage
4 | 2018-06-25 | Shalimar Bagh | 11:56 | 16:23 | 0.18542 | PLANNED SHUTDOWN | HT Pole Replacement | Restored/Repaired | Parts of : Sant Nagar | 1368 | Planned outage
5 | 2018-06-25 | Shakti Nagar | 15:31 | 17:05 | 0.065278 | PLANNED SHUTDOWN | For Attending Oil Lekage | Restored/Repaired | Parts of : Shastri Nagar | 1626 | Planned outage
6 | 2018-06-25 | Bawana | 10:09 | 16:38 | 0.27014 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Sec-4 DSIDC Bawana | 1975 | Planned outage
7 | 2018-06-25 | Badli | 14:20 | 16:29 | 0.089583 | PLANNED SHUTDOWN | DT Meter Replacement | Restored/Repaired | Parts of : Sec-26 Rohini | 326 | Planned outage
8 | 2018-06-25 | Moti Nagar | 11:06 | 12:43 | 0.067361 | PLANNED SHUTDOWN | For Attending Hot Spot | Restored/Repaired | Parts of : B Block Sudarshan Park | 4465 | Planned outage
9 | 2018-06-25 | Mangol Puri | 12:10 | 15:14 | 0.12778 | PLANNED SHUTDOWN | DT Replacement | Restored/Repaired | Parts of : Raj Park | 1386 | Planned outage
10 | 2018-06-25 | Pitam Pura | 00:25 | 01:40 | 0.052083 | HT SYSTEM FAULT | Cat Electrocution | Restored/Repaired | Parts of : Sanik Vihar | 617 | Interruption due to fault
11 | 2018-06-25 | Bawana | 10:29 | 14:22 | 0.16181 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Feeder Switched Off Due To Fire Message | Restored/Repaired | Parts of : Rama Vihar | 1179 | Force majeure due to fire
12 | 2018-06-25 | Pitam Pura | 12:26 | 14:10 | 0.072222 | HVDS CABLE & OTHER SYSTEM | Cable Faulty | Restored/Repaired | Parts of : Pitam Pura Village | 953 | Interruption due to fault
13 | 2018-06-25 | Mangol Puri | 17:44 | 19:50 | 0.0875 | DISTRIBUTION TR. | Fire on DT Bushing | Restored/Repaired | Parts of : Prem Nagar | 558 | Interruption due to fault
14 | 2018-06-25 | Mangol Puri | 06:23 | 08:00 | 0.067361 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Pooth Kalan | 855 | Interruption due to fault
15 | 2018-06-25 | Mangol Puri | 11:33 | 14:05 | 0.10556 | DISTRIBUTION TR. | DT failure | Restored/Repaired | Parts of : Kirari Village | 722 | Interruption due to fault
16 | 2018-06-25 | Bawana | 19:06 | 22:17 | 0.13264 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Sec-2 DSIDC Bawana | 419 | Force majeure due to sabotage
17 | 2018-06-25 | Shalimar Bagh | 00:01 | 0.083333 | 0.082639 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Rajeev Nagar | 855 | Interruption due to fault
18 | 2018-06-25 | Pitam Pura | 00:23 | 02:00 | 0.067361 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Lok Vihar | 387 | Interruption due to fault
19 | 2018-06-25 | Pitam Pura | 00:19 | 01:30 | 0.049306 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Raja Park | 435 | Interruption due to fault
20 | 2018-06-25 | Pitam Pura | 00:30 | 02:15 | 0.072917 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Rani Bagh | 521 | Interruption due to fault
21 | 2018-06-25 | Shalimar Bagh | 00:16 | 0.069444 | 0.058333 | LT FEEDER | MCCB Burnt | Restored/Repaired | Parts of : Burari Village | 319 | Interruption due to fault
22 | 2018-06-25 | Narela | 00:48 | 0.10417 | 0.070833 | LT FEEDER | LT Jumper Sparking | Restored/Repaired | Parts of : Holambi Khurd | 361 | Interruption due to fault
23 | 2018-06-25 | Moti Nagar | 00:47 | 02:11 | 0.058333 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Krishi Kunj | 367 | Interruption due to fault
24 | 2018-06-25 | Shalimar Bagh | 00:50 | 02:15 | 0.059028 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Bhalswa Dairy | 422 | Interruption due to fault
25 | 2018-06-25 | Bawana | 01:24 | 0.13542 | 0.077083 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Pooth Khurd Village | 362 | Interruption due to fault
26 | 2018-06-25 | Rohini | 01:27 | 0.17361 | 0.11319 | DAMAGE BY OTHER AGENCIES | LT ABC Damaged by Unknown Vehicle | Restored/Repaired | Parts of : Rithala | 733 | Force majeure due to sabotage
27 | 2018-06-25 | Rohini | 03:18 | 05:17 | 0.082639 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Shastri Nagar | 364 | Interruption due to fault
28 | 2018-06-25 | Rohini | 11:43 | 0.625 | 0.13681 | PLANNED SHUTDOWN | For Load Balancing | Restored/Repaired | Parts of : Sec-7 Rohini | 391 | Scheduled system maintenance
29 | 2018-06-25 | Shalimar Bagh | 14:29 | 16:25 | 0.080556 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : Mahindra Park | 459 | Scheduled system maintenance
30 | 2018-06-25 | Shalimar Bagh | 16:17 | 18:00 | 0.071528 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Mukundpur Village | 874 | Interruption due to fault
31 | 2018-06-25 | Shalimar Bagh | 17:29 | 0.79167 | 0.063194 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Socket Burnt | Restored/Repaired | Parts of : Bangali Colony | 1128 | Interruption due to fault
32 | 2018-06-26 | Shalimar Bagh | 19:27 | 0.88889 | 0.078472 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Bhalswa | 303 | Interruption due to fault
33 | 2018-06-27 | Narela | 10:55 | 0.50694 | 0.052083 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Khampur | 651 | Interruption due to fault
34 | 2018-06-28 | Shalimar Bagh | 11:15 | 17:00 | 0.23958 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire in LT ABC | Restored/Repaired | Parts of : Bangali Colony | 1128 | Force majeure due to fire
35 | 2018-06-29 | Pitam Pura | 12:03 | 0.55208 | 0.05 | PLANNED SHUTDOWN | For Load Balancing | Restored/Repaired | Parts of : Shakurpur | 526 | Scheduled system maintenance
36 | 2018-06-30 | Shalimar Bagh | 13:35 | 16:11 | 0.10833 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Baba Colony | 538 | Scheduled system maintenance
37 | 2018-07-01 | Rohini | 19:04 | 20:16 | 0.05 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Sec-4 Rohini | 364 | Interruption due to fault
38 | 2018-07-02 | Moti Nagar | 19:59 | 22:27 | 0.10278 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire in LT ACB | Restored/Repaired | Parts of : Inderpuri | 483 | Force majeure due to fire

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51