## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___26-06-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-06-26 | Bawana | 13:15 | 17:20 | 0.17014 | PLANNED SHUTDOWN | DT Augmentation | Restored/Repaired | Parts of : Harewali Village | 2045 | Planned outage
2 | 2018-06-26 | Shalimar Bagh | 11:42 | 17:58 | 0.26111 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Burari Village | 2321 | Planned outage
3 | 2018-06-26 | Moti Nagar | 12:03 | 0.54861 | 0.046528 | PLANNED SHUTDOWN | For Attending Hot Spot | Restored/Repaired | Parts of : Naraina Industrial Area | 392 | Planned outage
4 | 2018-06-26 | Badli | 10:38 | 12:58 | 0.097222 | DISTRIBUTION TR. | DT Failure | Restored/Repaired | Parts of : Shahbad Dairy | 1334 | Interruption due to fault
5 | 2018-06-26 | Badli | 17:30 | 19:19 | 0.075694 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Sec-27 Rohini | 1016 | Interruption due to fault
6 | 2018-06-26 | Mangol Puri | 00:12 | 03:27 | 0.13542 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Feeder Switched Off Due To Fire Message | Restored/Repaired | Parts of : Budh Vihar | 1307 | Force majeure due to fire
7 | 2018-06-26 | Shalimar Bagh | 01:19 | 02:40 | 0.05625 | DISTRIBUTION TR. | DD Unit Flash | Restored/Repaired | Parts of : Sant Nagar | 1332 | Interruption due to fault
8 | 2018-06-26 | Shalimar Bagh | 00:31 | 02:10 | 0.06875 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Bangali Colony | 2257 | Interruption due to fault
9 | 2018-06-26 | Bawana | 05:30 | 07:00 | 0.0625 | HVDS CABLE & OTHER SYSTEM | HT Cable Faulty | Restored/Repaired | Parts of : Mubarakpur Village | 4222 | Interruption due to fault
10 | 2018-06-26 | Mangol Puri | 06:22 | 07:49 | 0.060417 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Sec-20 Rohini | 3139 | Interruption due to fault
11 | 2018-06-26 | Bawana | 08:42 | 12:01 | 0.13819 | DAMAGE BY OTHER AGENCIES | Cable Damaged by External Agency | Restored/Repaired | Parts of : Karala Village | 2779 | Force majeure due to sabotage
12 | 2018-06-26 | Bawana | 0.40625 | 12:40 | 0.12153 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | External Item Fell on Line | Restored/Repaired | Parts of : Sukhbir Nagar | 396 | Force majeure due to sabotage
13 | 2018-06-26 | Mangol Puri | 11:33 | 15:15 | 0.15417 | DAMAGE BY OTHER AGENCIES | Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Sultanpur Mazra | 1149 | Force majeure due to sabotage
14 | 2018-06-26 | Narela | 11:37 | 12:52 | 0.052083 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Ghogha Colony | 3078 | Interruption due to fault
15 | 2018-06-26 | Shalimar Bagh | 11:06 | 13:00 | 0.079167 | HT SYSTEM FAULT | Cat Electrocution | Restored/Repaired | Parts of : Kamal Vihar | 2893 | Interruption due to fault
16 | 2018-06-26 | Shalimar Bagh | 15:33 | 16:44 | 0.049306 | DISTRIBUTION TR. | For Mobile DT Removal | Restored/Repaired | Parts of : Koushik Enclave | 1529 | Interruption due to fault
17 | 2018-06-26 | Narela | 16:23 | 17:43 | 0.055556 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Lampur Village | 2838 | Interruption due to fault
18 | 2018-06-26 | Narela | 18:23 | 19:42 | 0.054861 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Nangli Village | 451 | Interruption due to fault
19 | 2018-06-26 | Bawana | 09:54 | 12:07 | 0.092361 | HT SYSTEM FAULT | Guard Wire Broken | Restored/Repaired | Parts of : Rama Vihar | 2737 | Interruption due to fault
20 | 2018-06-26 | Bawana | 10:38 | 12:15 | 0.067361 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Kanjhawala Village | 2030 | Interruption due to fault
21 | 2018-06-26 | Moti Nagar | 15:42 | 17:35 | 0.078472 | PLANNED SHUTDOWN | For Load Balancing | Restored/Repaired | Parts of : Naraina Village | 342 | Scheduled system maintenance
22 | 2018-06-26 | Shalimar Bagh | 0.00069444 | 0.079861 | 0.079167 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Jagatpur Village | 302 | Interruption due to fault
23 | 2018-06-26 | Shalimar Bagh | 02:54 | 04:34 | 0.069444 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Socket Burnt | Restored/Repaired | Parts of : Jharoda Village | 517 | Interruption due to fault
24 | 2018-06-26 | Pitam Pura | 06:21 | 0.3125 | 0.047917 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | IPC Burnt | Restored/Repaired | Parts of : J-Block Shakurpur | 477 | Interruption due to fault
25 | 2018-06-26 | Moti Nagar | 12:32 | 0.59375 | 0.071528 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Moti Nagar | 308 | Scheduled system maintenance
26 | 2018-06-26 | Shalimar Bagh | 22:02 | 0.98958 | 0.071528 | LT FEEDER | LT ACB Burnt | Restored/Repaired | Parts of : Ishu Vihar | 669 | Interruption due to fault
27 | 2018-06-26 | Badli | 11:00 | 12:58 | 0.081944 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Samaypur | 780 | Interruption due to fault
28 | 2018-06-26 | Moti Nagar | 12:09 | 14:00 | 0.077083 | PLANNED SHUTDOWN | LT ABC Replacement | Restored/Repaired | Parts of : Sudarshan Park | 363 | Scheduled system maintenance
29 | 2018-06-26 | Narela | 12:33 | 15:47 | 0.13472 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : D-Block Narela Industrial Area | 307 | Scheduled system maintenance
30 | 2018-06-26 | Shalimar Bagh | 13:08 | 14:50 | 0.070833 | LT FEEDER | MCCB Burnt | Restored/Repaired | Parts of : Bhalswa Dairy | 840 | Interruption due to fault
31 | 2018-06-26 | Bawana | 13:10 | 0.61458 | 0.065972 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Socket Burnt | Restored/Repaired | Parts of : Inder Enclave | 340 | Interruption due to fault
32 | 2018-06-26 | Keshav Puram | 13:34 | 0.625 | 0.059722 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Shanti Nagar | 445 | Interruption due to fault
33 | 2018-06-26 | Keshav Puram | 14:15 | 0.74306 | 0.14931 | PLANNED SHUTDOWN | For Load Balancing | Restored/Repaired | Parts of : Wazirpur J J Colony | 707 | Scheduled system maintenance
34 | 2018-06-26 | Badli | 15:39 | 17:06 | 0.060417 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Siraspur | 533 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51