## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___27-06-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-06-27 | Badli | 07:50 | 10:00 | 0.090278 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Libaspur | 933 | Force majeure and delay due to rain
2 | 2018-06-27 | Shalimar Bagh | 08:58 | 11:12 | 0.093056 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Mahindra Park | 2611 | Force majeure and delay due to rain
3 | 2018-06-27 | Pitam Pura | 08:19 | 10:19 | 0.083333 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : BP Blk Pitam Pura | 506 | Force majeure and delay due to rain
4 | 2018-06-27 | Shalimar Bagh | 11:18 | 15:11 | 0.16181 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT Cable Burnt | Restored/Repaired | Parts of : Jharoda | 4074 | Force majeure and delay due to rain
5 | 2018-06-27 | Badli | 15:54 | 18:23 | 0.10347 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Sec-26 Rohini | 1145 | Force majeure due to sabotage
6 | 2018-06-27 | Mangol Puri | 16:41 | 17:58 | 0.053472 | LT FEEDER | LT ABC Faulty | Restored/Repaired | Parts of : Mangol Puri | 440 | Interruption due to fault
7 | 2018-06-27 | Rohini | 05:04 | 07:10 | 0.0875 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Avantika | 2713 | Force majeure and delay due to rain
8 | 2018-06-27 | Model Town | 04:55 | 07:13 | 0.095833 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Gujrawala Town | 4326 | Force majeure and delay due to rain
9 | 2018-06-27 | Moti Nagar | 04:59 | 06:07 | 0.047222 | HT SYSTEM FAULT | HT Cable Faulty | Restored/Repaired | Parts of : Pandav Nagar | 1946 | Interruption due to fault
10 | 2018-06-27 | Narela | 06:11 | 08:33 | 0.098611 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Ghoga Village | 1241 | Force majeure and delay due to rain
11 | 2018-06-27 | Shalimar Bagh | 07:29 | 12:20 | 0.20208 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Bhalswa | 920 | Force majeure and delay due to rain
12 | 2018-06-27 | Shalimar Bagh | 07:13 | 10:05 | 0.11944 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Wazirabad | 2784 | Force majeure and delay due to rain
13 | 2018-06-27 | Moti Nagar | 07:07 | 08:40 | 0.064583 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Inderpuri | 1043 | Force majeure due to rain
14 | 2018-06-27 | Bawana | 07:46 | 11:15 | 0.14514 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Mubarakpur Village | 4222 | Force majeure and delay due to rain
15 | 2018-06-27 | Shalimar Bagh | 07:49 | 08:57 | 0.047222 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of :Shalimar Bagh | 981 | Force majeure due to rain
16 | 2018-06-27 | Moti Nagar | 07:40 | 0.375 | 0.055556 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Pusa | 416 | Force majeure due to rain
17 | 2018-06-27 | Narela | 11:56 | 13:20 | 0.058333 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Narela | 1584 | Interruption due to fault
18 | 2018-06-27 | Shalimar Bagh | 08:14 | 12:20 | 0.17083 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Jahangir Puri | 680 | Force majeure and delay due to rain
19 | 2018-06-27 | Bawana | 08:33 | 10:05 | 0.063889 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Jain Nagar | 5405 | Force majeure due to rain
20 | 2018-06-27 | Bawana | 08:23 | 09:50 | 0.060417 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Rama Vihar | 5275 | Force majeure due to rain
21 | 2018-06-27 | Shakti nagar | 08:23 | 11:15 | 0.11944 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Shastri Nagar | 351 | Force majeure and delay due to rain
22 | 2018-06-27 | Bawana | 08:24 | 09:45 | 0.05625 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : DSIIDC Bawana | 416 | Force majeure due to rain
23 | 2018-06-27 | Moti Nagar | 08:52 | 10:00 | 0.047222 | DISTRIBUTION TR. | DT Faulty | Restored/Repaired | Parts of : Moti Nagar | 711 | Interruption due to fault
24 | 2018-06-27 | Bawana | 08:38 | 10:45 | 0.088194 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Mazri Village | 2139 | Force majeure and delay due to rain
25 | 2018-06-27 | Shalimar Bagh | 08:50 | 12:00 | 0.13194 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HT Cable Faulty | Restored/Repaired | Parts of : Jahangir Puri | 2492 | Force majeure and delay due to rain
26 | 2018-06-27 | Shalimar Bagh | 09:13 | 0.45139 | 0.067361 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Burari | 523 | Interruption due to fault
27 | 2018-06-27 | Bawana | 09:15 | 0.47569 | 0.090278 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HT Jumper Burnt | Restored/Repaired | Parts of : Vijay nagar Bawana | 2940 | Force majeure and delay due to rain
28 | 2018-06-27 | Mangol Puri | 09:07 | 10:31 | 0.058333 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Laxmi Vihar | 463 | Force majeure due to rain
29 | 2018-06-27 | Badli | 09:19 | 11:17 | 0.081944 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Siraspur | 534 | Interruption due to fault
30 | 2018-06-27 | Badli | 08:22 | 10:10 | 0.075 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Badli Ind Area | 1499 | Force majeure due to rain
31 | 2018-06-27 | Narela | 09:14 | 0.4375 | 0.052778 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Darshan Vihar | 339 | Force majeure due to rain
32 | 2018-06-27 | Rohini | 08:44 | 10:15 | 0.063194 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Avantika | 605 | Force majeure due to rain
33 | 2018-06-27 | Model Town | 10:03 | 12:10 | 0.088194 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Indra vihar | 430 | Force majeure and delay due to rain
34 | 2018-06-27 | Narela | 09:23 | 12:22 | 0.12431 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Narela | 1310 | Force majeure and delay due to rain
35 | 2018-06-27 | Shalimar Bagh | 09:20 | 10:50 | 0.0625 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Haiderpur | 1553 | Interruption due to fault
36 | 2018-06-27 | Narela | 10:34 | 0.52083 | 0.080556 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Swaroop Vihar | 896 | Interruption due to fault
37 | 2018-06-27 | Bawana | 09:28 | 12:50 | 0.14028 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Auchandi | 1144 | Force majeure and delay due to rain
38 | 2018-06-27 | Bawana | 11:56 | 13:50 | 0.079167 | HVDS TRANSFORMER | DD Jumper Sparking | Restored/Repaired | Parts of : Mubarakpur Village | 352 | Interruption due to fault
39 | 2018-06-27 | Moti Nagar | 11:47 | 0.5625 | 0.071528 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Naraina | 375 | Interruption due to fault
40 | 2018-06-27 | Badli | 10:07 | 11:38 | 0.063194 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Samaypur | 546 | Force majeure due to rain
41 | 2018-06-27 | Narela | 12:30 | 15:40 | 0.13194 | DAMAGE BY OTHER AGENCIES | Cable Damaged by External Agency | Restored/Repaired | Parts of : Narela | 1881 | Force majeure due to sabotage
42 | 2018-06-27 | Shalimar Bagh | 08:02 | 09:14 | 0.05 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Haiderpur | 691 | Force majeure due to sabotage
43 | 2018-06-27 | Model Town | 14:12 | 15:29 | 0.053472 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Radio Colony | 552 | Interruption due to fault
44 | 2018-06-27 | Bawana | 08:15 | 10:05 | 0.076389 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Jain Nagar | 5335 | Force majeure due to rain
45 | 2018-06-27 | BAWANA | 07:46 | 09:11 | 0.059028 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Mubarakpur Village | 4222 | Force majeure due to rain
46 | 2018-06-27 | Narela | 17:02 | 18:25 | 0.057639 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Tikri Village | 667 | Force majeure due to rain
47 | 2018-06-27 | Narela | 17:45 | 22:16 | 0.18819 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Khampur | 616 | Force majeure and delay due to rain
48 | 2018-06-27 | Narela | 18:25 | 20:15 | 0.076389 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Bakhtawarpur | 1234 | Force majeure due to rain
49 | 2018-06-27 | Shalimar Bagh | 19:18 | 20:45 | 0.060417 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Branch Fell on Line | Restored/Repaired | Parts of : Jahangir Puri | 1816 | Force majeure due to rain
50 | 2018-06-27 | Moti Nagar | 19:15 | 20:37 | 0.056944 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Ranjeet Nagar | 836 | Force majeure due to rain
51 | 2018-06-27 | Mangol Puri | 20:01 | 22:33 | 0.10556 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Mithila Vihar | 7557 | Force majeure and delay due to rain
52 | 2018-06-27 | Bawana | 20:04 | 22:25 | 0.097917 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Ishwar colony | 2941 | Force majeure and delay due to rain
53 | 2018-06-27 | Bawana | 20:02 | 22:00 | 0.081944 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Jain Nagar | 887 | Force majeure due to rain
54 | 2018-06-27 | Bawana | 19:55 | 22:08 | 0.092361 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : A Blk JJ Colony | 1295 | Force majeure and delay due to rain
55 | 2018-06-27 | Badli | 20:01 | 23:40 | 0.15208 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sec-28 Rohini | 448 | Force majeure and delay due to rain
56 | 2018-06-27 | Shalimar Bagh | 20:29 | 22:20 | 0.077083 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Wazirabad | 8608 | Force majeure due to rain
57 | 2018-06-27 | Mangol Puri | 20:15 | 21:44 | 0.061806 | LT FEEDER | LT Jumper Sparking | Restored/Repaired | Parts of : Kirari | 1236 | Interruption due to fault
58 | 2018-06-27 | Shalimar Bagh | 20:28 | 21:50 | 0.056944 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Jagatpur | 2420 | Interruption due to fault
59 | 2018-06-27 | Shalimar Bagh | 18:36 | 19:55 | 0.054861 | HT SYSTEM FAULT | Cat Electrocution | Restored/Repaired | Parts of : Jahangir Puri | 1874 | Interruption due to fault
60 | 2018-06-27 | Mangol Puri | 21:33 | 22:45 | 0.05 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Partap Vihar | 584 | Interruption due to fault
61 | 2018-06-27 | Narela | 10:44 | 12:24 | 0.069444 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Alipur | 1467 | Planned outage
62 | 2018-06-27 | Mangol Puri | 09:59 | 14:06 | 0.17153 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Mangol Puri | 732 | Planned outage
63 | 2018-06-27 | Bawana | 11:55 | 15:00 | 0.12847 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Pooth Khurd | 867 | Planned outage
64 | 2018-06-27 | Badli | 05:18 | 06:25 | 0.046528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Siraspur | 520 | Force majeure due to rain
65 | 2018-06-27 | Narela | 0.49306 | 16:57 | 0.21319 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Bakhtawarpur | 431 | Force majeure and delay due to rain
66 | 2018-06-27 | Narela | 08:22 | 12:40 | 0.17917 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sannoth | 1151 | Force majeure and delay due to rain
67 | 2018-06-27 | Narela | 08:07 | 09:14 | 0.046528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : DSIIDC Narela | 1076 | Force majeure due to rain
68 | 2018-06-27 | Rohini | 10:34 | 14:53 | 0.17986 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT Cable Burnt | Restored/Repaired | Parts of : Sec-4 Rohini | 435 | Force majeure and delay due to rain
69 | 2018-06-27 | Narela | 10:47 | 0.625 | 0.17569 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT ABC Burnt | Restored/Repaired | Parts of : Darshan Vihar | 339 | Force majeure and delay due to rain
70 | 2018-06-27 | Narela | 10:57 | 13:15 | 0.095833 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HT ABC Faulty | Restored/Repaired | Parts of : Khampur | 3707 | Force majeure and delay due to rain
71 | 2018-06-27 | Badli | 11:04 | 12:40 | 0.066667 | LT FEEDER | LT Jumper Sparking | Restored/Repaired | Parts of : Yadav Nagar | 624 | Interruption due to fault
72 | 2018-06-27 | Narela | 08:16 | 09:51 | 0.065972 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : DSIIDC Narela | 1436 | Force majeure due to rain
73 | 2018-06-27 | Mangol Puri | 12:58 | 14:50 | 0.077778 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Sultan Puri | 376 | Interruption due to fault
74 | 2018-06-27 | Shalimar Bagh | 14:37 | 16:30 | 0.078472 | LT FEEDER | LT Cable Burnt | Restored/Repaired | Parts of : Shalimar Bagh | 356 | Interruption due to fault
75 | 2018-06-27 | Bawana | 14:49 | 0.675 | 0.057639 | PLANNED SHUTDOWN | For Load Balancing | Restored/Repaired | Parts of : Inder Enclave | 372 | Scheduled system maintenance
76 | 2018-06-27 | Mangol Puri | 15:11 | 0.69097 | 0.058333 | LT FEEDER | LT ABC Faulty | Restored/Repaired | Parts of : Mangol Puri | 316 | Interruption due to fault
77 | 2018-06-27 | Mangol Puri | 16:46 | 18:15 | 0.061806 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Nithari | 737 | Interruption due to fault
78 | 2018-06-27 | Mangol Puri | 17:07 | 0.75694 | 0.04375 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : S Blk Mangol Puri | 520 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51