## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___28-06-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 2018-06-28 | Moti Nagar | 01:41 | 03:20 | 0.06875 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : A Block Nariana Industrial Area Ph-1 | 609 | Force majeure and delay due to rain
2 | 2018-06-28 | Moti Nagar | 01:31 | 03:30 | 0.082639 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Ramesh Nagar | 325 | Force majeure and delay due to rain
3 | 2018-06-28 | Badli | 01:56 | 03:34 | 0.068056 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sector-28 Rohini | 1590 | Force majeure and delay due to rain
4 | 2018-06-28 | Narela | 02:14 | 06:10 | 0.16389 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sanjay Colony | 1589 | Force majeure and delay due to rain
5 | 2018-06-28 | Bawana | 20:30 | 23:20 | 0.11806 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : F Block Sector-4 | 390 | Force majeure and delay due to rain
6 | 2018-06-28 | Mangolpuri | 02:05 | 03:14 | 0.047917 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sultan Puri | 9214 | Force majeure and delay due to rain
7 | 2018-06-28 | Shalimar Bagh | 02:07 | 06:30 | 0.18264 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : D Block Baba Colony | 6250 | Force majeure and delay due to rain
8 | 2018-06-28 | Bawana | 20:40 | 22:20 | 0.069444 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : N Block Sector-2 | 355 | Force majeure and delay due to rain
9 | 2018-06-28 | Badli | 02:06 | 04:10 | 0.086111 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sector-15 Rohini | 398 | Force majeure and delay due to rain
10 | 2018-06-28 | Narela | 02:10 | 04:13 | 0.085417 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Holambi Kalan | 2483 | Force majeure and delay due to rain
11 | 2018-06-28 | Narela | 02:10 | 05:45 | 0.14931 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Prem Colony | 374 | Force majeure and delay due to rain
12 | 2018-06-28 | Narela | 02:10 | 06:50 | 0.19444 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Swatantra Nagar | 2109 | Force majeure and delay due to rain
13 | 2018-06-28 | Narela | 02:12 | 07:05 | 0.20347 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Hiranki | 1781 | Force majeure and delay due to rain
14 | 2018-06-28 | Shakti Nagar | 02:41 | 04:22 | 0.070139 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Shahzada Bagh Industrial Area | 453 | Force majeure and delay due to rain
15 | 2018-06-28 | Narela | 02:25 | 03:39 | 0.051389 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Alipur | 2298 | Force majeure and delay due to rain
16 | 2018-06-28 | Shalimar Bagh | 02:25 | 04:45 | 0.097222 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : C Block Jahangirpuri | 2181 | Force majeure and delay due to rain
17 | 2018-06-28 | Bawana | 02:14 | 03:52 | 0.068056 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Jain Nagar | 887 | Force majeure and delay due to rain
18 | 2018-06-28 | Narela | 03:09 | 04:59 | 0.076389 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Bakhtawarpur | 1827 | Force majeure and delay due to rain
19 | 2018-06-28 | Bawana | 03:13 | 04:25 | 0.05 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Part6s of : JJ Colony Sawda | 3229 | Force majeure and delay due to rain
20 | 2018-06-28 | Badli | 03:11 | 05:05 | 0.079167 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Prahladpur | 2966 | Force majeure and delay due to rain
21 | 2018-06-28 | Shalimar Bagh | 04:19 | 06:28 | 0.089583 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Ishu Vihar | 8505 | Force majeure and delay due to rain
22 | 2018-06-28 | Shalimar Bagh | 02:39 | 03:50 | 0.049306 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Mahindra Park | 640 | Force majeure and delay due to rain
23 | 2018-06-28 | Mangolpuri | 03:35 | 05:20 | 0.072917 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Ramesh Enclave | 1683 | Force majeure and delay due to rain
24 | 2018-06-28 | Narela | 16:18 | 17:25 | 0.046528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Bankner Village | 1844 | Force majeure and delay due to rain
25 | 2018-06-28 | Narela | 06:08 | 07:50 | 0.070833 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Darshan Vihar | 3130 | Force majeure and delay due to rain
26 | 2018-06-28 | Badli | 02:07 | 03:25 | 0.054167 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sector-16 Rohini | 2700 | Force majeure and delay due to rain
27 | 2018-06-28 | Badli | 03:25 | 06:50 | 0.14236 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Jain Colony | 1512 | Force majeure and delay due to rain
28 | 2018-06-28 | Badli | 03:25 | 08:35 | 0.21528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Shahabad Dairy | 451 | Force majeure and delay due to rain
29 | 2018-06-28 | Bawana | 10:27 | 11:36 | 0.047917 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : J Block Sector-2 | 354 | Force majeure and delay due to rain
30 | 2018-06-28 | Bawana | 0.37986 | 10:50 | 0.071528 | HT SYSTEM FAULT | Pin Insulator Faulty | Restored/Repaired | Parts of : N-1 Block Sector-2 | 355 | Interruption due to fault
31 | 2018-06-28 | Shakti Nagar | 08:38 | 11:00 | 0.098611 | PLANNED SHUTDOWN | Replacement of Oil Seal & Gaskit of DT | Restored/Repaired | Parts of : Andha Mughal | 615 | Planned outage
32 | 2018-06-28 | Badli | 08:54 | 11:42 | 0.11667 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Old Badli Village | 708 | Force majeure due to sabotage
33 | 2018-06-28 | Moti Nagar | 10:25 | 11:50 | 0.059028 | HVDS TRANSFORMER | DD Jumper Burnt | Restored/Repaired | Parts of : Bali Nagar | 1265 | Interruption due to fault
34 | 2018-06-28 | Narela | 10:44 | 12:00 | 0.052778 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Metro Vihar-Ph-1 | 2722 | Interruption due to fault
35 | 2018-06-28 | Bawana | 14:26 | 16:09 | 0.071528 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : JK Block Sector-1 | 370 | Interruption due to fault
36 | 2018-06-28 | Shalimar Bagh | 14:29 | 16:05 | 0.066667 | HVDS TRANSFORMER | DD Jumper Sparking | Restored/Repaired | Parts of : G Block Jahangir Puri | 680 | Interruption due to fault
37 | 2018-06-28 | Narela | 14:53 | 17:20 | 0.10208 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tree Fell on Line | Restored/Repaired | Parts of : Bakoli | 1234 | Force majeure due to sabotage
38 | 2018-06-28 | Bawana | 16:27 | 17:35 | 0.047222 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Inder Enclave Ph-2 | 6960 | Interruption due to fault
39 | 2018-06-28 | Shalimar Bagh | 12:07 | 16:45 | 0.19306 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Baba Colony | 978 | Planned outage
40 | 2018-06-28 | Shalimar Bagh | 11:47 | 15:15 | 0.14444 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Parts of : Bhalswa Dairy | 992 | Planned outage
41 | 2018-06-28 | Shalimar Bagh | 14:34 | 17:42 | 0.13056 | PLANNED SHUTDOWN | Erection of HT Pole | Restored/Repaired | Parts of : Rajeev Nagar | 1694 | Planned outage
42 | 2018-06-28 | Mangolpuri | 10:07 | 12:07 | 0.083333 | PLANNED SHUTDOWN | Replacement DD Fuse Unit | Restored/Repaired | Parts of : B Block Mangolpuri | 1313 | Planned outage
43 | 2018-06-28 | Mangolpuri | 14:33 | 16:00 | 0.060417 | PLANNED SHUTDOWN | Replacement of Palm Connector | Restored/Repaired | Parts of : Police Complex | 714 | Planned outage
44 | 2018-06-28 | Shalimar Bagh | 11:31 | 14:32 | 0.12569 | PLANNED SHUTDOWN | Attending DT Oil Leakage | Restored/Repaired | Parts of : Jagatpur Village | 442 | Planned outage
45 | 2018-06-28 | Mangolpuri | 14:40 | 16:00 | 0.055556 | PLANNED SHUTDOWN | Rectification of Tilted Pole | Restored/Repaired | Parts of : Raj Park | 667 | Planned outage
46 | 2018-06-28 | Shalimar Bagh | 16:06 | 18:00 | 0.079167 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Wazirabad Village | 653 | Interruption due to fault
47 | 2018-06-28 | Narela | 16:28 | 17:54 | 0.059722 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Ghogha Village | 3393 | Interruption due to fault
48 | 2018-06-28 | Mangolpuri | 19:44 | 21:53 | 0.089583 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Balbir Vihar | 10360 | Force majeure and delay due to rain
49 | 2018-06-28 | Narela | 00:53 | 0.083333 | 0.046528 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Tigipur Village | 407 | Force majeure and delay due to rain
50 | 2018-06-28 | Shalimar Bagh | 01:05 | 0.14583 | 0.10069 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Sant Nagar | 442 | Force majeure and delay due to rain
51 | 2018-06-28 | Pitam Pura | 01:26 | 0.125 | 0.065278 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Ranibagh | 390 | Force majeure and delay due to rain
52 | 2018-06-28 | Keshav Puram | 01:29 | 0.11667 | 0.054861 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Trinagar | 530 | Force majeure and delay due to rain
53 | 2018-06-28 | Moti Nagar | 01:40 | 03:10 | 0.0625 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : B Block Nariana Industrial Area Ph-1 | 508 | Force majeure and delay due to rain
54 | 2018-06-28 | Badli | 01:28 | 0.16667 | 0.10556 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : DDA Market Sector-17 Rohini | 1206 | Force majeure and delay due to rain
55 | 2018-06-28 | Mangolpuri | 02:55 | 04:25 | 0.0625 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Budh Vihar Ph-1 | 329 | Force majeure and delay due to rain
56 | 2018-06-28 | Narela | 03:07 | 0.26389 | 0.13403 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Bhorgarh Industrial Area | 506 | Force majeure and delay due to rain
57 | 2018-06-28 | Mangolpuri | 03:17 | 04:27 | 0.048611 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Budh Vihar Ph-2 | 328 | Force majeure and delay due to rain
58 | 2018-06-28 | Narela | 03:26 | 0.23611 | 0.093056 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : Ghogha Dairy Colony | 324 | Force majeure and delay due to rain
59 | 2018-06-28 | Narela | 04:24 | 0.22917 | 0.045833 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Tripping Due to Rain | Restored/Repaired | Parts of : HIG Flats Narela | 634 | Force majeure and delay due to rain
60 | 2018-06-28 | Bawana | 06:21 | 08:13 | 0.077778 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Ishwar Colony | 303 | Interruption due to fault
61 | 2018-06-28 | Shalimar Bagh | 08:16 | 0.4375 | 0.093056 | DAMAGE BY OTHER AGENCIES | LT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Pocket-8 Sant Nagar | 654 | Force majeure due to sabotage
62 | 2018-06-28 | Pitam Pura | 11:49 | 17:35 | 0.24028 | PLANNED SHUTDOWN | LT Pole Replacement | Restored/Repaired | Parts of : MU Block Pitampura | 371 | Scheduled system maintenance
63 | 2018-06-28 | Civil Line | 13:52 | 0.65278 | 0.075 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Malka Ganj | 305 | Interruption due to fault
64 | 2018-06-28 | Pitam Pura | 16:32 | 17:40 | 0.047222 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : HIG Flats Pitampura | 310 | Interruption due to fault
65 | 2018-06-28 | Bawana | 20:17 | 0.92361 | 0.078472 | LT FEEDER | LT Jumper Sparking | Restored/Repaired | Parts of : Karan Vihar | 991 | Interruption due to fault
66 | 2018-06-28 | Bawana | 21:38 | 0.99931 | 0.097917 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | Fire at Pole | Restored/Repaired | Parts of : A Block JJ Colony | 352 | Force majeure due to fire
67 | 2018-06-28 | Pitam Pura | 00:18 | 02:10 | 0.077778 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : M Block Shakurpur | 474 | Interruption due to fault
68 | 2018-06-28 | Moti Nagar | 11:04 | 0.66667 | 0.20556 | PLANNED SHUTDOWN | Replacement of LT ABC | Restored/Repaired | Parts of : D Block Inderpuri | 336 | Scheduled system maintenance
69 | 2018-06-28 | Shalimar Bagh | 12:42 | 0.58333 | 0.054167 | PLANNED SHUTDOWN | For Load Balancing | Restored/Repaired | Parts of : Milan Vihar | 371 | Scheduled system maintenance
70 | 2018-06-28 | Shakti Nagar | 13:18 | 15:15 | 0.08125 | PLANNED SHUTDOWN | Replacement of LT ABC | Restored/Repaired | Parts of : Gali No-25 Kala Pahar | 714 | Scheduled system maintenance
71 | 2018-06-28 | Narela | 13:25 | 0.60417 | 0.045139 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : MetroVihar-Ph-2 | 871 | Interruption due to fault

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51