## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 01.03.2018 TO 06:00 HRS OF 02.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 01.03.2018 | DGN | 43103.5185 | 43103.5938 | 1:48 | DAMAGE BY OTHER AGENCIES | TO REPAIR DAMAGED POLE | POLE DAMAGED BY UNKNOWN VEHICLE, SAME REPAIRED | DR BHIM RAO AMBEDKAR COLONY-JHILMIL. | 47
2 | 01.03.2018 | JLM | 43103.4167 | 43103.5347 | 2:50 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | AMBEDKAR NAGAR-SHAHDARA. | 1298 | PREVENTIVE MAINTENANCE CARRIED OUT
3 | 01.03.2018 | JLM | 43103.5 | 43103.5813 | 1:57 | PLANNED SHUTDOWN | PROJECT WORK | DT CLEANING WORK CARRIED OUT | BLOCK A-VIVEK VIHAR. | 88
4 | 01.03.2018 | KRN | 43103.3849 | 43103.4583 | 1:46 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE BURNT, SAME REPAIRED | WEST AZAD NAGAR,BLOCK D-KRISHNA NAGAR. | 903
5 | 01.03.2018 | KRN | 43103.4229 | 43103.5417 | 2:51 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-RAM NAGAR,BLOCK E-RADHEPURI EXTENSION. | 1394 | PREVENTIVE MAINTENANCE CARRIED OUT
6 | 01.03.2018 | KWN | 43103.4167 | 43103.4722 | 1:20 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD BURNT, SAME REPLACED | BHAGAT NAGAR-DAYALPUR,BHAJANPURA. | 1032
7 | 01.03.2018 | KWN | 43103.4271 | 43103.5312 | 2:30 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KARWAL NAGAR,BLOCK F-SHIV VIHAR. | 1253 | PREVENTIVE MAINTENANCE CARRIED OUT
8 | 01.03.2018 | KWN | 43103.4271 | 43103.6179 | 4:35 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-SHIV VIHAR,KARAWALNAGAR. | 2433 | PREVENTIVE MAINTENANCE CARRIED OUT
9 | 01.03.2018 | KWN | 43103.4401 | 43103.516 | 1:49 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD DAMAGED, SAME REPAIRED | BLOCK C-PATEL VIHAR,KARAWAL NAGAR. | 130
10 | 02.03.2018 | KWN | 43134.1747 | 43134.2292 | 1:18 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS DP FUSE BLOWN, SAME ATTENDED | NON COMM AREA-SONIA VIHAR. | 3395
11 | 01.03.2018 | LNR | 43103.4882 | 43103.5778 | 2:09 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | AKSHARDHAM MANDIR,LAXMI NAGAR. | 80 | PREVENTIVE MAINTENANCE CARRIED OUT
12 | 01.03.2018 | MVR | 43103.4528 | 43103.6948 | 5:49 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KALYAN VAS-KALYAN PURI. | 120 | PREVENTIVE MAINTENANCE CARRIED OUT
13 | 01.03.2018 | NNG | 43103.4208 | 43103.5523 | 3:09 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | GURU TEG BAHADUR ENCLAVE NAND NAGRI. | 684 | PREVENTIVE MAINTENANCE CARRIED OUT
14 | 01.03.2018 | NNG | 43103.5049 | 43103.5786 | 1:46 | HVDS TRANSFORMER | REPLACEMENT OF HVDS TRANSFORMER | ONE 25KVA HVDS TRANSFORMER DECLARED FAULTY, SAME REPLACED | BLOCK A-BANK COLONY,NAND NAGRI. | 125
15 | 01.03.2018 | PNR | 43103.4792 | 43103.6265 | 3:32 | PLANNED SHUTDOWN | PROJECT WORK | LT STRAIGHT THROUGH JOINT MADE | BLOCK T-BALJIT NAGAR. | 84 | LT STRAIGHT THROUGH JOINT MADE
16 | 01.03.2018 | PNR | 43103.5644 | 43103.6269 | 1:30 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | TO REPAIR LT ACB | LT ACB FAULTY DUE TO FLASH, SAME REPAIRED | PREM NAGAR-BALJIT NAGAR. | 1080
17 | 01.03.2018 | VSE | 43103.45 | 43103.6098 | 3:50 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MAYUR VIHAR PHASE III. | 395 | PREVENTIVE MAINTENANCE CARRIED OUT
18 | 01.03.2018 | YVR | 43103.4292 | 43103.5761 | 3:32 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C4-YAMUNA VIHAR. | 895 | PREVENTIVE MAINTENANCE CARRIED OUT
19 | 01.03.2018 | YVR | 43103.4736 | 43103.587 | 2:43 | PLANNED SHUTDOWN | PROJECT WORK | NEW DISTRIBUTION BOX INSTALLED | BLOCK C-NEW SEELAMPUR PHASE IV,SUBHASH PARK-GORAKH PARK. | 564 | FAULTY DISTRIBUTION BOX REPLACED BY ONE
20 | 01.03.2018 | YVR | 43103.5243 | 43103.588 | 1:32 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED | BLOCK P-BRAHM PURI,BLOCK B-MANUJPUR. | 1667
21 | 01.03.2018 | YVR | 43103.5271 | 43103.5888 | 1:29 | PLANNED SHUTDOWN | PROJECT WORK | NEW DISTRIBUTION BOX INSTALLED | BLOCK C-GHONDA PATTI. | 1242
22 | 01.03.2018 | YVR | 43103.5333 | 43103.6022 | 1:39 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LT CABLE REPAIRED | GHONDA PATTI CHAUHAN. | 958
23 | 01.03.2018 | YVR | 43103.5347 | 43103.5894 | 1:19 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | BLOCK V-GHONDA PATTI CHAUHAN. | 635
24 | 01.03.2018 | YVR | 43103.6368 | 43103.7038 | 1:37 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | NEW DISTRIBUTION BOX INSTALLED | JAFFRABAD-MAUJ PUR. | 1260
25 | 01.03.2018 | YVR | 43103.6382 | 43103.7036 | 1:34 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LT CABLE REPAIRED TO IMPROVE THE NETWORK | SUBHASH PARK-GORAKH PARK. | 1228
26 | 01.03.2018 | YVR | 43103.6389 | 43103.7033 | 1:33 | PLANNED SHUTDOWN | PROJECT WORK | JUMPER FOUND LOOSE, SAME REPAIRED | JAFFRABAD-MAUJ PUR,CHAUHAN BANGAR. | 3758