## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 03.03.2018 TO 06:00 HRS OF 04.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 03.03.2018 | CCK | 43162.4965 | 43162.5868 | 2:10 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | AJMERI GATE-CHANDNI CHOWK. | 1463 | PREVENTIVE MAINTENANCE CARRIED OUT
2 | 03.03.2018 | DGN | 43162.4479 | 43162.5628 | 2:45 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BHAGWANPUR KHERA,DILSHAD GARDEN. | 742 | PREVENTIVE MAINTENANCE CARRIED OUT
3 | 03.03.2018 | DGN | 43162.7845 | 43162.8444 | 1:26 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE FOUND BURNT, SAME REPAIRED | B-BLOCK JHILMIL,DILSHAD GARDEN. | 32
4 | 03.03.2018 | JLM | 43162.4375 | 43162.4975 | 1:26 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | SHANTI VIHAR-KARKAR DUMA. | 136 | PREVENTIVE MAINTENANCE CARRIED OUT
5 | 03.03.2018 | KRN | 43162.4333 | 43162.5663 | 3:11 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | SAROJINI PARK-ARAM PARK,KRISHNA NAGAR. | 1590 | PREVENTIVE MAINTENANCE CARRIED OUT
6 | 03.03.2018 | KRN | 43162.5069 | 43162.6089 | 2:27 | PLANNED SHUTDOWN | PROJECT WORK | DT CLEANING WORK CARRIED OUT | DARBAR MARG,KRISHNA NAGAR. | 87 | DT CLEANING WORK CARRIED OUT
7 | 03.03.2018 | KWN | 43162.4187 | 43162.4767 | 1:23 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DD FUSE BLOWN, SAME ATTENDED | BLOCK F-SHIV VIHAR,KARAWAL NAGAR. | 905
8 | 03.03.2018 | KWN | 43162.4306 | 43162.555 | 2:59 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-RAMA GARDEN,KARAWAL NAGAR. | 677 | PREVENTIVE MAINTENANCE CARRIED OUT
9 | 03.03.2018 | KWN | 43162.468 | 43162.5462 | 1:53 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FOUND BURNT, SAME REPLACED | VILLAGE-KAMAL VIHAR,PHASE I-SHIV VIHAR. | 255
10 | 03.03.2018 | NNG | 43162.4144 | 43162.4816 | 1:37 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | BLOCK B-ANUP VIHAR,SEWA DHAM-MANDOLI. | 260
11 | 03.03.2018 | NNG | 43162.4945 | 43162.5699 | 1:49 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | JUMPER FOUND BROKEN, SAME REPAIRED | BLOCK L-SUNDER NAGRI,NAND NAGRI. | 1427
12 | 03.03.2018 | NNG | 43162.4949 | 43162.5661 | 1:42 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | JUMPER FOUND BROKEN, SAME REPAIRED | D-BLOCK, ASHOK NAGAR,GHONDA. | 3265
13 | 03.03.2018 | NNG | 43162.6604 | 43162.7118 | 1:14 | HVDS CABLE & OTHER SYSTEM | TRIPPING | BIRDAGE FOUND ON LINE, SAME ATTENDED | VISHNU GALI NEW MANDOLI,NAND NAGRI. | 95
14 | 03.03.2018 | NNG | 43162.74 | 43162.7986 | 1:24 | HT SYSTEM FAULT | TRIPPING | HVDS CABLE FAULTY SAME REPAIRED | BLOCK H-SEWA DHAM,BLOCK D-HARSH VIHAR. | 89
15 | 03.03.2018 | NNG | 43162.7463 | 43162.8049 | 1:24 | HT SYSTEM FAULT | TRIPPING | HT CABLE FOUND FAULTY, AREA BACKFEEDED | BLOCK D-MEET NAGAR,SHAKTI GARDEN,NAND NAGRI. | 1489
16 | 03.03.2018 | NNG | 43162.8049 | 43162.8542 | 1:11 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HT CABLE FOUND FAULTY, AREA BACKFEEDED | SHAKTI GARDEN,NAND NAGRI. | 848
17 | 03.03.2018 | PNR | 43162.4812 | 43162.6255 | 3:28 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | BLOCK 29-EAST PATEL NAGAR. | 134 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
18 | 03.03.2018 | PNR | 43162.4826 | 43162.626 | 3:26 | PLANNED SHUTDOWN | PROJECT WORK | LT NETWORK MAINTENANCE WORK CARRIED OUT | BLOCK F-WEST PATEL NAGAR. | 172 | LT NETWORK MAINTENANCE WORK CARRIED OUT
19 | 03.03.2018 | PNR | 43162.4826 | 43162.6258 | 3:26 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LT NETWORK MAINTENANCE WORK CARRIED OUT | BLOCK T-BALJIT NAGAR. | 774 | LT NETWORK MAINTENANCE WORK CARRIED OUT
20 | 03.03.2018 | PNR | 43162.4826 | 43162.6256 | 3:26 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LT NETWORK MAINTENANCE WORK CARRIED OUT | BLOCK H-WEST PATEL NAGAR. | 289 | LT NETWORK MAINTENANCE WORK CARRIED OUT
21 | 03.03.2018 | YVR | 43162.5087 | 43162.5545 | 1:06 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | TO ATTEND CONSUMER COMPLAINT | SERVICE CABLE FOUND DAMAGED, SAME REPAIRED | BLOCK C-SHASTRI PARK,YAMUNA VIHAR. | 270