## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 05.03.2018 TO 06:00 HRS OF 06.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 05.03.2018 | CCK | 43164.4688 | 43164.6486 | 4:19 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | TOWN HALL-KUCHA NATWA. | 774 | PREVENTIVE MAINTENANCE CARRIED OUT
2 | 05.03.2018 | DGN | 43164.4607 | 43164.5317 | 1:42 | LT FEEDER | TO ATTEND FAULT IN THE LINE | JUMPER FOUND LOOSE SAME ATTENDED | BLOCK F-DILSHAD COLONY. | 41
3 | 05.03.2018 | DGN | 43164.4664 | 43164.5407 | 1:47 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE BURNT, SAME REPAIRED | JHILMIL INDUSTRIAL AREA-JHILMIL COLONY. | 37
4 | 05.03.2018 | DGN | 43164.5838 | 43164.6588 | 1:48 | DISTRIBUTION TR. | TRANSFORMER MAINTENANCE WORK | MAINTENANCE OF TRANSFORMER CARRIED OUT | BLOCK A-DILSHAD COLONY. | 1121
5 | 05.03.2018 | DRG | 43164.4896 | 43164.5514 | 1:29 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LT STRAIGHT THROUGH JOINT MADE | MOTHER DAIRY-NETAJI SUBHASH MARG. | 280
6 | 05.03.2018 | DRG | 43164.6146 | 43164.6634 | 1:10 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LT CABLE REPAIRED | SITARAM BAZAR,DARYAGANJ. | 43
7 | 05.03.2018 | JLM | 43164.4319 | 43164.5417 | 2:38 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | SUNDER PARK-SHAHDARA. | 760 | PREVENTIVE MAINTENANCE CARRIED OUT
8 | 05.03.2018 | JLM | 43164.4688 | 43164.5472 | 1:53 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED | BLOCK A-VIVEK VIHAR. | 430
9 | 05.03.2018 | KRN | 43164.4326 | 43164.5706 | 3:19 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-CHANDAR NAGAR,KRISHNA NAGAR. | 1073 | PREVENTIVE MAINTENANCE CARRIED OUT
10 | 05.03.2018 | KRN | 43164.4514 | 43164.6438 | 4:37 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 9-GANDHI NAGAR. | 1775 | PREVENTIVE MAINTENANCE CARRIED OUT
11 | 05.03.2018 | KRN | 43164.4777 | 43164.5556 | 1:52 | DISTRIBUTION TR. | TRANSFORMER MAINTENANCE WORK | MAINTENANCE OF TRANSFORMER CARRIED OUT | POLICE STATION,KRISHNA NAGAR. | 2695
12 | 05.03.2018 | KRN | 43164.5465 | 43164.7081 | 3:53 | PLANNED SHUTDOWN | REPLACEMENT OF DISTRIBUTION BOX | DISTRIBUTION BOX FAULTY, SAME REPLACED | CHANDER NAGAR BLOCK C-KRISHNA NAGAR EXTN. | 164 | DISTRIBUTION BOX FAULTY, SAME REPLACED
13 | 05.03.2018 | KRN | 43164.5562 | 43164.6318 | 1:49 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE BURNT, SAME REPAIRED | BLOCK E-WEST CHANDER NAGAR,SHIVPURI-JAGATPURI. | 982
14 | 05.03.2018 | KRN | 43164.5638 | 43164.6425 | 1:53 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE ON POLE | WIRES DAMAGED, SAME REPAIRED | BLOCK 10-RAM NAGAR,SUBHASH MOHALLA. | 617
15 | 05.03.2018 | KRN | 43164.5756 | 43164.6248 | 1:11 | HT SYSTEM FAULT | TO REPAIR RMU | OPERATION MECHANISM OF RMU FAULTY, SAME REPAIRED | ARAM PARK-GEETA COLONY,KRISHNA NAGAR. | 5313
16 | 05.03.2018 | KRN | 43164.6806 | 43164.7597 | 1:54 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE ON LT POLE | LT CABLE BURNT, SAME REPAIRED | BLOCK F-RAM NAGAR. | 749
17 | 05.03.2018 | KWN | 43164.4236 | 43164.6771 | 6:05 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | NON COMM AREA-SONIA VIHAR. | 19 | PREVENTIVE MAINTENANCE CARRIED OUT
18 | 05.03.2018 | KWN | 43164.4236 | 43164.5451 | 2:55 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | A-BLOCK, GOKULPURI,KARAWAL NAGAR. | 1176 | PREVENTIVE MAINTENANCE CARRIED OUT
19 | 05.03.2018 | KWN | 43164.4375 | 43164.6934 | 6:08 | PLANNED SHUTDOWN | CIVIL WORK | PLINTH RAISING WORK CARRIED OUT | BLOCK V-O & P BLOCKS SHIV VIHAR KARWAL NAGAR. | 260 | PLINTH RAISING WORK CARRIED OUT
20 | 05.03.2018 | KWN | 43164.4757 | 43164.5903 | 2:45 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK F-BHAGAT SINGH COLONY,KARAWAL NAGAR. | 4885 | PREVENTIVE MAINTENANCE CARRIED OUT
21 | 05.03.2018 | KWN | 43164.4757 | 43164.5833 | 2:35 | PLANNED SHUTDOWN | PROJECT WORK | DT CLEANING WORK CARRIED OUT | GOVIND VIHAR,KARAWAL NAGAR. | 1253 | DT CLEANING WORK CARRIED OUT
22 | 05.03.2018 | KWN | 43164.6458 | 43164.7257 | 1:55 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS LEAD FAULTY, SAME REPAIRED | BLOCK C-SHIV VIHAR,KARAWAL NAGAR. | 258
23 | 05.03.2018 | LNR | 43164.2827 | 43164.5357 | 6:04 | LT FEEDER | REPLACEMENT OF LTAB | LTAB BURNT DUE TO FIRE, SAME REPLACED | BLOCK D-MANDAWALI VILLAGE. | 41 | BURNT LTAB REPLACED BY NEW ONE
24 | 05.03.2018 | LNR | 43164.4396 | 43164.5555 | 2:47 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | HIMVARSHA APARTMENT-MOTHER DAIRY. | 172 | PREVENTIVE MAINTENANCE CARRIED OUT
25 | 05.03.2018 | LNR | 43164.4604 | 43164.5086 | 1:09 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | AREA NEAR AKSHARDHAM MANDIR. | 129
26 | 05.03.2018 | LNR | 43164.4604 | 43164.5194 | 1:25 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | TO ATTEND FAULT IN THE LINE | PRC BURNT, SAME REPAIRED | GYAN KUNJ-WEST GURU ANGAD NAGAR. | 840
27 | 05.03.2018 | LNR | 43164.4826 | 43164.6251 | 3:25 | PLANNED SHUTDOWN | REPLACEMENT OF LT ACB | NEW LT ACB INSTALLED | GANESH NAGAR EXTN.-SHAKARPUR KHAS. | 576 | NEW LT ACB INSTALLED
28 | 05.03.2018 | LNR | 43164.4889 | 43164.6803 | 4:36 | PLANNED SHUTDOWN | PROJECT WORK | TRANSFORMER LEAD REPLACED | BLOCK F-LALITA PARK,BLOCK F-GURU ANGAD NAGAR WEST. | 984 | TRANSFORMER LEAD REPLACEMENT WORK CARRIED OUT
29 | 05.03.2018 | LNR | 43164.491 | 43164.6931 | 4:51 | PLANNED SHUTDOWN | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | SHAKARPUR EXTN. | 822 | LOAD BALANCING CARRIED OUT TO AVOID TRIPPING
30 | 05.03.2018 | LNR | 43164.5083 | 43164.5738 | 1:34 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | AREA NEAR AKSHARDHAM MANDIR. | 130
31 | 05.03.2018 | LNR | 43164.6431 | 43164.7004 | 1:23 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | AKSHARDHAM MANDIR,LAXMI NAGAR. | 128
32 | 05.03.2018 | MVR | 43164.4708 | 43164.5695 | 2:22 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | PKT B-MAYUR VIHAR PHASE II. | 251 | PREVENTIVE MAINTENANCE CARRIED OUT
33 | 05.03.2018 | NNG | 43164.3766 | 43164.4534 | 1:51 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY, SAME REPAIRED | BLOCK C-SEWA DHAM,BLOCK C-MEET NAGAR. | 260
34 | 05.03.2018 | NNG | 43164.425 | 43164.6886 | 6:20 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-SEWA DHAM,NAND NAGRI. | 442 | PREVENTIVE MAINTENANCE CARRIED OUT
35 | 05.03.2018 | NNG | 43164.4528 | 43164.5299 | 1:51 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD BURNT, SAME REPLACED | BLOCK D-MEET NAGAR,BLOCK A-EAST GOKUL PURI. | 1489
36 | 05.03.2018 | NNG | 43164.4712 | 43164.54 | 1:39 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRES DAMAGED DUE TO FLASH ON DISTRIBUTION BOX | DAMAGED WIRE'S REPAIRED | BLOCK H-PREM NAGAR,NAND NAGRI. | 138
37 | 05.03.2018 | NNG | 43164.4947 | 43164.5715 | 1:51 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS LEAD FAULTY SAME REPAIRED | BLOCK A-ANUP VIHAR. | 3299
38 | 05.03.2018 | NNG | 43164.7173 | 43164.7708 | 1:17 | HT SYSTEM FAULT | TRIPPING | TRANSFORMER FUSE BLOWN, SAME REPLACED | BLOCK A-JAGATPURI EXTN,NAND NAGRI. | 7198
39 | 05.03.2018 | NNG | 43164.8651 | 43164.9187 | 1:17 | HT SYSTEM FAULT | REPLACEMENT OF SOCKET | HT SOCKET DAMAGED DUE TO FLASH, SAME REPLACED | BLOCK M-DURGA PURI. | 6398
40 | 05.03.2018 | NNG | 43164.866 | 43164.9187 | 1:16 | HT SYSTEM FAULT | TRIPPING | TRANSFORMER FUSE BLOWN, SAME REPLACED | D-BLOCK, ASHOK NAGAR,NAND NAGRI. | 5805
41 | 05.03.2018 | PHG | 43164.4236 | 43164.6107 | 4:29 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK T-SADAR BAZAR - RAM NAGAR. | 753 | PREVENTIVE MAINTENANCE CARRIED OUT
42 | 05.03.2018 | PHG | 43164.5 | 43164.6842 | 4:25 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LTAB REPLACED BY ARMOURED CABLE | DDA FLATS-MOTIA KHAN. | 966 | LTAB REPLACED BY ARMOURED CABLE TO IMPROVE THE NETWORK
43 | 05.03.2018 | PHG | 43164.5104 | 43164.5861 | 1:49 | DAMAGE BY OTHER AGENCIES | CABLE CONNECTED ON NEW POLE | POLE DAMAGED BY UNKNOWN VEHICLE, SAME REPLACED & CABLE CONNECTED | DDA FLATS-MOTIA KHAN. | 286
44 | 05.03.2018 | PNR | 43164.4243 | 43164.6201 | 4:42 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | INDUSTRIAL AREA-ANAND PARBHAT. | 402 | PREVENTIVE MAINTENANCE CARRIED OUT
45 | 05.03.2018 | PNR | 43164.4903 | 43164.593 | 2:28 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | ANAND PARBAT,NAI BASTI. | 193 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
46 | 05.03.2018 | PNR | 43164.4917 | 43164.5925 | 2:25 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED | PATEL NAGAR POLICE STATION-WEST PATEL NAGAR. | 101 | FAULTY DISTRIBUTION BOX REPAIRED
47 | 05.03.2018 | PNR | 43164.4917 | 43164.5928 | 2:26 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | NEW CABLE LAID | BLOCK Q-WEST PATEL NAGAR. | 71 | NEW CABLE LAID TO INCREASE NETWORK CAPACITY
48 | 05.03.2018 | SRD | 43164.4306 | 43164.5607 | 3:07 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK_1A-REHAGAR PURA. | 2020 | PREVENTIVE MAINTENANCE CARRIED OUT
49 | 05.03.2018 | SRD | 43164.5 | 43164.5437 | 1:03 | PLANNED SHUTDOWN | PROJECT WORK | PARTIAL DISCHARGE WORK CARRIED OUT | PART I- BLOCK R-NEW RAJENDRA NAGAR. | 102
50 | 05.03.2018 | SRD | 43164.5548 | 43164.6271 | 1:44 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE DAMAGED DUE TO FLASH, SAME REPAIRED | BLOCK 13-KAROL BAGH. | 391
51 | 05.03.2018 | VSE | 43164.4493 | 43164.5899 | 3:22 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | PKT 6-NEW KONDALI. | 416 | PREVENTIVE MAINTENANCE CARRIED OUT
52 | 05.03.2018 | YVR | 43164.4187 | 43164.4967 | 1:52 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | NEW SEELAMPUR PHASE II. | 255
53 | 05.03.2018 | YVR | 43164.441 | 43164.6717 | 5:32 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | SUBHASH PARK-GORAKH PARK,YAMUNA VIHAR. | 288 | PREVENTIVE MAINTENANCE CARRIED OUT
54 | 05.03.2018 | YVR | 43164.4417 | 43164.5542 | 2:42 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-MANUJPUR. | 5311 | PREVENTIVE MAINTENANCE CARRIED OUT
55 | 05.03.2018 | YVR | 43164.4465 | 43164.562 | 2:46 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | GHONDA PATTI CHAUHAN. | 958 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
56 | 05.03.2018 | YVR | 43164.4486 | 43164.5308 | 1:58 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-SHASTRI PARK. | 251
57 | 05.03.2018 | YVR | 43164.4757 | 43164.5817 | 2:33 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | BLOCK C-GHONDA PATTI. | 1221 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
58 | 05.03.2018 | YVR | 43164.4792 | 43164.5821 | 2:28 | PLANNED SHUTDOWN | INSTALLATION OF DISTRIBUTION BOX | FAULTY DISTRIBUTION BOX REPLACED BY NEW ONE | JAGJEET NAGAR-GHONDA,YAMUNA VIHAR. | 139 | FAULTY DISTRIBUTION BOX REPLACED BY NEW ONE
59 | 05.03.2018 | YVR | 43164.5556 | 43164.648 | 2:13 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | JAFFRABAD-MAUJ PUR. | 1260 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
60 | 05.03.2018 | YVR | 43164.5722 | 43164.7251 | 3:40 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | NEW DISTRIBUTION BOX INSTALLED | BLOCK V-GHONDA PATTI CHAUHAN. | 1470 | NEW DISTRIBUTION BOX INSTALLED TO IMPROVE THE NETWORK
61 | 05.03.2018 | YVR | 43164.5874 | 43164.6485 | 1:28 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE IN DISTRIBUTION BOX | SERVICE LINE DAMAGED DUE TO FLASH, SAME REPAIRED | BLOCK F NEW SEELAMPUR PHASE II. | 240