## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 06.03.2018 TO 06:00 HRS OF 07.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 06.03.2018 | CCK | 43165.4344 | 43165.5112 | 1:51 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET BURNT SAME REPLACED | CHAWRI BAZAR-KHUSH DIL | 387
2 | 06.03.2018 | CCK | 43165.4479 | 43165.5225 | 1:47 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | MAINTENANCE ACTIVITY | NAYA BAZAR-CHANDNI CHOWK | 1769
3 | 06.03.2018 | DGN | 43165.4479 | 43165.6518 | 4:54 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | D BLOCK DILSHAD GARDEN | 30 | PREVENTIVE MAINTENANCE CARRIED OUT
4 | 06.03.2018 | DGN | 43165.4826 | 43165.7422 | 6:14 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | AMBEDKAR COLONY-JHILMIL INDUSTRIAL AREA | 124 | PREVENTIVE MAINTENANCE CARRIED OUT
5 | 06.03.2018 | DGN | 43165.4988 | 43165.5723 | 1:46 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | CHIKAMBARPUR-OLD SIMAPURI | 18
6 | 06.03.2018 | DGN | 43165.7633 | 43165.8375 | 1:47 | HT SYSTEM FAULT | DISTRIBUTION BOX FAULTY | DISTRIBUTION BOX REPAIRED | MCD-OLD SEEMAPURI | 115
7 | 06.03.2018 | DRG | 43165.5379 | 43165.5976 | 1:26 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME REPAIRED | KUCHA DAKHNI RAI MAIN ROAD DRG | 310
8 | 06.03.2018 | DRG | 43165.579 | 43165.6552 | 1:50 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT SOCKET BURNT SAME REPLACED | PART OF DARYA GANJ | 824
9 | 06.03.2018 | DRG | 43165.7254 | 43165.7869 | 1:28 | HT SYSTEM FAULT | TRIPPING | TRANSIENT FAULT | COMMUNITY CENTRE-JAMA MASZID | 920
10 | 06.03.2018 | DRG | 43165.7272 | 43165.7706 | 1:02 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | CHRISTAN COLONY-KHABAS PURA | 122
11 | 06.03.2018 | JLM | 43165.425 | 43165.517 | 2:12 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | VIGYAN LOK-ANAND VIHAR | 85 | PREVENTIVE MAINTENANCE CARRIED OUT
12 | 06.03.2018 | JLM | 43165.4604 | 43165.5619 | 2:26 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SUNDER PARK-SHAHDARA | 196 | PREVENTIVE MAINTENANCE CARRIED OUT
13 | 06.03.2018 | JLM | 43165.4708 | 43165.5633 | 2:13 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | B BLOCK JHILMILL | 425 | PREVENTIVE MAINTENANCE CARRIED OUT
14 | 06.03.2018 | JLM | 43165.4819 | 43165.7293 | 5:56 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BHOLA NATH NAGAR-SHAHDARA | 1008 | PREVENTIVE MAINTENANCE CARRIED OUT
15 | 06.03.2018 | JLM | 43165.4993 | 43165.6303 | 3:09 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | VISHWAS NAGAR EXTENSION-SHAHDARA | 75 | PREVENTIVE MAINTENANCE CARRIED OUT
16 | 06.03.2018 | KRN | 43165.3641 | 43165.4411 | 1:51 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FLASH | SERVICE LINE REPAIRED | OLD SEELAMPUR | 104
17 | 06.03.2018 | KRN | 43165.434 | 43165.5727 | 3:20 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KANTI NAGAR SOUTH-AZAD NAGAR | 195 | PREVENTIVE MAINTENANCE CARRIED OUT
18 | 06.03.2018 | KRN | 43165.5278 | 43165.6667 | 3:20 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KANTI NAGAR | 68 | PREVENTIVE MAINTENANCE CARRIED OUT
19 | 06.03.2018 | KWN | 43165.4306 | 43165.5833 | 3:40 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | TUNDA NAGAR-BHAGIRATHI VIHAR | 43 | PREVENTIVE MAINTENANCE CARRIED OUT
20 | 06.03.2018 | KWN | 43165.4319 | 43165.6664 | 5:38 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PART-6 SONIA VIHAR | 124 | PREVENTIVE MAINTENANCE CARRIED OUT
21 | 06.03.2018 | KWN | 43165.4583 | 43165.538 | 1:55 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | MAINTENANCE ACTIVITY | D-BLK GALI NO-6, WEST KAMAL VIHAR | 2462
22 | 06.03.2018 | KWN | 43165.4601 | 43165.5117 | 1:14 | HVDS CABLE & OTHER SYSTEM | HVDS TRANSFORMER FAULTY | HVDS TRANSFORMER REPLACED | BLOCK E-PRAKASH VIHAR | 170
23 | 06.03.2018 | KWN | 43165.5101 | 43165.5854 | 1:48 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | JOHRI ENCLAVE-BHAGIRATHI VIHAR | 25
24 | 06.03.2018 | KWN | 43165.7882 | 43165.8681 | 1:55 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | GALI NO-6 E BLOCK SONIA VIHAR | 412
25 | 07.03.2018 | KWN | 43166.0069 | 43166.0718 | 1:33 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | SHIV VIHAR PHASE-9 | 408
26 | 07.03.2018 | KWN | 43166.0733 | 43166.1528 | 1:54 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | BLOCK D-SHIV VIHAR | 1827
27 | 06.03.2018 | LNR | 43165.402 | 43165.4583 | 1:21 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE REPAIRED | GANESH NAGAR-SHAKARPUR KHAS | 84
28 | 06.03.2018 | LNR | 43165.4472 | 43165.5139 | 1:36 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-MADHU VIHAR | 125
29 | 06.03.2018 | LNR | 43165.4563 | 43165.6271 | 4:06 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | NEHRU ENCLAVE-SCHOOL BLOCK | 1301 | PREVENTIVE MAINTENANCE CARRIED OUT
30 | 06.03.2018 | LNR | 43165.4688 | 43165.5437 | 1:48 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FAULT IN LT ACB | LT ACB REPLACED | BLOCK E-GANESH NAGAR | 3109
31 | 06.03.2018 | LNR | 43165.5083 | 43165.6271 | 2:51 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PANDAV NAGAR MOTHER DAIRY | 135 | PREVENTIVE MAINTENANCE CARRIED OUT
32 | 06.03.2018 | LNR | 43165.5312 | 43165.6098 | 1:53 | LT FEEDER | FOR CONNECTING NEW CABLE | LT CABLE CONNECTED | BHARTI COLONY-NIRMAN VIHAR | 113
33 | 06.03.2018 | LNR | 43165.5447 | 43165.6076 | 1:31 | LT FEEDER | LTAB DAMAGED DUE TO FIRE | LTAB REPAIRED | FAZALPUR-MANDAWALI VILLAGE | 2000
34 | 06.03.2018 | LNR | 43165.6007 | 43165.6687 | 1:38 | LT FEEDER | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | BLOCK J-PANDAV NAGAR | 3109
35 | 07.03.2018 | LNR | 43166.2345 | 43166.2917 | 1:22 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | KRISHAN KUNJ-LAKSHMI NAGAR | 302
36 | 06.03.2018 | NNG | 43165.3824 | 43165.4583 | 1:49 | HT SYSTEM FAULT | TRIPPING | TRANSIENT FAULT | BLOCK D2-NAND NAGARI | 10071
37 | 06.03.2018 | NNG | 43165.4306 | 43165.6667 | 5:40 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | POCKET A-CHITRAKOOT | 706 | PREVENTIVE MAINTENANCE CARRIED OUT
38 | 06.03.2018 | NNG | 43165.4486 | 43165.6999 | 6:02 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SEWA DHAM-MANDOLI | 430 | PREVENTIVE MAINTENANCE CARRIED OUT
39 | 06.03.2018 | NNG | 43165.4891 | 43165.5647 | 1:49 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK D-MANDOLI EXTENSION | 428
40 | 06.03.2018 | NNG | 43165.4927 | 43165.5675 | 1:48 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | DISTRIBUTION BOX FAULTY | DISTRIBUTION BOX REPAIRED | BLOCK L-SUNDER NAGRI | 791
41 | 06.03.2018 | NNG | 43165.622 | 43165.6912 | 1:40 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK D-ANUP VIHAR | 410
42 | 06.03.2018 | NNG | 43165.6523 | 43165.7275 | 1:48 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | BLOCK D-MEET NAGAR | 1489
43 | 07.03.2018 | NNG | 43166.0071 | 43166.0705 | 1:31 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | OBJECT FALLEN ON THE HVDS NETWORK SAME REMOVED | NEW MANDOLI INDUSTRIAL AREA | 245
44 | 06.03.2018 | PHG | 43165.441 | 43165.6743 | 5:36 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-ARAM BAGH | 378 | PREVENTIVE MAINTENANCE CARRIED OUT
45 | 06.03.2018 | PHG | 43165.4639 | 43165.6699 | 4:57 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | HATHI KHANA-NAWAB GANJ | 130 | PREVENTIVE MAINTENANCE CARRIED OUT
46 | 06.03.2018 | PHG | 43165.4639 | 43165.6695 | 4:56 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SADAR BAZAR - RAM NAGAR | 120 | PREVENTIVE MAINTENANCE CARRIED OUT
47 | 06.03.2018 | PHG | 43165.4958 | 43165.6472 | 3:38 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | DDA FLATS-MOTIA KHAN | 966 | PREVENTIVE MAINTENANCE CARRIED OUT
48 | 06.03.2018 | PNR | 43165.4806 | 43165.6334 | 3:40 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | THAN SINGH NAGAR-ANAND PARBAT | 170 | PREVENTIVE MAINTENANCE CARRIED OUT
49 | 06.03.2018 | YVR | 43165.4603 | 43165.5394 | 1:54 | HT SYSTEM FAULT | FIRE IN LTAB | LTAB REPAIRED | JAFFRABAD-MAUJ PUR | 1352
50 | 06.03.2018 | YVR | 43165.4743 | 43165.6503 | 4:13 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-GARI MANDU | 1186 | PREVENTIVE MAINTENANCE CARRIED OUT
51 | 06.03.2018 | YVR | 43165.4951 | 43165.6698 | 4:12 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHAUHAN BANGAR-JAFFRABAD | 3758 | PREVENTIVE MAINTENANCE CARRIED OUT
52 | 06.03.2018 | YVR | 43165.4958 | 43165.6514 | 3:44 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK P-BRAHM PURI | 2983 | PREVENTIVE MAINTENANCE CARRIED OUT
53 | 06.03.2018 | YVR | 43165.5169 | 43165.5926 | 1:49 | HT SYSTEM FAULT | HT BUSHING REPLACEMENT | HT BUSHING REPLACED | NEW SILAMPURI PHASE II | 435
54 | 06.03.2018 | YVR | 43165.5175 | 43165.5929 | 1:49 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | JUMPER FOUND LOOSE SAME ATTENDED | C BLOCK YAMUNA VIHAR | 422
55 | 06.03.2018 | YVR | 43165.5694 | 43165.6834 | 2:44 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK P-BRAHM PURI | 937 | PREVENTIVE MAINTENANCE CARRIED OUT
56 | 06.03.2018 | YVR | 43165.6007 | 43165.6694 | 1:39 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-BHAJANPURA | 5779
57 | 06.03.2018 | YVR | 43165.6008 | 43165.6787 | 1:52 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | JUMPER SNAPPED SAME REPLACED | BLOCK C-SHASTRI PARK | 255