## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 07.03.2018 TO 06:00 HRS OF 08.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 07.03.2018 | CCK | 43166.4271 | 43166.5995 | 4:08 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | NAI SARAK-JOGIWARA | 1209 | PREVENTIVE MAINTENANCE CARRIED OUT
2 | 07.03.2018 | DGN | 43166.4431 | 43166.6135 | 4:05 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MIG FLATS-POCKET F & E DILSHAD GARDEN | 310 | PREVENTIVE MAINTENANCE CARRIED OUT
3 | 07.03.2018 | DGN | 43166.525 | 43166.7134 | 4:31 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | RAM NAGAR-SILAMPUR | 22 | PREVENTIVE MAINTENANCE CARRIED OUT
4 | 07.03.2018 | DGN | 43166.7708 | 43166.8458 | 1:48 | HT SYSTEM FAULT | WIRE DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE REPAIRED | JHILMIL INDUSTRIAL AREA | 1080
5 | 07.03.2018 | DGN | 43166.7721 | 43166.8461 | 1:47 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE REPAIRED | INDUSTRIAL AREA-JHILMIL COLONY | 103
6 | 07.03.2018 | DGN | 43166.8463 | 43166.9167 | 1:41 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT JUMPER FOUND LOOSE SAME ATTENDED | B BLOCK-JHILMIL COLONY | 70
7 | 07.03.2018 | DRG | 43166.5833 | 43166.7028 | 2:52 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHRISTAN COLONY-KHABAS PURA | 280 | PREVENTIVE MAINTENANCE CARRIED OUT
8 | 07.03.2018 | JLM | 43166.4236 | 43166.5656 | 3:24 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | TELIBARA-SHAHDARA | 471 | PREVENTIVE MAINTENANCE CARRIED OUT
9 | 07.03.2018 | JLM | 43166.4375 | 43166.5734 | 3:16 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | VILLAGE KARKARDOOMA | 216 | PREVENTIVE MAINTENANCE CARRIED OUT
10 | 07.03.2018 | JLM | 43166.5104 | 43166.6566 | 3:30 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ARJUN NAGAR EAST-SHAHDARA | 24 | PREVENTIVE MAINTENANCE CARRIED OUT
11 | 07.03.2018 | JLM | 43166.5243 | 43166.7413 | 5:13 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | J J COLONY-ANAND VIHAR | 249 | PREVENTIVE MAINTENANCE CARRIED OUT
12 | 07.03.2018 | JLM | 43166.5347 | 43166.5833 | 1:10 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | D-BLK VIVEK VIHAR | 430
13 | 07.03.2018 | KRN | 43166.4319 | 43166.5601 | 3:05 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-KRISHNA NAGAR | 1279 | PREVENTIVE MAINTENANCE CARRIED OUT
14 | 07.03.2018 | KRN | 43166.449 | 43166.5208 | 1:43 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE REPAIRED | AZAD NAGAR EAST | 755
15 | 07.03.2018 | KRN | 43166.4511 | 43166.5174 | 1:35 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | KANTI NAGAR SOUTH-AZAD NAGAR | 565
16 | 07.03.2018 | KRN | 43166.5014 | 43166.6202 | 2:51 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | RAGHUVIR PURA-KANTI NAGAR | 2898 | PREVENTIVE MAINTENANCE CARRIED OUT
17 | 07.03.2018 | KRN | 43166.7971 | 43166.8697 | 1:45 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT JUMPER FOUND LOOSE SAME ATTENDED | KAUSHIKPURI KANTI NAGAR | 44
18 | 07.03.2018 | KWN | 43166.4169 | 43166.6681 | 6:02 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | C-BLOCK 3 PUSTA SONIA VIHAR | 165 | PREVENTIVE MAINTENANCE CARRIED OUT
19 | 07.03.2018 | KWN | 43166.4215 | 43166.5637 | 3:25 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-PRAKASH VIHAR | 713 | PREVENTIVE MAINTENANCE CARRIED OUT
20 | 07.03.2018 | KWN | 43166.441 | 43166.566 | 3:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-KHAJURI KHAS | 3015 | PREVENTIVE MAINTENANCE CARRIED OUT
21 | 07.03.2018 | KWN | 43166.4694 | 43166.6667 | 4:44 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK I-BHAGAT SINGH COLONY | 452 | PREVENTIVE MAINTENANCE CARRIED OUT
22 | 07.03.2018 | KWN | 43166.4888 | 43166.5653 | 1:50 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET BURNT SAME REPLACED | BLOCK A-NEW CHAUHAN PUR | 88
23 | 07.03.2018 | KWN | 43166.5406 | 43166.6014 | 1:28 | LT FEEDER | LT SOCKET DAMAGED | LT SOCKET REPLACED | BLOCK C-PRAKASH VIHAR | 565
24 | 07.03.2018 | KWN | 43166.5563 | 43166.6333 | 1:51 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | JOHRI ENCLAVE-BHAGIRATHI VIHAR | 1398
25 | 07.03.2018 | KWN | 43166.5843 | 43166.6639 | 1:55 | LT FEEDER | FOR TAKING LOAD ON REPAIRED CABLE | REPAIRED CABLE CONNECTED | BLOCK E-NEHRU VIHAR | 1308
26 | 07.03.2018 | KWN | 43166.9313 | 43167.0028 | 1:43 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | BLOCK A-SONIA VIHAR EXTENSION | 165
27 | 07.03.2018 | LNR | 43166.4528 | 43166.691 | 5:43 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | EAST END ENCLAVE-LAKSHMI NAGAR | 835 | PREVENTIVE MAINTENANCE CARRIED OUT
28 | 07.03.2018 | LNR | 43166.4618 | 43166.6042 | 3:25 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | D BLOCK PANDAV NAGAR | 289 | PREVENTIVE MAINTENANCE CARRIED OUT
29 | 07.03.2018 | LNR | 43166.484 | 43166.5283 | 1:04 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME ATTENDED | BLOCK D-MANDAWALI VILLAGE | 2007
30 | 07.03.2018 | LNR | 43166.4986 | 43166.6563 | 3:47 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | W-BLOCK SHAKARPUR | 1018 | PREVENTIVE MAINTENANCE CARRIED OUT
31 | 07.03.2018 | LNR | 43166.5965 | 43166.6455 | 1:11 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-VINOD NAGAR WEST | 1956
32 | 07.03.2018 | LNR | 43166.6 | 43166.6875 | 2:06 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CWG FLATS AKSHARDHAM | 124 | PREVENTIVE MAINTENANCE CARRIED OUT
33 | 07.03.2018 | MVR | 43166.4674 | 43166.6371 | 4:04 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PKT. B-MAYUR VIHAR PHASE II | 505 | PREVENTIVE MAINTENANCE CARRIED OUT
34 | 07.03.2018 | MVR | 43166.5472 | 43166.75 | 4:52 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 20-KALYAN PURI | 935 | PREVENTIVE MAINTENANCE CARRIED OUT
35 | 07.03.2018 | NNG | 43166.3247 | 43166.4006 | 1:49 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | HARSH VIHAR SUB STATION-POLICE FARM | 245
36 | 07.03.2018 | NNG | 43166.3252 | 43166.4001 | 1:48 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | BLOCK D-MEET NAGAR | 1488
37 | 07.03.2018 | NNG | 43166.397 | 43166.4674 | 1:41 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | SABOLI COLONY-MANDOLI | 124
38 | 07.03.2018 | NNG | 43166.4201 | 43166.5375 | 2:49 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SABOLI EXTENSION-MANDOLI | 774 | PREVENTIVE MAINTENANCE CARRIED OUT
39 | 07.03.2018 | NNG | 43166.4271 | 43166.682 | 6:07 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-EAST GOKUL PURI | 215 | PREVENTIVE MAINTENANCE CARRIED OUT
40 | 07.03.2018 | NNG | 43166.5581 | 43166.6271 | 1:39 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | BLOCK D-MANDOLI EXTENSION | 240
41 | 07.03.2018 | PHG | 43166.4431 | 43166.6641 | 5:18 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK T-AHATA KEDARA | 788 | PREVENTIVE MAINTENANCE CARRIED OUT
42 | 07.03.2018 | PNR | 43166.4692 | 43166.5446 | 1:49 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK T-FARIDPURI | 149
43 | 07.03.2018 | PNR | 43166.5507 | 43166.6985 | 3:33 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 30-WEST PATEL NAGAR | 684 | PREVENTIVE MAINTENANCE CARRIED OUT
44 | 07.03.2018 | PNR | 43166.5633 | 43166.6451 | 1:58 | DAMAGE BY OTHER AGENCIES | LT LEAD DAMAGED DUE TO DEMOLITION WORK BY DDA | LT LEAD REPAIRED | PART OF ANAND PARBAT | 197
45 | 07.03.2018 | PNR | 43166.5924 | 43166.6657 | 1:46 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 29-EAST PATEL NAGAR | 134
46 | 07.03.2018 | PNR | 43167.025 | 43167.0778 | 1:16 | HT SYSTEM FAULT | TRIPPING | TRANSIENT FAULT | BLOCK F-PUNJABI BASTI | 350
47 | 07.03.2018 | SRD | 43166.4479 | 43166.58 | 3:10 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK-14A-BALMIKI COLONY | 257 | PREVENTIVE MAINTENANCE CARRIED OUT
48 | 07.03.2018 | SRD | 43166.6462 | 43166.7204 | 1:47 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT UNDER LOW OIL BDV | 990KVA TRANSFORMER REPLACED | BLOCK B6-OLD RAJENDRA NAGAR | 258
49 | 07.03.2018 | VSE | 43166.4396 | 43166.6374 | 4:45 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A & B-VASUNDHARA ENCLAVE | 139 | PREVENTIVE MAINTENANCE CARRIED OUT
50 | 07.03.2018 | YVR | 43166.4299 | 43166.5873 | 3:47 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-MANUJPUR | 1525 | PREVENTIVE MAINTENANCE CARRIED OUT
51 | 07.03.2018 | YVR | 43166.4592 | 43166.5191 | 1:26 | HT SYSTEM FAULT | LTAB DAMAGED DUE TO FIRE | DAMAGED LTAB REPAIRED | BLOCK C-SHASTRI PARK | 84
52 | 07.03.2018 | YVR | 43166.4597 | 43166.5603 | 2:25 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHAUHAN BANGAR-JAFFRABAD | 1128 | PREVENTIVE MAINTENANCE CARRIED OUT
53 | 07.03.2018 | YVR | 43166.4604 | 43166.659 | 4:46 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BRAHAM PURI B BLOCK | 242 | PREVENTIVE MAINTENANCE CARRIED OUT
54 | 07.03.2018 | YVR | 43166.4604 | 43166.612 | 3:38 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | TANKI ROAD-C-BLOCK BHAJANPURA | 1345 | PREVENTIVE MAINTENANCE CARRIED OUT
55 | 07.03.2018 | YVR | 43166.4632 | 43166.66 | 4:43 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-GHONDA PATTI | 1242 | PREVENTIVE MAINTENANCE CARRIED OUT
56 | 07.03.2018 | YVR | 43166.466 | 43166.6147 | 3:34 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-NEW SILAMPURI PHASE II | 250 | PREVENTIVE MAINTENANCE CARRIED OUT
57 | 07.03.2018 | YVR | 43166.4896 | 43166.5431 | 1:17 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JAFFRABAD-MAUJ PUR | 1228
58 | 07.03.2018 | YVR | 43166.521 | 43166.5887 | 1:37 | HT SYSTEM FAULT | FOR TAKING LOAD ON REPAIRED CABLE | REPAIRED CABLE CONNECTED | CHAUHAN BANGAR-JAFFRABAD | 826
59 | 07.03.2018 | YVR | 43166.5413 | 43166.6059 | 1:33 | HT SYSTEM FAULT | JUMPER SNAPPED | JUMPER REPLACED | BLOCK B-SHASTRI PARK | 160
60 | 07.03.2018 | YVR | 43166.5451 | 43166.7125 | 4:01 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK G-SILAMPUR COLONY | 1260 | PREVENTIVE MAINTENANCE CARRIED OUT
61 | 07.03.2018 | YVR | 43166.5569 | 43166.6934 | 3:17 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-SUBHASH MOHALLA | 1274 | PREVENTIVE MAINTENANCE CARRIED OUT
62 | 07.03.2018 | YVR | 43166.6299 | 43166.6756 | 1:06 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-BHAJANPURA | 1667
63 | 07.03.2018 | YVR | 43166.6354 | 43166.7215 | 2:04 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-NEW SILAMPURI PHASE IV | 564 | PREVENTIVE MAINTENANCE CARRIED OUT
64 | 07.03.2018 | YVR | 43166.645 | 43166.6936 | 1:10 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | OLD SEEMAPURI | 172
65 | 07.03.2018 | YVR | 43166.6568 | 43166.7116 | 1:19 | LT FEEDER | FOR TAKING LOAD ON REPAIRED CABLE | REPAIRED CABLE CONNECTED | BLOCK A-SHASTRI PARK, | 75