## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 08.03.2018 TO 06:00 HRS OF 09.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 08.03.2018 | CCK | 43167.4444 | 43167.5603 | 2:47 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | NAYA BAZAR-CHANDNI CHOWK | 387 | PREVENTIVE MAINTENANCE CARRIED OUT
2 | 08.03.2018 | CCK | 43167.4544 | 43167.509 | 1:19 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET DAMAGED SAME REPLACED | RAILWAY STATION-CHANDNI CHOWK | 26
3 | 08.03.2018 | DGN | 43167.4339 | 43167.5139 | 1:55 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT JUMPER FOUND LOOSE SAME ATTENDED | BLOCK F-DILSHAD COLONY | 45
4 | 08.03.2018 | DGN | 43167.4514 | 43167.6005 | 3:35 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ROHITASH NAGAR EAST-SILAMPUR | 387 | PREVENTIVE MAINTENANCE CARRIED OUT
5 | 08.03.2018 | DRG | 43167.4792 | 43167.5357 | 1:21 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | EVERGREEN PUBLICATION-KALA MAHAL | 280
6 | 08.03.2018 | DRG | 43167.5104 | 43167.5934 | 1:59 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SITARAM BAZAR-DRG | 1164
7 | 08.03.2018 | DRG | 43167.6181 | 43167.6684 | 1:13 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ARYA ANATHALAYA-KALA MAHAL | 309
8 | 08.03.2018 | JLM | 43167.4375 | 43167.5299 | 2:13 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | VIGYAN LOK-ANAND VIHAR | 174 | PREVENTIVE MAINTENANCE CARRIED OUT
9 | 08.03.2018 | JLM | 43167.4618 | 43167.5306 | 1:39 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BHOLA NATH NAGAR-SHAHDARA | 298
10 | 08.03.2018 | JLM | 43167.4861 | 43167.6701 | 4:25 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-VIVEK VIHAR | 511 | PREVENTIVE MAINTENANCE CARRIED OUT
11 | 08.03.2018 | JLM | 43167.5104 | 43167.7049 | 4:40 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SUNDER PARK-SHAHDARA | 985 | PREVENTIVE MAINTENANCE CARRIED OUT
12 | 08.03.2018 | KRN | 43167.2551 | 43167.3302 | 1:48 | HT SYSTEM FAULT | FAULT IN LT ACB | LT ACB REPAIRED | RAGHUVIR PURA-KANTI NAGAR | 1536
13 | 08.03.2018 | KRN | 43167.459 | 43167.6 | 3:23 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | GAGAN VIHAR-JAGATPURI | 1130 | PREVENTIVE MAINTENANCE CARRIED OUT
14 | 08.03.2018 | KWN | 43167.3042 | 43167.3646 | 1:27 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK C-BIHARIPUR | 5009
15 | 08.03.2018 | KWN | 43167.4271 | 43167.6597 | 5:35 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MUSTAFABAD-MUNGA NAGAR | 173 | PREVENTIVE MAINTENANCE CARRIED OUT
16 | 08.03.2018 | KWN | 43167.4277 | 43167.5069 | 1:54 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK-C-2 SONIA VIHAR | 173
17 | 08.03.2018 | KWN | 43167.4306 | 43167.5486 | 2:50 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-GANGA VIHAR | 1584 | PREVENTIVE MAINTENANCE CARRIED OUT
18 | 08.03.2018 | KWN | 43167.5705 | 43167.6331 | 1:30 | HT SYSTEM FAULT | REPLACEMENT OF HVDS TRANSFORMER | HVDS TRANSFORMER REPLACED | GALI NO-4 D BLOCK ANKUR ENCLAVE | 173
19 | 08.03.2018 | KWN | 43167.5789 | 43167.6583 | 1:54 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | PART OF SOUTH OF WAZIRABAD | 173
20 | 08.03.2018 | LNR | 43167.4514 | 43167.5769 | 3:01 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PART OF AKSHARDHAM MANDIR | 289 | PREVENTIVE MAINTENANCE CARRIED OUT
21 | 08.03.2018 | LNR | 43167.4715 | 43167.5833 | 2:41 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-SWASTHYA VIHAR | 167 | PREVENTIVE MAINTENANCE CARRIED OUT
22 | 08.03.2018 | LNR | 43167.4965 | 43167.5717 | 1:48 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | MADHU VIHAR-INDRAPRASTHA EXTENSION | 86
23 | 08.03.2018 | LNR | 43167.542 | 43167.6597 | 2:50 | DISTRIBUTION TR. | REPLACEMENT OF 990KVA TRANSFORMER | 990KVA TRANSFORMER REPLACED BY EASTER OIL TRANSFORMER | GURU NANAKPURA | 922 | 990KVA TRANSFORMER REPLACED BY EASTER OIL TRANSFORMER
24 | 08.03.2018 | LNR | 43167.5833 | 43167.7 | 2:48 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | GANESH NAGAR EXTENSION | 130 | PREVENTIVE MAINTENANCE CARRIED OUT
25 | 08.03.2018 | LNR | 43167.6208 | 43167.6874 | 1:36 | DISTRIBUTION TR. | MOBILE TRANSFORMER REPLACEMENT | MOBILE TRANSFORMER REPLACED | RAMESH PARK-LAKSHMI NAGAR | 173
26 | 08.03.2018 | LNR | 43167.6375 | 43167.7222 | 2:02 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-RAJBIR COLONY | 1818 | PREVENTIVE MAINTENANCE CARRIED OUT
27 | 08.03.2018 | LNR | 43167.7032 | 43167.7769 | 1:46 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | BLOCK A-MOTHER DAIRY | 780
28 | 08.03.2018 | MVR | 43167.4306 | 43167.5756 | 3:29 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ACHARYA NIKETAN-SHASHI GARDEN MVR | 2535 | PREVENTIVE MAINTENANCE CARRIED OUT
29 | 08.03.2018 | MVR | 43167.4632 | 43167.5742 | 2:40 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MAYUR VIHAR PHASE II | 468 | PREVENTIVE MAINTENANCE CARRIED OUT
30 | 08.03.2018 | NNG | 43167.4229 | 43167.6684 | 5:54 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-HARSH VIHAR | 214 | PREVENTIVE MAINTENANCE CARRIED OUT
31 | 08.03.2018 | NNG | 43167.4236 | 43167.5604 | 3:17 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-NATHU PURA | 1006 | PREVENTIVE MAINTENANCE CARRIED OUT
32 | 08.03.2018 | NNG | 43167.4743 | 43167.5507 | 1:50 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | ANUP VIHAR-MANDOLI | 215
33 | 08.03.2018 | NNG | 43167.486 | 43167.5437 | 1:23 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK A2-NAND NAGARI | 508
34 | 08.03.2018 | NNG | 43167.5717 | 43167.6441 | 1:44 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | ANUP VIHAR-MANDOLI | 173
35 | 08.03.2018 | PHG | 43167.4257 | 43167.7332 | 7:23 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHUNA MANDI-PAHAR GANJ | 1581 | PREVENTIVE MAINTENANCE CARRIED OUT
36 | 08.03.2018 | PHG | 43167.4868 | 43167.6062 | 2:52 | PLANNED SHUTDOWN | FLASH IN ACB | ACB REPLACED | BLOCK J-NABI KARIM | 183
37 | 08.03.2018 | PNR | 43167.4604 | 43167.5148 | 1:18 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | THAN SINGH NAGAR-ANAND PARBAT | 566
38 | 08.03.2018 | PNR | 43167.4653 | 43167.5916 | 3:02 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ANAND PARBAT | 274 | PREVENTIVE MAINTENANCE CARRIED OUT
39 | 08.03.2018 | PNR | 43167.5299 | 43167.6157 | 2:04 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 35-RAMJAS SPORTS COMPLEX | 274 | PREVENTIVE MAINTENANCE CARRIED OUT
40 | 08.03.2018 | PNR | 43167.5299 | 43167.6161 | 2:04 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK T-BALJIT NAGAR | 417 | PREVENTIVE MAINTENANCE CARRIED OUT
41 | 08.03.2018 | SRD | 43167.4486 | 43167.6528 | 4:54 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK-8A-SANT NAGAR | 561 | PREVENTIVE MAINTENANCE CARRIED OUT
42 | 08.03.2018 | VSE | 43167.4424 | 43167.5861 | 3:27 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SHANTI DOOT APPARTMENT-VASUNDHARA ENCLAVE | 83 | PREVENTIVE MAINTENANCE CARRIED OUT
43 | 08.03.2018 | VSE | 43167.5201 | 43167.5854 | 1:34 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | INDUSTRIAL AREA-JHILMIL COLONY | 448
44 | 08.03.2018 | YVR | 43167.4313 | 43167.5812 | 3:36 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK V-GHONDA PATTI CHAUHAN | 635 | PREVENTIVE MAINTENANCE CARRIED OUT
45 | 08.03.2018 | YVR | 43167.434 | 43167.604 | 4:05 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ARVIND NAGAR-GHONDA | 1274 | PREVENTIVE MAINTENANCE CARRIED OUT
46 | 08.03.2018 | YVR | 43167.4396 | 43167.647 | 4:59 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHAUHAN BANGAR-JAFFRABAD | 3758 | PREVENTIVE MAINTENANCE CARRIED OUT
47 | 08.03.2018 | YVR | 43167.442 | 43167.4854 | 1:02 | HT SYSTEM FAULT | DISTRIBUTION BOX FAULTY | DISTRIBUTION BOX REPLACED | BHAGAT NAGAR-DAYALPUR | 2661
48 | 08.03.2018 | YVR | 43167.4549 | 43167.5956 | 3:23 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-SHASTRI PARK | 345 | PREVENTIVE MAINTENANCE CARRIED OUT
49 | 08.03.2018 | YVR | 43167.4556 | 43167.5831 | 3:04 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | NAYAGAON-NEW KATWARA | 1221 | PREVENTIVE MAINTENANCE CARRIED OUT
50 | 08.03.2018 | YVR | 43167.4569 | 43167.5125 | 1:20 | HT SYSTEM FAULT | FOR ATTENDING CONSUMER COMPLAINT | HT SOCKET BURNT SAME REPLACED | CHAUHAN BANGAR-JAFFRABAD | 211
51 | 08.03.2018 | YVR | 43167.4625 | 43167.5843 | 2:55 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-INDIRA VIHAR | 1541 | PREVENTIVE MAINTENANCE CARRIED OUT
52 | 08.03.2018 | YVR | 43167.4681 | 43167.5824 | 2:45 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JAGJEET NAGAR-GHONDA | 139 | PREVENTIVE MAINTENANCE CARRIED OUT
53 | 08.03.2018 | YVR | 43167.4764 | 43167.5424 | 1:35 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | LTAB FAULTY SAME REPAIRED | JAFFRABAD-MAUJ PUR | 826
54 | 08.03.2018 | YVR | 43167.4882 | 43167.6829 | 4:40 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BRAHAMPURI YVR | 242 | PREVENTIVE MAINTENANCE CARRIED OUT
55 | 08.03.2018 | YVR | 43167.4896 | 43167.568 | 1:53 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JAFFRABAD-MAUJ PUR | 1347
56 | 08.03.2018 | YVR | 43167.5335 | 43167.5962 | 1:30 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | NEW SILAMPURI PHASE II | 259
57 | 08.03.2018 | YVR | 43167.5625 | 43167.6338 | 1:43 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK J-SILAMPUR COLONY | 1617
58 | 08.03.2018 | YVR | 43167.6473 | 43167.6927 | 1:05 | HT SYSTEM FAULT | FOR CONNECTING REPAIRED CABLE | REPAIRED CABLE CONNECTED | BLOCK M-SHIV VIHAR | 2661
59 | 08.03.2018 | YVR | 43167.6686 | 43167.7185 | 1:12 | HT SYSTEM FAULT | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | C-12 YAMUNA VIHAR | 1096