## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 09.03.2018 TO 06:00 HRS OF 10.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 09.03.2018 | CCK | 43346.4167 | 43346.5206 | 2:30 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | LAJPAT RAI MARKET-CHANDNI CHOWK | 145 | PREVENTIVE MAINTENANCE CARRIED OUT
2 | 09.03.2018 | CCK | 43346.4425 | 43346.5139 | 1:43 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB FAULTY SAME ATTENDED | KINARI BAZAR-DHARAM PURA | 662
3 | 09.03.2018 | CCK | 43346.4918 | 43346.5366 | 1:04 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB FAULTY SAME ATTENDED | RAILWAY COLONY-KASHMERE GATE | 192
4 | 09.03.2018 | DGN | 43346.4688 | 43346.6805 | 5:05 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK R- AADINATH BHAWAN DILSHAD GARDEN | 321 | PREVENTIVE MAINTENANCE CARRIED OUT
5 | 09.03.2018 | DGN | 43346.6356 | 43346.6944 | 1:25 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK A-JHILMIL INDUSTRIAL AREA | 155
6 | 09.03.2018 | DGN | 43346.7757 | 43346.8479 | 1:44 | HT SYSTEM FAULT | FAULT IN RMU | RMU REPAIRED | BLOCK A-JHILMIL COLONY | 210
7 | 09.03.2018 | DRG | 43346.4479 | 43346.527 | 1:54 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHRISTAN COLONY-KHABAS PURA | 633
8 | 09.03.2018 | DRG | 43346.4951 | 43346.5657 | 1:42 | HVDS TRANSFORMER | 25KVA HVDS TRANSFORMER FAULTY | FAULTY TRANSFORMER REPLACED | DAV PUBLIC SCHOOL-KALA MASZID | 103
9 | 09.03.2018 | JLM | 43346.434 | 43346.684 | 6:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | J J COLONY-ANAND VIHAR | 495 | PREVENTIVE MAINTENANCE CARRIED OUT
10 | 09.03.2018 | JLM | 43346.4375 | 43346.5486 | 2:40 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MAHARAM NAGAR-SHAHDARA | 819 | PREVENTIVE MAINTENANCE CARRIED OUT
11 | 09.03.2018 | JLM | 43346.5021 | 43346.623 | 2:54 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PRIYA ENCLAVE-ANAND VIHAR | 147 | PREVENTIVE MAINTENANCE CARRIED OUT
12 | 09.03.2018 | JLM | 43346.5208 | 43346.6167 | 2:18 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | VISHWAS NAGAR EXTENSION-SHAHDARA | 504 | PREVENTIVE MAINTENANCE CARRIED OUT
13 | 09.03.2018 | JLM | 43346.6424 | 43346.7083 | 1:35 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT JUMPER FOUND LOOSE SAME ATTENDED | EAST ROHTASH NAGAR-SHAHDARA | 120
14 | 09.03.2018 | KRN | 43346.4382 | 43346.5694 | 3:09 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MAHILA COLONY-SEELAMPUR | 654 | PREVENTIVE MAINTENANCE CARRIED OUT
15 | 09.03.2018 | KRN | 43346.4882 | 43346.5814 | 2:14 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-KRISHNA NAGAR | 904 | PREVENTIVE MAINTENANCE CARRIED OUT
16 | 09.03.2018 | KRN | 43346.4961 | 43346.5488 | 1:16 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | BLOCK 9-RAGHUBARPURA | 701
17 | 09.03.2018 | KWN | 43346.4271 | 43346.5625 | 3:15 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-INDIRA VIHAR | 563 | PREVENTIVE MAINTENANCE CARRIED OUT
18 | 09.03.2018 | KWN | 43346.4271 | 43346.5278 | 2:25 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-OLD MUSTAFABAD | 10444 | PREVENTIVE MAINTENANCE CARRIED OUT
19 | 09.03.2018 | KWN | 43346.4271 | 43346.684 | 6:10 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C & D-INDIRA VIHAR | 1405 | PREVENTIVE MAINTENANCE CARRIED OUT
20 | 09.03.2018 | KWN | 43346.4289 | 43346.5049 | 1:49 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK C-KHAJURI KHAS | 215
21 | 09.03.2018 | KWN | 43346.4947 | 43346.5743 | 1:55 | HVDS CABLE & OTHER SYSTEM | HVDS TRANSFORMER | REPLACEMENT OF HVDS TRANSFORMER | BHAGAT NAGAR-DAYALPUR | 1032
22 | 09.03.2018 | LNR | 43346.4444 | 43346.5554 | 2:40 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-VINOD NAGAR WEST | 172 | PREVENTIVE MAINTENANCE CARRIED OUT
23 | 09.03.2018 | LNR | 43346.4563 | 43346.6271 | 4:06 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | POCKET A-WEST GURU ANGAD NAGAR | 489 | PREVENTIVE MAINTENANCE CARRIED OUT
24 | 09.03.2018 | LNR | 43346.4604 | 43346.7417 | 6:45 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | D-BLOCK SHAKKARPUR | 1855 | PREVENTIVE MAINTENANCE CARRIED OUT
25 | 09.03.2018 | LNR | 43346.4951 | 43346.6542 | 3:49 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BHARTI COLONY-NIRMAN VIHAR | 103 | PREVENTIVE MAINTENANCE CARRIED OUT
26 | 09.03.2018 | LNR | 43346.55 | 43346.687 | 3:17 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-VINOD NAGAR EAST | 2085 | PREVENTIVE MAINTENANCE CARRIED OUT
27 | 10.03.2018 | LNR | 43376.0229 | 43376.066 | 1:02 | HT SYSTEM FAULT | TRIPPING | BIRDAGE FOUND ON LINE SAME REMOVED | AKASH BHARTI APPARTMENT-MOTHER DAIRY | 554
28 | 09.03.2018 | MVR | 43346.4229 | 43346.4806 | 1:23 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KHICHRIPUR VILLAGE | 590
29 | 09.03.2018 | NNG | 43346.2931 | 43346.3558 | 1:30 | HVDS CABLE & OTHER SYSTEM | HVDS CABLE FAULTY | HVDS CABLE REPAIRED | BLOCK C-MEET NAGAR | 1488
30 | 09.03.2018 | NNG | 43346.2936 | 43346.3548 | 1:28 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK E-UTTARANCHAL COLONY | 3299
31 | 09.03.2018 | NNG | 43346.4584 | 43346.5336 | 1:48 | LT FEEDER | TO ATTEND FAULT IN THE LINE | STAY WIRE BROKEN SAME ATTENDED | BLOCK B-NATHU PURA | 9346
32 | 09.03.2018 | NNG | 43346.4747 | 43346.5358 | 1:28 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK D-MANDOLI EXTENSION | 235
33 | 09.03.2018 | NNG | 43346.4973 | 43346.5777 | 1:56 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | SABOLI COLONY-MANDOLI | 124
34 | 09.03.2018 | NNG | 43346.5019 | 43346.5783 | 1:50 | HVDS CABLE & OTHER SYSTEM | HVDS CABLE FAULTY | HVDS CABLE REPAIRED | SEWA DHAM-MANDOLI | 124
35 | 09.03.2018 | NNG | 43346.7064 | 43346.7863 | 1:55 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK D-HARSH VIHAR | 240
36 | 09.03.2018 | PHG | 43346.434 | 43346.6702 | 5:40 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PHARI DHIRAJ-SADAR BAZAR | 829 | PREVENTIVE MAINTENANCE CARRIED OUT
37 | 09.03.2018 | PHG | 43346.4981 | 43346.5802 | 1:58 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FAULT IN LT ACB | ACB REPLACED | FYAZ GANJ-NAWAB GANJ | 1623
38 | 09.03.2018 | PNR | 43346.4236 | 43346.5374 | 2:44 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 29-WEST PATEL NAGAR | 921 | PREVENTIVE MAINTENANCE CARRIED OUT
39 | 09.03.2018 | PNR | 43346.5701 | 43346.7083 | 3:19 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK F-PUNJABI BASTI | 49 | PREVENTIVE MAINTENANCE CARRIED OUT
40 | 09.03.2018 | SRD | 43346.4514 | 43346.5729 | 2:55 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK-6A-SAT NAGAR | 223 | PREVENTIVE MAINTENANCE CARRIED OUT
41 | 09.03.2018 | VSE | 43346.4465 | 43346.5779 | 3:09 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MAYUR VIHAR PHASE III | 155 | PREVENTIVE MAINTENANCE CARRIED OUT
42 | 09.03.2018 | YVR | 43346.4222 | 43346.5528 | 3:08 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK P-BRAHM PURI | 8322 | PREVENTIVE MAINTENANCE CARRIED OUT
43 | 09.03.2018 | YVR | 43346.4389 | 43346.6287 | 4:33 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK-D NEW SILAMPURI PHASE II | 240 | PREVENTIVE MAINTENANCE CARRIED OUT
44 | 09.03.2018 | YVR | 43346.4424 | 43346.5537 | 2:40 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | NAYAGAON-NEW KATWARA | 2983 | PREVENTIVE MAINTENANCE CARRIED OUT
45 | 09.03.2018 | YVR | 43346.4479 | 43346.5608 | 2:43 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK-S SHIV VIHAR KARWAL NAGAR | 289 | PREVENTIVE MAINTENANCE CARRIED OUT
46 | 09.03.2018 | YVR | 43346.4586 | 43346.5106 | 1:15 | HT SYSTEM FAULT | FOR TAKING LOAD ON REPAIRED CABLE | REPAIRED CABLE CONNECTED | COMMUNITY CENTRE YAMUNA VIHAR | 245
47 | 09.03.2018 | YVR | 43346.4618 | 43346.6295 | 4:01 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-GARI MANDU | 1186 | PREVENTIVE MAINTENANCE CARRIED OUT
48 | 09.03.2018 | YVR | 43346.4708 | 43346.5971 | 3:02 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-MANUJPUR | 1128 | PREVENTIVE MAINTENANCE CARRIED OUT
49 | 09.03.2018 | YVR | 43346.4722 | 43346.5528 | 1:56 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK P-BRAHM PURI | 937
50 | 09.03.2018 | YVR | 43346.5257 | 43346.6291 | 2:29 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK G-SILAMPUR COLONY | 718 | PREVENTIVE MAINTENANCE CARRIED OUT
51 | 09.03.2018 | YVR | 43346.5326 | 43346.6356 | 2:28 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SUBHASH PARK-GORAKH PARK | 298 | PREVENTIVE MAINTENANCE CARRIED OUT
52 | 09.03.2018 | YVR | 43346.5667 | 43346.6815 | 2:45 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JAGJEET NAGAR-GHONDA | 5779 | PREVENTIVE MAINTENANCE CARRIED OUT
53 | 09.03.2018 | YVR | 43346.6125 | 43346.6763 | 1:32 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK G-SILAMPUR COLONY | 1260
54 | 09.03.2018 | YVR | 43346.6188 | 43346.7181 | 2:23 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JAFFRABAD-MAUJ PUR | 1347 | PREVENTIVE MAINTENANCE CARRIED OUT
55 | 09.03.2018 | YVR | 43346.6513 | 43346.6981 | 1:07 | HT SYSTEM FAULT | FIRE IN LTAB | LTAB REPAIRED | BLOCK Z-WELCOME COLONY | 80