## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 10.03.2018 TO 06:00 HRS OF 11.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 10.03.2018 | CCK | 43169.4299 | 43169.5419 | 2:41 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BARA MORE SARAI-CHANDNI CHOWK. | 599 | PREVENTIVE MAINTENANCE CARRIED OUT
2 | 10.03.2018 | CCK | 43169.4628 | 43169.5337 | 1:42 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRES DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE'S REPAIRED | MAIN BAZAR-KHUSH DIL,CHAWRI BAZAR. | 1307
3 | 10.03.2018 | CCK | 43169.4708 | 43169.5466 | 1:49 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE ON POLE | WIRES DAMAGED, SAME REPAIRED | MOSQUE-LAL KUAN BAZAR. | 1237
4 | 10.03.2018 | CCK | 43169.4938 | 43169.5584 | 1:33 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | CIVIL WORK | PLINTH RAISING WORK CARRIED OUT | TOWN HALL-KUCHA NATWA,MAIN BAZAR CHANDANI CHOWK. | 693
5 | 10.03.2018 | CCK | 43169.602 | 43169.6717 | 1:40 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | CIVIL WORK | REPLACEMENT WORK OF FENCING CARRIED OUT | NAI SARAK-KATRA ASRAFI,TOWN HALL. | 349
6 | 10.03.2018 | DGN | 43169.4236 | 43169.6437 | 5:17 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | AREA NEAR GANPATI ROLLING MILL. | 331 | PREVENTIVE MAINTENANCE CARRIED OUT
7 | 10.03.2018 | DGN | 43169.4411 | 43169.5173 | 1:50 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB DAMAGED DUE TO SPARKING IN POLE, SAME REPAIRED | KL RATHI,LONI ROAD. | 1110
8 | 10.03.2018 | DGN | 43169.5056 | 43169.5822 | 1:50 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE IN DISTRIBUTION BOX | DAMAGED WIRES REPAIRED | HANSRAJ SCHOOL-POCKET H. | 48
9 | 10.03.2018 | DGN | 43169.5611 | 43169.634 | 1:45 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | REPLACEMENT OF SERVICE LINE | FIRE ON SERVICE LINE,SAME REPLACED | GROUP I FLATS-JANTA FLATS-PKT A,DILSHAD GARDEN. | 214
10 | 10.03.2018 | DRG | 43169.4715 | 43169.6667 | 4:41 | HT SYSTEM FAULT | TRIPPING | BOTH SOURCE HT CABLE FOUND FAULTY, AREA BACKFEEDED | DAV PUBLIC SCHOOL-KALA MASZID. | 652 | BOTH SOURCE HT CABLE FOUND FAULTY, AREA BACKFEEDED
11 | 10.03.2018 | DRG | 43169.4938 | 43169.5437 | 1:12 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CAG POCKET-9,GB PANT. | 135
12 | 10.03.2018 | DRG | 43169.559 | 43169.6083 | 1:11 | HT SYSTEM FAULT | TRIPPING | BIRDAGE FOUND ON LINE, SAME ATTENDED | KUCHA PATI RAM-CHANDNI CHOWK. | 1374
13 | 10.03.2018 | JLM | 43169.4201 | 43169.5 | 1:55 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | VISHWAS NAGAR EXTN.-SHAHDARA. | 46
14 | 10.03.2018 | JLM | 43169.4931 | 43169.7049 | 5:05 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | NEW TPD CABLE INSTALLED | J J COLONY-ANAND VIHAR. | 495 | NEW TPD CABLE INSTALLED TO IMPROVE THE NETWORK
15 | 10.03.2018 | JLM | 43169.5556 | 43169.6552 | 2:24 | PLANNED SHUTDOWN | PROJECT WORK | NEW LTAB LAID | ANAND VIHAR BLOCK B. | 18 | NEW LTAB LAID TO INCREASE THE NETWORK CAPACITY
16 | 10.03.2018 | KRN | 43169.4201 | 43169.5296 | 2:38 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 9-GANDHI NAGAR. | 818 | PREVENTIVE MAINTENANCE CARRIED OUT
17 | 10.03.2018 | KRN | 43169.5347 | 43169.5903 | 1:20 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE BURNT, SAME REPAIRED | RASHID MARKET-JAGATPURI. | 131
18 | 10.03.2018 | KWN | 43169.4232 | 43169.4896 | 1:36 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD BURNT, SAME REPAIRED | NON COMM AREA-SONIA VIHAR. | 260
19 | 10.03.2018 | KWN | 43169.4271 | 43169.5869 | 3:50 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KHAJURI KHAS,KARAWAL NAGAR. | 1667 | PREVENTIVE MAINTENANCE CARRIED OUT
20 | 10.03.2018 | KWN | 43169.4306 | 43169.5503 | 2:52 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SONIA VIHAR EXTENSION. | 1598 | PREVENTIVE MAINTENANCE CARRIED OUT
21 | 10.03.2018 | KWN | 43169.5 | 43169.5559 | 1:20 | HT SYSTEM FAULT | TRIPPING | 990 KVA TRANSFORMER FUSE BLOWN, SAME REPLACED | D-BLOCK,DAYALPUR. | 10444
22 | 10.03.2018 | KWN | 43169.5484 | 43169.6285 | 1:55 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD FOUND BURNT, SAME REPLACED | JOHRI ENCLAVE-BHAGIRATHI VIHAR. | 1914
23 | 10.03.2018 | KWN | 43169.5725 | 43169.625 | 1:16 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD FOUND BURNT, SAME REPLACED | NON COMM AREA-VIJAY VIHAR. | 255
24 | 10.03.2018 | KWN | 43169.583 | 43169.6354 | 1:15 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | ELECTROCUTION OF EXTERNAL ELEMENT,SAME ATTENDED | PHASE I-SHIV VIHAR,VILLAGE-KAMAL VIHAR. | 2462
25 | 10.03.2018 | KWN | 43169.6653 | 43169.7232 | 1:23 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FOUND BURNT, SAME REPAIRED | BLOCK CN-MANGALAM VIHAR,KARAWAL NGR. | 302
26 | 10.03.2018 | KWN | 43169.7465 | 43169.8021 | 1:20 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY, SAME REPAIRED | JOHRI ENCLAVE-BHAGIRATHI VIHAR. | 388
27 | 10.03.2018 | KWN | 43169.7494 | 43169.7979 | 1:10 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS LEAD FAULTY DUE TO FLASH, SAME REPLACED | BLOCK C-SHIV VIHAR. | 250
28 | 10.03.2018 | KWN | 43169.9583 | 43170.0139 | 1:20 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS CABLE FAULTY, SAME REPAIRED | BLOCK C-KARAWAL NAGAR. | 170
29 | 10.03.2018 | LNR | 43169.4285 | 43169.5541 | 3:01 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | VIDHISA APPARTMENT-MADHU VIHAR. | 90 | PREVENTIVE MAINTENANCE CARRIED OUT
30 | 10.03.2018 | LNR | 43169.4437 | 43169.5569 | 2:43 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PANCHMAHAL APPARTMENT-MOTHER DAIRY. | 99 | PREVENTIVE MAINTENANCE CARRIED OUT
31 | 10.03.2018 | LNR | 43169.4931 | 43169.5694 | 1:50 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE DAMAGED DUE TO FLASH, SAME REPAIRED | BLOCK J-PANDAV NAGAR,LAXMI NAGAR. | 915
32 | 10.03.2018 | MVR | 43169.6549 | 43169.7188 | 1:32 | HT SYSTEM FAULT | TRIPPING | BIRDAGE FOUND ON LINE, SAME ATTENDED | MAYUR VIHAR EXTN.,BLOCK 18-KALYAN PURI. | 9994
33 | 10.03.2018 | NNG | 43169.4215 | 43169.546 | 2:59 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A1-NAND NAGARI. | 661 | PREVENTIVE MAINTENANCE CARRIED OUT
34 | 10.03.2018 | NNG | 43169.4222 | 43169.6827 | 6:15 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-RAJIV NAGAR,BLOCK D-MEET NAGAR. | 215 | PREVENTIVE MAINTENANCE CARRIED OUT
35 | 10.03.2018 | NNG | 43169.4525 | 43169.5299 | 1:51 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY, SAME REPAIRED | BLOCK D-MEET NAGAR,BLOCK A-EAST GOKUL PURI. | 1488
36 | 10.03.2018 | NNG | 43169.4937 | 43169.5715 | 1:52 | HT SYSTEM FAULT | TRIPPING | BIRDAGE FOUND ON LINE, SAME ATTENDED | BHIM RAO AMBEDKAR COLLAGE-JYOTI NAGAR. | 129
37 | 10.03.2018 | NNG | 43169.5085 | 43169.5917 | 2:00 | LT FEEDER | REPLACEMENT OF LTAB | LTAB BURNT, SAME REPLACED | BABARPUR WEST-BABAR PUR NNG. | 611
38 | 10.03.2018 | NNG | 43169.5184 | 43169.5993 | 1:57 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS CABLE FOUND DAMAGED, SAME REPAIRED | SEWA DHAM-MANDOLI. | 124
39 | 10.03.2018 | NNG | 43169.5922 | 43169.6684 | 1:50 | HVDS CABLE & OTHER SYSTEM | HVDS CABLE FAULTY | HVDS CABLE REPAIRED | BLOCK D-MANDOLI EXTN.,HARSH VIHAR. | 172
40 | 10.03.2018 | PHG | 43169.4375 | 43169.657 | 5:16 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KHURSHEED MKT,PAHAD GANJ. | 3000 | PREVENTIVE MAINTENANCE CARRIED OUT
41 | 10.03.2018 | PHG | 43169.5104 | 43169.6621 | 3:38 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LTAB REPLACED BY ARMOURED CABLE | DDA FLATS-MOTIA KHAN. | 205 | LTAB REPLACED BY ARMOURED CABLE TO IMPROVE THE NETWORK
42 | 10.03.2018 | PNR | 43169.417 | 43169.5909 | 4:10 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK O-WEST PATEL NAGAR. | 505 | PREVENTIVE MAINTENANCE CARRIED OUT
43 | 10.03.2018 | SRD | 43169.4792 | 43169.5436 | 1:33 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JHANDEWALAN FATTED FACTORY COMPLEX. | 124
44 | 10.03.2018 | YVR | 43169.4187 | 43169.6103 | 4:36 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-SHASTRI PARK. | 153 | PREVENTIVE MAINTENANCE CARRIED OUT
45 | 10.03.2018 | YVR | 43169.4285 | 43169.5435 | 2:46 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | GHONDA PATTI CHAUHAN. | 958 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
46 | 10.03.2018 | YVR | 43169.4347 | 43169.5156 | 1:57 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED | GHONDA PATTI CHAUHAN,ARVIND NAGAR-GHONDA. | 1274
47 | 10.03.2018 | YVR | 43169.4354 | 43169.5431 | 2:35 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | BLOCK C-GHONDA PATTI,YAMUNA VIHAR. | 1242 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
48 | 10.03.2018 | YVR | 43169.4444 | 43169.5437 | 2:23 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | BLOCK P-BRAHM PURI,BLOCK B-MANUJPUR. | 1667 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
49 | 10.03.2018 | YVR | 43169.4618 | 43169.7111 | 5:59 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | SUBHASH PARK-GORAKH PARK. | 1228 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
50 | 10.03.2018 | YVR | 43169.4819 | 43169.7107 | 5:29 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | JAFFRABAD-MAUJ PUR. | 1347 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
51 | 10.03.2018 | YVR | 43169.4922 | 43169.5475 | 1:20 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB FAULTY DUE TO FLASH, SAME REPAIRED | BLOCK G-SEELAMPUR COLONY. | 718
52 | 10.03.2018 | YVR | 43169.5163 | 43169.5879 | 1:43 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE IN DISTRIBUTION BOX | DISTRIBUTION BOX REPAIRED | BLOCK G-SEELAMPUR COLONY. | 1264
53 | 10.03.2018 | YVR | 43169.5247 | 43169.5733 | 1:10 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRES DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE'S REPAIRED | NON COMM AREA-SHASTRI PARK. | 1155
54 | 10.03.2018 | YVR | 43169.5259 | 43169.5738 | 1:09 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE ON POLE | SERVICE LINR BURNT, SAME REPAIRED | BLOCK A-SHASTRI PARK. | 86
55 | 10.03.2018 | YVR | 43169.6292 | 43169.7166 | 2:06 | PLANNED SHUTDOWN | TO REPAIR RMU | OPERATION MECHANISM OF RMU DECLARED FAULTY, SAME REPAIRED | DDA FLAT SSTN NO.-6 ,YAMUNA VIHAR. | 86 | OPERATION MECHANISM OF RMU DECLARED FAULTY, SAME REPAIRED
56 | 10.03.2018 | YVR | 43169.6292 | 43169.7168 | 2:06 | PLANNED SHUTDOWN | PROJECT WORK | LT STRAIGHT THROUGH JOINT MADE | BLOCK J-SEELAMPUR COLONY. | 183 | LT STRAIGHT THROUGH JOINT MADE
57 | 10.03.2018 | YVR | 43169.6299 | 43169.7172 | 2:06 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | FAULTY DISTRIBUTION BOX REPAIRED | CHAUHAN BANGAR-JAFFRABAD. | 242 | NETWORK IMPROVEMENT WORK
58 | 10.03.2018 | YVR | 43169.6299 | 43169.717 | 2:06 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | BLOCK D- NEW SEELAMPUR PHASE II. | 86 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
59 | 10.03.2018 | YVR | 43169.6306 | 43169.7175 | 2:05 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LT CABLE REPAIRED | SUBHASH PARK-GORAKH PARK. | 325 | NETWORK IMPROVEMENT WORK
60 | 10.03.2018 | YVR | 43169.6306 | 43169.7173 | 2:05 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | NEW CABLE CONNECTED | BLOCK C-NEW SEELAMPUR PHASE IV. | 564 | NEW CABLE CONNECTED TO INCREASE THE NETWORK CAPACITY
61 | 10.03.2018 | YVR | 43169.6621 | 43169.7091 | 1:08 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | EMERGENCY SHUTDOWN TO REPAIR DISTRIBUTION BOX | FAULTY DISTRIBUTION BOX REPAIRED | CHAUHAN BANGAR-JAFFRABAD. | 1143