## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 12.03.2018 TO 06:00 HRS OF 13.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 12.03.2018 | CCK | 43171.4444 | 43171.613 | 4:03 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | TELEGRAPH OFFICE-KASHMERE GATE. | 16 | PREVENTIVE MAINTENANCE CARRIED OUT
2 | 12.03.2018 | DGN | 43171.4201 | 43171.5691 | 3:34 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | DDA QUARTERS-POCKET Q,DILSHAD GARDEN. | 612 | PREVENTIVE MAINTENANCE CARRIED OUT
3 | 12.03.2018 | DRG | 43171.5035 | 43171.5953 | 2:12 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LT NETWORK MAINTENANCE WORK CARRIED OUT | FOOTOVER BRIDGE,JAMA MASJID. | 280 | LT NETWORK MAINTENANCE WORK CARRIED OUT
4 | 12.03.2018 | DRG | 43171.5076 | 43171.616 | 2:36 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | ARYA ANATHALAYA-KALA MAHAL,DARYAGANJ. | 1318 | PREVENTIVE MAINTENANCE CARRIED OUT
5 | 12.03.2018 | JLM | 43171.4347 | 43171.5338 | 2:23 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | SUNDER PARK-SHAHDARA. | 331 | PREVENTIVE MAINTENANCE CARRIED OUT
6 | 12.03.2018 | JLM | 43171.45 | 43171.566 | 2:47 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | VISHWAS NAGAR EXTN.-SHAHDARA. | 157 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
7 | 12.03.2018 | JLM | 43171.4653 | 43171.5732 | 2:35 | PLANNED SHUTDOWN | PROJECT WORK | DT CLEANING WORK CARRIED OUT | SUNDER PARK-SHAHDARA. | 182 | DT CLEANING WORK CARRIED OUT
8 | 12.03.2018 | JLM | 43171.466 | 43171.5748 | 2:37 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | NEW LTAB LAID | YOJNA VIHAR. | 48 | NEW LTAB LAID, TO IMPROVE THE NETWORK
9 | 12.03.2018 | KRN | 43171.4319 | 43171.5317 | 2:24 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | SHANTI MOHALLA,KRISHNA NAGAR. | 940 | PREVENTIVE MAINTENANCE CARRIED OUT
10 | 12.03.2018 | KRN | 43171.4396 | 43171.6111 | 4:07 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | LT CABLE MAINTENANCE WORK CARRIED OUT | BLOCK 4-GEETA COLONY,BLOCK F-RAM NAGAR. | 747 | LT CABLE MAINTENANCE WORK CARRIED OUT
11 | 12.03.2018 | KRN | 43171.4528 | 43171.575 | 2:56 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 2A-GEETA COLONY. | 3595 | PREVENTIVE MAINTENANCE CARRIED OUT
12 | 12.03.2018 | KRN | 43171.4757 | 43171.5524 | 1:50 | HT SYSTEM FAULT | TO REPAIR RMU | OPERATION MECHANISM OF RMU FAULTY, SAME REPAIRED | BLOCK B-KRISHNA NAGAR. | 1282
13 | 12.03.2018 | KRN | 43171.5854 | 43171.6539 | 1:39 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE BURNT, SAME REPAIRED | CHANDER NAGAR BLOCK C-PANDIT PARK. | 1282
14 | 12.03.2018 | KRN | 43171.5854 | 43171.6562 | 1:42 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE IN LT POLE | SERVICE LINE DAMAGED, SAME REPAIRED | KAILASH NAGAR. | 647
15 | 12.03.2018 | KWN | 43171.4285 | 43171.6507 | 5:20 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BHAGIRATHI VIHAR,JAGDAMBA COLONY. | 580 | PREVENTIVE MAINTENANCE CARRIED OUT
16 | 12.03.2018 | KWN | 43171.441 | 43171.6042 | 3:55 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | CHAUHAN PATTI-VIJAY VIHAR. | 292 | PREVENTIVE MAINTENANCE CARRIED OUT
17 | 12.03.2018 | KWN | 43171.4653 | 43171.5417 | 1:50 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | DISTRIBUTION BOX REPAIRED & RMU EARTHING CONNECTION WORK DONE | BLOCK B-BRIJ PURI,KARAWAL NAGAR. | 4982
18 | 12.03.2018 | KWN | 43171.4757 | 43171.6562 | 4:20 | PLANNED SHUTDOWN | PROJECT WORK | DT CLEANING WORK CARRIED OUT | BLOCK A-BABU NAGAR. | 1087 | DT CLEANING WORK CARRIED OUT TO IMPROVE THE NETWORK
19 | 12.03.2018 | KWN | 43171.4826 | 43171.6667 | 4:25 | PLANNED SHUTDOWN | CIVIL WORK | TRANSFORMER SIDE WALL REPAIRING WORK CARRIED OUT | BLOCK 3B-SADAT PUR. | 1487 | TRANSFORMER SIDE WALL REPAIRING WORK CARRIED OUT
20 | 12.03.2018 | KWN | 43171.484 | 43171.5625 | 1:53 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS DP FUSE | HVDS DP FUSE BLOWN, SAME REPLACED | PHASE I-SHIV VIHAR,VILLAGE-KAMAL VIHAR. | 2462
21 | 12.03.2018 | LNR | 43171.4535 | 43171.6951 | 5:48 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-MOTHER DAIRY. | 72 | PREVENTIVE MAINTENANCE CARRIED OUT
22 | 12.03.2018 | LNR | 43171.4556 | 43171.5583 | 2:28 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | LAXMI NAGAR. | 290 | PREVENTIVE MAINTENANCE CARRIED OUT
23 | 12.03.2018 | LNR | 43171.4701 | 43171.6695 | 4:47 | PLANNED SHUTDOWN | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | MOTHER DAIRY-INDRAPRASTHA EXTENSION LNR. | 1511 | LOAD BALANCING CARRIED OUT TO AVOID TRIPPING
24 | 12.03.2018 | LNR | 43171.4847 | 43171.7337 | 5:59 | PLANNED SHUTDOWN | REPLACEMENT OF LT ACB | NEW LT ACB INSTALLED | BHARTI COLONY-NIRMAN VIHAR,LAKSHMI NAGAR. | 1299 | FAULTY LT ACB REPLACED BY NEW ONE
25 | 12.03.2018 | LNR | 43171.5069 | 43171.6059 | 2:23 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-MOTHER DAIRY,LAXMI NAGAR. | 1411 | PREVENTIVE MAINTENANCE CARRIED OUT
26 | 12.03.2018 | MVR | 43171.4479 | 43171.4986 | 1:13 | PLANNED SHUTDOWN | PROJECT WORK | HT FEEDER MAINTENANCE WORK CARRIED OUT | ANAND LOK,MAYUR VIHAR. | 4148
27 | 12.03.2018 | NNG | 43171.3435 | 43171.4187 | 1:48 | HT SYSTEM FAULT | TRIPPING | LTAB CABLE FAULTY, SAME REPAIRED | BLOCK A-ANUP VIHAR,BLOCK D-MEET NAGAR. | 3299
28 | 12.03.2018 | NNG | 43171.3493 | 43171.4284 | 1:54 | HT SYSTEM FAULT | TRIPPING | LTAB JOINT FAULTY, SAME REPAIRED | BLOCK D-MEET NAGAR,BLOCK A-EAST GOKUL PURI. | 1488
29 | 12.03.2018 | NNG | 43171.4417 | 43171.5528 | 2:40 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | GTB MIG FLATS-POCKET F,NAND NAGRI. | 380 | PREVENTIVE MAINTENANCE CARRIED OUT
30 | 12.03.2018 | NNG | 43171.4542 | 43171.7083 | 6:06 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-MANDOLI EXTN. | 568 | PREVENTIVE MAINTENANCE CARRIED OUT
31 | 12.03.2018 | NNG | 43171.4646 | 43171.5125 | 1:09 | HT SYSTEM FAULT | TRIPPING | TRANSFORMER FUSE BLOWN, SAME REPLACED | VIJAY PARK,NAND NAGRI. | 7754
32 | 12.03.2018 | NNG | 43171.545 | 43171.6271 | 1:58 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY, AREA BACKFEEDED | SEWA DHAM-MANDOLI. | 124
33 | 12.03.2018 | NNG | 43171.5542 | 43171.6042 | 1:12 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY, AREA BACKFEEDED | PKT B-CHITRAKOOT,BLOCK B-KABIR NAGAR. | 6408
34 | 12.03.2018 | NNG | 43171.6764 | 43171.7479 | 1:43 | HT SYSTEM FAULT | TRIPPING | HT METERING CUBICAL FLASHED, SAME ATTENDED | JRD HOSPITAL-GTB STAFF COLONY. | 224
35 | 12.03.2018 | NNG | 43171.8438 | 43171.8993 | 1:20 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HTAB CABLE FAULTY, SAME REPAIRED | SABOLI EXTN.-MANDOLI. | 124
36 | 12.03.2018 | PHG | 43171.4382 | 43171.6936 | 6:08 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | MOTIYA KHAN-SHAHI IDGAH COLONY. | 1146 | PREVENTIVE MAINTENANCE CARRIED OUT
37 | 12.03.2018 | PNR | 43171.4889 | 43171.5797 | 2:11 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LT STRAIGHT THROUGH JOINT MADE | BLOCK 35-RAMJAS SPORTS COMPLEX. | 581 | LT STRAIGHT THROUGH JOINT MADE
38 | 12.03.2018 | PNR | 43171.4889 | 43171.5794 | 2:10 | PLANNED SHUTDOWN | PROJECT WORK | LT CABLE REPAIRED | BLOCK T-BALJIT NAGAR. | 53 | FAULTY LT CABLE REPAIRED
39 | 12.03.2018 | PNR | 43171.4889 | 43171.58 | 2:11 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | OLD DISTRIBUTION BOX REPLACED BY NEW ONE | BLOCK N-WEST PATEL NAGAR. | 40 | OLD DISTRIBUTION BOX REPLACED BY NEW ONE
40 | 12.03.2018 | PNR | 43171.4889 | 43171.5796 | 2:11 | PLANNED SHUTDOWN | PROJECT WORK | FAULTY DISTRIBUTION BOX REPLACED | BLOCK T-WEST PATEL NAGAR. | 193 | FAULTY DISTRIBUTION BOX REPLACED BY NEW ONE
41 | 12.03.2018 | PNR | 43171.5549 | 43171.6473 | 2:13 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | ANAND PARBAT. | 15 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
42 | 13.03.2018 | VSE | 43172.2151 | 43172.2743 | 1:25 | HT SYSTEM FAULT | TRIPPING | BIRDAGE FOUND ON LINE, SAME ATTENDED | VASUNDRA ENCLAVE. | 189
43 | 12.03.2018 | YVR | 43171.4201 | 43171.5531 | 3:12 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-BHAJANPURA,BLOCK E-SUBHASH MOHALLA. | 2470 | PREVENTIVE MAINTENANCE CARRIED OUT
44 | 12.03.2018 | YVR | 43171.4576 | 43171.5786 | 2:54 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | BLOCK B-GARI MANDU,GHONDA PATTI. | 1221 | NETWORK IMPROVEMENT WORK
45 | 12.03.2018 | YVR | 43171.4583 | 43171.559 | 2:25 | PLANNED SHUTDOWN | PROJECT WORK | NEW DISTRIBUTION BOX INSTALLED | JAGJEET NAGAR-GHONDA,YAMUNA VIHAR. | 139 | FAULTY DISTRIBUTION BOX REPLACED BY NEW ONE
46 | 12.03.2018 | YVR | 43171.466 | 43171.6847 | 5:15 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | NEW DISTRIBUTION BOX INSTALLED | GHONDA PATTI CHAUHAN. | 1546 | NETWORK IMPROVEMENT WORK
47 | 12.03.2018 | YVR | 43171.4924 | 43171.5971 | 2:31 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | CHAUHAN BANGAR-JAFFRABAD. | 1128 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
48 | 12.03.2018 | YVR | 43171.5304 | 43171.5927 | 1:30 | HT SYSTEM FAULT | INSTALLATION OF FPI | FPI INSTALLATION WORK CARRIED OUT | BLOCK E-SUBHASH MOHALLA. | 4869
49 | 12.03.2018 | YVR | 43171.5639 | 43171.6865 | 2:57 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | BLOCK V-GHONDA PATTI CHAUHAN. | 635 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
50 | 12.03.2018 | YVR | 43171.591 | 43171.687 | 2:18 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-NEW SEELAMPUR PHASE II. | 11 | PREVENTIVE MAINTENANCE CARRIED OUT
51 | 12.03.2018 | YVR | 43171.6229 | 43171.6873 | 1:33 | PLANNED SHUTDOWN | PROJECT WORK | LT STRAIGHT THROUGH JOINT MADE | BLOCK A-SEELAMPUR COLONY. | 1617
52 | 12.03.2018 | YVR | 43171.7266 | 43171.7767 | 1:12 | HT SYSTEM FAULT | TO REPAIR HT CABLE | HT CABLE REPAIRED & ENERGISED | JAFFRABAD-MAUJ PUR. | 259