## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 13.03.2018 TO 06:00 HRS OF 14.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 13.03.2018 | CCK | 43172.4403 | 43172.5137 | 1:46 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | AJMERI GATE-CHANDNI CHOWK | 1214
2 | 13.03.2018 | CCK | 43172.4439 | 43172.517 | 1:45 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON THE POLE | DAMAGED WIRE REPAIRED | KINARI BAZAR-DHARAM PURA | 685
3 | 13.03.2018 | DGN | 43172.3403 | 43172.4179 | 1:52 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT JUMPER FOUND LOOSE SAME ATTENDED | GORAKH PARK EAST-SEELAMPUR | 16
4 | 13.03.2018 | DGN | 43172.468 | 43172.5191 | 1:14 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT SOCKET BURNT SAME REPLACED | JHILMIL INDUSTRIAL AREA-JHILMIL COLONY | 37
5 | 13.03.2018 | DGN | 43172.5107 | 43172.5854 | 1:48 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON THE POLE | DAMAGED WIRE REPAIRED | BLOCK C-JHILMIL INDUSTRIAL AREA | 38
6 | 13.03.2018 | DGN | 43172.5128 | 43172.5854 | 1:45 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON THE POLE | DAMAGED WIRE REPAIRED | SHAMBHU NATH COMPOUND JHILMILL | 80
7 | 13.03.2018 | DGN | 43172.5755 | 43172.625 | 1:11 | HT SYSTEM FAULT | TRIPPING | TRANSIENT FAULT | BLOCK E-JHILMIL-TAHIRPUR | 6660
8 | 13.03.2018 | DRG | 43172.5811 | 43172.6306 | 1:11 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | IP STATE-PRAGATI MAIDAN | 315
9 | 13.03.2018 | JLM | 43172.4271 | 43172.5132 | 2:04 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SHANTI VIHAR-KARKAR DOOMA | 37 | PREVENTIVE MAINTENANCE CARRIED OUT
10 | 13.03.2018 | JLM | 43172.4444 | 43172.5511 | 2:34 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SUNDER PARK-SHAHDARA | 196 | PREVENTIVE MAINTENANCE CARRIED OUT
11 | 13.03.2018 | JLM | 43172.45 | 43172.5636 | 2:44 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | AMBEDKAR NAGAR-SHAHDARA | 309 | PREVENTIVE MAINTENANCE CARRIED OUT
12 | 13.03.2018 | JLM | 43172.4861 | 43172.5566 | 1:42 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | B BLOCK JHILMILL | 22
13 | 13.03.2018 | JLM | 43172.6181 | 43172.7251 | 2:34 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SUNDER PARK-SHAHDARA | 1291 | PREVENTIVE MAINTENANCE CARRIED OUT
14 | 13.03.2018 | KRN | 43172.4278 | 43172.5305 | 2:28 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-KRISHNA NAGAR | 784 | PREVENTIVE MAINTENANCE CARRIED OUT
15 | 13.03.2018 | KRN | 43172.5146 | 43172.591 | 1:50 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON THE POLE | DAMAGED WIRE REPAIRED | BLOCK 11-GEETA COLONY | 20
16 | 13.03.2018 | KRN | 43172.6285 | 43172.6979 | 1:40 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | OLD SEELAMPUR | 102
17 | 13.03.2018 | KWN | 43172.4062 | 43172.6204 | 5:08 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | TUNDA NAGAR-BHAGIRATHI VIHAR | 159 | PREVENTIVE MAINTENANCE CARRIED OUT
18 | 13.03.2018 | KWN | 43172.4187 | 43172.6757 | 6:10 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK F-INDIRA VIHAR | 863 | PREVENTIVE MAINTENANCE CARRIED OUT
19 | 13.03.2018 | KWN | 43172.4853 | 43172.5596 | 1:47 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB FAULTY SAME REPAIRED | BLOCK K-KARAWAL NAGAR | 505
20 | 13.03.2018 | KWN | 43172.552 | 43172.625 | 1:45 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK U-SHIV VIHAR | 3122
21 | 13.03.2018 | KWN | 43172.6594 | 43172.7416 | 1:58 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | BLOCK A-HARIJAN BASTI | 1560
22 | 13.03.2018 | KWN | 43172.7014 | 43172.759 | 1:23 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK J-SHIV VIHAR | 652
23 | 13.03.2018 | KWN | 43172.759 | 43172.8327 | 1:46 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK L-SHIV VIHAR | 78
24 | 13.03.2018 | KWN | 43172.884 | 43172.9424 | 1:24 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK C-DAYALPUR | 77
25 | 13.03.2018 | LNR | 43172.4313 | 43172.6319 | 4:49 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PRIYADARSHINI APARTMENT-MOTHER DAIRY | 61 | PREVENTIVE MAINTENANCE CARRIED OUT
26 | 13.03.2018 | LNR | 43172.4667 | 43172.6319 | 3:58 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | D BLOCK-MOTHER DAIRY | 96 | PREVENTIVE MAINTENANCE CARRIED OUT
27 | 13.03.2018 | LNR | 43172.4882 | 43172.7204 | 5:34 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK M-JAGAT RAM PARK | 1540 | PREVENTIVE MAINTENANCE CARRIED OUT
28 | 13.03.2018 | LNR | 43172.5125 | 43172.5854 | 1:45 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME REPAIRED | BLOCK C-PANDAV NAGAR | 1469
29 | 13.03.2018 | LNR | 43172.5229 | 43172.6236 | 2:25 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK U-SHAKARPUR KHAS | 20 | PREVENTIVE MAINTENANCE CARRIED OUT
30 | 13.03.2018 | LNR | 43172.5437 | 43172.6326 | 2:08 | LT FEEDER | FIRE IN LTAB | LTAB REPAIRED | BLOCK B-GANESH NAGAR | 75 | FLASH IN LTAB SAME REPAIRED
31 | 13.03.2018 | LNR | 43172.6583 | 43172.7833 | 3:00 | LT FEEDER | LTAB DAMAGED | LTAB REPLACED | BLOCK S-PANDAV NAGAR | 70 | LTAB DAMAGED SAME REPLACED
32 | 13.03.2018 | LNR | 43172.7986 | 43172.9306 | 3:10 | LT FEEDER | LT ACB FAULTY | LT ACB REPAIRED | LALITA PARK LNR | 84 | LT ACB FAULTY SAME REPAIRED
33 | 13.03.2018 | MVR | 43172.3944 | 43172.4514 | 1:22 | HT SYSTEM FAULT | BUS BAR FLASHED AT MVR-II GRID | AREA BACKFEEDED | DDA FLATS CHILLA MAYUR VIHAR | 518
34 | 13.03.2018 | MVR | 43172.3944 | 43172.4583 | 1:32 | HT SYSTEM FAULT | BUS BAR FLASHED AT MVR-II GRID | AREA BACKFEEDED | PRATAP NAGAR, BHAGWANT DHAM | 250
35 | 13.03.2018 | MVR | 43172.3944 | 43172.4514 | 1:22 | HT SYSTEM FAULT | BUS BAR FLASHED AT MVR-II GRID | AREA BACKFEEDED | ROSE WOOD, BASANT CGHS FLATS | 1030
36 | 13.03.2018 | MVR | 43172.4486 | 43172.5655 | 2:48 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-GAZIPUR DAIRY FARM | 745 | PREVENTIVE MAINTENANCE CARRIED OUT
37 | 13.03.2018 | NNG | 43172.3523 | 43172.4259 | 1:46 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HTAB FAULTY SAME REPAIRED | BLOCK D-MEET NAGAR | 3339
38 | 13.03.2018 | NNG | 43172.3529 | 43172.4292 | 1:50 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | BLOCK A-EAST GOKUL PURI | 1528
39 | 13.03.2018 | NNG | 43172.4181 | 43172.6915 | 6:34 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SABOLI COLONY-MANDOLI | 215 | PREVENTIVE MAINTENANCE CARRIED OUT
40 | 13.03.2018 | NNG | 43172.4292 | 43172.5632 | 3:13 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E3-KANSHIPUR | 32 | PREVENTIVE MAINTENANCE CARRIED OUT
41 | 13.03.2018 | NNG | 43172.4394 | 43172.5101 | 1:42 | LT FEEDER | TO ATTEND FAULT IN THE LINE | FAULT IN DISTRIBUTION BOX SAME ATTENDED | BLOCK E-NORTH CHHAJUPUR | 468
42 | 13.03.2018 | NNG | 43172.4867 | 43172.5584 | 1:43 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT JUMPER FOUND LOOSE SAME ATTENDED | JANTA FLATS NNG | 1232
43 | 13.03.2018 | NNG | 43172.5805 | 43172.6549 | 1:47 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | SABOLI EXTENSION-MANDOLI | 124
44 | 13.03.2018 | NNG | 43172.7019 | 43172.7691 | 1:37 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK H-SEWA DHAM | 250
45 | 13.03.2018 | PHG | 43172.4375 | 43172.6588 | 5:19 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHOWK NAI BASTI-SADAR BAZAR | 730 | PREVENTIVE MAINTENANCE CARRIED OUT
46 | 13.03.2018 | PHG | 43172.4427 | 43172.518 | 1:48 | LT FEEDER | FOR TAKING LOAD ON REPAIRED CABLE | REPAIRED CABLE CONNECTED | AMRIT KAUR MARKET-PAHAR GANJ | 1356
47 | 13.03.2018 | PHG | 43172.5188 | 43172.5855 | 1:36 | LT FEEDER | REPLACEMENT OF PIERCING CONNECTOR | PIERCING CONNECTOR REPLACED | MANTOLA MOHALLA-PAHAR GANJ | 656
48 | 13.03.2018 | PHG | 43172.5194 | 43172.5972 | 1:52 | DISTRIBUTION TR. | OIL LEAKAGE FROM TRANSFORMER | OIL LEAKAGE OF TRANSFORMER ATTENDED | BLOCK T-ARAM NAGAR | 126
49 | 13.03.2018 | PHG | 43172.7741 | 43172.8264 | 1:15 | HT SYSTEM FAULT | TRIPPING | TRANSIENT FAULT | CHUNA MANDI-PAHAR GANJ | 810
50 | 13.03.2018 | PNR | 43172.4319 | 43172.6613 | 5:30 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK F-PUNJABI BASTI | 450 | PREVENTIVE MAINTENANCE CARRIED OUT
51 | 13.03.2018 | SRD | 43172.4583 | 43172.5819 | 2:58 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 54-OLD RAJENDRA NAGAR | 1093 | PREVENTIVE MAINTENANCE CARRIED OUT
52 | 13.03.2018 | YVR | 43172.434 | 43172.5914 | 3:47 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | NAYAGAON-NEW KATWARA | 1187 | PREVENTIVE MAINTENANCE CARRIED OUT
53 | 13.03.2018 | YVR | 43172.4424 | 43172.6989 | 6:09 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D- LIG FLATS-NEW SILAMPURI PHASE II | 124 | PREVENTIVE MAINTENANCE CARRIED OUT
54 | 13.03.2018 | YVR | 43172.4549 | 43172.6631 | 5:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-GARI MANDU | 1186 | PREVENTIVE MAINTENANCE CARRIED OUT
55 | 13.03.2018 | YVR | 43172.4556 | 43172.5177 | 1:29 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK P-BRAHM PURI | 2983
56 | 13.03.2018 | YVR | 43172.4882 | 43172.5498 | 1:29 | HT SYSTEM FAULT | FIRE IN DISTRIBUTION BOX | DISTRIBUTION BOX BYPASSED | MAUJ PUR COMPLEX 1 | 1618
57 | 13.03.2018 | YVR | 43172.5076 | 43172.7002 | 4:37 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JANTA COLONY DWARKAPURI | 325 | PREVENTIVE MAINTENANCE CARRIED OUT
58 | 13.03.2018 | YVR | 43172.5076 | 43172.5733 | 1:35 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | D BLOCK DWARKAPURI | 404
59 | 13.03.2018 | YVR | 43172.5083 | 43172.7099 | 4:50 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK J-SILAMPUR COLONY | 183 | PREVENTIVE MAINTENANCE CARRIED OUT
60 | 13.03.2018 | YVR | 43172.5125 | 43172.5613 | 1:10 | HVDS TRANSFORMER | REPLACEMENT OF HVDS TRANSFORMER | HVDS TRANSFORMER REPLACED | BLOCK C-SHASTRI PARK | 85
61 | 13.03.2018 | YVR | 43172.5292 | 43172.7006 | 4:07 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHAUHAN BANGAR-JAFFRABAD | 3758 | PREVENTIVE MAINTENANCE CARRIED OUT
62 | 13.03.2018 | YVR | 43172.606 | 43172.6826 | 1:50 | HT SYSTEM FAULT | DISTRIBUTION BOX FAULTY | DISTRIBUTION BOX BYPASSED | VIJAY PARK-YAMUNA VIHAR | 2301
63 | 13.03.2018 | YVR | 43172.6125 | 43172.7195 | 2:34 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK R-BRAHM PURI | 937 | PREVENTIVE MAINTENANCE CARRIED OUT
64 | 13.03.2018 | YVR | 43172.6132 | 43172.7198 | 2:33 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-GARI MANDU | 655 | PREVENTIVE MAINTENANCE CARRIED OUT
65 | 13.03.2018 | YVR | 43172.6255 | 43172.6829 | 1:23 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET BURNT SAME REPLACED | BLOCK C-GHONDA PATTI | 1377
66 | 13.03.2018 | YVR | 43172.6403 | 43172.6993 | 1:25 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-NEW SILAMPURI PHASE II | 86
67 | 13.03.2018 | YVR | 43172.6497 | 43172.701 | 1:14 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK U-WELCOME COLONY | 1854