## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 14.03.2018 TO 06:00 HRS OF 15.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 14.03.2018 | CCK | 43173.4229 | 43173.5788 | 3:44 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | DARIBA MARKET-KATRA MASHRU | 139 | PREVENTIVE MAINTENANCE CARRIED OUT
2 | 14.03.2018 | CCK | 43173.4719 | 43173.5484 | 1:50 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | NAI SARAK-JOGIWARA | 936
3 | 14.03.2018 | CCK | 43173.4784 | 43173.5493 | 1:42 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | GGS INDRAPRASTHA UNIVERSITY-KASHMERE GATE | 637
4 | 14.03.2018 | CCK | 43173.4845 | 43173.554 | 1:40 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | KATRA BARYAN-BARA DARI | 146
5 | 14.03.2018 | DGN | 43173.4306 | 43173.6515 | 5:18 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-OLD SEEMAPURI | 2286 | PREVENTIVE MAINTENANCE CARRIED OUT
6 | 14.03.2018 | DGN | 43173.472 | 43173.5475 | 1:49 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FLASH IN DB | SERVICE LINE REPAIRED | BLOCK D-DILSHAD COLONY | 919
7 | 14.03.2018 | DGN | 43173.509 | 43173.5823 | 1:46 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FLASH IN DB | SERVICE LINE REPAIRED | D BLOCK DILSHAD GARDEN | 551
8 | 14.03.2018 | DGN | 43173.7152 | 43173.7854 | 1:41 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT JUMPER FOUND LOOSE SAME ATTENDED | BLOCK B-DILSHAD COLONY | 377
9 | 14.03.2018 | DGN | 43173.7237 | 43173.7844 | 1:27 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | BLOCK C-NEW SIMAPURI | 962
10 | 14.03.2018 | DRG | 43173.5104 | 43173.596 | 2:03 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHANDANI MAHAL-DRG | 1736 | PREVENTIVE MAINTENANCE CARRIED OUT
11 | 14.03.2018 | DRG | 43173.5364 | 43173.5912 | 1:19 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | URDU BAZAAR, MEENA BAZAAR | 643
12 | 14.03.2018 | JLM | 43173.4201 | 43173.5035 | 2:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | NEW VISWAS NAGAR-SHAHDARA | 263
13 | 14.03.2018 | JLM | 43173.5035 | 43173.6278 | 2:59 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KARKARDOOMA VILLAGE | 44 | PREVENTIVE MAINTENANCE CARRIED OUT
14 | 14.03.2018 | JLM | 43173.5208 | 43173.6261 | 2:32 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | J J COLONY-ANAND VIHAR | 495 | PREVENTIVE MAINTENANCE CARRIED OUT
15 | 14.03.2018 | JLM | 43173.5243 | 43173.6427 | 2:51 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | B-BLOCK VIVEK VIHAR | 47 | PREVENTIVE MAINTENANCE CARRIED OUT
16 | 14.03.2018 | KRN | 43173.4264 | 43173.5347 | 2:36 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-JAGATPURI | 766 | PREVENTIVE MAINTENANCE CARRIED OUT
17 | 14.03.2018 | KRN | 43173.4722 | 43173.6243 | 3:39 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHANDER NAGAR-KRISHNA NAGAR | 945 | PREVENTIVE MAINTENANCE CARRIED OUT
18 | 14.03.2018 | KRN | 43173.4819 | 43173.5493 | 1:37 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | BLOCK 11-GEETA COLONY | 18
19 | 14.03.2018 | KRN | 43173.5104 | 43173.6637 | 3:41 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 9-KAILASH NAGAR | 4279 | PREVENTIVE MAINTENANCE CARRIED OUT
20 | 14.03.2018 | KWN | 43173.4167 | 43173.5815 | 3:57 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-MUSTAFABAD | 831 | PREVENTIVE MAINTENANCE CARRIED OUT
21 | 14.03.2018 | KWN | 43173.4236 | 43173.6752 | 6:02 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JOHRI ENCLAVE-BHAGIRATHI VIHAR | 25 | PREVENTIVE MAINTENANCE CARRIED OUT
22 | 14.03.2018 | KWN | 43173.4688 | 43173.5625 | 2:15 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-SHRI RAM COLONY | 6575 | PREVENTIVE MAINTENANCE CARRIED OUT
23 | 14.03.2018 | KWN | 43173.5625 | 43173.614 | 1:14 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | SHANTI NAGAR | 587
24 | 14.03.2018 | KWN | 43173.5782 | 43173.6285 | 1:12 | HVDS CABLE & OTHER SYSTEM | HVDS DP FUSE BLOWN | HVDS DP FUSE REPLACED | SHIV VIHAR PHASE-4 | 1836
25 | 14.03.2018 | KWN | 43173.6678 | 43173.7431 | 1:48 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT SOCKET FAULTY SAME REPLACED | BLOCK D-NEHRU VIHAR | 2634
26 | 14.03.2018 | KWN | 43173.681 | 43173.7417 | 1:27 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK CN-MANGALAM VIHAR | 267
27 | 14.03.2018 | KWN | 43173.6893 | 43173.7465 | 1:22 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | CHAUHAN PATTI-VIJAY VIHAR | 292
28 | 14.03.2018 | KWN | 43173.6908 | 43173.7639 | 1:45 | HT SYSTEM FAULT | TRIPPING | RMU BUSHING DAMAGED SAME ATTENDED | BLOCK B-KARAWAL NAGAR | 233
29 | 14.03.2018 | KWN | 43173.7917 | 43173.847 | 1:20 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | CURRENT LEAKAGE PROBLEM FROM POLE SAME ATTENDED | F-BLK KHAJOORI KHAAS | 91
30 | 14.03.2018 | KWN | 43173.9201 | 43173.9965 | 1:50 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | BLOCK H-OLD MUSTAFABAD | 1037
31 | 14.03.2018 | KWN | 43173.9375 | 43174.0021 | 1:33 | HVDS CABLE & OTHER SYSTEM | HVDS DP FUSE BLOWN | HVDS DP FUSE REPLACED | BLOCK C-BHAGAT SINGH COLONY | 994
32 | 14.03.2018 | LNR | 43173.4319 | 43173.5483 | 2:48 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ENGG. ESTATE-MOTHER DAIRY | 84 | PREVENTIVE MAINTENANCE CARRIED OUT
33 | 14.03.2018 | LNR | 43173.4635 | 43173.5135 | 1:12 | HVDS CABLE & OTHER SYSTEM | HVDS POLE DAMAGED | HVDS POLE REPAIRED | RAILWAY COLONY-MANDAWALI VILLAGE | 1984
34 | 14.03.2018 | LNR | 43173.4972 | 43173.6313 | 3:13 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KAROL APARTMENT-MOTHER DAIRY | 115 | PREVENTIVE MAINTENANCE CARRIED OUT
35 | 14.03.2018 | LNR | 43173.5757 | 43173.6452 | 1:40 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | B BLOCK-MOTHER DAIRY | 114
36 | 14.03.2018 | LNR | 43173.6528 | 43173.7309 | 1:53 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FAULT IN LT ACB | ACB REPLACED | RAILWAY COLONY-MANDAWALI VILLAGE | 1628
37 | 14.03.2018 | MVR | 43173.4903 | 43173.5962 | 2:33 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | POCKET F-MAYUR VIHAR PHASE II | 787 | PREVENTIVE MAINTENANCE CARRIED OUT
38 | 14.03.2018 | MVR | 43173.4931 | 43173.7301 | 5:41 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 18-KALYAN PURI,BLO | 330 | PREVENTIVE MAINTENANCE CARRIED OUT
39 | 14.03.2018 | NNG | 43173.3596 | 43173.441 | 1:57 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | LTAB FAULTY SAME REPAIRED | BLOCK A-EAST GOKUL PURI | 549
40 | 14.03.2018 | NNG | 43173.3978 | 43173.4722 | 1:47 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | CABLE JOINT FAULT SAME ATTENDED | BABARPUR EXTENSION | 1060
41 | 14.03.2018 | NNG | 43173.4361 | 43173.6321 | 4:42 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-ASHOK NAGAR | 3160 | PREVENTIVE MAINTENANCE CARRIED OUT
42 | 14.03.2018 | NNG | 43173.4375 | 43173.6815 | 5:51 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SABOLI COLONY-MANDOLI | 432 | PREVENTIVE MAINTENANCE CARRIED OUT
43 | 14.03.2018 | NNG | 43173.4625 | 43173.5395 | 1:51 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | BLOCK D-MEET NAGAR | 1528
44 | 14.03.2018 | NNG | 43173.5391 | 43173.6024 | 1:31 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT CABLE FAULTY SAME ATTENDED | BLOCK B-EAST GOKUL PURI | 2074
45 | 14.03.2018 | NNG | 43173.7222 | 43173.8043 | 1:58 | HVDS CABLE & OTHER SYSTEM | HVDS CABLE FAULTY | HVDS CABLE REPAIRED | SEWA DHAM-MANDOLI | 124
46 | 14.03.2018 | NNG | 43173.9016 | 43173.9514 | 1:12 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK A-MANDOLI EXTENSION | 173
47 | 14.03.2018 | NNG | 43173.9025 | 43173.967 | 1:33 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | VILLAGE SABOLI-SABOLI COLONY | 124
48 | 15.03.2018 | NNG | 43174.1736 | 43174.2188 | 1:05 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | LTAB FAULTY SAME REPAIRED | BHARAT MATA MANDIR-JJ COLONY | 430
49 | 14.03.2018 | PHG | 43173.425 | 43173.4893 | 1:33 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SADAR BAZAR - RAM NAGAR | 849
50 | 14.03.2018 | PHG | 43173.5281 | 43173.598 | 1:41 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT JUMPER FOUND LOOSE SAME ATTENDED | MANTOLA MOHALLA-PAHAR GANJ | 275
51 | 14.03.2018 | PNR | 43173.475 | 43173.559 | 2:01 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 26-EAST PATEL NAGAR | 155 | PREVENTIVE MAINTENANCE CARRIED OUT
52 | 14.03.2018 | PNR | 43173.4875 | 43173.5594 | 1:44 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | THAN SINGH NAGAR-ANAND PARBAT | 46
53 | 14.03.2018 | PNR | 43173.4951 | 43173.5596 | 1:33 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-WEST PATEL NAGAR | 515
54 | 14.03.2018 | PNR | 43173.4951 | 43173.5601 | 1:34 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 30-WEST PATEL NAGAR | 56
55 | 14.03.2018 | PNR | 43173.5208 | 43173.724 | 4:53 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK H-WEST PATEL NAGAR | 216 | PREVENTIVE MAINTENANCE CARRIED OUT
56 | 14.03.2018 | PNR | 43173.5437 | 43173.6062 | 1:30 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | DMS COLONY-PREM NAGAR | 132
57 | 14.03.2018 | SRD | 43173.4326 | 43173.5833 | 3:37 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KAROL BAGH TERMINAL SLUM-JHANDEWALAN | 434 | PREVENTIVE MAINTENANCE CARRIED OUT
58 | 14.03.2018 | SRD | 43173.4326 | 43173.6875 | 6:07 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK-1A-REHAGAR PURA | 561 | PREVENTIVE MAINTENANCE CARRIED OUT
59 | 14.03.2018 | VSE | 43173.4514 | 43173.5952 | 3:27 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A & B-VASUNDHARA ENCLAVE | 105 | PREVENTIVE MAINTENANCE CARRIED OUT
60 | 14.03.2018 | VSE | 43173.628 | 43173.6927 | 1:33 | DISTRIBUTION TR. | OIL LEAKAGE FROM TRANSFORMER | TRANSFORMER REPLACED | BLOCK C5-NEW ASHOK NAGAR | 1188
61 | 14.03.2018 | YVR | 43173.4278 | 43173.5592 | 3:09 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHAUHAN BANGAR-JAFFRABAD | 388 | PREVENTIVE MAINTENANCE CARRIED OUT
62 | 14.03.2018 | YVR | 43173.4389 | 43173.5374 | 2:22 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-GHONDA PATTI | 1242 | PREVENTIVE MAINTENANCE CARRIED OUT
63 | 14.03.2018 | YVR | 43173.4472 | 43173.5668 | 2:52 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-GARI MANDU | 1667 | PREVENTIVE MAINTENANCE CARRIED OUT
64 | 14.03.2018 | YVR | 43173.4627 | 43173.5228 | 1:27 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT POLE DAMAGED | LT POLE REPAIRED | BLOCK E-INDIRA VIHAR | 2659
65 | 14.03.2018 | YVR | 43173.4926 | 43173.5377 | 1:05 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT SOCKET FAULTY SAME REPLACED | ADARSH MOHALLA-MAUJPUR | 1120
66 | 14.03.2018 | YVR | 43173.509 | 43173.6933 | 4:25 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHAUHAN BANGAR-JAFFRABAD | 1128 | PREVENTIVE MAINTENANCE CARRIED OUT
67 | 14.03.2018 | YVR | 43173.509 | 43173.6929 | 4:25 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHAUHAN BANGAR-GALI NO-10 | 3758 | PREVENTIVE MAINTENANCE CARRIED OUT
68 | 14.03.2018 | YVR | 43173.5632 | 43173.6936 | 3:08 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | GHONDA PATTI CHAUHAN | 1274 | PREVENTIVE MAINTENANCE CARRIED OUT
69 | 14.03.2018 | YVR | 43173.575 | 43173.6941 | 2:51 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | NAYAGAON-NEW KATWARA | 5779 | PREVENTIVE MAINTENANCE CARRIED OUT
70 | 14.03.2018 | YVR | 43173.6319 | 43173.6944 | 1:30 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT SOCKET FAULTY SAME REPLACED | BLOCK F-NEW SILAMPURI PHASE II | 86
71 | 14.03.2018 | YVR | 43173.6361 | 43173.6948 | 1:25 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHAUHAN BANGAR-JAFFRABAD | 209