## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 15.03.2018 TO 06:00 HRS OF 16.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 15.03.2018 | CCK | 43174.4396 | 43174.5128 | 1:45 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ZEENAT BARI-MORI GATE | 898
2 | 15.03.2018 | CCK | 43174.4753 | 43174.5358 | 1:27 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FLASH ON POLE | DAMAGED SERVICE LINE REPAIRED | NAYA BAZAR-CHANDNI CHOWK | 636
3 | 15.03.2018 | CCK | 43174.478 | 43174.5591 | 1:57 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | NAI SARAK-JOGIWARA | 710
4 | 15.03.2018 | CCK | 43174.5895 | 43174.6706 | 1:57 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FLASH ON POLE | DAMAGED SERVICE LINE REPAIRED | BLOCK T-NAYA BAZAR | 636
5 | 15.03.2018 | DGN | 43174.441 | 43174.5475 | 2:33 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SHIVAJI PARK-BALBIR NAGAR | 847 | PREVENTIVE MAINTENANCE CARRIED OUT
6 | 15.03.2018 | DGN | 43174.4413 | 43174.5201 | 1:54 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT JUMPER FOUND LOOSE SAME ATTENDED | BLOCK F-OLD SEEMAPURI | 160
7 | 15.03.2018 | DRG | 43174.4688 | 43174.5411 | 1:44 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MCD CAR PARKING DRG | 844
8 | 15.03.2018 | JLM | 43174.4271 | 43174.4786 | 1:14 | HT SYSTEM FAULT | TRIPPING | TRANSIENT FAULT | NEW VISWAS NAGAR-SHAHDARA | 1436
9 | 15.03.2018 | JLM | 43174.4306 | 43174.492 | 1:28 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-JHILMIL COLONY | 96
10 | 15.03.2018 | JLM | 43174.4931 | 43174.5948 | 2:27 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JAWALA NAGAR-SHAHDARA | 331 | PREVENTIVE MAINTENANCE CARRIED OUT
11 | 15.03.2018 | JLM | 43174.5174 | 43174.6128 | 2:17 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JEEVAN BIMA APPT. JHILMILL | 77 | PREVENTIVE MAINTENANCE CARRIED OUT
12 | 15.03.2018 | JLM | 43174.5208 | 43174.6451 | 2:59 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | DAYA NAND VIHAR-ANAND VIHAR | 18 | PREVENTIVE MAINTENANCE CARRIED OUT
13 | 15.03.2018 | KRN | 43174.4236 | 43174.5323 | 2:36 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | RASHID MARKET-JAGATPURI | 955 | PREVENTIVE MAINTENANCE CARRIED OUT
14 | 15.03.2018 | KRN | 43174.5132 | 43174.6564 | 3:26 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 10-GANDHI NAGAR | 747 | PREVENTIVE MAINTENANCE CARRIED OUT
15 | 15.03.2018 | KWN | 43174.4146 | 43174.5685 | 3:42 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-BHAGIRATHI VIHAR | 1271 | PREVENTIVE MAINTENANCE CARRIED OUT
16 | 15.03.2018 | KWN | 43174.4306 | 43174.7002 | 6:28 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK P-SHIV VIHAR | 1664 | PREVENTIVE MAINTENANCE CARRIED OUT
17 | 15.03.2018 | KWN | 43174.477 | 43174.5549 | 1:52 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | BLOCK B-NEW CHAUHAN PUR | 86
18 | 15.03.2018 | KWN | 43174.4778 | 43174.5403 | 1:30 | HVDS CABLE & OTHER SYSTEM | HVDS LEAD FAULTY | HVDS LEAD REPAIRED | TUKMEERPUR VILLAGE | 1887
19 | 15.03.2018 | KWN | 43174.4841 | 43174.5535 | 1:40 | HVDS CABLE & OTHER SYSTEM | HVDS CABLE FAULTY | HVDS CABLE REPAIRED | LIG/MIG DDA FLATS-SONIA VIHAR | 86
20 | 15.03.2018 | KWN | 43174.5278 | 43174.5972 | 1:40 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | C-BLOCK 3RD PUSTA SONIA VIHAR | 432
21 | 15.03.2018 | LNR | 43174.4688 | 43174.5695 | 2:25 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | NAVA KUNJ APARTMENT-MOTHER | 126 | PREVENTIVE MAINTENANCE CARRIED OUT
22 | 15.03.2018 | LNR | 43174.4806 | 43174.735 | 6:06 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK F-LALITA PARK | 173 | PREVENTIVE MAINTENANCE CARRIED OUT
23 | 15.03.2018 | LNR | 43174.5317 | 43174.6094 | 1:52 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB FAULTY SAME REPAIRED | BLOCK J-PANDAV NAGAR | 915
24 | 15.03.2018 | LNR | 43174.5708 | 43174.6766 | 2:32 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | NAVA KUNJ APARTMENT-MOTHER DAIRY | 110 | PREVENTIVE MAINTENANCE CARRIED OUT
25 | 15.03.2018 | MVR | 43174.4694 | 43174.5806 | 2:40 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | TRILOKPURI PHASE I-MAYUR VIHAR | 5230 | PREVENTIVE MAINTENANCE CARRIED OUT
26 | 15.03.2018 | MVR | 43174.4792 | 43174.6287 | 3:35 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KHICHRI PUR-PHASE II | 582 | PREVENTIVE MAINTENANCE CARRIED OUT
27 | 15.03.2018 | MVR | 43174.4826 | 43174.6619 | 4:18 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | HIMMAT PURI-CHILLA VILLAGE | 338 | PREVENTIVE MAINTENANCE CARRIED OUT
28 | 15.03.2018 | NNG | 43174.4278 | 43174.5607 | 3:11 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JANTA FLATS NNG | 2041 | PREVENTIVE MAINTENANCE CARRIED OUT
29 | 15.03.2018 | NNG | 43174.4292 | 43174.6902 | 6:16 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-ANUP VIHAR | 216 | PREVENTIVE MAINTENANCE CARRIED OUT
30 | 15.03.2018 | NNG | 43174.4803 | 43174.5588 | 1:53 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK D-MANDOLI EXTENSION | 173
31 | 15.03.2018 | NNG | 43174.4856 | 43174.5437 | 1:24 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT SOCKET BURNT SAME REPLACED | BLOCK B-DURGA PURI | 13218
32 | 15.03.2018 | NNG | 43174.5721 | 43174.6457 | 1:46 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | VILLAGE SABOLI-SABOLI COLONY | 124
33 | 15.03.2018 | NNG | 43174.6661 | 43174.7358 | 1:40 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | TRANSFORMER FUSE BLOWN SAME REPLACED | PKT B-CHITTARKOOT | 6422
34 | 15.03.2018 | PHG | 43174.441 | 43174.668 | 5:27 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | FYAZ GANJ-NAWAB GANJ | 2682 | PREVENTIVE MAINTENANCE CARRIED OUT
35 | 15.03.2018 | PNR | 43174.4326 | 43174.6258 | 4:38 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | RAJENDRA BHAWAN-RAJENDRA PLACE | 155 | PREVENTIVE MAINTENANCE CARRIED OUT
36 | 15.03.2018 | PNR | 43174.4792 | 43174.606 | 3:03 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK T-BALJIT NAGAR | 287 | PREVENTIVE MAINTENANCE CARRIED OUT
37 | 15.03.2018 | PNR | 43174.4792 | 43174.6057 | 3:02 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SHADIPUR DEPOT-BALJIT NAGAR | 17 | PREVENTIVE MAINTENANCE CARRIED OUT
38 | 15.03.2018 | PNR | 43174.4792 | 43174.6053 | 3:02 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK O-WEST PATEL NAGAR | 88 | PREVENTIVE MAINTENANCE CARRIED OUT
39 | 15.03.2018 | PNR | 43174.5208 | 43174.6049 | 2:01 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK V-WEST PATEL NAGAR | 13 | PREVENTIVE MAINTENANCE CARRIED OUT
40 | 15.03.2018 | PNR | 43174.5889 | 43174.6688 | 1:55 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT JUMPER FOUND LOOSE SAME ATTENDED | THAKKAR BAPA NAGAR-BLOCK 16 PNR | 1563
41 | 15.03.2018 | SRD | 43174.4458 | 43174.5684 | 2:56 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK-46-BEADON PURA | 980 | PREVENTIVE MAINTENANCE CARRIED OUT
42 | 15.03.2018 | VSE | 43174.5278 | 43174.6478 | 2:53 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CAPITAL APPARTMENT-VASUNDHARA ENCLAVE | 150 | PREVENTIVE MAINTENANCE CARRIED OUT
43 | 15.03.2018 | VSE | 43174.8946 | 43174.9838 | 2:08 | LT FEEDER | TO ATTEND FAULT IN THE LINE | SERVICE CABLE FAULTY SAME REPAIRED | DALLU PURA-VASUNDHARA ENCLAVE | 35 | SERVICE CABLE FAULTY SAME REPAIRED
44 | 15.03.2018 | YVR | 43174.4278 | 43174.6634 | 5:39 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MCD COLONY-NEW KATWARA | 86 | PREVENTIVE MAINTENANCE CARRIED OUT
45 | 15.03.2018 | YVR | 43174.4424 | 43174.5972 | 3:43 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | NAYAGAON-NEW KATWARA | 958 | PREVENTIVE MAINTENANCE CARRIED OUT
46 | 15.03.2018 | YVR | 43174.45 | 43174.5982 | 3:33 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-SHASTRI PARK | 86 | PREVENTIVE MAINTENANCE CARRIED OUT
47 | 15.03.2018 | YVR | 43174.4583 | 43174.5342 | 1:49 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT SOCKET BURNT SAME REPLACED | JAFFRABAD-MAUJ PUR | 857
48 | 15.03.2018 | YVR | 43174.4604 | 43174.6346 | 4:11 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK G-SEELAMPUR COLONY | 1260 | PREVENTIVE MAINTENANCE CARRIED OUT
49 | 15.03.2018 | YVR | 43174.4681 | 43174.6688 | 4:49 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | YAMUNA VIHAR YAMUNA FLOOD PLAINS | 139 | PREVENTIVE MAINTENANCE CARRIED OUT
50 | 15.03.2018 | YVR | 43174.4778 | 43174.6425 | 3:57 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BHAGAT NAGAR-DAYALPUR | 1541 | PREVENTIVE MAINTENANCE CARRIED OUT
51 | 15.03.2018 | YVR | 43174.4821 | 43174.5548 | 1:45 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT SOCKET BURNT SAME REPLACED | BLOCK V-GHONDA PATTI CHAUHAN | 640
52 | 15.03.2018 | YVR | 43174.4903 | 43174.6728 | 4:23 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JANTA COLONY DWARKAPURI | 325 | PREVENTIVE MAINTENANCE CARRIED OUT
53 | 15.03.2018 | YVR | 43174.4938 | 43174.5849 | 2:11 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ZERO PUSTA-USMAN PUR | 2451 | PREVENTIVE MAINTENANCE CARRIED OUT
54 | 15.03.2018 | YVR | 43174.5271 | 43174.5979 | 1:42 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | RELAY FAULTY SAME REPLACED | JJ COLONY-NEW SEELAMPUR PHASE I | 3350
55 | 15.03.2018 | YVR | 43174.5823 | 43174.6613 | 1:54 | HT SYSTEM FAULT | REPLACEMENT OF BURNT PIERCING CONNECTOR | BURNT PIERCING CONNECTOR REPLACED | BLOCK D-MAUJ PUR | 1354
56 | 15.03.2018 | YVR | 43174.609 | 43174.7192 | 2:39 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHAUHAN BANGAR-GALI NO-8 | 1128 | PREVENTIVE MAINTENANCE CARRIED OUT
57 | 15.03.2018 | YVR | 43174.6875 | 43174.7431 | 1:20 | HT SYSTEM FAULT | TRIPPING | HT CABLE SOCKET DAMAGED SAME REPLACED | BLOCK T-GAUTAM PURI | 5893