## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 01/03/2018 06:00Hr. To 02/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 01/03/2018 | KPR | 06:23 | 07:34 | 01:11 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR KHANPUR (KHATTA WALA) , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : TRF-1 SHUTTER WALI GALI:PL | 149
2 | 01/03/2018 | KPR | 06:25 | 07:35 | 01:09 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR A-BLOCK RAJU PARK , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : TRF-1 C-1, RAJU PARK:ID | 115
3 | 01/03/2018 | SVR | 09:22 | 12:00 | 2:38 | HT SYSTEM FAULT | Grid:LAJPAT NAGAR-III (33/11kV) GRID SSTN To Feeder: NURSING HOSTEL S.N PURI , : NO FAULT FOUND | RESTORED/ REPAIRED | Part of : NURSING STAFF QUARTER:HTC, PETROL PUMP SNP:HTC | 2
4 | 01/03/2018 | SVR | 09:52 | 11:34 | 01:41 | HT SYSTEM FAULT | Grid:33kV KILOKARI GRID SSTN To Feeder:(400737)->11 kV FDR SRINIWAS PURI MAIN S/STN , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : TRF-2 H-BLOCK S.N PURI,TRF-2 S.N PURI MAIN,TRF-1 H-BLOCK S.N PURI,TRF-1 S.N PURI MAIN | 612
5 | 01/03/2018 | ALN | 10:00 | 13:06 | 03:06 | PLANNED SHUTDOWN | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR E-BLOCK G.K-2 COMP. CENTER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 SAVITRI CINEMA:ID | 108
6 | 01/03/2018 | RKP | 10:00 | 13:18 | 03:18 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR B-BLOCK, VASANT MARG COMPLAINT CENTER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 VASANT VIHAR COMPLAINT CENTRE: ID, TRF-1 VASANT VIHAR COMPLAINT CENTRE: ID, | 222
7 | 01/03/2018 | JFR | 10:10 | 16:00 | 05:50 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV JAFFARPUR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 2*630+2*400 KVA TRF. JAFFERPUR | 405
8 | 01/03/2018 | NZD | 10:37 | 13:34 | 02:57 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11 kV FDR I-BLOCK,LAJPAT NAGAR-1, FEEDER-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 I-BLOCK LAJPAT NAGAR-1: K, TRF-2 I-BLOCK LAJPAT NAGAR-1: | 270
9 | 01/03/2018 | VKJ | 10:43 | 11:55 | 01:11 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY-2 , LT ACB:LEAD REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 MAHAJAN FARM-2 RANGPURI | 106
10 | 01/03/2018 | VKP | 10:45 | 11:59 | 01:13 | HT SYSTEM FAULT | Grid:BODELLA-I GRID SSTN To Feeder: HIMGIRI APPARTMENT LIONS , : 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 2*630 KVA HIMGIRI LIONS, 2*630 KVA J BLK, VIKASPURI, 2*630 KVA & 400 KVA JG1, JG-2 APPT, 630 KVA GG-1 APPT, 2*400 KVA KESHOPUR VILLAGE | 836
11 | 01/03/2018 | NJF | 10:45 | 14:40 | 03:55 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR KAKROLA FEEDER , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400TRF-1:NS BLK ,400 TRF1: SAINIK ENCLAVE MAKSUDABAD,25 TRF-1: DELHI JAL BOARD NEAR RANA BABA MANDIR,25 TRF-1:ST LTG MATA MANDIR NANGLI,CAPITAL TYAGI FARM,100 TRF-1:RAGHUBIR BOHARA VLG NANGLI,DIVYANSHU FACTORY,400 TRF:- RANAJI ENCLAVE, | 368
12 | 01/03/2018 | HKS | 10:46 | 12:40 | 01:54 | LT FEEDER | Grid:33 kV SHIVALIK GRID To Feeder:11 kV FDR C-1 TIKONA PARK SDA , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 C-1, TIKONA PARK,SDA: ID | 104
13 | 01/03/2018 | MDK | 10:48 | 12:03 | 01:15 | LT FEEDER | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR INDIAN OIL , LT POLE,:POLE BROKEN DUE TO STRUCK BY VEHICLE, | RESTORED/ REPAIRED | Part of : 100TRF-1:FRIENDS ENCLAVE RAILWAY CLY MUNDKA | 16
14 | 01/03/2018 | JFR | 10:48 | 16:12 | 05:24 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV RMU IN SIDE GRID , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 2*630+2*400 KVA TRF. MUNDEKA KALAN, | 435
15 | 01/03/2018 | TGN | 10:55 | 12:27 | 01:31 | LT FEEDER | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR RMU IN GRID (INTERCONNECTOR) , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : 990 TRF-1 :A-6 SSTN, VISHAL ENCLAVE | 185
16 | 01/03/2018 | JKP | 11:00 | 13:42 | 02:42 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR COMMUNITY CENTER JANAKPURI , 11KV FEEDER:REPAIR OF RMU | RESTORED/ REPAIRED | Part of : 630 TRF-1 :COMMUNITY CENTRE SSTN-I, JANAKPURI, | 193
17 | 01/03/2018 | SKT | 11:00 | 13:05 | 02:05 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR SATABARI , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : 100 KVA TRF. CHANDANHULA VILLAGE_2, | 8
18 | 01/03/2018 | ALN | 11:00 | 13:06 | 02:06 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR O/G S/S NO.-12, PHASE-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 S/S NEAR B-311 OKHLA PH- 1:PL | 54
19 | 01/03/2018 | SKT | 11:00 | 13:55 | 02:55 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR DLF GATE NO.-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 NEAR PAHWA FARM SATBARI:PM, TRF-1 B 9A ANSAL, VILLAGE SATBARI,TRF-1 C 10, ANSAL VILLA SATBARI,TRF-1 B-1 FARM ASOLA, TRF-1 BABA HARBANS SATBARI:PL, TRF-1 MAN SINGH GAUSHALA:PM, TRF-1 FARM NO 9 B, ANSAL SATBARI, TRF-1 MAN SINGH GAUSHALA:PM, TRF-1 VARUN FARM-GOSHALA ROAD, TRF-1 C-8 ANSAL SATBARI;PM, TRF-1 TANIA FARM:PM, TRF-1 F-10 ANSAL KHULLAR FARM, TRF-1 B-3 ANSAL VILLA, TRF-1 ANSAL SATBARI A-6, TRF-1 A-12 ANSAL SATBARI:PL, TRF-1 A 18 - ANSAL VILLA, SATBARIA,TRF-1 C 11, ANSAL VILLA, TRF-1 MAN SINGH GAUSHALA:PM, TRF-1 C-2 ANAND FARM ANSAL VILLA, TRF-1 F-10 ANSAL KHULLAR FARM, TRF-1 C-2 ANAND FARM ANSAL VILLA, | 277
20 | 01/03/2018 | PLM | 11:00 | 14:54 | 03:54 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:PALAM CHOWK+DURGA PARK GALI NO -04 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990 TRF-2:PALAM CHOCK, 990 TRF-1: PURAN NAGAR, 630 TRF-1: PALAM CHOCK,Durga park gali no.-4, 630 TRF-2:Durga Park Gali no.4 S/s, 630 TRF-3:Durga Park Gali no.4 S/s | 350
21 | 01/03/2018 | KPR | 11:00 | 14:04 | 03:04 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR INSTITUTIONAL AREA NO-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 INSTITUTIONAL AREA:ID, TRF-1 INSTITUTIONAL AREA:ID, | 212
22 | 01/03/2018 | DWK | 11:00 | 13:32 | 02:32 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR KRISHNA RESIDENCY , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 630 TRF-1:ROYAL GRD APP, 630 TRF-2:ROYAL GRD APP, | 316
23 | 01/03/2018 | NGL | 11:00 | 14:43 | 03:43 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR LAXMI PARK , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630 TRF-2:laxmi park sstn-3,630 TRF-1: CAMP NO-4 ,C-BLK, S/STN-5,990 TRF-3:NE-BLK VISHNU GDN PLM,630 TRF-2 LAXMI PARK NO-2 I/D,630TRF-:LAXMI PARK S/STN-3,630 TRF-1 LAXMI PARK NO-2 I/D,100 TRF-1 DAIMA HOSPITAL NIHAL VIHAR, | 394
24 | 01/03/2018 | SKT | 11:00 | 13:05 | 02:05 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR I.I.P.M NO.-1 , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : TRF-1 GAUR STN DERA MANDI:PL | 276
25 | 01/03/2018 | DWK | 11:00 | 13:31 | 02:31 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR KRISHNA RESIDENCY , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 630 TRF-2,SEC-18A PL-3 CHINAR CGHS SS I/D, | 213
26 | 01/03/2018 | SKT | 11:00 | 13:55 | 02:55 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:DERA BHATI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 KVA TRF. KIDS KRAZE-2,SATBARI VILLAGE_1, | 7
27 | 01/03/2018 | SKT | 11:00 | 13:54 | 02:54 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:ANDHERIA BAGH-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 MAYA FARM SATBARI | 197
28 | 01/03/2018 | SVR | 11:00 | 14:51 | 03:51 | PLANNED SHUTDOWN | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR MDRASI COLONY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 E&F BLK MADRSI COLONY | 141
29 | 01/03/2018 | VKJ | 11:13 | 13:07 | 01:54 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR NAVAL KAPASHERA , RMU:GAS REFILLING | RESTORED/ REPAIRED | Part of : TRF-1 KHURANA P/M, TRF-1 NAVAL1, TRF-1 GHEHLOT(PALAM FARM-43 &44), TRF-1 HARDUTT BIJWASAN-2, TRF-1 MEET MARKET(R.RD.KAPASHERA), TRF-1 D.C OFFICE KAPASHERA, TRF-1 CHETAK LTD.,KAPASHERA, TRF-1 JAGADISH KAPASHERA BORDER, TRF-1 SELAHPUR S/S PLM, TRF-1 HARIJAN BASTI CHOPAL, TRF-1 SINDHIYA WALA, TRF-1 CHANDGI KAPASHERA, TRF-1 RAM DHAN BIJWASAN; TRF-1 SHIV MANDIR KAPASHERA, TRF-1 CHANDGI BIJWASAN | 215
30 | 01/03/2018 | MDK | 11:18 | 13:13 | 01:55 | EMERGENCY SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RANHOLA , TRANSFORMER:SERVICE LINE REVAMPING | RESTORED/ REPAIRED | Part of : 400TRF-1:DADA BHAI MARG RANHOLLA, | 92
31 | 01/03/2018 | JFR | 11:20 | 16:01 | 04:41 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV GOPAL NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 2*630+2*400 KVA TRF. GOPAL NAGAR,PREM NURSERY, GOPALA NAGAR-A BLOCK | 384
32 | 01/03/2018 | SKT | 11:29 | 12:47 | 01:17 | LT FEEDER | Grid:66kV C-DOT GRID To Feeder:11KV FDR MCD PARK CHATTARPUR NO.-1 , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : SANGAM APPARTMENT CHATTARPUR | 77
33 | 01/03/2018 | VKJ | 11:30 | 16:50 | 05:20 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR S/S NO.-6, SECTOR-D-1 (VASANT KUNJ) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 STN-3 SEC-D POCKET-2 VASANT KUNJ | 89
34 | 01/03/2018 | HKS | 11:35 | 14:09 | 02:34 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR PANCHSHEEL CLUB , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 DELHI JAL BOARD PANCHSHEEL | 261
35 | 01/03/2018 | PLM | 11:35 | 14:33 | 02:58 | PLANNED SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:HARIJAN BASTI SITAPURI , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990-TRF1-DABRI NALEWALA:PL, 400 TRF-1: Sitapuri S/stn Harijan Basti, 630 TRF-1: C-Block Sitapuri S/stn, 990 TRF-1:DABRI MORE I/D, 630 TRF-2:DABRI MORE I/D,630 TRF-1:SEETA PURI C BLK, | 425
36 | 01/03/2018 | PLM | 11:40 | 14:58 | 03:18 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR COMMAND TANK-4, SECTOR-20 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1: Seetal Appt.S/s, | 118
37 | 01/03/2018 | SKT | 11:40 | 15:19 | 03:39 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-1 S/S NO.-1 PUSHP VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 STN-1 SEC-3 PUSHAP VIHAR:ID, TRF-1 STN-1 SEC-3 PUSHAP VIHAR | 268
38 | 01/03/2018 | NJF | 11:46 | 13:11 | 01:24 | LT FEEDER | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAPOOR FARM , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : 3PH TR HVDS INDRA PARK, | 71
39 | 01/03/2018 | PLM | 11:50 | 13:33 | 01:43 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:MAHAVEER ENCLEVE D-3 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 100 TRF-1:HORTICULTURE, | 6
40 | 01/03/2018 | TGN | 11:54 | 13:23 | 01:29 | LT FEEDER | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR IND. AREA TILAK NAGAR , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : 990 TRF-1:810 BUS STOP NJF ROAD PL, | 212
41 | 01/03/2018 | SKT | 12:00 | 14:31 | 02:31 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR PURANA AYA NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 KASHYAP AYA NAGAR:PL | 287
42 | 01/03/2018 | SKT | 12:00 | 14:32 | 02:32 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR DLF GATE .-3 (RMU) BEDI JONAPUR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : TRF-1 FAKKAR JONA PUR:PM | 221
43 | 01/03/2018 | JFR | 12:20 | 16:01 | 03:41 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV KHERA DABAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 2*630+2*400 KVA TRF. KHERA DABAR, JAFFERPUR | 443
44 | 01/03/2018 | NJF | 12:24 | 13:37 | 01:13 | LT FEEDER | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NANGLI SHAKRAWATI , LT ACB,:LT ACB FLASH, | RESTORED/ REPAIRED | Part of : KATYAL NANGLI SAKRAWATI VILLAGE | 168
45 | 01/03/2018 | SVR | 12:25 | 13:49 | 01:23 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR I.O.C.L , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 Block A Kanchan Kunj, | 126
46 | 01/03/2018 | JFR | 12:56 | 14:12 | 01:16 | LT FEEDER | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NAJAFGARH THANA , SERVICE LINE,:FIRE IN DB, | RESTORED/ REPAIRED | Part of : 400 TRF-2:B BLOCK GOPAL NAGAR 2 | 42
47 | 01/03/2018 | PLM | 13:27 | 15:00 | 01:33 | HT SYSTEM FAULT | Grid:G-7 SECTOR -9 DWARKA To Feeder: SSTN. NO.-2, SECTOR-7 (PLM.) , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 400 TRF-1:DDA FLATS (JANTA FLAT),630 TRF-1:CITY MALL,400 TRF-1:MIG FLATS , | 496
48 | 01/03/2018 | SVR | 13:56 | 15:28 | 01:32 | HVDS CABLE & OTHER SYSTEM | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder: 11kV FDR SAHEEN BAGH , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 100 KVA S/Stn. SHAHEEN BAGH, 400 KVA SHAHEEN BAGH, 630 KVA G-BLK. SHAHEEN BAGH, 990 KVA THOKER NO.7 SHAHEEN BAGH, 400 KVA METRO YARD, 990 KVA THOKER NO.8 SHAHEEN BAGH, 400 KVA A-80 SHAHEEN BAGH, 100 KVA POLE NO.338 SHAHEEN BAGH, 630 KVA G-BLK MASJID ABUBAKR, 400 KVA UMAR KHITAB MASJID, 100 KVA B-212 ZYADA COLLEGE | 814
49 | 01/03/2018 | SKT | 14:00 | 15:49 | 01:49 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR MODI HOSPITAL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SAKET BLOCK-H:ID, TRF-2 G-BLOCK SAKET, TRF-1 G-BLOCK SAKET, TRF-2 SAKET BLOCK-H | 319
50 | 01/03/2018 | SKT | 14:03 | 15:48 | 01:45 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR ANUPAM APPARTMENT , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SAKET BLOCK-E, 74 PLM, TRF-1 E-BLOCK SAKET, TRF-2 E-BLOCK SAKET | 376
51 | 01/03/2018 | VKP | 14:21 | 15:33 | 01:12 | HT SYSTEM FAULT | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder: 11KV FDR R&S BLOCK CHANAKYA PLACE , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 630 TRF-1: R&S BLK CHANAKYA PLACE, R & S BLK CHANAKYA PLACE:HVDS, BINDAPUR PKT:HVDS | 643
52 | 01/03/2018 | SVR | 14:51 | 16:35 | 01:44 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR MEETHAPUR AGARWAL DHARAM SHALA , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 LAJPAT COLONY I | 102
53 | 01/03/2018 | SVR | 15:03 | 16:30 | 01:26 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR ALI VILLAGE , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 ALI. BARAT GHAR, | 89
54 | 01/03/2018 | HKS | 15:19 | 17:07 | 01:47 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR B-3 JHANDU SINGH MARG , DISTRIBUTION TRANSFORMER,:TRANSFORMER HT BUSHING DAMAGED, | RESTORED/ REPAIRED | Part of : TRF-1 B-2 SDA NR MERRY SCHOOL: PKG | 96
55 | 01/03/2018 | MDK | 16:11 | 17:19 | 01:07 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder: 11kV FDR JAI VIHAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630TRF-1:JAI VIHAR MUNDKA, 100TRF-1:MCD SCHOOL BAPROLLA:PM, 16TRF-1:MAHAVIR PRASAD OPP AKASH VIHAR, 16TRF-1:HANDGI OPP AKASH VIHAR, 25TRF-1:S/S JAI VIHAR , NAJAFGARH ROAD, 630TRF-1-:POLICE ENC, 400TRF-1-:BRAHMPURI SSTN, 630TRF-1:CHANCHEL PARK S/STN NO - 3 | 725
56 | 01/03/2018 | SVR | 17:50 | 19:02 | 01:11 | HT SYSTEM FAULT | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder: 11kV FDR N POCKET S/S NO.-1 SARITA VIHAR , HT CONSUMER,:CONSUMER HT PANEL FLASH, | RESTORED/ REPAIRED | Part of : TRF-1 S/Stn. NO.2 INST. AREA SVR, TRF-1 MADANPUR KHADER HUDDA MOHALLA, TRF-2 MADANPUR KHADER HUDDA MOHALLA, TRF-1 S/Stn.1 PKT. M JANTA FLAT, TRF-2 S/Stn.1 PKT. M JANTA FLAT, TRF-1 S/Stn.1 INST. AREA SVR, MTNL (HT CONSUMER) | 468
57 | 01/03/2018 | TGN | 19:50 | 20:54 | 01:04 | LT FEEDER | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 KV FDR RAM NAGAR EXTENSION , LT ACB,:BUS BAR BURNT, | RESTORED/ REPAIRED | Part of : 630 TRF-1 :SCHOOLWALA SSTN, SANT NAGAR | 108
58 | 01/03/2018 | JKP | 23:10 | 00:24 | 01:13 | HT SYSTEM FAULT | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder: 11KV DDU HOSPITAL , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 400 KVA C-BLK S/Stn. HARI NAGAR, DDU HOSPITAL (HT CONSUMER) | 138
59 | 02/03/2018 | VKJ | 04:05 | 05:44 | 01:39 | HT SYSTEM FAULT | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder: 11 kV FDR S/S NO.-3, D-6 VASANT KUNJ , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 STN-3 SEC-D PKT-6 VASANT KUNJ, TRF-2 STN-4 SEC-D PKT-6 VASANT KUNJ, TRF-2 STN-5 SEC-D PKT-6 VASANT KUNJ, TRF-2 STN-3 SEC-D PKT-6 VASANT KUNJ, TRF-1 STN-5 SEC-D PKT-6 VASANT KUNJ, TRF-1 STN-4 SEC-D PKT-6 VASANT KUNJ | 524