## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 02/03/2018 06:00Hr. To 03/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 02/03/2018 | JKP | 23:05 | 00:54 | 01:48 | HT SYSTEM FAULT | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV 14-BLOCK SUBHASH NAGAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 400 KVA TRF. 14 BLK. SUBASH NAGAR, 2*630 KVA TRF. 15 BLK. SUBASH NAGAR, 990 KVA 10 BLK. SUBASH NAGAR, | 478
2 | 02/03/2018 | JKP | 22:44 | 00:28 | 01:44 | HT SYSTEM FAULT | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV PUMPING STN. SWARG ASHRAM , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 1000 TRF-1 :696 LIG FLATS SSTN, G-8 AREA,R.GDN,1000 TRF-2 :696 LIG FLATS SSTN, G-8 AREA,R.GDN, | 414
3 | 02/03/2018 | VKJ | 17:10 | 18:33 | 01:22 | HT SYSTEM FAULT | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR MANAGALPURI , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 400 KVA RMU AT NBCC KIOSK GITORNI, 630 KVA ASHOK NURSARY MEHRAULI, TRF. 1 NAVEL NEAR ANDHERIA MOTH, TRF.1 FARM NO. 31 SHAKUNTLA, TRF.1 FARM NO. 24 SHAKUNTLA, TRF.1 FARM NO. 19 SHAKUNTLA, 12-B & 14-B SHAKUNTLA FARM, 100 KVA TRF. AT PETROL PUMP, BAKSHI FARM, AHUJA FARM, HERO HONDA SHKUNTLA FARM, ROSEWILLA FARMM, THE ICON 9HT CONSUMER), FORTUNE HOTEL 9HT CONSUMER), | 439
4 | 02/03/2018 | PLM | 15:25 | 16:32 | 01:06 | HT SYSTEM FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:PURAN NAGAR+KAILASHPURI EXTN. , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 400 KVA TRF. PKT-13 S/Stn.2 DWARKA, 630 KVA TRF. PKT-13 S/Stn.1 DDA FLAT, 630 KVA PURANA NAGAR, HVDS: KAILASHPURI EXTN. | 512
5 | 02/03/2018 | PLM | 14:46 | 15:47 | 01:01 | HT SYSTEM FAULT | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:DABRI S/S NO.-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 630 KVA A-3 DURGA PARK, 2*630 KVA GALI No.4 DURGA PARK, 990+630 KVA DABRI MODH INDOR S/Stn., 630 KVA TRF. DABRI PONDWALA, 400 KVA TRF. GALI NO.2 DURGA PARK | 595
6 | 02/03/2018 | JFR | 14:45 | 15:49 | 01:03 | HT SYSTEM FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV PANDWALA , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : GERMAN COLONY G-BLK,GUPTA TENT KHERA,RAMJI LAL VILL KHERA,W/S VILL UJWA KHARKARI RONDH,100 TRF-1:NIADER KHARKHARAI ROND, 100 TRF-1:KHERA VILL TRANSFORMER NO-1,,P/M S/S PREM NGR Z BLK. KASHMIRI COLONYNGEF, 400 TRF-1:PREM NAGAR Z BLK OPP GERMAN COLNY KHAIRA,Vill Kharkhari Nahar SSTN NO 2, 400 TRF1 : D-BLK SANAT KABEER ASHRAM,SANDEEP PANWALA KALAN, 100 TRF-1: W/S NO.2 VILL KHIRA, 100 TRF-1: GOVT PRIMARY SCHOOL VILL KHAIRA BOYS, SHRI KISHAN V KHAIRA, 100 TRF-1:W S(EAST) PANDWALAKALAN, 25 TRF-1: W/S DJB KHARKAHRI NAHAR, 630 TRF-1:VILL KHARKHARI NAHAR,DULI CHAND VILL KHARKRI,RAM SINGH VILL UJWA, 400 TRF-1:VILL KHAR KHARI ROND, | 573
7 | 02/03/2018 | VKJ | 13:41 | 15:04 | 01:23 | HT SYSTEM FAULT | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR S.T.P FEEDER , :11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 DHAIYA KISHAN NEAR HARPREET, TRF-2 DHAIYA KISHAN NEAR HARPREET, TRF-1 JNU ROAD TEK CHAN KISHAN, TRF.1 KISHAN GARH VILLAGE, TRF.1 KISHAN GARH VILLAGE GAUSHALA, TRF-1 S/Stn.1 SEC.A PKT.B&C V. KUNJ, TRF-1 S/Stn.2 SEC.A PKT.B&C V. KUNJ, TRF-2 S/Stn.2 SEC.A PKT.B&C V. KUNJ, CNG SAHAR (HT CUNSUMER), SIRROCCO HOTEL (HT CONSUMER), SEWAG SED PLANT (HT CONSUMER), | 481
8 | 02/03/2018 | DWK | 13:08 | 14:31 | 01:22 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR JAIN COLONY , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 630 TRF-1:SAHYOG VIHAR P/M, 1000 TRF-1:NEW T UTTAM NAGAR, 630 TRF-2:NEW T UTTAM NAGAR, | 486
9 | 02/03/2018 | DWK | 09:39 | 10:51 | 01:11 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR 210 DDA FLATS SEC-3 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1:OM VIHAR EXT.,630 TRF-2: OM VIHAR EXT:ID,TRF-1:MATILA SCHOOL WALA,630 TRF:-1 EWS FLATS PKT-B&C SEC-3 DWR,630 TRF:-1 EWS FLATS PKT-B&C SEC-3 DWR, | 488
10 | 02/03/2018 | SVR | 09:08 | 10:09 | 01:01 | HVDS CABLE & OTHER SYSTEM | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR ALI VILLAGE , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 ALI. BARAT GHAR, TRF-1 ALI VILLAGE BHULAYPRADHAN PL/M, TRF-1 ALI VILLAGE BHULAYPRADHAN PL/M, TRF-1 ALI VILLAGE P/M | 510
11 | 02/03/2018 | PLM | 08:50 | 10:03 | 01:13 | HT SYSTEM FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:RMU NO.-2 , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 100 TRF-1:PUMP SEC 7 PKT-1 PLM, 400 TRF-1:Khari Kuan S/s , 630 TRF-1:Chopal Wala S/s, 630 TRF:-1 RADHA KRISHANA MANDIR | 369
12 | 02/03/2018 | SVR | 12:44 | 14:20 | 01:36 | LT FEEDER | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR LAKHPAT COLONY PART-2 , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 LAKHPAT COLONY-2 | 83
13 | 02/03/2018 | KPR | 15:12 | 16:15 | 01:02 | EMERGENCY SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR SSTN NO.-3, DAKSHINPURI VIA.- BOOSTER PUMP , LT ACB:REPAIRING OF ACB | RESTORED/ REPAIRED | Part of : TRF-2 S/S NO-4, DAKSHIN PURI:K, | 87

## Reasons (hidden)
DISTRIBUTION TR.
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES