## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 03/03/2018 06:00Hr. To 04/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 03/03/2018 | MDK | 09:25 | 10:42 | 01:16 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR KAMRUDDINE NAGAR , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : TRF 1,2,3(1*100 KVA + 2*400 KVA + 1*900 KVA)KAMRUDDIN NAGAR | 604
2 | 03/03/2018 | SKT | 10:00 | 13:26 | 03:26 | PLANNED SHUTDOWN | Grid:33kV PUSHP VIHAR GRID To Feeder:11kV FDR O/G S/S NO.-6 SAIKH SARAI PHASE-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 STN-5 SHEIKH SARAI PHASE-2:ID, SHEIKH SARAI PHASE-2:ID, | 258
3 | 03/03/2018 | NJF | 10:00 | 14:00 | 04:00 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:JHATIKARA MOUR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100TRF-1:GOVT SCHOOL PAPRAWAT,100 TRF-1:NATHAN PANDWAKAKALAN,25TRF-1,NOT IN EMG,NOT IN EMG,16trf-1,100 TRF-1:CHET RAM PAPRAWAT,100 TRF-1:BHUPAN JHATIKRA ROAD,JAIN PLY WOOD FACTORY PAPRAWAT,JAI PRAKASH TRF SHIKARPUR,100 TRF-1:HARI CHAND PANDWALA KHURD,100 TRF-1:DAULATPUR MORE,100 TRF-1:RAMPHAL JHATIKRA,100 TRF-1:GOPALREWLA KHANPUR,100 TRF-1:KHAZAN SINGH JHATIKRA,25 TRF-1:NO.2 SUSHIL S/SN VILL SHIKARPUR,25 TRF-1:BAKSHI FARM PAPRAWAT,100 TRF-1:DAULAT REWLA KHANPUR,100 TRF-1:RAMANAND PANDWALAKHURD,16 TRF-1:SHER SINGH VLG UJWA,RAM KUMAR VILL JHATIKRA NEAR DRAIN,400 TRF-1:VILL PANDWALA KHURD,KRISHAN S/STN JHATIKRA NEAR DRAIN,25 TRF-1:MANGE RAM TYAGI SHIKAR PUR DAHAR ROAD,UDEY RAJ SIKARPUR,PANDWALA KALA WATER SUPPLY, | 594
4 | 03/03/2018 | ALN | 10:00 | 13:07 | 03:07 | PLANNED SHUTDOWN | Grid:33 kV ALAKNANDA GRID To Feeder:11 kV FDR S-BLOCK-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 S-BLOCK GK-2 I/D (CHANDAN MKT):ID, | 189
5 | 03/03/2018 | JFR | 10:40 | 15:46 | 05:06 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NEW MUNDHELA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRANSFORMER,11/0.433KV 100KVA OIL TYPE, TRANSFORMER,11/0.433KV 100KVA OIL TYPE,TRANSFORMER,11/0.433KV 100KVA OIL TYPE, TRANSFORMER,11/0.433KV 100KVA OIL TYPE,630 TRF-1:VILLAGE MUNDELLA KALAN,25 TRF-1: NIHAL SINGH MUNDELA KHURD,P/M,S/STN,25 TRF-1:PREM CHAND VLG MUNDELLA KHURD,MANOJ VILL MUNDELA KHURD,100 TRF-1:W/SUPPLY VLG KAIR,630 TRF-1:VILLAGE MUNDELLA KHURD,25 TRF-2: HARDWARI NO.1 MUNDELA KHURD,25 TRF-1: UMED SINGH MUNDELA KHURD,KARAN SINGH VILL MUNDELA KHURD,100 TRF-1: ST LT FOR MUNDHELA KHURD,100 TRF-1:AOP VILL V MUNDELLA KALAN,STREET LIGHT, DABUR ENCLAVE, NEAR SHANKER DHARAM,400 TRF-2: VILL MUNDELLA KALAN:PM,25 TRF-1:BUDH RAM VILL M. KHURD,25 TRF-1:JAGDISH MUNDHELA KHURD,25 TRF-1:DHARAM SINGH VILL M. KHURD,100 TRF-1:GOVT SR S. SCHOOL VILL MUNDEL,100 TRF-1:RAGHUBIR VLG MUNDELLA KALAN,25 TRF-1: NAFE SINGH MUNDELA KHURD,16 TRF-1:W/SUPPLY DHANSA AT MAIN ROAD,25 TRF-1: DHARAMPAL MUNDELA KHURD,630 TRF-1:VILL MUNDELLA KHURD S/S NO.2,25 TRF-1: HARDEEP VILL M. KHURD,25 TRF-1:BANWARI LAL VILL. M KHURD,SANJEEV -VILL MUNDELA KALANVIJAY ELECTRIC,100 TRF-1:PARTAP VLG MUNDELLA KALAN,100 TRF-1:RAM KISHN VLG MUNDELLA KALAN,100 TRF-1:RAM KISHAN VILL SAMASPUR:PM,100 TRF-1:BHIM SNG VLG MUNDELLA KALAN,100 TRF-1:FATEY SNG VLG MUNDELLA KALAN,MANJU RANA MUNDELA KALAN,100 TRF-1:RATTAN VLG MUNDELLA KHURD,100 TRF-1:JOTE RAM VLG MUNDELLA KALAN,100 TRF-1:ATTAR SNG VLG MUNDELLA KALAN,25 TRF-1:KRISHAN VILL M. KHURD, BADLEY VILL MUNDELA KALAN/ SATISH,JOGINDER VILL-MUNDELA KALAN,NIHAL SINGH MUNDELA KHURD,OMPRAKASH VILL-KAIR,25 TRF-1: BALJEET MUNDELA KHURD, P/M,S/STN,25 TRF-1:W/SPLY MUNDELLA KHURD,25 TRF-1: MER SINGH MUNDELA KHURD,P/M,S/STN,25 TRF-1: PURAN MUNDELA KHURD ,P/M,S/STN.,400 TRF-1:SUBH RAM V MUNDELLA KALAN,HARDWARI NO.2 MUNDELA KHURD,100 TRF: T/WELL S/TN. DICHAON,25 TRF-1:KHAZAN SINGH VILL M. KHURD,NAWAL SINGH MUNDELA KHURD,PRANJAL VILL MUNDELA KALAN,16 TRF-1:J P FARM NR REWTA MODE, | 762
6 | 03/03/2018 | JFR | 10:44 | 11:56 | 01:11 | HT SYSTEM FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV RTRM HOSPITAL , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 100 TRF-1:SHIS RAM MUNDELLA KALAN,100 TRF-1:SHIS RAM MUNDELLA KALAN,100 TRF-1:SHIS RAM MUNDELLA KALAN,100 TRF-1:SHIS RAM MUNDELLA KALAN,630 TRF-1: JAFFARPUR POLICE STATION,630 TRF-2: JAFFARPUR POLICE STATION,100 TRF-1:JAI RAM VLG UJWA,100 TRF-1:MAN SINGH VLG UJWA,400 TRF-1:RAO TULA RAM HOSPITAL 2, OM PRAKASH VILL UJWA,100 TRF-1:AYURVEDIC HOSPKHAIRA DABAR, | 634
7 | 03/03/2018 | JFR | 10:50 | 15:46 | 04:56 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV DHANSA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:SULTAN VLG ISSAPUR,100 TRF-1:CHANDER VLG DHANSA,400 TRF-1:S/S NO 1 VILL DHANSA:PM,100 TRF-1:STN VLG DHANSA,100 TRF-1:SUBE SINGH VLG DHANSA,25 TRF-1: BALWANT VILL ISSAPUR,100 TRF-1:RATTAN VLG DHANSA,630 TRF-1:VILLAGE DHANSA 2,100 TRF-1:DULE VLG DHANSA,25 TRF-1:VASHIT FARM GOPAL NGR,16 TRF-1:MAHIMA FARM PANDWALA KHURD,630 TRF-1:VILL DHANSA S/S NO 1:PM,RAI SINGH,100 TRF-1:RISHAL VLG SAMASPUR,100 TRF-1:M I D VILL DHANSA BORDER:PM,100 TRF-1:JAGE VILLAGE DHANSA,100 TRF-1:SHIV SHANKAR VLG DHANSA,S/S:SANDEEP,ISSAPUR,BSES ISSAPUR,16 TRF-1:PREM WATI VLG DHANSA,100 TRF-1:BALDEVA VLG ISSAPUR,100 TRF-1:DAMODAR VLG DHANSA,100 TRF-:W SKANGENHERI,25 TRF-1: KHUBI RAM VILL- ISSAPUR,TARA CHAND ISSAPUR,400 TRF-1:VILL ISSAPURS/S NO 4:PM,GOVT BOYS SR SEC SCHOOL-ISSAPURIACL,100 TRF-1:CHANDERBHAN VILL ISSAPUR:PM,100 TRF-1:HARPAL VLG KAZIPUR,25 TRF-1:S/S RANDHIR -ISSAPURP/M,25 TRF-1:JILAY SINGH VILL KAZIPUR,UDAYBHAN VILL ISSAPUR,100 TRF-1:STN 3 VLG DHANSA,100 TRF-:CHEHEL VILL DHANSA:PM,SHER SINGH VILL DHANSA:PM,100 TRF-1:BAKHTAWAR VLG DHANSA,RANDHIR VILL DHANSA,100 TRF-1:RAM CHANDER V KAZIPUR,100 TRF-1:RAMPAT VLG SAMASPUR,25 TRF-1:S/S BALJEET -ISSAPURP/M,100 TRF-1:PIARE LAL VLG DHANSA,100 TRF-1:SATPAL VILLAGE DHANSA,100 TRF-1:MTNL VILL DHANSA,630 TRF-1:VILLAGE ISSAPUR 1,400 TRF-1:VILLAGE DHANSA 3,16 TRF-1:RAN VIR SINGH VLG DHANSA,ST.LT MUNDLAN KALAN,SHANI MANDRKANOHAR,100 TRF-1:RAMSAWROOP VLG DHANSA, | 689
8 | 03/03/2018 | JFR | 10:50 | 15:39 | 04:49 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV CRPF FEEDER , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF:MEHER RAM ,MANGAT VILL-MITRAON,100 TRF:- SHANTI PETROL PUMP VIL MITRA,400 TRF-1:N-BLOCK GOPAL NAGAR,FATAH VILL MITRAON,400 TRF-2:GOPAL NAGAR P BLOCK,100 TRF-1:MADHAV FUEL VILL MITRAON,400 TRF-1:NX-BLOCK GOPAL NAGAR,400 TRF-1:GOPAL NAGAR PR BLOCK, | 425
9 | 03/03/2018 | PLM | 11:00 | 13:24 | 02:24 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:DWARKA PURI , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630 TRF-2:DWARKA PURI S/S,100 TRF-1:BARAAT GHAR (M.C.D Offices),630 TRF-2: TAMIL ENCL S/S,990 TRF-1:DWARKA PURI S/S,630 TRF-1:TAMIL ENCL S/S,990 TRF-1:DABRI MORE I/D,630 TRF-2:DABRI MORE I/D, | 659
10 | 03/03/2018 | SKT | 11:00 | 15:22 | 04:22 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR I.I.P.M NO.-1 , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : MP NO-2 DERA MANDI, | 134
11 | 03/03/2018 | HKS | 11:00 | 13:55 | 02:55 | PLANNED SHUTDOWN | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR C-7 PANCH SHEEL PARK (RMU) NEAR FLY OVER CHIRAG DELHI , TRANSFORMER:TO REPLACE OIL SEAL | RESTORED/ REPAIRED | Part of : TRF-2 SADIQUE NGR S/STN-2, SEC-2: ID, | 204
12 | 03/03/2018 | SVR | 11:00 | 15:41 | 04:41 | PLANNED SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11 kV FDR ZAKIR NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 ZAKIR NAGAR | 245
13 | 03/03/2018 | DWK | 11:00 | 14:42 | 03:42 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR 210 DDA FLATS SEC-3 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:OM VIHAR EXT., | 287
14 | 03/03/2018 | ALN | 11:00 | 14:00 | 03:00 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-8, OKHLA PHASE-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 C-112 OKH PH- 1, | 43
15 | 03/03/2018 | JKP | 11:05 | 15:14 | 04:09 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV FATEH NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1 :ASHA PARK SSTN NO.-1, HARI NAGAR, | 119
16 | 03/03/2018 | JKP | 11:08 | 15:16 | 04:08 | PLANNED SHUTDOWN | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV DISTRICT SERVICE CENTRE JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990.TRF-1 :JANTA FLATS SSTN, POSANGI PUR, JKP, | 327
17 | 03/03/2018 | JKP | 11:09 | 15:16 | 04:07 | PLANNED SHUTDOWN | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV PLOT NO.-7A, D.C JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : HT CONSUMER | 1
18 | 03/03/2018 | PLM | 11:10 | 14:01 | 02:51 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR COMMAND TANK-4, SECTOR-20 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF 1 :MAHAJAN SHREE, PLOT-13, SEC 23, DWK:ID, | 269
19 | 03/03/2018 | PLM | 11:10 | 14:01 | 02:51 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-9, POKET-1 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 100 TRF--1:Dwarika Sec-9,Petrol Pump,630 TRF-1:Munirika Sec-7,400 TRF-1:Sunview,METER NO. NOT IN EMG,630 TRF-1:DDA Flat S/S-1Sec-9 PKT-II,630 TRF-2:Munirika Sec-7,400 TRF-1: S/S No.-2 Pkt-I,400 TRF-2:Sunview,630 TRF-2:DDA Flat S/Stn-1 Pocket-II,630 TRF-2:Park Royal App S/s ,400 TRF-2:Azad Hind App S/stn,400 TRF-1: S/S No.3 PKT-1 DDA,400 TRF-1:DDA Pkt-I S/Stn -I Sec-9,400 TRF-1:DDA PKT-II S/S No.-3,630 TRF-1:Park Royal App S/s,400 TRF-1:Azad Hind App S/stn,630 TRF-1:DDA Flat S/Stn-2 Sec-9,630 TRF-2:DDA PKT-II S/S No.-3,630 TRF-2:SEC. 9 PKT 1SS1:ID,HOME LEVING PLOT NO-14, SEC-9,SEC. 9 PKT 1SS2:ID,HOME LEVING PLOT NO-14, SEC-9,630 TRF-2:SEC. 9 PKT 1SS3:ID, | 682
20 | 03/03/2018 | NGL | 11:20 | 14:37 | 03:17 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR SHIV RAM PARK , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400TRF-1:SHIV RAM PARK HANUMAN MANDIR:PL,990 TRF-1:Shiv Ram Park E-Block S/S-3,630 TRF-1:Shiv Ram Park No-1 S/S NGI, | 523
21 | 03/03/2018 | SKT | 11:30 | 15:25 | 03:55 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SPORTS COMPLEX SAKET , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 OPPOSITE BANERJEE HOSP. SAIDULAJAB, | 190
22 | 03/03/2018 | NJF | 11:37 | 12:38 | 01:01 | LT FEEDER | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR ANAJ MANDI , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : AJEET SINGH BHOLA RAM DICHAON KALA, | 114
23 | 03/03/2018 | PLM | 11:40 | 14:23 | 02:43 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PERIPHERAL-2 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF-2: L- BLOCK Vijay Enclave S/stn,400 TRF-1: Vijay Enclave M-Block S/stn,400 TRF-1: C-2 Block Mahavir Encl. Sec-1,400 TRF-1:L- BLOCK Vijay Enclave S/stn,990 TRF-1:VIJAY ENCLAVE G-BLOCK SSTN, | 532
24 | 03/03/2018 | VKJ | 11:42 | 12:46 | 01:03 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:(400566)->11 kV FDR INTERCONNECTOTR NO.-1 (KAPASHERA) , TRANSFORMER:LEAD REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 JHUGGIWALA SAMALKA, | 262
25 | 03/03/2018 | VKP | 11:53 | 13:43 | 01:49 | EMERGENCY SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:>PANKHA ROAD_11kV_CB_UTTAM NAGAR , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : 990 TRF-2:OM VIHAR SHAMSAAN, | 378
26 | 03/03/2018 | DWK | 11:55 | 12:55 | 01:00 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MATIYALA , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 630 TRF-1:SAHYOG VIHAR P/M,990 TRF-1:MATILA CHOUPAL,CHOUPAL MATIALA SS PL/M , | 345
27 | 03/03/2018 | DWK | 12:02 | 13:19 | 01:17 | HT SYSTEM FAULT | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR KAKROLA VILLAGE , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 750 TRF-1:,CRPF SSTN -2,630 TRF-1:,CRPF SSTN -2,KAKROLA S/ST-3 MANDIRWALA,25 TRF-:DJB T/W S/S NEAR KAKROLA DRAIN,KAKROLA VILLAGE DJB PUMPING STATION,400 TRF:2SEC-16B PKT-2 CRPF S/ST-1,400 TRF:1SEC-16B PKT-2 CRPF S/ST-1,630 TRF:1 KAKROLA S/ST-4 DALALWALA,16 TRF:DJB T/W S/S HARIJAN BASTI KAKROLA,630 TRF-1:KAKROLA S/STN 2, | 569
28 | 03/03/2018 | NJF | 12:03 | 16:00 | 03:57 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR HANUMAN CHOWK , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 25trf-1:kapoor farm,25TRF-1:MANJEET,100 TRF-1:HUKAM CHAND TAJPUR,400 TRF2: QUTUB VIHAR PHASE-1,NIRMAL DHAM,25 TRF-1:OVER CARE LTD. NEAR NIRMAL DHAM,400 TRF-1:QUTUB VIHAR PHASE-II STN. NO.3,400 TRF1: POORVANCHAL PROPERTIES -16-B/E BLOCK KU,400 TRF-1:QUTUB VIHAR PHASE-II STN. NO.9,400 TRF-1:QUTAB VIHAR STN 2,RMU QUTUB VIHAR PHASE-II STN. NO.7,100 TRF-1:RAJ HANS GAS AGENCY GOELA DAIRY,400 TRF-1:QUTUB VIHAR PH-1 H-B NEAR MAHARISHI ASHRAM,25 TRF-1:WATER SUPPLY NEAR NIRMAL DHAM,CHHAWLA,400 TRF-1:QUTUB VIHAR PHASE-II STN. NO.8,400 TRF1: TAJPUR KHURD S/STN NO-2,25 TRF-1:MTNL GOELA DAIRY,BLK-D QUTUB V. PH2 NR SHAMSAN GHAT,S/S12,400 TRF-1:QUTUB VIHAR PHASE-II STN. NO.1,BLK-H GOELA DAIRY,25 TRF-1: RAJESH GOELA VIHAR,400 TRF-1:-PANKAJ GARDEN QUTUB VIHAR,100TRF-1:NIRMAL DHAM CHHAWLA,TB HOSPITAL GOYLA DAIRY,25 TRF-1:ISHWAR S/STN, QUTUB VIHAR ROAD,25 TRF-:SHOKEEN INT SCHOOL RAJESH VILL C,400 TRF-1:QUTUB VIHAR PHASE-II STN. NO.2,BLK-B,QUTUB V. PH2,NR RAM MANDIR,S/S11,400 TRF-1:QUTUB VIHAR PHASE-II STN. NO.6,25 TRF-1:VINOD SHOKEEN VILL CHHAWLA,400 TRF-1:GOYLA DAIRY,400 TRF1: QUTUB VHAR PH-2 SHAMSHAN GHAT,400 TRF-1:QUTUB VIHAR PHASE-II STN. NO.5, | 728
29 | 03/03/2018 | DWK | 12:10 | 13:47 | 01:36 | HT SYSTEM FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NSIT , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 400TRF-1P.P S/S NO-1 SECTOR-5,630 TRF-1_FIRE STATION (HTC),630 TRF-1_MGMT ALUMNI SEC-5,630 TRF-2:HIMANCHAL APPT,100 TRF-1:PETROL PUMP SEC-2,400 TRF-2: NEELANCHAL APPT.,630 TRF-1_Dhauladhar.App (HTC),630 TRF-1:HIMANCHAL APPT,400 TRF-1:NEELACHAL APPT. SEC-4,400 TRF-1_Jai maa App. (HTC),630 TRF-2: KAILASH APPT. SECT-4 DWARKA,630 TRF-2_MGMT ALUMNI SEC-5,630 TRF-1: KAILASH APPT. SECT-4,630 TRF-2_FIRE STATION (HTC),630 TRF-1:BUS DEPOT SEC-2,16 TRF:DDA PUMP SEC-5 :PM,630 TRF:2 DHAULA DHAR APPTT. PLOT-15 SEC,SEC-05,PERIPHECRAL SS-2, | 678
30 | 03/03/2018 | SVR | 12:15 | 14:03 | 01:47 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR JAITPUR O/H , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : HVDS AREA H BLK KHADDA CLY | 192
31 | 03/03/2018 | VKP | 12:41 | 14:00 | 01:19 | HT SYSTEM FAULT | Grid:BODELLA-I GRID SSTN To Feeder:11 KV FDR KRISHNA PARK , , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 990 TRF-1:SITE-1 PL/M VKP,630TRF-2:AG-1 I/D S/STN NO-1,VKP,630 TRF-1:AG-1 I/D S/STN NO-1,VKP,630 TRF-1:VIKAS KUNJ NO-4 VIKAS PURI,630 TRF-2:NEW KRISHNA PARK I/D,VKP,990 TRF-1:NEW KRISHNA PARK I/D,VKP, | 725
32 | 03/03/2018 | SVR | 12:50 | 14:14 | 01:23 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR SAHEEN BAGH , SERVICE LINE,:U/G SERVICE CABLE FAULT, | RESTORED/ REPAIRED | Part of :HVDS AREA SHAHEEN BAGH | 197
33 | 03/03/2018 | TGN | 13:14 | 14:40 | 01:26 | LT FEEDER | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR RAGHUBIR NAGAR D-BLOCK , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : 630 TRF-1 :D-BLK STOREWALA SSTN, RAGHUBIR NGR, | 263
34 | 03/03/2018 | NZD | 13:20 | 14:35 | 01:14 | HT SYSTEM FAULT | Grid:DEFENCE COLONY (33/11kV) GRID SSTN To Feeder:11kV FDR MOOLCHAND BOOSTER PUMP , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990 KVA boster pump, Consumer Under Moolchand Flyover:HTC, 990 KVA Defence Colony Basement. | 425
35 | 03/03/2018 | SVR | 14:05 | 15:33 | 01:27 | HVDS CABLE & OTHER SYSTEM | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11 kV FDR S/S NO.-1 M.C.I.E , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 1*630 S/ST NO-1 MCIE , 1*630 S/ST NO-3 MCIE | 109
36 | 03/03/2018 | SVR | 14:13 | 15:37 | 01:24 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR 4-POLE POLICE STATION , LT POLE,:POLE DAMAGED DUE TO EXTERNAL AGENCY DIGGING/STORM, | RESTORED/ REPAIRED | Part of : TRF-2 JAIT PUR MOR, | 38
37 | 03/03/2018 | NGL | 14:26 | 15:43 | 01:17 | HT SYSTEM FAULT | Grid:BODELLA-II GRID To Feeder:GRAMSABHA NILOTHI , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 400 TRF-2:NEW GURU HARKISHAN NAGAR, | 163
38 | 03/03/2018 | SVR | 16:39 | 17:48 | 01:08 | LT FEEDER | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR MDRASI COLONY , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : HVDS E BLK MADRASI CLY | 245
39 | 03/03/2018 | PLM | 16:57 | 18:03 | 01:05 | HVDS CABLE & OTHER SYSTEM | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:D-1 & D-2, MAHAVIR ENCLAVE , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 990 TRF-2:F1,F2 MAHAVIR ENCL.:ID,630 TRF-1:D1, D2 BLOCK MAHAVIR ENCLAVE,630 TRF-2:D1, D2 BLOCK MAHAVIR ENCLAVE,990 TRF-1:F1,F2 MAHAVIR ENCL.:ID,630 TRF-2: MAHAVIR ENCL. D3:ID,630 TRF-1:MAHAVIR ENCL. D3:ID, | 672