## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 04/03/2018 06:00Hr. To 05/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 04/03/2018 | JKP | 23:40 | 01:16 | 01:35 | HT SYSTEM FAULT | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV MIG RAJURI GARDEN , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-2 :SFS SSTN NO.-5,MAYA ENCL., HARI NGR,630 TRF-1 :SFS SSTN NO.-5,MAYA ENCL., HARI NGR,630TRF-2: C2/12 MAYAPURI PH-2 K,1000 TRF-1 :PLOT NO.:C-42(JBA INK)SSTN,PH-2,MYP,990 TRF-1 :M.S. BLOCK KIOSK SSTN, HARI NAGAR,630 TRF-2 :DMS COLONY SSTN, HARI NAGAR,630 TRF-1 :256 MIG FLATS SSTN,G-8 AREA, R.GDN,630 TRF-2 :256 MIG FLATS SSTN,G-8 AREA, R.GDN,630 TRF-1 :SFS SSTN NO.-4,MAYA ENCL., HARI NGR,630 TRF-2 :SFS SSTN NO.-4,MAYA ENCL., HARI NGR,1000 TRF-1 :PLOT NO.:C-2/12 SSTN, PH-2, MYP,630 TRF-1 :DMS COLONY SSTN, HARI NAGAR | 423
2 | 04/03/2018 | NZD | 20:46 | 22:35 | 01:49 | HT SYSTEM FAULT | Grid:33kV A.I.I.M.S GRID To Feeder:11kV FDR VIKASH SADAN(BRPL FEEDER) , HT CONSUMER,:CONSUMER TRANSFORMER FAULTY, | RESTORED/ REPAIRED | Part of : VIKAS SADAN HTC, CVC BUILDING HTC, 2X990 KVA INA MARKET | 197
3 | 04/03/2018 | SVR | 16:25 | 17:33 | 01:07 | HT SYSTEM FAULT | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR B-BLOCK FRIENDS COLONY , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 3*990 KVA T/F ISHWAR NAGAR, 2*990 KVA TRIBHUWAN COMPLEX T/F. | 323
4 | 04/03/2018 | NJF | 15:26 | 16:33 | 01:06 | HT SYSTEM FAULT | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAPOOR FARM , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 100 TRF-1:GREEN TREE SCHOOL INDIRA PARK,100 TRF-1:SAI BABA TEMPLE NANGLI,400 TRF-1:NANGLI VIHAR,100 TRF-1:ST LT NANGLI MOOR,HTC KANT DARBAR NANGLI S,100 TRF-:MUKESH SHARMA P/M S/STN,DJB STAFF Q, GOVT NURSURY,400 TRF : NANGLI SAKRAWATI,25 TRF-1: SBI BANK NAGLI DAIRY,400 TRF:-NANGLI VIHAR EXTN,AKASH PUBLIC SCHOOL ARJUN PARK,400 TRF-1: N I T U NEAR STATE BANK NANGLI DAIRY,3W RMU D&E-BLK S/S-3 NANGLI VIHAR | 315
5 | 04/03/2018 | HKS | 15:10 | 16:22 | 01:11 | HT SYSTEM FAULT | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR INSTITUTIONAL AREA HAUZ KHAS , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 2*990 KVA SFS HAUZ KHAS | 237
6 | 04/03/2018 | DWK | 12:06 | 13:14 | 01:08 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MATIYALA , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : MATIALA VILLAGE TRF-2 630KVA , MATIALA EXTENSION,GURU HARI KISHAN NAGAR TRF-65 25KVA, | 249
7 | 04/03/2018 | SVR | 19:21 | 20:42 | 01:20 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-5 M.B EXTN. , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 G BLK MOLAR BAND EXTNSANJAY SINGHAL | 41
8 | 04/03/2018 | SVR | 18:26 | 19:53 | 01:26 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR JAITPUR O/H , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : HVDS AREA F & G BLK KHADDA COLONY | 197
9 | 04/03/2018 | NJF | 15:52 | 17:15 | 01:23 | LT FEEDER | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NANGLI SHAKRAWATI , : LT CABLE FAULT | RESTORED/ REPAIRED | Part of : TRF-2 630KVA Nr SCHOOL NANGLI SHAKRAWATI | 134
10 | 04/03/2018 | SVR | 14:15 | 15:52 | 01:36 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR JAITPUR O/H , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : B & D BLK KHADDA COLONY HVDS AREA | 196
11 | 04/03/2018 | SVR | 13:23 | 14:34 | 01:11 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-2 DDA JASOLA , DISTRIBUTION TRANSFORMER,:TREE BRANCH FALLEN ON TRANSFORMER, | RESTORED/ REPAIRED | Part of : TRF-1 S/STN NO.1 DDA FLAT JASOLA PKT.-12 | 137
12 | 04/03/2018 | SVR | 12:11 | 13:29 | 01:17 | LT FEEDER | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR MDRASI COLONY , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 E&F BLK MADRSI COLONY | 162
13 | 04/03/2018 | TGN | 10:47 | 12:12 | 01:24 | LT FEEDER | Grid:BODELLA-II GRID To Feeder:11 KV FDR MBS NAGAR , SERVICE LINE,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : 630 TRF-1 :HARBHAJAN MOTOR SSTN NO-2,SHAHIPURA | 69
14 | 04/03/2018 | NJF | 10:30 | 11:59 | 01:28 | LT FEEDER | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR ANAJ MANDI , LT U/G CABLE,:SOCKET BURNT, | RESTORED/ REPAIRED | Part of : 990 TRF-1:JHARODA KALAN 3 | 168
15 | 04/03/2018 | KPR | 06:33 | 08:11 | 01:38 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR S/S NO.-2, DAKSHIN PURI , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : TRF-1 SIDHARTHA MARKET MADANGIR | 98
16 | 04/03/2018 | MDK | 12:30 | 15:16 | 02:46 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR HIRAN KUDNA , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : TRF-1:CHADDHA FARM HOUSE HIRANKUDANA,400TRF-1:GANGA INTERNATIONAL HIRAN KUDNA, TRF-1:MCD DISPANSARY HIRANKUDANA, TRF-1:SRISTI VATICA HIRANKUDANA | 297
17 | 04/03/2018 | NHP | 11:00 | 14:44 | 03:44 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR FLATTED FACTORY , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 FLATED FACTORY | 83
18 | 04/03/2018 | NHP | 10:00 | 15:39 | 05:39 | PLANNED SHUTDOWN | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR DEVIKA TOWER NEHRU PLACE , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-2 S/STN PLOT-5 DDA NHP | 114
19 | 04/03/2018 | RKP | 10:00 | 12:51 | 02:51 | PLANNED SHUTDOWN | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-12 R.K PURAM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SEC-12, S/S-4, R.K.P.(RESI. QRTRS.) | 156
20 | 04/03/2018 | PJB | 13:18 | 15:39 | 02:20 | EMERGENCY SHUTDOWN | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR 1212 JANTA FLATS PKT-2, PASCHIM PURI , LT CIRCUIT:REPAIR/REPLACEMENT OF LTAB | RESTORED/ REPAIRED | Part of : 990 TRF-1: F-BLK,DHOBI GHAT,JJ CLY,MADIPUR | 197