## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 05/03/2018 06:00Hr. To 06/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 06/03/2018 | JKP | 03:28 | 05:07 | 01:39 | HT SYSTEM FAULT | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV L.I.G RAJORY GARDEN , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-2 :LIG FLATS INDOOR SSTN, RAJOURI GDN,990 TRF-2 :PATEL PARK SSTN, RAJOURI GARDEN,630 TRF-2 :V-BLOCK SSTN, RAJOURI GARDEN,990 TRF-1 :V-BLOCK SSTN, RAJOURI GARDEN,990 TRF-1:PATEL PARK(PKG) SSTN RAJORI GDN,990 TRF-1 :LIG FLATS INDOOR SSTN, RAJOURI GDN,630 TRF-1 :PATEL PARK SSTN, RAJOURI GARDEN,400 TRF-1 :LIG FLATS PLM SSTN, RAJOURI GDN, | 512
2 | 05/03/2018 | TGN | 14:41 | 16:01 | 01:20 | HT SYSTEM FAULT | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR B-BLOCK J.J COLONEY CHAUKHANDI , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 630 TRF-1 :B-BLOCK (PARKWALA) SSTN, CHAUKHANDI,630 TRF-1 :B-BLOCK (MKTWALA) SSTN, CHAUKHANDI,990 TRF-1 :MANDIRWALA SSTN, RAVI NAGAR,630TRF-2 :B-BLOCK (PARKWALA) SSTN, CHAUKHANDI, | 453
3 | 05/03/2018 | PLM | 13:38 | 14:47 | 01:09 | HT SYSTEM FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:KAILASH PURI FEEDER NO.-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-2:Kailashpuri Zonal office,400 TRF-1:SADH NGR GALI-17,990 TRF-1 : E-Block Sadh Ngr,400 TRF-1 : Sadh Ngr Gali No-14,990 TRF-1: Sainipura,990 TRF-1:Chorasiawala,630 TRF-1:Kailashpuri Zonal office,990 TRF-2: Chorasiawala,400 TRF-1:MAIDYAL BLD SADH NGR,SADH NGR GALI NO. 16:PM S\STN, | 471
4 | 05/03/2018 | DWK | 12:24 | 13:26 | 01:01 | HT SYSTEM FAULT | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR DDA GROUND RMU NO-2 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 400 TRF-2: DDA S/S-1 SEC-6 BSES OFFICE,630 TRF-1_PLOT NO-2 SEC-6, S/STN 2,400 TRF-3: DDA S/S-1 SEC-6 BSES OFFICE,100 TRF-2_DDA OFFICE SEC-5 NURSERY,SEC-06 MARKET & SEC-05 DDA NURSRY,400 TRF:3 NO.1 SEC-6 PKT-2 (POLE MTD +I/,400 TRF-2: NO.2 SEC-6 PKT-2 DDA FLAT, | 436
5 | 05/03/2018 | VKJ | 12:20 | 13:29 | 01:08 | HT SYSTEM FAULT | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR SECTOR-A VASANT KUNJ , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 S/Stn.8 SEC-A PKT B&C V.KUNJ, TRF-2 S/Stn.8 SEC-A PKT B&C V.KUNJ, TRF-1 SEC-A PKT B&C V.KUNJ, TRF-1 S/Stn.10 SEC-A PKT B&C V.KUNJ, TRF-2 S/Stn.10 SEC-A PKT B&C V.KUNJ, TRF-1 S/Stn.7 SEC-A PKT B&C V.KUNJ, TRF-2 S/Stn.7 SEC-A PKT B&C V.KUNJ, TRF-2 S/Stn.9 SEC-A PKT B&C V.KUNJ, TRF-2 S/Stn.9 SEC-A PKT B&C V.KUNJ, JAPANESE SCHOOL (HT CONSUMER) | 419
6 | 05/03/2018 | SVR | 15:46 | 17:02 | 01:15 | LT FEEDER | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR MDRASI COLONY , LT POLE,:POLE BROKEN DUE TO STRUCK BY VEHICLE, | RESTORED/ REPAIRED | Part of : TRF-1 E&F BLK MADRSI COLONY | 141
7 | 05/03/2018 | PJB | 14:40 | 16:34 | 01:54 | LT FEEDER | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:11KV SWAYM SIDDHA , LT ACB,:BUSBAR DAMAGED/BURNT, | RESTORED/ REPAIRED | Part of : 630 TRF-2: SWYAM SIDDHA,WEST PJB | 192
8 | 05/03/2018 | SVR | 14:19 | 16:12 | 01:52 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR THOKAR NO.-5 DHARAM KANTA , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 DHARM KATA ABUL FAZAL ENCL, | 109
9 | 05/03/2018 | SVR | 13:26 | 14:57 | 01:31 | LT FEEDER | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11 kV FDR BADARPUR O/H , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 B-1/I-3 PASCOS MATHURA ROAD, | 119
10 | 05/03/2018 | SVR | 13:22 | 14:25 | 01:03 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-5 M.B EXTN. , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 S/STN. NO. 4 MOLAR BADH EXTN. | 134
11 | 05/03/2018 | MDK | 11:54 | 13:24 | 01:30 | LT FEEDER | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR BUL BUL VATIKA , LT POLE,:POLE BROKEN DUE TO STRUCK BY VEHICLE, | RESTORED/ REPAIRED | Part of : 100TRF-1:SSTN NO-17 P/M GALI NO-2 | 20
12 | 05/03/2018 | HKS | 11:50 | 13:39 | 01:49 | LT FEEDER | Grid:33 kV SHIVALIK GRID To Feeder:11 kV FDR BHIM NAGRI SDA , DISTRIBUTION TRANSFORMER,:HEAVY OIL LEAKAGE/OIL THROWN FROM TRANSFORMER, | RESTORED/ REPAIRED | Part of : TRF-1 C-2, SDA MKT: ID | 131
13 | 05/03/2018 | SVR | 11:45 | 13:16 | 01:31 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-5 M.B EXTN. , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 S/STN. NO. 4 MOLAR BADH EXTN. | 106
14 | 05/03/2018 | VKP | 11:12 | 12:17 | 01:05 | LT FEEDER | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:ADARSH NAGR , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : 1000 TRF-1:ADARSH NGR | 165
15 | 05/03/2018 | HKS | 14:15 | 16:27 | 02:12 | PLANNED SHUTDOWN | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR C-7 PANCH SHEEL PARK (RMU) NEAR FLY OVER CHIRAG DELHI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 C-17 PANSHEEL ENCLAVE | 166
16 | 05/03/2018 | VKJ | 13:23 | 17:01 | 03:38 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11 KV FDR NTRO CKT.-1 (OPP. GHITORANI BUS STAND) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 S/S No.(TR No.1) near to Viskurma | 213
17 | 05/03/2018 | JFR | 13:03 | 16:08 | 03:05 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NAVEEN PLACE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1:VINOBHA ENCLAVE 2, 400 TRF-1:VINOBHA ENCLAVE 1, HTC:CRPF CAMP S/S NO 1:PL, 400 TRF-1:NAVEEN PLACE CRPF ROOD, 100 TRF-1:JANTA VIHAR JHARODA ROAD,TRF-1:VINOBHA ENCLAVE-3 SAINIK ENC, AZAD SINGH HBT PURA,25 TRF-1:MIR SINGH,HBT PURA,100 TRF-2:KARAN SINGH HEBAT PURA,16 TRF-1:NAPHE VILLAGE HEBAT PURA,400 TRF-:NAVEEN PLACE SUB STN NO 3, RAKESH HBT PURA, 100 TRF-1:RICHHPAL HEBAT PURA,CRPF CAMP S/S NO 2A:ID, HAWA SINGH HBT PURA, 100 TRF-1:PAHWA FARM 1 ANAJ MANDI,NAPHE VILLAGE HEBAT PURA,CRPF CAMP S/S NO 2A:ID, 400 TRF-1:NAVEEN PLACE SUB STN NO 2, 400 TRF-1:NANU RAM PARK,25 TRF-1: BANWARI HBT PURA, | 413
18 | 05/03/2018 | NJF | 12:03 | 14:48 | 02:45 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:GOYALA SCHOOL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 25TRF-1:ANAND GOELA,400TRF-1:VILL GOELA STN 1,100TRF-1:VILL GOELA STN 1,NOT IN EMG,16 TRF-1:PREM JHAKHAR SHAM VIHAR,630 TRF-1:DEENPUR 3,SHYAM VIHAR PH-II DEENPUR, | 207
19 | 05/03/2018 | SKT | 12:03 | 15:41 | 03:38 | PLANNED SHUTDOWN | Grid:66kV IGNOU GRID To Feeder:11kV FDR MAIDAN GARHI VILLAGE , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 MAIDAN GARHI VILLAGE NEAR SHIV MANDIR | 268
20 | 05/03/2018 | NJF | 11:55 | 15:40 | 03:45 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DICHAON KALAN , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100TRF-1:SHRI LAL DICHAUN KALAN NEAR DRAIN,100TRF-1:SHRI LAL DICHAUN KALAN NEAR DRAIN,25TRF-1:KRISHNA ,25 TRF-1: RAM NATH VILL DICHAON KALAON,GANASHI VILL DICHOAN KALAN,100 TRF-1:JAGLUL VLG DICHOAN KALAN,25 TRF-1: MAHIPAL NEAR MAIDE DICAHO KALAN,100 TRF-1:MAIDE VILLAGE DICHOUN KALAN,25 TRF-1: W/S NO-5 DICHAON -BAPROLA MARG NR HOTL,25 TRF-1: HOLY FAMILY CHURCH,VILL DICHAON KALAON,100 TRF-1:GANGA RAM VILL D.KALAN,25 TRF-1:JEEVAN JYOTI VILL-DICHON KALAN,VILLAGE DHICHON KALAN, S/ST NO-3,400 TRF-1: SHIV ENCLAVE EXTN,25 TRF-1: CHARITABLE SOCIETY DICHAON KALAN,100 TRF-1:MANGA VILLAGE DICHAON KALAN,100 TRF-1:GANESHI VILL DICHAON KALAN,100 TRF-1:STREET LIGHT GHEVRA,GOVT. W/S AT DIGUPURA,100 TRF-1:SHRI LAL VLG DICHAON KALON,400 TRF:-1 DICHAO S/TN NO.4 (PHIRNI),990 TRF-1:DICHAON 1,400 TRF-1: DIGUPURA, | 407
21 | 05/03/2018 | NJF | 11:50 | 15:10 | 03:20 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR 810-DDA FLATS SECTOR-26 DWK. (VILLAGE POCHANPUR) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990TRF-2,990 TRF-3,990TRF-1,COMMUNITY CTR DHULSIRAS,100 TRF-1:GOVT STN BAMROLI STAND,S/S.2, 810 DDA FLATS SECTOR 26 DWK CHAWLA,100 TRF-1:CHAUDHARY FARM BAMROLI,VILL BAMNAULI SSTN-2,SEC-23 PH-2 EWS FLATS 2400 SS-2 ID,/S.2, 810 DDA FLATS SECTOR 26 DWK CHAWLA,400 TRF-1:-BAMNOLI,S/STN. NO-5 VILLAGE BAMNAULI,400 TRF-1:-BAMNOLI VILL DT-4,S/S.1, 810 DDA FLAT,S/S.1, 810 DDA FLATS SECTOR 26 DWK,630 TRF-1:VILL BAMNAULI STN 1,SEC-23 PH-2 EWS FLATS 2400 SS-2 ID, | 424
22 | 05/03/2018 | PLM | 11:50 | 15:01 | 03:11 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR MANISH PALAZA SECTOR -23 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630TRF-1_NO 1, SEC 23, DWARKA | 143
23 | 05/03/2018 | HKS | 11:45 | 13:38 | 01:53 | PLANNED SHUTDOWN | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR OCS G.K-1, VIA B&C BLOCK PANCHSHEEL ENCLAVE , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 D-65 PANCHSHEEL ENCLAVE : PKG | 180
24 | 05/03/2018 | PLM | 11:45 | 14:58 | 03:13 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:PINK APPARTMENT , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF-1 PKT-10 S/S NO.-2,630 TRF-1:PKT -10 NASIRPUR DDA FLAT S/S-2,630 TRF-1Pocket-6/2 DDA Flat S/s,400 TRF-1:PKT 9 S/S-2 JANTA FLAT NASEERPUR,400 TRF-1: Gali No-8 Durga park HVDS S/s,400 TRF-1 Pkt-9 DDA Flat S/s, | 252
25 | 05/03/2018 | NHP | 11:43 | 15:08 | 03:25 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR KALA KUTIR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 2*630 KVA TRF. KALA KUTIR,GARHI, | 120
26 | 05/03/2018 | NGL | 11:40 | 15:00 | 03:20 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR E-BLOCK NIHAL VIHAR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630 TRF-2: E- BLK Nihal Vihar,630 TRF-2: E- BLK Nihal Vihar | 225
27 | 05/03/2018 | SKT | 11:30 | 14:21 | 02:51 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR PTS COLONY , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 PTS COLONY:ID | 217
28 | 05/03/2018 | SKT | 11:30 | 15:44 | 04:14 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-1 S/S NO.-1 PUSHP VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 STN-6 SEC-1 PUSHAP VIHAR | 221
29 | 05/03/2018 | SKT | 11:30 | 15:07 | 03:37 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11 kV FDR F-BLOCK SSTN. MALVIYA NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-3 F-BLOCK MALVIYA NAGAR KIOSK:K, TRF-2 F-BLOCK MALVIYA NAGAR KIOSK:K,TRF-1 F-BLOCK MALVIYA NAGAR KIOSK:K, | 290
30 | 05/03/2018 | SKT | 11:30 | 15:54 | 04:24 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR SARVOPRIYA VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 BEGUMPUR VILLAGE:PL | 170
31 | 05/03/2018 | JFR | 11:30 | 16:08 | 04:38 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV MITRAON , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1:MITRAON COMPLAINT CENTRE,100 TRF-1:MAM CHAND VLG MITRAON,25 TRF-1:SITARAM VILL MITRAON,100 TRF-1:KANSHI RAM VLG SURHERA,100 TRF-1:RED LIGHT SEC 1 : PM,ON DHANSA ROAD NERA GOVT. SCHOOL,400 TRF-1:VILLAGE MITRAON 1,100 TRF1-:CHET RAM VILL JAFFARPUR:PM,630 TRF-1:VILLAGE MITRAON 3,100 TRF-1:DAYAKISHAN VILL MITRAON:PM,630 TRF-1:S/STN-5 VILLAGE MITRAON,630 TRF-1:VILLAGE MITRAON 2, | 402
32 | 05/03/2018 | SKT | 11:30 | 15:39 | 04:09 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR PURANA AYA NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 BOOSTER PUMP AYA NAGAR:PM | 221
33 | 05/03/2018 | PLM | 11:20 | 14:58 | 03:38 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:PURAN NAGAR+KAILASHPURI EXTN. , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF-1:POCKET-13 S/SN0-2 (DAWARIKA ), 630 TRF-1:PKT-13 SSTN NO-1(DDA FALTS), 630 TRF-1: Puran nagar,HVDS, | 332
34 | 05/03/2018 | PLM | 11:10 | 14:22 | 03:12 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR ARMY QTRS. SECTOR-21 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TFR-1:CNG PUMP SEC 9,630 TRF-1:GALAXY TOYOTA,,630 TRF-1:MARBLE MKT S/S NO.2,630 TRF-1:MARBLE MKT S/S NO.2,400 TRF-1:COMMERCIAL BUILDING PLOT NO.20,100 TRF-1:PETROL PUMP,100 TRF 1 :APJ SCHOOL SEC-8 DWK,MARBLE MKTSS- 3 :ID,MARBEL MARKET SECTOR-20, DWARKA,RMU XING SEC-20&SEC-9 METRO STN.SVASCA,COMM.PLOTS AT SERVICE CENTRE SEC-9 DWK, | 260
35 | 05/03/2018 | DWK | 11:03 | 14:15 | 03:12 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MADHU VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:MAHAVIR ENCLAVE S/STN NO 1, | 141
36 | 05/03/2018 | PJB | 11:03 | 14:53 | 03:50 | PLANNED SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:11KV 1212-JANTA FLATS , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 990 TRF-1: D-BLK DISPENSARY,JJ CLY,MADIPUR, | 238
37 | 05/03/2018 | DWK | 11:03 | 14:14 | 03:11 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MAHALAXMI , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : 630-TRF-I_Rudhra App. (HTC),630 TRF-1:MLU SEC-6,630 TRF-1:MOTHER PRIDE (METER NOT INSTALLED),400TRF-1:GOVT SECONDRY SCHOOL SEC-6,630 TRF-2:DIAMOND SQUARE,400-TRF-1_YOUNGSTER SEC-6,630 TRF-2:MLU SEC-6,630-TRF-I_New Ashiyana App. Plot No-10, Sec-6,400-TRF-II_YOUNGSTER SEC-6,NEW ASHIANA PLOT-10 SEC-6,630 TRF 1 :SWAMI DAYANAND APPT, PLOT-5, SEC-6,630 TRF-2:NEW ASHIANA PLOT-10 SEC-6,630 TRF 1 :SWAMI DAYANAND APPT, PLOT-5, SEC-6,NEW ASHIANA PLOT-10 SEC-6,SEC-06 GOVT COED SCHOOL(SITE-1), | 453
38 | 05/03/2018 | JFR | 11:00 | 16:54 | 05:54 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV RAWTA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 25 TRF-1:DEVENDER VILL. RAWTA NEAR SHAMSHAN GHAT,SR. SEC. SCHOOL- VILL RAWTA, 25 TRF-1:SOMBIR VILL RAWTA,LALIT KUMAR RAWTA, 25 TRF-1:ASHIL/SAUPAL VILL. RAWTA, 400 TRF-1:VILLAGE RAWTA 1,100 TRF-1:W/SUPPLY 1 VLG DAURALLA,100 TRF-1:HARI SINGH VILL DARIAPUR:PM,25 TRF-1: SAUPAL, RAWTA,400 TRF-1:VILLAGE DAURALA, DEEPA-1 VILL RAWTA,S/STN NO-3, RAWTA VILLAGE,25 TRF-1: RAJESH/DARAMVIR RAWTA NEAR SCHOOL,25 TRF-1: RAMKARAN, RAWTA,25 TRF-1: MUKHTIYARI, RAWTA,MANGE RAM VILL RAWTA,100 TRF-1:MAMCHAND VLG RAWTA,25 TRF-1:KULDEEP KAUR, JHULJHULI MOD,100 TRF-1:DEEP CHAND VLG RAWTA,100 TRF-1:W/SUPLY 1 FOR VLG JHUL JHULI,MANGERAM- VILL DAURALA,25 TRF-1:RAGHUVEER, VILL RAWTA,100 TRF-1:REWA RAM VLG DARYIAPUR,HARKE RAM VILL. RAWTA,400 TRF-1:VILLAGE RAWTA 2,100 TRF-1:SARDARE VLG DARYIAPUR,100 TRF-1:FATEY VLG RAWTA, | 425
39 | 05/03/2018 | JFR | 11:00 | 16:54 | 05:54 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV JHUL JHULI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ,100 TRF-1:SHIS RAM MUNDELLA KALAN,100 TRF-1:PARWATI VLG MALIKPUR,100 TRF-1:M I D W/SUPLY VLG JHUL JHULI,400 TRF-1:VILLAGE GALIBPUR,AMAR SINGH VILL SARANGPUR:PM,400 TRF1-:GIRDHARA VILL GALIBPUR:PM,RAM NARAYAN VILL SAMASPUR:PM, TRF-1:PARSA DHARA V UJWA,100 TRF-1:BANWARI VLG SAMASPUR,400 TRF-1:SAMASPUR S/STN NO. 3,25 TRF-1:PRAVESH KUMAR VILL DAURALLA,JEEVAN VILL GALIBPUR,100 TRF-1:NAVODAYA VIDAYALYA JAFFERPUR,RAM KISHAN VILL SAMASPUR:PM,100 TRF-1:I T I JAFFERPUR,NIHAL SINGH VILL. JHULJHULI,100 TRF-1:DARIAB SINGH VILL SAMASPUR:PM,NATHU RAM VILL DARIYAPURABC,400 TRF-1:JHULJHULI S/STATION NO-2,400 TRF-1:DURGA ENCLAVE JAFFERPUR,RAMKUMAR VILL GALIBPUR,VILL SAMASPUR S/S NO 2:PM,100 TRF-1:RAM KUMAR VILL. GALIBPUR,400 TRF-1:VILLAGE SARANGPUR,NEAR CAMP CENTER GHUMANHERA,HARIJAN BASTI,400 TRF-1:VILLAGE JHUL JHULI,100 TRF-1:KANYIA VLG SARANGPUR,100 TRF-1:W/S 2 DHANSA SARANGPUR RD,RAJROOP VILL GALIBPUR, | 485
40 | 05/03/2018 | DWK | 11:00 | 14:15 | 03:15 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SEC-10 PP-2 , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 630 TRF:2S/ST-1 PLOTTED AREA SEC-10, | 193
41 | 05/03/2018 | NJF | 11:00 | 14:50 | 03:50 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 25TRF-1,100TRF-1:CHET RAM CHHAWLA,25TRF-1:JUGLAL CHAWLA,25TRF-1,25TRF-1,25TRF-1:BALBIR VILL RAGHOPUR,NOT IN EMG,25TRF-1:JUGLAL CHAWLA,25TRF-1:NEAR USHA FARM,25TRF-1:KANSIRAM,25TRF-1:DHRUV AGGARWAL,25TRF-1;BALVEER KAUR,,25TRF-1;BALVEER KAUR,25TRF-1:KALE CHAWLA,25TRF-1:MANJEET CHAWLA,25TRF-1:PARVINDER KAUR,25TRF-1:NEENA KANCHAN,25TRF-1;BALVEER KAUR,25TRF-1:USHA FARM,25TRF-1:USHA FARM,,25TRF-PRITAM SINGH KAGANHERI,25TRF-1,25TRF-1,100TRF-1:DEHLI TOURSIM,25TRF-1:JAGDEEP KANGANHERI,25TRF-1,TRISHUL COLONY SSTN-2,400 TRF-1:CHHAWLA 1,400 TRF-1:VILL NANAK HERI,ISAPUR KHAIRA VIL BMNULI BHAJHGER,TRF-1:SETNA FARM BAMLI,400 TRF-1:HARIZON BASTI RAILWAY PHATAK BIJWASAN,NEANASIR FARM VILL. BIJWASAN,25 TRF-1: NASIR FARM BRIJWASAN,100 TRF-1:CHIRANJI KANGENHERI,100 TRF-1:STN RAGHAV PUR,100 TRF-1:ROOP RAM KANGENHERI,400 TRF-1:SUKHBIR RAGHAVPUR,100 TRF-1:BHOOPE SAROOPEMCHHAWLA,DHEERAJ RANA (NR. NASIR FARM )VILL. BIJWASAN,100 TRF-1:CHANDU MALI BAMNOLI,ASHIRWAD ASHRAM VILL. CHHAWLA,JAI BHAGWAN VILL. KANGANHERI,25 TRF-1:SURESH DD VILL. KANGANHERI,RICHPAL VILL KANGANHERI,100 TRF-1:RAM KISHAN CHHAWLA,100 TRF-1:DATA RAM KANGENHERI,100 TRF-1:STN NR MANDIR KANGENHERI,100 TRF-1:GHAN SHAMCHHAWLA,100 TRF-1:SISH RAM KANGENHERI RD CHH,CHANDRABAN VILL BADUSARAI,25 TRF-1:AZAD BAMLI,400 DT:TRISHUL COLONY, CHHAWLA,100 TRF-1:SETH FARM BAMROLI,100 TRF-1:STN BAMLI STAND,BEFORE NASIR FARM VILL BIJWASAN,400 TRF-1:GAUTAM COLONY KAGANHERI ROAD CHHAWLA,16 TRF-1: BADHUR FRM NR ANKUR DABA BAJHRA-RGVPUR,RAJINDER VILL KANAGANHERI,400 TRF-1:LOP BIJWASAN RAILWAY STATION,100 TRF-1:BAHI RAM CHHAW LA,25 TRF-1: KARNAL FARM BRIJWASAN,100 TRF-1:OLD SCH CHHAWLA S/STN KANGANHERI ROAD,SATPAL RANA MLA VILL BIJWASAN,400 TRF-:BALBIR BIJWASAN,100 TRF-1:NEW STN K HERI RD CHHAWLA,TEK CHAND RAGHAVPUR,RAVINDER KAUR,100 TRF-1:NARAIN SARUP CHHAWLA,100 TRF-:KURIA KANGENHERI,25 TRF-1:GAUSHALA, REWLA KHANPUR,100 TRF-1:LEKH RAJ KANGENHERI,TRF-2:KHAJAN BIJWASAN,100 TRF-1:PIARAE LAL BIJWASAN,W/S KANGANKHERI, | 436
42 | 05/03/2018 | DWK | 11:00 | 14:13 | 03:13 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR SEC-16C DELHI POLICE QUARTERS , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : DELHI POLICE QUATERS SEC-16C | 187
43 | 05/03/2018 | SVR | 11:00 | 14:47 | 03:47 | PLANNED SHUTDOWN | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR HARIJAN BASTI (OLD) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 HARIJAN BASTI MITHA PUR, TRF-1 HARIJAN BASTI MITHA PUR | 385
44 | 05/03/2018 | NHP | 11:00 | 13:44 | 02:44 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR S.B.I NO.-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 FACTORY NO-227 OKHLA PH-111 | 112
45 | 05/03/2018 | VKJ | 11:00 | 15:27 | 04:27 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR SECTOR A-2 VASANT KUNJ , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : TRF-1 ISLAAM COLONY | 186
46 | 05/03/2018 | SVR | 11:00 | 14:55 | 03:55 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR ABU BAKER MASJID , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 KVA TRF-1,G-BLK NR MASZID ABUBKAR, | 157
47 | 05/03/2018 | PLM | 11:00 | 14:57 | 03:57 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NASIRPUR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630 TRF-1 :l Nasirpur Mandir Wala S/s,400 TRF-1 : Harijan Basti Nasirpur S/stn,400 TRF-2 : Harijan Basti Nasirpur S/stn,400 TRF-1:RZ-BLK GALI NO.-2 MAHAVIR ENCLAVE,630 TRF-2 : Nasirpur Mandir Wala S/s,400 TRF-1 : Harizan Basti (dharamkanta)i,H-2, BLOCK BANGALI COLONY, | 469
48 | 05/03/2018 | DWK | 11:00 | 14:13 | 03:13 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:MANSHA RAM PARK , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1: MANSA RAM PARK C & D BLOCK, | 298
49 | 05/03/2018 | DWK | 11:00 | 14:12 | 03:12 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR SEC-16C DELHI POLICE QUARTERS , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : DELHI POLICE QUATERS SEC-16C, | 187
50 | 05/03/2018 | KPR | 11:00 | 15:53 | 04:53 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR STROME WATER PUMPING STN. , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : MITTAL COLONY, | 216
51 | 05/03/2018 | DWK | 11:00 | 14:14 | 03:14 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR JAIN COLONY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-2:NEW T UTTAM NAGAR, 1000 TRF-1:NEW T UTTAM NAGAR, | 343
52 | 05/03/2018 | MDK | 11:00 | 13:26 | 02:26 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR NEEL WALL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630TRF-1:NEELWALL S/STN-2:PM,100TRF-1:RAN SINGH NEELWAL:PM,100TRF-1:HARIZON BASTI NEELWAL:PM,100TRF-1:PRABHU TUBE WEELL NEELWAL:PM,630TRF-1:NEELWALL S/STN-1:PM,25TRF-1:HUKUM SINGH NEELWAL ROAD,25TRF-1:SIMANDER JAIN MANDIR NEELWAL, | 322
53 | 05/03/2018 | SVR | 11:00 | 14:46 | 03:46 | PLANNED SHUTDOWN | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR GYAN MANDIR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 JAIT PUR VILL. GURADWARA | 296
54 | 05/03/2018 | VKJ | 11:00 | 16:46 | 05:46 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR VASANT KUNJ SECTOR-D_VKJ , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SARITA KHAITAN CHARCH ROAD, GIRDHARI SHANTI KUNJ, TRF-1 BASANTI STN D-4, TRF-1 MANGTU, TRF-2 STN-7 SEC-D POCKET-3 VASANT KUNJ, TRF-1 VIMAL DEEP MALROAD(NR SHEELA FARM CHARCH ROAD), TRF-1 RANCH GHITORNI, TRF-1 STN-7 SEC-D POCKET-3 VASANT KUNJ, TRF-1 DDA SPORTS CLUB V. KUNJ, TRF-1 THAPAR S/S,KATHURIA PARK LANE, TRF-1 KUCHHAL S/S, TRF-1 MALL ROAD NR. RAJPAL FARM, TRF-1 D.Club,TERA BILDCOM,TRF-1 BHANDARI S/STN,BANSAL, TRF-1 HTC:KIRAN DEVI CHURCH ROAD, TRF-1 ZINDAL FARM NO 11, TRF-1 DUTTA STN VASANT KUNJ, TRF-1 NANDLAL GHITORTNI, TRF-1 GIRDHARI, TRF-1 NAKSHATRA FARM CHARCH ROAD, TRF-1 6-A GREEN AVANUE NEW CHURCH ROAD, TRF-1 JAIN MANDIR S/S,TRF-1 GUPTA S/S, TRF-1 AQUA GREEN, TRF-1 DDA SWIMMING POOL,NEW S/STN, TRF-1 VIMALDEEP,REYU VILLA, TRF-1 DDA BOOSTER PUMP GHITORNI, AJAY MEHRA,TRF-1 DHAWAN S/STN,GREEN AVENUE VKJ, | 413
55 | 05/03/2018 | KPR | 11:00 | 15:53 | 04:53 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR STROME WATER PUMPING STN. , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : MITTAL COLONY, | 216
56 | 05/03/2018 | SKT | 11:00 | 13:28 | 02:28 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR SATABARI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 F-55, SURI FARM SATBARI:PM | 203
57 | 05/03/2018 | SVR | 11:00 | 15:21 | 04:21 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR SRINIWASHPURI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 HTC:J.J COLONY S.N PURI | 243
58 | 05/03/2018 | JKP | 11:00 | 13:58 | 02:58 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV J-BLOCK RAJORY GARDEN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MAJESTIC TOWER SSTN, RAJOURI GDN (HT CONSUMER) | 1
59 | 05/03/2018 | KPR | 11:00 | 15:54 | 04:54 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR HOT MIX PLANT , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 PETROL PUMP LAL KUAN:PL, | 163
60 | 05/03/2018 | VKJ | 11:00 | 14:20 | 03:20 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR RANGPURI NO.-1 , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 630 KVA TRF. VASANT KUNJ ENCLAVE S/STN. NO-1, | 197
61 | 05/03/2018 | JFR | 10:30 | 16:13 | 05:43 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV SUREHRA MORE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 25 KVA-PATNA SISTER NOTARY VILL.KAIR P/M,S/STN NO.-3 VILL. SURHERA,NEAR MATA DANKOUR SCHOOL ON DHANSA ROAD,100 TRF-1:STN 2 VLG SURHERA,16 TRF-1: DHAPU FARM ( ASHIYANA FARM ) VILL.KAIR,100 TRF-1:S/S NO.1 VILL SURHERA :PM, 400 TRF-1:VILLAGE KAIR 2,100 TRF-1:S/S NO.1 VILL KAIR:PM,400 TRF-1:VILLAGE SUREHRA 2,DILBAG - VILL KAIRVIJAY,100 TRF-1:STN 3 VILLAGE KAIR,VINOD VILL MITRAON,630 TRF-1:VILLAGE KAIR 1,400 TRF2: BHAGNI NIVEDITA COLLEGE VILL KAIR:PM, | 439
62 | 05/03/2018 | ALN | 10:00 | 16:34 | 06:34 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR STR S/S NO.-1, TUGLAKABAD EXTN. , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 TKD EXT. S/S-3 GALI NO.46 | 173
63 | 05/03/2018 | ALN | 10:00 | 13:08 | 03:08 | PLANNED SHUTDOWN | Grid:33 kV ALAKNANDA GRID To Feeder:11 kV FDR S-BLOCK-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 S-BLOCK GK-2 PLM NEAR PARK:PL to S-128 G | 140
64 | 05/03/2018 | NZD | 10:00 | 13:51 | 03:51 | PLANNED SHUTDOWN | Grid:LAJPAT NAGAR-III (33/11kV) GRID SSTN To Feeder:ALANKAR CINEMA SSTN. , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 I-BLOCK LAJPAT NAGAR-2(SIKANJIWALA): PL, TRF-2 I-BLOCK LAJPAT NAGAR-2(SIKANJIWALA): PL, TRF-3 I-BLOCK LAJPAT NAGAR-2(SIKANJIWALA) | 275
65 | 05/03/2018 | VKJ | 10:00 | 16:17 | 06:17 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR NAVAL KAPASHERA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 HARDUTT BIJWASAN-2 | 136
66 | 05/03/2018 | SKT | 10:00 | 13:38 | 03:38 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR SULTANPUR COLONY , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630+400 KVA TRF. RMU DLF GATE NO-3 MANDI ROAD, | 192

## Reasons (hidden)
DISTRIBUTION TR.
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES