## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 08/03/2018 06:00Hr. To 09/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 08/03/2018 | SKT | 10:00 | 13:06 | 03:06 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR NIL BLOCK MALVIYA NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 NIL BLOCK MALVIYA NAGAR | 109
2 | 08/03/2018 | ALN | 10:00 | 12:53 | 02:53 | PLANNED SHUTDOWN | Grid:33 kV ALAKNANDA GRID To Feeder:11 kV FDRW-1 BLOCK G.K-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 O/D WATERTANK GK-2 | 39
3 | 08/03/2018 | NJF | 10:00 | 13:53 | 03:53 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:GOYALA SCHOOL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 25TRF-1:ANAND GOELA*,*400TRF-1:VILL GOELA STN 1*,*100TRF-1:VILL GOELA STN 1*,*NOT IN EMG*,*16 TRF-1:PREM JHAKHAR SHAM VIHAR*,*SHYAM VIHAR PH-II DEENPUR*,*630 TRF-1:DEENPUR 3 | 429
4 | 08/03/2018 | ALN | 10:00 | 14:02 | 04:02 | PLANNED SHUTDOWN | Grid:220kV OKHLA TRANSCO GRID SST To Feeder:ALAKNANDA VIA TA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 MDHYA MARG BOOSTER PUMP TKD EXTN | 62
5 | 08/03/2018 | VKJ | 10:03 | 13:52 | 03:49 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-1 (KAPASHERA) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 KHANA BIJWASAN | 53
6 | 08/03/2018 | NJF | 10:13 | 11:23 | 01:09 | HT SYSTEM FAULT | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 25TRF-1:JUGLAL CHAWLA*,*25TRF-1:USHA FARM*,*25TRF-1:KANSIRAM*,*25TRF-1;BALVEER KAUR*,*25TRF-1:NEAR USHA FARM*,*25TRF-1*,*25TRF-1:MANJEET CHAWLA*,*100TRF-1:DEHLI TOURSIM*,*100TRF-1:CHET RAM CHHAWLA*,*25TRF-1*,*25TRF-PRITAM SINGH KAGANHERI*,*25TRF-1;BALVEER KAUR*,*25TRF-1:DHRUV AGGARWAL*,*25TRF-1*,*25TRF-1;BALVEER KAUR*,*25TRF-1:JUGLAL CHAWLA*,*25TRF-1*,*25TRF-1:NEENA KANCHAN*,*25TRF-1*,*25TRF-1:BALBIR VILL RAGHOPUR*,*25TRF-1:JAGDEEP KANGANHERI*,*25TRF-1:PARVINDER KAUR*,*25TRF-1:USHA FARM*,*25TRF-1:KALE CHAWLA*,*25TRF-1*,*NEANASIR FARM VILL. BIJWASAN*,*25 TRF-1: NASIR FARM BRIJWASAN*,*RAJINDER VILL KANAGANHERI*,*100 TRF-1:STN BAMLI STAND*,*ISAPUR KHAIRA VIL BMNULI BHAJHGER*,*100 TRF-1:DATA RAM KANGENHERI*,*400 TRF-1:GAUTAM COLONY KAGANHERI ROAD CHHAWLA*,*RAVINDER KAUR*,*100 TRF-1:STN NR MANDIR KANGENHERI*,*DHEERAJ RANA (NR. NASIR FARM )VILL. BIJWASAN*,*100 TRF-1:CHANDU MALI BAMNOLI*,*400 TRF-1:CHHAWLA 1*,*400 TRF-1:SUKHBIR RAGHAVPUR*,*400 TRF-1:LOP BIJWASAN RAILWAY STATION*,*100 TRF-1:OLD SCH CHHAWLA S/STN KANGANHERI ROAD*,*JAI BHAGWAN VILL. KANGANHERI*,*W/S KANGANKHERI*,*100 TRF-1:PIARAE LAL BIJWASAN*,*400 TRF-1:HARIZON BASTI RAILWAY PHATAK BIJWASAN*,*25 TRF-1:GAUSHALA, REWLA KHANPUR*,*100 TRF-1:LEKH RAJ KANGENHERI*,*100 TRF-1:STN RAGHAV PUR*,*25 TRF-1:AZAD BAMLI*,*BEFORE NASIR FARM VILL BIJWASAN*,*100 TRF-1:NEW STN K HERI RD CHHAWLA*,*TRF-1:SETNA FARM BAMLI*,*100 TRF-1:BAHI RAM CHHAW LA*,*100 TRF-1:RAM KISHAN CHHAWLA*,*100 TRF-1:BHOOPE SAROOPEMCHHAWLA*,*100 TRF-1:CHIRANJI KANGENHERI*,*400 TRF-:BALBIR BIJWASAN*,*400 DT:TRISHUL COLONY, CHHAWLA*,*RICHPAL VILL KANGANHERI*,*100 TRF-1:GHAN SHAMCHHAWLA*,*25 TRF-1: KARNAL FARM BRIJWASAN*,*CHANDRABAN VILL BADUSARAI*,*400 TRF-1:VILL NANAK HERI*,*100 TRF-1:ROOP RAM KANGENHERI*,*100 TRF-1:SISH RAM KANGENHERI RD CHH*,*100 TRF-1:NARAIN SARUP CHHAWLA*,*16 TRF-1: BADHUR FRM NR ANKUR DABA BAJHRA-RGVPUR*,*TEK CHAND RAGHAVPUR*,*100 TRF-1:SETH FARM BAMROLI*,*100 TRF-:KURIA KANGENHERI*,*25 TRF-1:SURESH DD VILL. KANGANHERI*,*SATPAL RANA MLA VILL BIJWASAN*,*TRF-2:KHAJAN BIJWASAN*,*TRISHUL COLONY SSTN-2*,*ASHIRWAD ASHRAM VILL. CHHAWLA | 862
7 | 08/03/2018 | JFR | 10:41 | 16:04 | 05:23 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NEW MUNDHELA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 25 TRF-1: MER SINGH MUNDELA KHURD,P/M,S/STN*,*100 TRF-1:GOVT SR S. SCHOOL VILL MUNDEL*,*25 TRF-1:DHARAM SINGH VILL M. KHURD*,*100 TRF-1: ST LT FOR MUNDHELA KHURD*,*100 TRF-1:RATTAN VLG MUNDELLA KHURD*,*25 TRF-2: HARDWARI NO.1 MUNDELA KHURD*,*25 TRF-1:BANWARI LAL VILL. M KHURD*,*25 TRF-1:BUDH RAM VILL M. KHURD*,*STREET LIGHT, DABUR ENCLAVE, NEAR SHANKER DHARAM*,*25 TRF-1: HARDEEP VILL M. KHURD*,*NIHAL SINGH MUNDELA KHURD*,*25 TRF-1:JAGDISH MUNDHELA KHURD*,*100 TRF-1:FATEY SNG VLG MUNDELLA KALAN*,*HARDWARI NO.2 MUNDELA KHURD*,*100 TRF: T/WELL S/TN. DICHAON*,*630 TRF-1:VILLAGE MUNDELLA KHURD*,*25 TRF-1:PREM CHAND VLG MUNDELLA KHURD*,*100 TRF-1:RAGHUBIR VLG MUNDELLA KALAN*,*25 TRF-1:KHAZAN SINGH VILL M. KHURD*,*100 TRF-1:BHIM SNG VLG MUNDELLA KALAN*,*25 TRF-1:W/SPLY MUNDELLA KHURD*,*25 TRF-1: NIHAL SINGH MUNDELA KHURD,P/M,S/STN*,* BADLEY VILL MUNDELA KALAN/ SATISH*,*100 TRF-1:RAM KISHAN VILL SAMASPUR:PM*,*400 TRF-1:SUBH RAM V MUNDELLA KALAN*,*100 TRF-1:RAM KISHN VLG MUNDELLA KALAN*,*25 TRF-1: UMED SINGH MUNDELA KHURD*,*16 TRF-1:W/SUPPLY DHANSA AT MAIN ROAD*,*100 TRF-1:W/SUPPLY VLG KAIR*,*630 TRF-1:VILL MUNDELLA KHURD S/S NO.2*,*630 TRF-1:VILLAGE MUNDELLA KALAN*,*400 TRF-2: VILL MUNDELLA KALAN:PM*,*OMPRAKASH VILL-KAIR*,*25 TRF-1:KRISHAN VILL M. KHURD*,*MANOJ VILL MUNDELA KHURD*,*16 TRF-1:J P FARM NR REWTA MODE*,*100 TRF-1:ATTAR SNG VLG MUNDELLA KALAN*,*JOGINDER VILL-MUNDELA KALAN*,*NAWAL SINGH MUNDELA KHURD*,*100 TRF-1:PARTAP VLG MUNDELLA KALAN*,*MANJU RANA MUNDELA KALAN*,*25 TRF-1: PURAN MUNDELA KHURD ,P/M,S/STN.*,*SANJEEV -VILL MUNDELA KALANVIJAY ELECTRIC*,*100 TRF-1:JOTE RAM VLG MUNDELLA KALAN*,*KARAN SINGH VILL MUNDELA KHURD*,*PRANJAL VILL MUNDELA KALAN*,*25 TRF-1: NAFE SINGH MUNDELA KHURD*,*25 TRF-1: DHARAMPAL MUNDELA KHURD*,*25 TRF-1: BALJEET MUNDELA KHURD, P/M,S/STN*,*100 TRF-1:AOP VILL V MUNDELLA KALAN | 834
8 | 08/03/2018 | JFR | 10:42 | 16:28 | 05:46 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV DHANSA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : GOVT BOYS SR SEC SCHOOL-ISSAPURIACL*,*100 TRF-1:SATPAL VILLAGE DHANSA*,*100 TRF-1:MTNL VILL DHANSA*,*25 TRF-1: BALWANT VILL ISSAPUR*,*ST.LT MUNDLAN KALAN,SHANI MANDRKANOHAR*,*100 TRF-1:RATTAN VLG DHANSA*,*630 TRF-1:VILLAGE DHANSA 2*,*400 TRF-1:VILLAGE DHANSA 3*,*100 TRF-1:CHANDERBHAN VILL ISSAPUR:PM*,*25 TRF-1:JILAY SINGH VILL KAZIPUR*,*100 TRF-1:DULE VLG DHANSA*,*100 TRF-:CHEHEL VILL DHANSA:PM*,*100 TRF-1:M I D VILL DHANSA BORDER:PM*,*25 TRF-1:VASHIT FARM GOPAL NGR*,*100 TRF-1:BAKHTAWAR VLG DHANSA*,*SHER SINGH VILL DHANSA:PM*,*100 TRF-1:BALDEVA VLG ISSAPUR*,*400 TRF-1:S/S NO 1 VILL DHANSA:PM*,*100 TRF-1:DAMODAR VLG DHANSA*,*100 TRF-1:RISHAL VLG SAMASPUR*,*100 TRF-1:RAMPAT VLG SAMASPUR*,*100 TRF-1:PIARE LAL VLG DHANSA*,*100 TRF-1:CHANDER VLG DHANSA*,*630 TRF-1:VILLAGE ISSAPUR 1*,*630 TRF-1:VILL DHANSA S/S NO 1:PM*,*100 TRF-:W SKANGENHERI*,*RANDHIR VILL DHANSA*,*100 TRF-1:SHIV SHANKAR VLG DHANSA*,*16 TRF-1:MAHIMA FARM PANDWALA KHURD*,*400 TRF-1:VILL ISSAPURS/S NO 4:PM*,*16 TRF-1:RAN VIR SINGH VLG DHANSA*,*25 TRF-1: KHUBI RAM VILL- ISSAPUR*,*100 TRF-1:SULTAN VLG ISSAPUR*,*TARA CHAND ISSAPUR*,*100 TRF-1:SUBE SINGH VLG DHANSA*,*100 TRF-1:RAMSAWROOP VLG DHANSA*,*100 TRF-1:STN VLG DHANSA*,*25 TRF-1:S/S BALJEET -ISSAPURP/M*,*100 TRF-1:HARPAL VLG KAZIPUR*,*100 TRF-1:STN 3 VLG DHANSA*,*BSES ISSAPUR*,*100 TRF-1:JAGE VILLAGE DHANSA*,*16 TRF-1:PREM WATI VLG DHANSA*,*25 TRF-1:S/S RANDHIR -ISSAPURP/M*,*S/S:SANDEEP,ISSAPUR*,*RAI SINGH*,*100 TRF-1:RAM CHANDER V KAZIPUR*,*UDAYBHAN VILL ISSAPUR | 684
9 | 08/03/2018 | JKP | 11:00 | 14:30 | 03:30 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV L.I.G RAJORY GARDEN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1:PATEL PARK(PKG) SSTN RAJORI GDN | 135
10 | 08/03/2018 | VKJ | 11:00 | 13:56 | 02:56 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR GHITORANI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 ST. LTG.NR. METRO PILLAR NO.117*,*TRF-1 FARM NO.77,RD. NO-4,GHITORNI*,*TRF-1 DENG FARM-80 RD-4 GHIRT.*,*TRF-1 CHAITANAYA FARM*,*TRF-1 FARM NO-32,GHITORNI*,*TRF-1 JAGAT FARM NO-30*,*TRF-1 FARM NO-59*,*TRF-1 FARAM NO.50*,*TRF-1 FARM NO-23,GHITORNI*,*TRF-1 SAHANI GHITORNI*,*TRF-1 SUNDER P/M*,*TRF-1 JAY RAM SUBEDAR*,*TRF-1 FARM NO 21 ROAD NO 1 GHITORNI*,*TRF-1 DHARAM SINGH, M G ROAD*,*TRF-1 ST. LTG. NR. SULTANPUR METRO STN.*,*TRF-2 MCD SCHOOL RMU,GHITORNI*,*TRF-1 UMA DATTA*,*TRF-1 LAXMI FARM ROAD NO.ZERO*,*TRF-1 S/S No. (TR No. 1) double at Dhobi*,*TRF-1 GHITORNI ENCLAVE(DHOBI COLONEY)*,*TRF-1 AMAR SINGH GHITORNI*,*TRF-1 VKJ332;VKJ332;MCD SCHOOL RMU,GHITORNI*,*TRF-1 FARM NO-57*,*TRF-1 RAJIV SANKAR BAKSHI FARM P/M | 118
11 | 08/03/2018 | JKP | 11:00 | 15:38 | 04:38 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR D-1 JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : D-1,JANAK PURI:K | 128
12 | 08/03/2018 | JKP | 11:00 | 14:29 | 03:29 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV FATEH NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1 :USHA PARK (DENA BANK) SSTN,H.NAGAR | 112
13 | 08/03/2018 | KPR | 11:00 | 16:09 | 05:09 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO.-1, SANGAM VIHAR, FEEDER NO.-2 PLINTH MOUNTED , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 F3 BLK NR MANGLA BAZAR ROADSANGAM VIHAR | 341
14 | 08/03/2018 | VKJ | 11:00 | 13:57 | 02:57 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR GHITORANI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 AMAR SINGH GHITORNI | 122
15 | 08/03/2018 | SVR | 11:00 | 15:02 | 04:02 | PLANNED SHUTDOWN | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR MDRASI COLONEY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 KVA TRF. E&F BLK MADRSI COLONY | 164
16 | 08/03/2018 | JKP | 11:00 | 14:35 | 03:35 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV DELHI HAAT , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 100 TRF: :BHARTI COLLEGE SSTN, JANAKPURI | 1
17 | 08/03/2018 | SKT | 11:00 | 13:55 | 02:55 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR I.I.P.M NO.-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SUN INFRA BUILD PVT LTD | 1
18 | 08/03/2018 | NHP | 11:00 | 14:14 | 03:14 | PLANNED SHUTDOWN | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR BAHAI MANDIR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 S/STN FIRESTN NHP | 36
19 | 08/03/2018 | PLM | 11:00 | 14:00 | 03:00 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:DABRI NO 1 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630 TRF-1:A-3 DURGA PARK NANDLAL WALA*,*630 TRF-2:Durga Park Gali no.4 S/s*,*630 TRF-1 : DABRI PONDWALA*,*630 TRF-3:Durga Park Gali no.4 S/s*,*630 TRF-2:DABRI MORE I/D*,*990 TRF-1:DABRI MORE I/D*,*Durga park gali no.-4 | 534
20 | 08/03/2018 | SKT | 11:00 | 13:50 | 02:50 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR I.I.P.M NO.-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 CHHOTI BHATI:PM*,*TRF-1 KAPOOR BHATI:PM*,*TRF-1 BALBIR NAGAR:PM*,*TRF-1 INDRA PRASTTHA*,*TRF-1 RADHA SWAMI SATSANG, NEAR LANGAR GATE*,*TRF-1 MAHABALIPURAM S/STN NO 3, BHATI*,*TRF-1 F-50 RADHEY MOHAN DRIVE*,*TRF-1 FRAM NO A10, ANSAL BHATI, BHALLA FARM.*,*TRF-1 UT VRINDAWAN*,*TRF-1 ARUN NEHRU CHANDAN HOLA:PM*,*TRF-1 MEHNDI FARM 9 MOTHER TERESA LANE BHATI*,*TRF-1 A-9 ASOLA(RADHA SWAMI SATSANG BEAS PH-4)*,*TRF-1 SANJAY COLONY STN-1 (PAL SINGH):PL*,*MAHABALI PURAM FARM NO 23 MANDIR ROAD*,*TRF-1 B-4 ARYA BHAT:PM*,*TRF-1 DSM DC CHUNGI:PM*,*TRF-1 MAHABALI PURAM MANDIR ROAD*,*TRF-1 ALU CHOCK BHATI MINES:PM*,*TRF-1 MADAN GARHI BUS STAND:PL*,*TRF-1 SANYAN FARM MOTHER TERESA LANE BHATI*,*TRF-1 HANS LOAK SATSANG BHATTI*,*TRF-1 MUTHMBA BHATTI:PM*,*TRF-1 POORAN MANGLI:PL*,*TRF-1 RADHA SWAMI SATSANG, NEAR LANGAR GATE*,*TRF-1 INAYAT FARM:PM*,*TRF-1 MALLU FARM MAIN ROAD SATBARI*,*TRF-1 RADHA SWAMI SATSANG, NEAR GATE NO - 22.*,*TRF-1 HO SOOD ASOLA PHASE-2:PL*,*TRF-1 GOVT. SCHOOL BHATI:PM*,*TRF-1 DHAKWALA 20 POINT PROGRAMME ASOLA*,*TRF-1 LANGARI DHANI:PM*,*TRF-1 SAWAN PUBLIC SCHOOL | 628
21 | 08/03/2018 | KPR | 11:00 | 16:18 | 05:18 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO-1 PUL PRAHLADPUR ID , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : 630 KVA TRF. S/S NO-1 PUL PRAHLADPUR I/D | 273
22 | 08/03/2018 | JKP | 11:00 | 14:30 | 03:30 | PLANNED SHUTDOWN | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV CNG PUMP DC JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : JANAK CLUB DISTIC CENTRE (HT CONSUMER) | 1
23 | 08/03/2018 | SKT | 11:00 | 14:56 | 03:56 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR CHATTARPUR NO-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 KVA TRF. FARM NO-12 OAK LINE | 22
24 | 08/03/2018 | VKJ | 11:00 | 16:07 | 05:07 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR T.B HOSPITAL , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : TRF-1 QUTUB PLINTH-1 MEHRAULI | 68
25 | 08/03/2018 | SVR | 11:00 | 16:41 | 05:41 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR SAHEEN BAGH , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 KALINDI KUNJ ST. LGT. | 1
26 | 08/03/2018 | SKT | 11:00 | 15:18 | 04:18 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR CHATTARPUR NO-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 CHAND KIRAN CHHATAR PUR VILLAGE | 265
27 | 08/03/2018 | NZD | 11:00 | 13:13 | 02:13 | PLANNED SHUTDOWN | Grid:LAJPAT NAGAR-III (33/11kV) GRID SSTN To Feeder:VIMHANS HOSPITAL NEHRU NGR. , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 MADRASI CAMP, NEHRU NGR. S/STN | 247
28 | 08/03/2018 | ALN | 11:00 | 13:02 | 02:02 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-9 VIA B-133 OKHLA PH.-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 D.P. TATA STEEL | 2
29 | 08/03/2018 | PJB | 11:03 | 13:28 | 02:25 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR STATE BANK NGR , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-2: SBI COLONY I/D,PASCHIM VHR | 174
30 | 08/03/2018 | PJB | 11:05 | 15:36 | 04:31 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:B-2 SSTN. , LT CIRCUIT:REPLACEMENT OF DAMAGE LTAB | RESTORED/ REPAIRED | Part of : 990 TRF-1: B-2 INDOOR,PASCHIM VHR | 317
31 | 08/03/2018 | HKS | 11:05 | 14:53 | 03:48 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR 40-SAHPUR JAT , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 116, SAHAPUR JAT | 255
32 | 08/03/2018 | PLM | 11:15 | 14:50 | 03:35 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR BENGALI COLONY , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990 TRF-2:Bengali Colony FS*,*630 TRF-2:Nanda Block Mahavir Encl.*,*990 TRF-1:Bengali Colony FS*,*400 TRF-1:Mahavir Vihar S/Stn II*,*400 TRF-1:Nanda Block Mahavir Encl.*,*990 TRF-2:Bengali Colony FS*,*630 TRF:-1 H-4 BANGALI CLY | 628
33 | 08/03/2018 | SVR | 11:17 | 12:27 | 01:09 | LT FEEDER | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR SPORTS COMPLEX JASOLA , SERVICE LINE,:FIRE IN SERVICE LINE, | RESTORED/ REPAIRED | Part of : TRF-1 PLM-SURENDRA WALA VILLAGE-JASOLA | 57
34 | 08/03/2018 | SKT | 11:30 | 14:55 | 03:25 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-1 S/S NO.-1 PUSHP VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 STN-2 SEC-1 PUSHAP VIHAR:ID*,*TRF-2 STN-2 SEC-1 PUSHAP VIHAR | 288
35 | 08/03/2018 | NGL | 11:40 | 14:51 | 03:11 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR NIHAL VIHAR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF-1:B-1 BLOCK NIHAL VIHAR*,*990 TRF-1:A-BLOCK NIHAL VIHAR*,*990 TRF-1 PLM D BLK NIHAL VHR NR RS PUBLIC SCHOOL*,*630 TRF-1 B-2 BLOCK NIHAL VIHAR*,* TRF-1:NIHAL VIHAR E BLOCK -II*,*630 TRF-2:B-1 BLOCK NIHAL VIHAR | 714
36 | 08/03/2018 | PJB | 11:45 | 13:27 | 01:42 | EMERGENCY SHUTDOWN | Grid: To Feeder:11KV C-BLOCK EXTN. P/VIHAR MADIPUR , LT CIRCUIT:TO ATTEND FAULT IN LT CIRCUIT | RESTORED/ REPAIRED | Part of : 990 TRF-2: C-BLK, JJ CLY,MADIPUR,PJB | 132
37 | 08/03/2018 | VKJ | 11:48 | 12:59 | 01:11 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY-2 , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 ISRAEL CAMP (RANGPURI) | 116
38 | 08/03/2018 | NJF | 11:50 | 15:41 | 03:51 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 25TRF-1:JUGLAL CHAWLA*,*25TRF-1:USHA FARM*,*25TRF-1:KANSIRAM*,*NOT IN EMG*,*25TRF-1;BALVEER KAUR*,*25TRF-1:NEAR USHA FARM*,*25TRF-1*,*25TRF-1:MANJEET CHAWLA*,*100TRF-1:DEHLI TOURSIM*,*100TRF-1:CHET RAM CHHAWLA*,*25TRF-1*,*NOT IN EMG*,*25TRF-PRITAM SINGH KAGANHERI*,*25TRF-1;BALVEER KAUR*,*25TRF-1:DHRUV AGGARWAL*,*25TRF-1*,*25TRF-1;BALVEER KAUR*,*25TRF-1:JUGLAL CHAWLA*,*25TRF-1*,*25TRF-1:NEENA KANCHAN*,*25TRF-1*,*25TRF-1:BALBIR VILL RAGHOPUR*,*25TRF-1:JAGDEEP KANGANHERI*,*25TRF-1:PARVINDER KAUR*,*25TRF-1:USHA FARM*,*25TRF-1:KALE CHAWLA*,*25TRF-1*,*NOT IN EMG*,*NEANASIR FARM VILL. BIJWASAN*,*25 TRF-1: NASIR FARM BRIJWASAN*,*RAJINDER VILL KANAGANHERI*,*100 TRF-1:STN BAMLI STAND*,*ISAPUR KHAIRA VIL BMNULI BHAJHGER*,*100 TRF-1:DATA RAM KANGENHERI*,*400 TRF-1:GAUTAM COLONY KAGANHERI ROAD CHHAWLA*,*RAVINDER KAUR*,*100 TRF-1:STN NR MANDIR KANGENHERI*,*DHEERAJ RANA (NR. NASIR FARM )VILL. BIJWASAN*,*100 TRF-1:CHANDU MALI BAMNOLI*,*400 TRF-1:CHHAWLA 1*, | 814
39 | 08/03/2018 | SVR | 11:59 | 13:42 | 01:43 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR SOURAV VIHAR-2 , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : 400 KVA TRF-E&F BLK MADRSI COLONY | 67
40 | 08/03/2018 | KPR | 12:00 | 16:19 | 04:19 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR F-1 SSTN SANGAM VIHAR (NEW) , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : TRF-1 J-2B,SANGAM VIHAR | 279
41 | 08/03/2018 | SKT | 12:00 | 15:24 | 03:24 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR JONAPUR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 PANI FARM MANDI MAIN ROAF JONAPUR | 124
42 | 08/03/2018 | JFR | 12:00 | 16:04 | 04:04 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NAVEEN PLACE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1:NANU RAM PARK*,*25 TRF-1: BANWARI HBT PURA*,*100 TRF-1:PAHWA FARM 1 ANAJ MANDI*,* AZAD SINGH HBT PURA*,*CRPF CAMP S/S NO 2A:ID*,* RAKESH HBT PURA*,*100 TRF-1:RICHHPAL HEBAT PURA*,* HAWA SINGH HBT PURA*,*HTC:CRPF CAMP S/S NO 1:PL*,*NAPHE VILLAGE HEBAT PURA*,*400 TRF-1:NAVEEN PLACE SUB STN NO 2*,*400 TRF-1:NAVEEN PLACE CRPF ROOD*,*100 TRF-1:JANTA VIHAR JHARODA ROAD*,*25 TRF-1:MIR SINGH,HBT PURA*,*100 TRF-2:KARAN SINGH HEBAT PURA*,*CRPF CAMP S/S NO 2A:ID*,*400 TRF-:NAVEEN PLACE SUB STN NO 3*,*16 TRF-1:NAPHE VILLAGE HEBAT PURA | 804
43 | 08/03/2018 | ALN | 12:00 | 16:10 | 04:10 | PLANNED SHUTDOWN | Grid:V.S.N.L. (33/11kV) GRID SSTN To Feeder:11kV FDR T.C.I.L , LT CIRCUIT:REMOVED THE LEAKAGE FROM THE NETWORK/POLE | RESTORED/ REPAIRED | Part of : TRF-1 E-BLOCK GK-2 SEHGAL MARKET- 1:K | 46
44 | 08/03/2018 | NGL | 12:02 | 13:25 | 01:23 | EMERGENCY SHUTDOWN | Grid: To Feeder:11 KV FDR SAINI MOHALLA NEAR WATER TANK , LT CIRCUIT:REPAIR/REPLACEMENT OF LT AB | RESTORED/ REPAIRED | Part of : 990 TRF-1:Naresh Park Tulsi Wala S/s | 168
45 | 08/03/2018 | JKP | 12:10 | 13:30 | 01:19 | HT SYSTEM FAULT | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV LIG FLATS-149 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-2 :149 LIG FLATS SSTN,G-8 AREA,R.GDN*,*630 TRF-2 :BL-BLOCK SSTN, HARI NAGAR*,*630TRF:1 :L-BLOCK PRY.SCHOOL SSTN,H.NAGAR*,*1000 TRF-1 :149 LIG FLATS SSTN,G-8 AREA,R.GDN*,*630 TRF-1 :DTC COLONY B SIDE:PL*,*990 TRF-1 :BL-BLOCK SSTN, HARI NAGAR | 548
46 | 08/03/2018 | PLM | 12:48 | 16:31 | 03:43 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR MANISH PLAZA SEC-23 , RMU:REPAIR/REPLACEMENT OF DEFECTIVE MECHANISM | RESTORED/ REPAIRED | Part of : 630TRF-1_NO 1, SEC 23, DWARKA | 262
47 | 08/03/2018 | SKT | 13:00 | 14:48 | 01:48 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR SARVODAYA ENCLAVE , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 SARVODAYA ENCLAVE:ID*,*TRF-1 SARVODAYA ENCLAVE | 322
48 | 08/03/2018 | NJF | 13:00 | 16:52 | 03:52 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PUMPING FEEDER , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 990 TRF-1:TODARMAL COLONY*,*630 TRF-1:THANA STN NO 1*,*100 TRF-1:SHO THANA NJF*,*THANA S/STN NO.-1*,*630 TRF-1:PREM NAGAR STN 1*,*100 TRF-1:P.HOUSE CAMPUS 220 GRID NJF*,*400 TRF-1:PAPRAWAT MORE*,*JAIN MANDIR OLD KAIRA ROAD | 724
49 | 08/03/2018 | SKT | 13:00 | 16:35 | 03:35 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-1 S/S NO.-1 PUSHP VIHAR , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 LADO SARAI DHOLPIR | 134
50 | 08/03/2018 | SVR | 13:03 | 14:58 | 01:55 | LT FEEDER | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-3 NEW FRIENDS COLONY , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 LIONS HOSPITAL PLM | 76
51 | 08/03/2018 | VKJ | 13:03 | 16:34 | 03:31 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR VASANT KUNJ SECTOR-A , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 S/STNO-3,POCKET BandC SECTOR A | 183
52 | 08/03/2018 | DWK | 13:09 | 15:22 | 02:13 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR KARGIL AAPT , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 630 TRF-1:, SEC-12 PKT-A PLOT AREA S/S-2 | 234
53 | 08/03/2018 | DWK | 13:10 | 14:52 | 01:42 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR KRISHNA RESIDENCY , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 400 TRF-2:PREM VIHAR*,*400 TRF-1:JANAKSAR SOCIETY*,*400 TRF-2:JANAKSAR SOCIETY*,*630 TRF-2:ASHOKA SSTN*,*630 TRF-1:ASHOKA SSTN*,*630 TRF-1:SATYAM S/S*,*630TRF-2:HUMDUM CGHS PL-7 SEC-18A*,*400 TRF-1:RAJ VIHAR*,*400 TRF-1:PREM VIHAR*,*630TRF-1:HUMDUM CGHS PL-7 SEC-18A*,*400 TRF-2:EIL SSTN*,*630 TRF-2*,*630 TRF-2:ROYAL GRD APP*,*630 TRF-1*,*400 TRF-1:EIL SSTN*,*630 TRF-1:ROYAL GRD APP*,*630 TRF-2:SATYAM S/S*,*400 TRF-2:RAJ VIHAR | 747
54 | 08/03/2018 | NZD | 13:33 | 15:44 | 02:11 | PLANNED SHUTDOWN | Grid:LAJPAT NAGAR-III (33/11kV) GRID SSTN To Feeder:M-BLOCK LAJPAT NAGAR-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SHIV MANDIR, LAJPAT NAGAR-2 | 119
55 | 08/03/2018 | VKJ | 14:00 | 15:58 | 01:58 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR VASANT KUNJ SECTOR-D , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 VIMALDEEP | 241
56 | 08/03/2018 | SKT | 14:03 | 16:35 | 02:32 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-1 S/S NO.-1 PUSHP VIHAR , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : TRF-1 STN-2 SEC-1 PUSHAP VIHAR | 130
57 | 08/03/2018 | VKJ | 14:03 | 16:30 | 02:27 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR S.T.P FEEDER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 JNU ROAD (TEK CHAND KISHAN GARH) | 134
58 | 08/03/2018 | PLM | 14:27 | 16:00 | 01:33 | HT SYSTEM FAULT | Grid:G-7 SECTOR -9 DWARKA To Feeder:STORE SECTOR-8 (PLM) , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-1:Dharma Wala*,*630 TRF-1:Dharma Wala*,*990 TRF-1 Gali No-10 Raj Ngr S/s*,*990 TRF-1:GALI NO 13 RAJ NAGAR | 598
59 | 08/03/2018 | SVR | 14:31 | 15:59 | 01:28 | HT SYSTEM FAULT | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR OKHLA SEWAGE , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1,TRF-2 SUKHDAVE VIHAR MAIN;;*,*TRF-1 MASSI GRAH*,*TRF-1 HARKESH NAGAR;;*,*TRF-1 INDIRA CAMP I/F OF CRRI*,*TRF-1 CNG PUMP P/M;; | 429
60 | 08/03/2018 | PLM | 14:51 | 15:59 | 01:08 | HT SYSTEM FAULT | Grid:G-7 SECTOR -9 DWARKA To Feeder:SSTN.NO.-2 SECTOR-7 (PLM.) , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 400 TRF-1:DDA FLATS (JANTA FLAT)*,*630 TRF-1:CITY MALL*,*400 TRF-1:MIG FLATS | 461
61 | 08/03/2018 | NJF | 15:45 | 17:20 | 01:35 | HT SYSTEM FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV DAULATPUR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 100TRF-1:MID SHIKARPUR*,*25TRF-1:SANDEEP S/O TEJA RAM , DAULATPUR*,*630TRF-1:VILL DAULATPUR STN 1*,*100TRF-1:INSHARAM SHIKARPUR*,*25TRF-1;MADAN PARK*,*25TRF-1:TARA CHAND, SHIKARPUR*,*16TRF-1*,*25TRF-1:DARAM SINGH , DAULATPURI*,*25TRF-1:HAR SWARUP , DAULATPUR*,*25TRF-1:JAI LAL PRADHAN , DAULATPUR*,*TRANSFORMER,11/0.433KV 400KVA OIL TYPE*,*25TRF-1:HIRA LAL , ASALATPUR , KHAWAD*,* TRF-1:VILLAGE UJWA 2*,*25 TRF-1: CHANDER SINGH , SHIKARPUR*,*400 TRF-1:VILLAGE DAULATPUR 2*,*SATYAPAL and ANIL TRF DAUALTPUR*,*RAM KALA KHABAD MORE*,*SIRI CHAND KHARKHARI ROND*,*KRISHAN TRF KHARKHARI ROUND*,*25 TRF-1: GOPI CHAND,NARANG FARM , DAULATPUR*,*RANDHIR , DAULATPUR*,*MILAN TRF DAULATPUR OPP GOVT SCHOOL*,*100 TRF-1:PARAS RAM SHIKARPUR*,*400 TRF1 : S/STN-2 NIHAL VILLAGE SHIKARP*,*100 TRF-1:RAM KARAN DAULATPUR*,*400 TRF-1:VILLAGE HASSANPUR*,*100 TRF-1:CHET RAM HASSANPUR*,*100 TRF-1:RAM CHANDER HASSANPUR*,*100 TRF-1:SONU DUT PANDWALAKALAN*,*630 TRF-1:VILLAGE PANDWALA KALAN 2*,*100 TRF-1:PURAN PANDWALAKALAN*,*400: VILLAGE HASSANPUR S.STN-2*,*16 TRF-1:SCHOOL STN KHARKHARI RAUND*,*100 TRF-1:DALIP PANDWALA KALAN | 739
62 | 08/03/2018 | SKT | 15:46 | 16:51 | 01:05 | HT SYSTEM FAULT | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SPORTS COMPLEX SAKET , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : TRF-1 SAIDULA JAB MCD SCHOOL:PM*,*TRF-1 ;KHER SINGH*,*TRF-2 SAIDULA JAB RAM PAL:PL*,*TRF-1 SAIDULA JAB RAM PAL:PL*,*TRF-1 GARDEN OF 5 SENSES ROAD SAIDULAJAB*,*TRF-1 GARDEN OF 5 SENSES ROAD SAIDULAJAB*,*TRF-1 OPPOSITE BANERJEE HOSP. SAIDULAJAB | 438
63 | 08/03/2018 | SVR | 17:07 | 18:26 | 01:18 | HT SYSTEM FAULT | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR MEETHAPUR AGARWAL DHARAM SHALA , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : TRF-1 AGGAR. DHARAMSHLA MEETHAPUR*,*TRF-2 AGGAR. DHARAMSHLA MEETHAPUR*,*TRF-1 LAJPAT COLONY I*,*TRF-1 SHASHIWALA OMNAGAR | 627
64 | 08/03/2018 | MDK | 17:59 | 19:03 | 01:03 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR JAI VIHAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630TRF-1:JAI VIHAR MUNDKA*,*100TRF-1:MCD SCHOOL BAPROLLA:PM*,*16TRF-1:MAHAVIR PRASAD OPP AKASH VIHAR*,*16TRF-1:HANDGI OPP AKASH VIHAR*,*25TRF-1:S/S JAI VIHAR , NAJAFGARH ROAD*,*630TRF-1-:POLICE ENC*,*400TRF-1-:BRAHMPURI SSTN*,*630TRF-1:CHANCHEL PARK S/STN NO - 3 | 648
65 | 08/03/2018 | SVR | 18:13 | 19:27 | 01:14 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR SAHEEN BAGH , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 100 KVA TRF. S/STN SHAHEEN BAGH | 123
66 | 09/03/2018 | SVR | 04:14 | 05:36 | 01:22 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:JAITPUR O/H , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 1*400 KVA TRF- GALI-7, MOHAN BABA NAGAR | 289
67 | 09/03/2018 | NGL | 04:45 | 05:59 | 01:13 | HT SYSTEM FAULT | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11 KV FDR SUNDER VIHAR , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 990TRF-1: SUNDER VIHAR SSTN NO-3*,*100TRF-1:PWD FOOTOVERBRIDG(HTC) SSTN P/M*,*630TRF-2: GH-10 PASCHIM VIHAR SSTN NO-1*,*630TRF-2:GH-10 PASCHIM VIHAR SSTN NO-2*,*630TRF-1: GH-10 PASCHIM VIHAR SSTN NO-2*,*630TRF-1: PASCHIM VIHAR SSTN NO-1 | 572
68 | 09/03/2018 | DWK | 05:40 | 07:10 | 01:30 | HT SYSTEM FAULT | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR DJA APPT , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 630 TRF-1-NO.1 SEC-13 PKT-1 PHASE-1*,*630 TRF-2: SHABAD APP SEC-13 PLOT NO-5*,*100 TRF-1: MRV SCHOOL P/M S/STN*,*630 TRF-1: SHABAD APP SEC-13 PLOT NO-5*,*ADD NEW DT*,*630 TRF-1:,S/ST-4 SEC-13 PKT-1 PH-2*,*630 TRF-1:SWAROOP SADAN (METER NOT INSTALLED)*,*400 TRF-2: S/ST-3 SEC-13 PKT-1 PH-2*,*400 TRF-1;NO.2 SEC-13 PKT-1 PH-1*,*400 TRF-1:S/ST-3 SEC-13 PKT-1 PH-2*,*100 TRF-1;REL INFO P/M*,*400 TRF-2 NO.2 SEC-13 PKT-1 PH-1*,*630 TRF-2:SWAROOP SADAN (METER NOT INSTALLED)*,*SEC-13 PL-4 ISKCON TEMPLE SS PL/M*,*GULISTAN CGHS P-1B SEC-13 DWK*,*GULISTAN CGHS P-1B | 746
69 | 09/03/2018 | PLM | 05:50 | 06:58 | 01:07 | HT SYSTEM FAULT | Grid:G-7 SECTOR -9 DWARKA To Feeder:SSTN.NO.-2 SECTOR-7 (PLM.) , : 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 400 TRF-1:DDA FLATS (JANTA FLAT)*,*630 TRF-1:CITY MALL*,*400 TRF-1:MIG FLATS | 461